

DSA Code Amendment development

| Tracking |
| --- |
| Date Received: - |
| DSA Tracking Number: 11/23/2020 |
| Date Reviewed: 12/09/2020 |
| Status: Under consideration |

| Applicable Code |
| --- |
| Applicable Code Section(s):CALGreen Chapter 2Section 202 |
| Topic:Definitions: Nonwater Urinal with Drain Cleansing Action |

## Current Code Language

**URINAL, HYBRID**. A urinal that conveys waste into the drainage system without the use of water for flushing and automatically performs a drain‐cleansing action after a predetermined amount of time.

## Suggested Text of Proposed Amendment

**~~URINAL, HYBRID~~**~~. A urinal that conveys waste into the drainage system without the use of water for flushing and automatically performs a drain‐cleansing action after a predetermined amount of time~~.

**NONWATER URINAL WITH DRAIN CLEANSING ACTION.** A nonwater urinal that conveys waste into the drainage system without the use of water for flushing and automatically performs a drain-cleansing action after a predetermined amount of time.

## Code Text if Adopted

**NONWATER URINAL WITH DRAIN CLEANSING ACTION.** A nonwater urinal that conveys waste into the drainage system without the use of water for flushing and automatically performs a drain-cleansing action after a predetermined amount of time.

## Rationale

Per California Building Standards Commission:

The proposed definitions will align with the current International Code Council definitions in the 2021 Uniform Plumbing Code which will add consistency between California and model code language.

While the Division of the State Architect does not propose language at this time that contains regulatory requirements for a nonwater urinal with drain cleansing action, it does fully co-adopt all the definitions in Section 202 that are proposed for adoption by the California Building Standards Commission.

## DSA Comments

XXX