# FINAL EXPRESS TERMS

**FOR PROPOSED BUILDING STANDARDS  
OF THE DIVISION OF THE STATE ARCHITECT - STRUCTURAL SAFETY (DSA-SS)  
REGARDING THE 2019 CALIFORNIA GREEN BUILDING STANDARDS CODE (CALGreen),  
CALIFORNIA CODE OF REGULATIONS, TITLE 24, PART 11**

**(DSASS-CC 07/18)**

The State agency shall draft the regulations in plain, straightforward language, avoiding technical terms as much as possible and using a coherent and easily readable style. The agency shall draft the regulation in plain English. A notation shall follow the express terms of each regulation listing the specific statutes authorizing the adoption and listing specific statutes being implemented, interpreted, or made specific (Government Code Section 11346.2(a)(1)).

If using assistive technology, please adjust your settings to recognize underline, strikeout and ellipsis.

## LEGEND FOR EXPRESS TERMS (California only codes - Parts 1, 6, 8, 11, 12)

1. Existing California amendments appear upright.
2. Amended or new California amendments appear underlined.
3. Repealed California language appears ~~upright and in strikeout~~.
4. Ellipsis (. . .) indicate existing text remains unchanged.

## FINAL EXPRESS TERMS

# CHAPTER 1

**ADMINISTRATION**

**ITEM 1**

**SECTION 105**

**DIVISION OF THE STATE ARCHITECT**

**105.1.1** **Application - Public elementary and secondary schools and community colleges.** New building construction and ~~related~~ site work on a new or existing site.

*Note: The Application of Standards outlined in Title 24, Part 6 supersedes the above application as it applies to the California Energy Code.*

# CHAPTER 2

**DEFINITIONS**

**ITEM 2**

# SECTION 202

**DEFINITIONS**

**…**

**CONSTRUCTION SITE.** A parcel of land bounded by lot line(s) or a designated portion of a public right-of-way where construction is taking place. A construction site may include, but not be limited to, buildings and accessory structures, walks, sidewalks, curbs, curb ramps, parking facilities, planting areas, pools, promenades, exterior gathering or assembly areas, raised or depressed paved areas, open spaces, golf courses, and/or landscape areas.

**…**

**DEWATERING:** Pumping of uncontaminated or treated groundwater for construction activities.

**…**

**DISINFECTED TERTIARY RECYCLED WATER.** Filtered and subsequently disinfected wastewater that meets the approved method of treatment and minimum level of water quality specified in California Code of Regulations, Title 22, Division 4, Chapter 3 for the purpose of direct beneficial use.

**…**

**~~HYBRID URINAL.~~** ~~A urinal that conveys waste into the drainage system without the use of water for flushing and automatically performs a drain‐cleansing action after a predetermined amount of time~~.

**…**

**MERV** Filter minimum efficiency reporting value~~, based on ASHRAE 52.2-2007~~.

**…**

**NON-STORMWATER DISCHARGES:** Discharges that do not originate from precipitation events. Including, but not limited to, dewatering activities, washout area discharge, vehicle and equipment cleaning, street cleaning, and irrigation runoff.

**…**

**RECLAIMED (RECYCLED) WATER. [DSA-SS]** Nonpotable water that meets California ~~Department of Public Health~~ State Water Resources Control Board statewide uniform criteria for disinfected tertiary recycled water. Reclaimed (recycled) water is also known as “recycled water” or “reclaimed water”.

**…**

**RECYCLED WATER SUPPLY SYSTEM.** The building supply pipe, the water distribution pipes, and the necessary connecting pipes, fittings, control valves, backflow prevention devices, and all appurtenances carrying or supplying reclaimed (recycled) water in or adjacent to the building or within the premises.

**…**

**URINAL, HYBRID.**  A urinal that conveys waste into the drainage system without the use of water for flushing and automatically performs a drain‐cleansing action after a predetermined amount of time.

**…**

# CHAPTER 3

**GREEN BUILDING**

**ITEM 3**

# SECTION 301

**GENERAL**

**…**

**301.4** **Mandatory measures for ~~Public~~ public schools and community colleges. [DSA-SS]** ~~Newly constructed buildings on new or existing sites shall comply with Chapter 5. Additions to existing buildings, newly constructed landscape work, and rehabilitated landscape work shall comply with Chapter 5, Section 5.304.6, Outdoor Water Use.~~ New building construction and site work on a new or existing site shall comply with Section 301.4.

**301.4.1** Building and site construction on a new site shall comply with Chapter 5 as adopted by DSA-SS.

**301.4.2** Work on an existing site shall comply with Section 301.4.2.

**301.4.2.1** Newly constructed site work shall comply with Chapter 5 as adopted by DSA-SS.

**301.4.2.2** Newly constructed buildings shall comply with Chapter 5 as adopted by DSA-SS and Section 301.4.3.

**301.4.2.3** Additions to existing buildings shall comply with Section 301.4.3.

**301.4.2.4** Rehabilitated landscape areas shall comply with Sections 5.304.6 and 5.107.

**~~301.4.1~~301.4.3 Minimum rehabilitated landscape area requirement ~~for existing sites~~. ~~[DSA-SS]~~** A minimum rehabilitated landscape area equal to 75 percent of the footprint area of ~~a new building or of an addition to an existing building shall be provided and~~ the building shall comply with Section 5.304.6 and Section 5.107.

**~~Exceptions:~~**

1. ~~The new building or addition to an existing building is less than 1,600 square feet in floor area.~~ New buildings or additions to existing buildings less than 1,600 square feet shall not be required to comply with Section 301.4.3.

~~2. The entire existing site’s irrigated landscape areas are in full compliance with Section 5.304.6.~~

~~3. The new building or addition to an existing building is to be partially or entirely constructed on an existing irrigated landscape or turf lawn area which is not in compliance with the current MWELO requirements and is equal to or greater than the minimum rehabilitated landscape area requirement of Section 301.4.1.~~

**ITEM 4**

# SECTION 306 (DSA-SS)

**VOLUNTARY MEASURES**

**306.1 Purpose.**  For public schools and community colleges, ~~Appendix A5, Nonresidential Voluntary Measures, is provided as a guideline to~~ voluntary measures further encourage building practices that improve public health, safety and general welfare by promoting the use of building concepts which minimize the building’s impact on the environment, promote a more sustainable design ~~and high-performance educational facilities~~.

**306.1.1** ~~The optional provisions of~~ Appendix A5, Divisions A5.1 through A5.5, outline means of achieving enhanced ~~construction levels~~ sustainable design and construction by incorporating ~~additional~~ voluntary measures that exceed the mandatory ~~code~~ measures.

**306.1.2** ~~The measures outlined in Chapter 5, Section 5.410.2 for Commissioning and Section 5.410.4 for Testing and Adjusting are not adopted as mandatory standards by the DSA; however, are referenced here as optional verification practices that are encouraged and recommended to ensure performance, comfort, system durability, reliability, indoor air quality, and efficiency.~~Chapter 5 Nonresidential Mandatory Measures that are not adopted as mandatory measures by DSA-SS are voluntary measures recommended and encouraged for the design, construction, verification, and maintenance of non-energy systems.

*Note: The building commissioning requirements for energy efficiency specified in the California Energy Code are required.*

# CHAPTER 5

**NONRESIDENTIAL MANDATORY MEASURES**

**ITEM 5**

# SECTION 5.106

# SITE DEVELOPMENT

**…**

* + - 1. **Electric vehicle (EV) charging. [N]** Construction shall comply with Section 5.106.5.3.1 or Section 5.106.5.3.2 to facilitate future installation of electric vehicle supply equipment (EVSE). When EVSE(s) is/are installed, it shall be in accordance with the *California Building Code*, the *California Electrical Code* and as follows:
         1. **Single charging space requirements. [N]** When only a single charging space is required per Table 5.106.5.3.3, a raceway is required to be installed at the time of construction and shall be installed in accordance with the *California Electrical Code.* Construction plans and specifications shall include, but are not limited to, the following:

The type and location of the EVSE.

A listed raceway capable of accommodating a 208/240-volt dedicated branch circuit.

The raceway shall not be less than trade size 1”.

4. The raceway shall originate at a service panel or a subpanel serving the area, and shall terminate in close proximity to the proposed location of the charging equipment and into a listed suitable cabinet, box, enclosure or equivalent.

5. The service panel or subpanel shall have sufficient capacity to accommodate a minimum 40-amprere dedicated branch circuit for the future installation of the EVSE.

* + - * 1. **Multiple charging space requirements. [N]** When multiple charging spaces are required per Table 5.106.5.3.3 raceway(s) is/are required to be installed at the time of construction and shall be installed in accordance with the *California Electrical Code.* Construction plans and specifications shall include, but are not limited to, the following:

The type and location of the EVSE.

The raceway(s) shall originate at a service panel or a subpanel(s) serving the area, and shall terminate in close proximity to the proposed location of the charging equipment and into listed suitable cabinet(s), box(es), enclosure(s) or equivalent.

Plan design shall be based upon 40-amprere minimum branch circuits.

Electrical calculations shall substantiate the design of the electrical system, to include the rating of equipment and any on-site distribution transformers and have sufficient capacity to simultaneously charge all required EVs at its full rated amperage.

The service panel or subpanel(s) shall have sufficient capacity to accommodate the required number of dedicated branch circuit(s) for the future installation of the EVSE.

* + - * 1. **EV charging space calculation. [N]** Table 5.106.5.3.3 shall be used to determine if single or multiple charging space requirements apply for the future installation of EVSE.

Exceptions: On a case-by-case basis where the local enforcing agency has determined EV charging and infrastructure is not feasible based upon one or more of the following conditions:

Where there is insufficient electrical supply.

Where there is evidence suitable to the local enforcing agency substantiating that additional local utility infrastructure design requirements, directly related to the implementation of Section 5.106.5.3, may adversely impact the construction cost of the project.

# TABLE 5.106.5.3.3

| **TOTAL NUMBER OF ACTUAL PARKING SPACES** | **NUMBER OF REQUIRED EV CHARGING SPACES** |
| --- | --- |
| 0-9 | 0 |
| 10-25 | 1 |
| 26-50 | 2 |
| 51-75 | 4 |
| 76-100 | 5 |
| 101-150 | 7 |
| 151-200 | 10 |
| 201 and over | 6 percent of total 1 |

1. Calculation for spaces shall be rounded up to the nearest whole number.

* + - * 1. **[N] Identification.** The service panel or subpanel(s) circuit directory shall identify the reserved overcurrent protective device space(s) for future EV charging as “EV CAPABLE”. The raceway termination location shall be permanently and visibly marked as “EV CAPABLE.”
        2. **[N] Future charging spaces.** Future charging spaces qualify as designated parking as described in Section 5.106.5.2 Designated parking for clean air vehicles.

**~~Notes:~~**

1. ~~The California Department of Transportation adopts and publishes the California Manual on Uniform Traffic Con­trol Devices (California MUTCD) to provide uniform standards and specifications for all official traffic control devices in California. Zero Emission Vehicle Signs and Pavement Markings can be found in the New Policies & Directives number~~ [~~13-01. www.dot.ca.gov/hq/traffops/policy/13-01.pdf.~~](http://13-01.www.dot.ca.gov/hq/traffops/policy/13-01.pdf.)
2. ~~See Vehicle Code Section 22511 for EV charging spaces signage in off-street parking facilities and for use of EV charging spaces.~~

~~The Governor’s Office of Planning and Research published a Zero-Emission Vehicle Community Readiness Guide­book which provides helpful information for local governments, residents and~~ [~~businesses. www.opr.ca.gov/docs/ZEV\_Guidebook.pdf.~~](http://businesses.www.opr.ca.gov/docs/ZEV_Guidebook.pdf.)

**ITEM 6**

**5.106.8 Light pollution reduction. [N]** Outdoor lighting systems shall be designed and installed to comply with the following:

1. The minimum requirements in the *California Energy Code* for Lighting Zones ~~1~~0-4 as defined in Chapter 10, Section 10-114 of the California *Administrative Code*; and
2. Backlight, ~~Uplight and Glare~~ (B~~UG~~) ratings as defined in IES TM-15-11 (shown in TABLE A-1 in chapter 8);
3. Uplight and Glare ratings as defined in *California Energy Code* (shown in TABLES 130.2-A and 130.2-B in chapter 8) and

4. Allowable BUG ratings not exceeding those shown in Table 5.106.8 [N], or

Comply with a local ordinance lawfully enacted pursuant to Section 101.7, whichever is more stringent.

**Exceptions:** **[N]**

1. Luminaires that qualify**…**
2. Emergency**…**
3. Building façade meeting the requirements**…**
4. Custom lighting features as allowed by the local enforcing**…**

**Notes:**

1. [N]See also *California Building Code*, Chapter 12, Section 1205.~~6~~ 7 for college campus lighting requirements for parking facilities and walkways.

1. Refer to Chapter 8 (Compliance Forms, Worksheets and Reference Material) for IES TM-15-11 Table A-1, *California Energy Code* Tables 130.2-A and 130.2-B.

3. Refer to the California Energy Code for requirements for additions and alterations.

**TABLE 5.106.8.1 [N]  
MAXIMUM ALLOWABLE BACKLIGHT, UPLIGHT AND GLARE (BUG) RATINGS1,2**

| **ALLOWABLE RATING** | **LIGHTING ZONE LZ0** | **LIGHTING ZONE LZ1** | **LIGHTING ZONE LZ2** | **LIGHTING ZONE LZ3** | **LIGHTING ZONE LZ4** |
| --- | --- | --- | --- | --- | --- |
| **Maximum Allowable Backlight Rating3**  **(B)** |  |  |  |  |  |
| Luminaire greater than 2 mounting heights (MH) from property line | N/A | No Limit | No Limit | No Limit | No Limit |
| Luminaire back hemisphere is 1 – 2 MH from property line | N/A | B2 | B3 | B4 | B4 |
| Luminaire back hemisphere is 0.5 – 1 MH from property line | N/A | B1 | B2 | B3 | B3 |
| Luminaire back hemisphere is less than 0.5 MH from property line | N/A | B0 | B0 | B1 | B2 |
| **Maximum Allowable Uplight Rating (U)** |  |  |  |  |  |
| For area lighting4 | N/A | U0 | U0 | U0 | U0 |
| For all other outdoor lighting, including decorative luminaires | N/A | U1 | U2 | U3 | U4 |
| **Maximum Allowable Glare Rating5 (G)** |  |  |  |  |  |
| Luminaire greater than 2 MH from property line | N/A | G1 | G2 | G3 | G4 |
| Luminaire front hemisphere is 1 – 2 MH from property line | N/A | G0 | G1 | G1 | G2 |
| Luminaire front hemisphere is 0.5 – 1 MH from property line | N/A | G0 | G0 | G1 | G1 |
| Luminaire ~~back~~ front hemisphere is less than 0.5 MH from property line | N/A | G0 | G0 | G0 | G1 |

1. IESNA Lighting Zones 0 ~~and 5~~ are not applicable; refer to Lighting Zones as defined in the *California Energy Code* and Chapter 10 of the *California Administra­tive Code.*
2. **…**
3. ***…***
4. ***…***
5. ***…***

**ITEM 7**

# SECTION 5.107

**SHADE TREES**

**5.107.1 Shade trees. [DSA-SS]** Shade trees shall be planted to comply with Sections 5.107.1.1, 5.107.1.2, and 5.107.1.3. Percentages shown shall be measured at noon on the summer solstice. Landscape irrigation necessary to establish and maintain tree health shall comply with Section 5.304.6.

**5.107.1.1 Surface parking areas.** Shade tree plantings, minimum #10 container size or equal, shall be installed to provide shade over 50% of the parking area within 15 years.

**Exceptions:** The surface parking area covered by solar photovoltaic shade structures, or shade structures with roofing materials that comply with Table A5.106.11.2.2 in Appendix A5, are not included in the total area calculation.

**5.107.1.2 Landscape areas.** Shade trees plantings, minimum #10 container size or equal, shall be ~~shall be~~ installed to provide shade over 20% of the landscape area within 15 years.

**Exception:** Playfields for organized sport activity are not included in the total area calculation.

**5.107.1.3 Hardscape areas.** Shade trees plantings, minimum #10 container size or equal, shall be ~~shall be~~ installed to provide shade over 20% of the hardscape area within 15 years.

**Exception:** Walks, hardscape areas covered by ~~covered by~~ solar photovoltaic shade structures, and hardscape areas covered by shade structures with roofing materials that comply with Table A5.106.11.2.2 in Appendix A5, are not included in the total area calculation.

**ITEM 8**

# SECTION 5.303

**INDOOR WATER USE**

**…**

**5.303.3.3.3 Showerheads. [DSA-SS]**

**5.303.3.3.3.1 Single showerhead.** Showerheads shall have a maximum flow rate of not more than ~~2.0~~ 1.8 gallons per minute at 80 psi. Showerheads shall be certified to the performance criteria of the U.S. EPA WaterSense Specification for Showerheads.

**5.303.3.3.3.2 Multiple showerheads serving one shower.** When a shower is served by more than one showerhead, the com­bined flow rate of all showerheads and/or other shower outlets controlled by a single valve shall not exceed ~~2.0~~ 1.8 gallons per minute at 80 psi, or the shower shall be designed to allow only one shower outlet to be in operation at a time.

**Note:** A hand-held shower shall be considered a showerhead*.*

**ITEM 9**

# SECTION 5.407

**WATER RESISTANCE AND MOISTURE MANAGEMENT**

**5.407.1 Weather protection.** Provide a weather-resistant exterior wall and foundation envelope as required by California Building Code Section 140~~3~~2.2 (Weather Protection) ~~and California Energy Code Section 150 (Mandatory Features and Devices)~~, manufacturer’s installation instructions or local ordinance, whichever is more stringent.

**…**

**ITEM 10**

# SECTION 5.504

**POLLUTANT CONTROL**

**…**

**5.504.4.4 Carpet systems.**All carpet installed in the building interior shall meet at least one of the following testing and product requirements:

1. Carpet …

2. Compliant …

3. NSF/ANSI …

4. Scientific …

5. Compliant with the Collaborative for High Performance Schools California (CA-CHPS) Criteria 2014 ~~Interpretation for EQ 7.0 and EQ 7.1 (formerly EQ 2.2) dated July 2012~~ and listed in the CHPS High Performance Product Database.

**ITEM 11**

**5.504.4.6 Resilient flooring systems.** For 80 percent of floor area receiving resilient flooring, install resilient flooring which meets one of the following:

1. Certified under …

2. Compliant with the VOC-emission …

3. Compliant with the Collaborative for High Performance Schools California (CA-CHPS) Criteria 2014 ~~Interpretation for EQ 7.0 and EQ 7.1 (formerly EQ 2.2) dated July 2012~~ and listed in the CHPS High Performance Product Database;

4. Products …

**ITEM 12**

**5.504.5.3 Filters.** In mechanically ventilated buildings, provide regularly occupied areas of the building with air filtration media for outside and return air that provides at least a Minimum Efficiency Reporting Value (MERV) of ~~8~~ 13. MERV ~~8~~ 13 filters shall be installed prior to occupancy, and recommendations for maintenance with filters of the same value shall be included in the operation and maintenance manual.

**Exception~~s~~:**

~~1. An ASHRAE 10-percent to 15-percent efficiency filter shall be permitted for an HVAC unit meeting the 2013~~ *~~California Energy Code~~* ~~having 60,000 Btu/h or less capacity per fan coil, if the energy use of the air delivery system is 0.4 W/cfm or less at design air flow.~~

~~2~~1. Existing mechanical equipment.

**ITEM 13**

# SECTION 5.505

**INDOOR MOISTURE CONTROL**

**5.505.1 Indoor moisture control.** Buildings shall meet or exceed the provisions of the California Building Code, CCR, Title 24, Part 2, Section 120~~3~~2(Ventilation) and Chapter 14 (Exterior Walls). For additional measures ~~not applicable to low-rise residential occupancies,~~ see Section 5.407.2 of this code.

**ITEM 14**

**CALIFORNIA GREEN BUILDING STANDARDS CODE – MATRIX ADOPTION TABLE CHAPTER 8 – COMPLIANCE FORMS, WORKSHEETS AND REFERENCE MATERIAL**

| Adopting agency | **BSC** | **BSC- CG** | **SFM** | **H**  **1** | **H**  **2** | **H**  **1/AC** | **DS**  **AC** | **DS**  **SS** | **OSHPD**  **1** | **OSHPD**  **2** | **OSHPD**  **3** | **OSHPD**  **4** | **BSCC** | **DPH** | **AGR** | **DWR** | **CEC** | **CA** | **SL** | **SLC** |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Adopt entire CA chapter |  | **X** |  |  |  |  |  | **~~X~~** |  |  |  |  |  |  |  |  |  |  |  |  |
| Adopt entire chapter as amended (amended sections listed below) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Adopt only those sections that are listed below |  |  |  |  |  |  |  | **X** |  |  |  |  |  |  |  |  |  |  |  |  |
| Chapter/Section |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| IES TM-15-11 Table A-1 |  |  |  |  |  |  |  | **X** |  |  |  |  |  |  |  |  |  |  |  |  |
| Table 130.2-A |  |  |  |  |  |  |  | **X** |  |  |  |  |  |  |  |  |  |  |  |  |
| Table 130.2-B |  |  |  |  |  |  |  | **X** |  |  |  |  |  |  |  |  |  |  |  |  |

**Notation:**

Authority: Education Code Sections 17280—17317 and 81130--81147

Reference(s): Education Code Sections 17310 and 81142