# ADDITIONAL 15-DAY EXPRESS TERMS AND RATIONALEFOR PROPOSED BUILDING STANDARDSOF THE OFFICE OF STATEWIDE HEALTH PLANNING AND DEVELOPMENTREGARDING THE 2022 CALIFORNIA ELECTRICAL CODE

# CALIFORNIA CODE OF REGULATIONS, TITLE 24, PART 3

# (OSHPD 01/20)

No state agency may adopt, amend, or repeal a regulation which has been changed from that which was originally made available to the public pursuant to Section 11346.5, unless the change is (1) nonsubstantial or solely grammatical in nature, or (2) sufficiently related to the original text that the public was adequately placed on notice that the change could result from the originally proposed regulatory action. If a sufficiently related change is made, the full text of the resulting adoption, amendment, or repeal, with the change clearly indicated, shall be made available to the public for at least 15 or 45 days before the agency adopts, amends, or repeals the resulting regulation.

Any written comments received regarding the change must be responded to in the final statement of reasons required by Section 11346.9 (Government Code Section 11346.8(c)).

If using assistive technology, please adjust your settings to recognize underline, strikeout, double strikeout, italics and ellipsis. Double underline will be indicated by parenthetical notes within the text. The notes will not be codified or published in the code.

## LEGEND for EXPRESS TERMS (Based on model codes - Parts 2, 2.5, 3, 4, 5, 9, 10)

* Model Code language appears upright.
* Unmodified California 45-day amendments appear in *underline and italic* and *~~strikeout and italic~~.*
* California additional 15-day amendments appear in *double underline and italic* and *double strikeout and italic*.
* Ellipsis ( ...) indicate existing text remains unchanged.
* **Rationale**: The justification for the change is shown after each section or series of related changes.

# ADDITIONAL 15-DAY EXPRESS TERMS

# Item 98Chapter 5 Special OccupanciesARTICLE 517 Health Care Facilities

Adopt entire 2020 National Electric Code (NEC) Article, carry forward existing amendments of the 2019 California Electrical Code (CEC) for OSHPD 1, 2, 3, 4 & 5 and make the following amendments in Item 98 - 110:

***517.22 [OSHPD 1, 2, 3, 4 & 5] Artificial Lighting.***

…

***(B) Illumination.***

***(1) [OSHPD 1, 3, 4 & 5] Illumination intensity.*** *Illumination intensity values in each area shall meet the recommended values in the latest edition of the Illuminating Engineering Society of North America (IESNA) Lighting Handbook**ANSI/IES RP-29, Recommended Practice: Lighting Hospital and Healthcare Facilities****.***

*…*

***(2) [OSHPD 2] Minimum illuminance.*** *Minimum maintained average illuminance in each area shall meet the recommended values in the latest edition of ANSI/IESNA RP-28, Recommended Practice: ~~Recommended Practice for~~ Lighting and the Visual Environment for Senior and the Low Vision Population ~~Living~~ Older Adults and the Visually Impaired.*

**Rationale:**

(1)During 45-Day Public Comment, it was determined that the IESNA Lighting Handbook referenced in 517.22(B)(1) is no longer applicable. The correct ANSI/IES lighting standard for healthcare is ANSI/IES RP-29, Recommended Practice: Lighting Hospital and Healthcare Facilities. OSHPD updated 517.22(B)(1) with the correct ANSI/IES standard.

(2) During 45-Day Public Comment, it was determined that the title for ANSI/IES RP-28 standard referenced in 517.22(B)(2) did not match the current title of this document. OSHPD updated the title to ANSI/IES RP-28 in 517.22(B)(2).

**Notation:**

Authority: Health and Safety Code, Sections 1275, 18928, 129790, and 129850

Reference: Health and Safety Code, Section 129850