# **SFM 04/21 California Building Code, Part 2 Grouped Items**

The following tables contain grouped subject matter items. If using assistive technology, please adjust your settings to recognize underline and strikeout.

* Amended model code or new California amendments appear *underlined and italic*
* Model code language appears upright
* Repealed model code language appears ~~upright and in strikeout~~

## Chapter 1 Administration

| **Item # SFM 04/21 CAM Sub #** | **Section #** | **CAM page #** | **ET Page #** | **ISOR Page #** | **FSOR Page #** |
| --- | --- | --- | --- | --- | --- |
| 1-1 | Chapter 1, Scope and Administration 1.1 – 1.1.12 | 1 | 2 | 1 |  |
| 1-2 | 1.1.1 Title | 1 | 2 | 1 |  |
| 1-3 | 1.11 – 1.11.11 | 1 | 2 | 1 |  |
| 1-4 | 1.11.1 Specified-Sate-Occupied Building | 1 | 2 | 2 |  |
| 1-5 | 1.11.4.4 *Fire Clearance Preinspection* | 1 | 3 | 2 |  |
| 1-6 | 1.11.4.5 *Care Facilities Certificate of Occupancy* | 1 | 4 | 2 |  |
| 1-7 | 1.11.6 | 1 | 4 | 2 |  |
| *1-8* | *1.11.11 Adopting Agency Identification* | 1 | 5 | *3* |  |
| 1-9 | Chapter 1, Administration, Div. II | 1 | 5 | 3 |  |
| 1-10 | 105.2 Work exempt from permit | 1 | 5 | 3 |  |

## Chapter 3 Occupancy Classification and Use

| **Item # SFM 04/21 CAM Sub #** | **Section #** | **CAM page #** | **ET Page #** | **ISOR Page #** | **FSOR Page #** |
| --- | --- | --- | --- | --- | --- |
| 3-1 | Chapter 3, Classification and Use | 3 | 11 | 11 |  |
| 3-6 | *308.3.3 Institutional Group I-2.1* | 3 | 12 | 12 |  |

## Chapter 4 Special Detailed Requirements Based on Occupancy and Use

| **Item # SFM 04/21 CAM Sub #** | **Section #** | **CAM page #** | **ET Page #** | **ISOR Page #** | **FSOR Page #** |
| --- | --- | --- | --- | --- | --- |
| 4-1 | Chapter 4, Special detailed requirements based on Occupancy and Use | 3 | 14 | 13 |  |
| 4-2 | 401.9 Evaluation of buildings | 3 | 14 | 14 |  |
| 4-15.1 | 441.1 Health and Safety Code Section | 4 | 26 | 25 |  |

## Chapter 7 Fire and Smoke Protection Features

| **Item # SFM 04/21 CAM Sub #** | **Section #** | **CAM page #** | **ET Page #** | **ISOR Page #** | **FSOR Page #** |
| --- | --- | --- | --- | --- | --- |
| 7-8 | 716.2.6 Fire door hardware and closers | 6 | 46 | 58 |  |
| 7-9 | 715.5.2 Fire Barriers | 6 | 47 | 58 |  |

## Chapters 8 and 9 – Miscellaneous

| **Item # SFM 04/21 CAM Sub #** | **Section #** | **CAM page #** | **ET Page #** | **ISOR Page #** | **FSOR Page #** |
| --- | --- | --- | --- | --- | --- |
| 8-1 | Chapter 8 Interior Finishes (adopt) | 8 | 79 | 82 |  |
| 9-1 | Chapter 9 Fire Protection and Life Safety Systems (carry forward existing amendments) | 9 | 80 | 82 |  |
| 9-2 | 901.5 Administration of installed acceptance testing. | 9 | 80 | 82 |  |
| 9-3 | Table 901.6.1 Title | 9 | 80 | 82 |  |
| 9-4 | 901.7 Systems out of Service | 9 | 80 | 82 |  |
| 9-5 | 903.1.1 Alternative protection | 9 | 81 | 83 |  |
| 9-6 | 903.2 Where required | 9 | 81 | 83 |  |
| 9-10 | *903.2.21 Required exterior entrance covers* | 9 | 83 | 85 |  |
| 9-11 | 903.3.1.1.1 Exempt locations and *903.3.1.1.3 Photovoltaic power systems* | 9 | 83 | 86 |  |
| 9-12 | 903.5 Testing and maintenance | 9 | 84 | 88 |  |
| 9-13 | 903.5 Where required | 9 | 84 | 88 |  |
| 9-14 | 907.2 Where required-new building and structures | 9 | 86 | 88 |  |
| 9-19 | 907.1.11.3, 907.2.11.4 | 10 | 88 | 90 |  |
| 9-20 | *907.2.10.8 Specific locations* | 10 | 88 | 90 |  |
| 9-22 | 907.5 Occupant notification | 10 | 91 | 90 |  |
| 9-23 | 907.5.1 Alarm activation and annunciation | 10 | 91 | 91 |  |
| 9-24 | 907.5.2.1 Audible alarms | 10 | 91 | 91 |  |
| 9-25 | 907.5.2.1.4 Audible alarm system | 10 | 92 | 92 |  |
| 9-26 | 907.5.3.2.3 Visible alarms | 10 | 92 | 92 |  |
| 9-27 | *907.6.4.4 Notification zoning* | 10 | 93 | 93 |  |
| 9-28 | *907.6.6.4 Group E* | 10 | 93 | 94 |  |
| 9-29 | *908.4 Carbon dioxide enrichment systems* | 10 | 94 | 94 |  |
| 9-32 | 911.4 Deflagration venting | 10 | 95 | 94 |  |
| 9-33 | 913.1 General | 10 | 95 | 94 |  |
| 9-35 | 916 Gas Detection 916.1-916.11 | 11 | 96 | 95 |  |

## Chapter 7A Wildland Urban Interface Workgroup

| **Item # SFM 04/21 CAM Sub #** | **Section #** | **CAM page #** | **ET Page #** | **ISOR Page #** | **FSOR Page #** |
| --- | --- | --- | --- | --- | --- |
| 7A-1 | *Chapter 7A, Materials and Construction Methods for Exterior Wildfire Exposure* | 6 | 54 | 62 |  |
| 7A-2 | *701A.1* | 6 | 54 | 62 |  |
| 7A-3 | *701A.3* | 6 | 54 | 62 |  |
| 7A-4 | *~~701A.3.2~~* | 6 | 55 | 63 |  |
| 7A-5 | *APPLICABLE BUILDING* | 6 | 56 | 64 |  |
| 7A-6 | *DIRECTOR* | 6 | 56 | 64 |  |
| 7A-7 | *EXTERIOR WALL ASSEMBLY* | 6 | 56 | 64 |  |
| 7A-8 | *EXTERIOR WALL COVERING* | 6 | 56 | 65 |  |
| 7A-9 | *FIRE PROTECTION PLAN* | 6 | 56 | 65 |  |
| 7A-10 | *FIRE HAZARD SEVERITY ZONES* | 7 | 57 | 65 |  |
| 7A-11 | *FIRE-RESISTANT VEGETATION* | 7 | 57 | 65 |  |
| 7A-12 | *IGNITION-RESISTANT MATERIAL* | 7 | 58 | 66 |  |
| 7A-13 | *LOCAL RESPONSIBILITY AREA (LRA)* | 7 | 58 | 66 |  |
| 7A-14 | *STATE RESPONSIBILITY AREA (SRA)* | 7 | 58 | 66 |  |
| 7A-15 | *WILDFIRE* | 7 | 58 | 67 |  |
| 7A-16 | *WILDFIRE EXPOSURE* | 7 | 59 | 67 |  |
| 7A-17 | *WILDLAND-URBAN INTERFACE (WUI)* | 7 | 59 | 67 |  |
| 7A-18 | *703A.7 Standards of quality* | 7 | 59 | 67 |  |
| 7A-19 | *704A.2* | 7 | 61 | 68 |  |
| 7A-20 | *704A.3* | 7 | 61 | 69 |  |
| 7A-21 | *704A.3.1* | 7 | 62 | 69 |  |
| 7A-22 | *706A.1* | 7 | 62 | 71 |  |
| 7A-23 | *706A.2* | 7 | 62 | 71 |  |
| 7A-24 | *~~706A.2.1~~* | 7 | 63 | 72 |  |
| 7A-25 | *~~706A.3~~* | 7 | 63 | 72 |  |
| 7A-26 | *707A.2* | 7 | 64 | 73 |  |
| 7A-27 | *707A.3* | 7 | 65 | 73 |  |
| 7A-28 | *~~707A.3.1~~* | 7 | 66 | 74 |  |
| 7A-29 | *707A.3.1* | 7 | 66 | 74 |  |
| 7A-30 | *707A.4* | 7 | 66 | 74 |  |
| 7A-31 | *707A.4.1* | 7 | 67 | 75 |  |
| 7A-32 | *707A.5* | 7 | 68 | 75 |  |
| 7A-33 | *707A.6* | 7 | 69 | 75 |  |
| 7A-34 | *707A.7* | 8 | 70 | 76 |  |
| 7A-35 | *707A.8* | 8 | 71 | 76 |  |
| 7A-36 | *707A.9* | 8 | 72 | 76 |  |
| 7A-37 | *707A.10* | 8 | 73 | 76 |  |
| 7A-38 | *707A.11* | 8 | 74 | 77 |  |
| 7A-39 | *709A.3* | 8 | 75 | 77 |  |
| 7A-40 | *709A.4* | 8 | 75 | 77 |  |
| 7A-41 | *SECTION TITLE* | 8 | 75 | 78 |  |
| 7A-42 | *710A.1* | 8 | 75 | 78 |  |
| 7A-43 | *710A.2* | 8 | 76 | 78 |  |
| 7A-44 | *710A.3* | 8 | 76 | 78 |  |
| 7A-45 | *~~710A.3.1~~* | 8 | 77 | 78 |  |
| 7A-46 | *710A.3.1* | 8 | 77 | 78 |  |
| 7A-47 | *710.3.2* | 8 | 78 | 79 |  |
| 7A-48 | *710.3.3* | 8 | 78 | 80 |  |
| 7A-49 | *710.3.4* | 8 | 78 | 81 |  |
| 7A-50 | *710.4* | 8 | 79 | 81 |  |

## Chapter 10- Miscellaneous

| **Item # SFM 04/21 CAM Sub #** | **Section #** | **CAM page #** | **ET Page #** | **ISOR Page #** | **FSOR Page #** |
| --- | --- | --- | --- | --- | --- |
| 10-1 | Means of Egress (carry forward existing amendments) | 11 | 99 | 95 |  |
| 10-2 | 1001.1 General | 11 | 99 | 95 |  |
| 10-3 | 1003.5 Elevation Change | 11 | 100 | 95 |  |
| 10-5 | 1006.2.1 Egress based on occupant load and common path of egress… | 11 | 101 | 96 |  |
| 10-7 | 1006.2.2.2 Refrigeration machinery rooms | 11 | 102 | 97 |  |
| 10-10 | 1009.6.3 Sizes | 11 | 103 | 98 |  |
| 10-15 | *1010.2.8.1 Special provisions school classrooms* | 11 | 106 | 101 |  |
| 10-17 | 1010.2.13 Delayed Egress | 11 | 106 | 101 |  |
| 10-25 | 1024.6 Penetrations | 12 | 109 | 105 |  |
| 10-26 | *1030.6.3.2 Public address system* | 12 | 109 | 105 |  |
| 10-27 | *1032.2.1.2 and 1032.2.13* | 12 | 110 | 105 |  |

## Miscellaneous Chapters

| **Item # SFM 04/21 CAM Sub #** | **Section #** | **CAM page #** | **ET Page #** | **ISOR Page #** | **FSOR Page #** |
| --- | --- | --- | --- | --- | --- |
| 2-1 | Chapter 2 Definitions carry forward | 2 | 6 | 5 |  |
| 2-8 | Photovoltaic (PV Panel System Ground Mounted | 2 | 9 | 8 |  |
| 2-9 | Photovoltaic (PV Panel System Structure, Elevated | 2 | 9 | 8 |  |
| 11A-1 | Chapter 11A Housing Accessibility | 12 | 110 | 106 |  |
| 11B-1 | Chapter 11B Accessibility to Public | 12 | 111 | 106 |  |
| 12-1 | Chapter 12 Interior Environment | 13 | 111 | 106 |  |
| 13-1 | Chapter 13 Energy Efficiency | 13 | 111 | 106 |  |
| 14-1 | Chapter 14 Exterior Walls | 13 | 112 | 107 |  |
| 15-1 | Chapter 15 Roof assemblies and Rooftop Structures | 13 | 112 | 107 |  |
| 16-1 | Chapter 16 Structural Design | 14 | 113 | 107 |  |
| 16A-1 | Chapter 16A Structural Design | 14 | 113 | 108 |  |
| 17A-1 | Chapter 17A Special Inspections and Tests | 15 | 120 | 112 |  |
| 18-1 | Chapter 18 Soils and Foundations | 15 | 120 | 112 |  |
| 18A-1 | Chapter 18A Soils and Foundations | 15 | 121 | 113 |  |
| 19-1 | Chapter 19 Concrete | 15 | 121 | 113 |  |
| 19A-1 | Chapter 19A Concrete | 16 | 121 | 113 |  |
| 20-1 | Chapter 20 Aluminum | 16 | 122 | 113 |  |
| 21-1 | Chapter 21 Masonry | 16 | 122 | 113 |  |
| 21A-1 | Chapter 21A Masonry | 16 | 123 | 114 |  |
| 22-1 | Chapter 22 Steel | 17 | 123 | 114 |  |
| 22A-1 | Chapter 22A Steel | 17 | 123 | 114 |  |
| 24-1 | Chapter 24 Glazing | 17 | 125 | 116 |  |
| 25-1 | Chapter 25 Gypsum Board, Gypsum Panel Products | 18 | 126 | 117 |  |
| 26-1 | Chapter 26 Plastics | 18 | 126 | 117 |  |
| 27-1 | Chapter 27 Electrical | 18 | 127 | 117 |  |
| 28-1 | Chapter 28 Mechanical Systems | 18 | 128 | 118 |  |
| 29-1 | Chapter 29 Plumbing Systems | 19 | 128 | 118 |  |
| 31-1 | Chapter 31 Special Construction | 19 | 129 | 119 |  |
| 31-3 | *3111.3.5, 3111.3.5.1, 3111.3.5.2 Elevated photovoltaic support structures* | 19 | 130 | 120 |  |
| 31-3 | *3111.3.6* Ground mounted photovoltaic | 19 | 130 | 120 |  |
| 31-3 | *3111.3.7* Fire separation distances | 19 | 130 | 120 |  |
| 31A-1 | *Chapter 31A Systems for Window Cleaning…* | 20 |  |  |  |
| 31B-1 | *Chapter 31B Public Pools* | 20 | 131 | 121 |  |
| 31C-1 | *Chapter 31C Radiation* | 20 | 132 | 121 |  |
| 31D-1 | *Chapter 31D Food Establishments* | 20 | 132 | 121 |  |
| 31E-1 | *Chapter 31E Reserved* | 21 |  |  |  |
| 31F-1 | *Chapter 31F Marine Oil Terminals* | 21 | 133 | 122 |  |
| 32-1 | Chapter 32 Encroachments into the public right -of-way | 21 | 133 | 122 |  |
| 33-1 | Chapter 33 Safeguards During Construction | 21 | 134 | 122 |  |
| 34-1 | Chapter 34 Reserved | 22 | 134 | 123 |  |

## Chapter 35 Referenced Standards

| **Item # SFM 04/21 CAM Sub #** | **Section #** | **CAM page #** | **ET Page #** | **ISOR Page #** | **FSOR Page #** |
| --- | --- | --- | --- | --- | --- |
| 35-1 | Chapter 35 Referenced Standards | 22 | 134 | 123 |  |
| 35-3 | NFPA 10-21 | 22 | 135 | 124 |  |
| 35-5 | NFPA 13D-22 | 22 | 139 | 124 |  |
| 35-6 | NFPA 13R-22 | 22 | 140 | 125 |  |
| 35-7 | NFPA 14-19 | 22 | 140 | 125 |  |
| 35-8 | NFPA 24-19 | 22 | 140 | 125 |  |
| 35-9 | NFPA 15-18 | 22 | 140 | 126 |  |
| 35-10 | ~~NFPA 45-19~~ | 22 | 140 | 126 |  |
| 35-11 | NFPA 54-18 | 22 | 141 | 126 |  |
| 35-14 | NFPA 130-*~~14~~* 20 | 22 | 144 | 128 |  |
| 35-15 | NFPA 289-*~~18~~* 19 | 22 | 144 | 128 |  |
| 35-16 | NFPA 502-*~~14~~* *20* | 22 | 144 | 128 |  |
| 35-17 | NFPA 502-*~~14~~* *20* | 22 | 144 | 128 |  |
| A1-1 | Appendices A – H (not adopt) | 23 | 145 | 128 |  |
| A2-1 | Appendix I, Patio Covers – (adopt) | 23 | 145 | 128 |  |
| A3-1 | Appendices J – P (not adopt) | 23 | 145 | 129 |  |

## Automatic Parking Garage Group

| **Item # SFM 04/21 CAM Sub #** | **Section #** | **CAM page #** | **ET Page #** | **ISOR Page #** | **FSOR Page #** |
| --- | --- | --- | --- | --- | --- |
| 2-7.2 | 202 MECHANICAL-ACCESS ENCLOSED PARKING GARAGE | 2 | 8 | 8 |  |
| 4-3.1 | Chapter 4, Special Detailed Requirements… | 3 | 15 | 15 |  |
| 4-3.1 | *~~406.6.4-406.6.4.1~~* | 3 | 15 | 15 |  |
| 4-3.1 | 406.6.4-406.6.4.1 | 3 | 15 | 15 |  |
| 9-9 | *~~903.2.10.2~~*, 903.2.10.2 | 9 | 82 | 85 |  |

## Energy Storage System Group

| **Item # SFM 04/21 CAM Sub #** | **Section #** | **CAM page #** | **ET Page #** | **ISOR Page #** | **FSOR Page #** |
| --- | --- | --- | --- | --- | --- |
| 2-2 | CAPACITOR ENERGY STORAGE SYSTEM | 2 | 6 | 5 |  |
| 2-5 | ENERGY STORAGE SYSTEM, ELECTROCHEMICAL | 2 | 7 | 6 |  |
| 2-7 | *Large-Scale Fire Testing* | 2 | 8 | 7 |  |
| 3-5 | 306.2 Moderate-hazard factory industrial, Group F | 3 | 12 | 12 |  |
| 4-11.2 | TABLE 414.5.1 | 4 | 23 | 22 |  |
| 7-4 | 707.4 Exterior Walls | 5 | 44 | 55 |  |
| 7-7 | TABLE 716.1(2) footnote f and h | 6 | 45 | 57 |  |
| 7-7 | TABLE 716.1(3) footnote c | 6 | 45 | 57 |  |
| 7-7 | 716.2.5.4.1 | 6 | 45 | 57 |  |
| 7-7 | 716.3.2.1.1.1 | 6 | 45 | 57 |  |
| 9-7 | TABLE 903.2.11.6 | 9 | 81 | 83 |  |
| 9-21 | 907.2.23 | 10 | 90 | 90 |  |
| 9-30 | 911.1 General | 10 | 94 | 94 |  |
| 9-31 | TABLE 911.1 and footnote g | 10 | 94 | 94 |  |
| 35-13 | NFPA 111-19 | 22 | 144 | 127 |  |

## Elevator Workgroup

| **Item # SFM 04/21 CAM Sub #** | **Section #** | **CAM page #** | **ET Page #** | **ISOR Page #** | **FSOR Page #** |
| --- | --- | --- | --- | --- | --- |
| 9-8 | 903.3.1.1 NFPA 13 sprinkler systems | 9 | 81 | 84 |  |
| 9-8 | 903.3.1.1.1 Exempt locations | 9 | 81 | 84 |  |
| 9-11 | 903.3.1.1.1 Exempt locations | 9 | 83 | 86 |  |
| 30-1 | Chapter 30, Elevator and Conveying Systems | 19 | 129 | 119 |  |
| 30-2 | 3006.3 | 19 | 129 | 119 |  |

## I-2 and I-2.1 Occupancy

| **Item # SFM 04/21 CAM Sub #** | **Section #** | **CAM page #** | **ET Page #** | **ISOR Page #** | **FSOR Page #** |
| --- | --- | --- | --- | --- | --- |
| 3-2 | 304.1 Business Group B… | 3 | 11 | 11 |  |
| 3-4 | 305.2 (?) | 3 | 11 | 11 |  |
| 3-6 | 308.3.3 Institutional Group I-2.1 | 3 | 12 | 12 |  |
| 3-7 [I-4] | 308.5 Institutional Group I-4 | 3 | 13 | 12 |  |
| 4-3 | 403.4.8.1 Equipment room | 3 | 15 | 14 |  |
| 4-4 | 407.2 Corridors continuity and separation | 3 | 17 | 15 |  |
| 4-5 | 407.2.6 Nursing home cooking facilities | 3 | 17 | 16 |  |
| 4-6 | 407.2.7 Domestic cooking appliances | 3 | 17 | 16 |  |
| 4-7 | 407.3.1.1 Door construction | 3 | 18 | 17 |  |
| 4-8 | 407.3.1.2 Swing of corridor doors | 3 | 19 | 18 |  |
| 4-9 | 407.4.4.5 Care suites containing sleeping room areas | 3 | 19 | 18 |  |
| 4-10 | 407.5 Smoke Barriers | 3 | 19 | 19 |  |
| 4-11 | 408.8.4 | 3 | 20 | 20 |  |
| 4-12 | 422.6 Electrical Systems | 4 | 23 | 23 |  |
| 4-13 | 422.7 Domestic cooking | 4 | 24 | 23 |  |
| 4-14 | 436.1 | 4 | 24 | 24 |  |
| 4-15 | 441.1 | 4 | 26 | 25 |  |
| 5-3 | TABLE 504.3 footnote f | 4 | 32 | 35 |  |
| 5-5 | TABLE 504.4 footnote f. | 4 | 33 | 39 |  |
| 5-6 | TABLE 504.4 footnote p | 4 | 33 | 40 |  |
| 4-8 | 407.2.1.2 Swing of corridor doors | 3 | 19 | 18 |  |
| 5-8 | TABLE 506.2 footnote f | 4 | 34 | 43 |  |
| 5-6 | TABLE 504.4 footnote p | 4 | 33 | 40 |  |
| 5-7 | TABLE 506.2 Allowable Area Factor | 4 | 34 | 40 |  |
| 5-9 | 508.2.4 Separation of occupancies | 4 | 34 | 43 |  |
| 5-10 | TABLE 508.4 footnote i | 4 | 35 | 45 |  |
| 5-11 | TABLE 508.4 footnote j | 4 | 36 | 45 |  |
| 5-13 | TABLE 509.1 Incidental Uses | 5 | 37 | 47 |  |
| 7-5 | 708.1 General | 5 | 44 | 56 |  |
| 7-6 | TABLE 716.1(2) | 5 | 45 | 57 |  |
| 7-10 | 171.5.4.1 Corridors | 6 | 47 | 59 |  |
| 9-16 | 907.2.6.4 | 9 | 87 | 89 |  |
| 9-17 | 907.2.6.5 | 9 | 87 | 89 |  |
| 9-18 | 907.2.11.2.1-907.2.11.2.5 | 10 | 87 | 89 |  |
| 9-23 | 907.5.1, 907.5.1.1 | 10 | 91 | 91 |  |
| 9-24 | 907.5.2.1 | 10 | 91 | 91 |  |
| 9-25 | 207.5.2.1.4 | 10 | 92 | 92 |  |
| 9-26 | 907.5.2.3 | 10 | 92 | 92 |  |
| 10-4 | 1005.7.2 Other projections | 11 | 100 | 96 |  |
| 10-6 | Table 1006.2.1 footnote I | 11 | 101 | 96 |  |
| 10-9 | 1008.3.2 Buildings | 11 | 103 | 98 |  |
| 10-10 | 1009.6.3 | 11 | 103 | 98 |  |
| 10-11 | 1009.12 Alarms… | 11 | 104 | 98 |  |
| 10-12 | 1010.1.1 Size of doors | 11 | 104 | 99 |  |
| 10-13 | 1010.1.4 Floor elevation | 11 | 105 | 100 |  |
| 10-14 | 1010.2.5 Bolt locks | 11 | 105 | 100 |  |
| 10-16 | 1010.14 Controlled egress… | 11 | 106 | 101 |  |
| 10-18 | 1013.6.3 Power source | 11 | 107 | 101 |  |
| 10-20 | TABLE 1020.2 | 12 | 107 | 102 |  |
| 10-21 | TABLE 1020.3 footnote a | 12 | 108 | 103 |  |
| 10-22 | 1020.5 Dead ends | 12 | 108 | 103 |  |
| 10-24 | 1022.3 Basement exits in Group I-2 occupancies | 12 | 109 | 105 |  |
| 27-2 | 2702.1.2 General, 2702.1.2 | 18 | 127 | 117 |  |
| 35-4 | NFPA 13-22 | 22 | 135 | 124 |  |
| 35-12 | NFPA 72-22 | 22 | 141 | 126 |  |
| 3-2 | 304.1 Business Group B… | 3 | 11 | 11 |  |

## I-3 Occupancy

| **Item # SFM 04/21 CAM Sub #** | **Section #** | **CAM page #** | **ET Page #** | **ISOR Page #** | **FSOR Page #** |
| --- | --- | --- | --- | --- | --- |
| 4-11 | 408.8.4 Special Detailed Requirements… | 3 | 20 | 20 |  |
| 5-9 | 508.2.4 Separation of occupancies [both I-2 and I-3] | 4 | 34 | 43 |  |
| 5-10 | TABLE 508.4 footnote i [both I-2 and I-3] | 4 | 35 | 45 |  |
| 7-6 | 709.3 Fire-resistance rating | 5 | 45 | 57 |  |

## L-Occupancy

| **Item # SFM 04/21 CAM Sub #** | **Section #** | **CAM page #** | **ET Page #** | **ISOR Page #** | **FSOR Page #** |
| --- | --- | --- | --- | --- | --- |
| 4-13.1 | 428 | 4 | 24 | 24 |  |
| 10-23 | 1020.6 Air movement in corridors | 12 | 109 | 104 |  |
| 27-1 | 2702.2.12.1 Group L Occupancy | 18 | 127 | 118 |  |
| 3-3 | ~~304.4~~ Higher education laboratories | 3 | 11 | 11 |  |

## I-4 Child Care and Day Care Group

| **Item # SFM 04/21 CAM Sub #** | **Section #** | **CAM page #** | **ET Page #** | **ISOR Page #** | **FSOR Page #** |
| --- | --- | --- | --- | --- | --- |
| 2-3 | *CHILD CARE* | 2 | 6 | 5 |  |
| 2-4 | DAY-CARE | 2 | 7 | 6 |  |
| 2-10 | TODDLER | 2 | 10 | 10 |  |
| 3-4 | 305.2 Group E, child care facilities | 3 | 11 | 11 |  |
| 3-4 | 305.2.1 Within places of religious worship. | 3 | 11 | 11 |  |
| 3-7 | 308.5 Institutional Group I-4, day care facilities. ~~308.5.1~~ | 3 | 13 | 12 |  |
| 3-8 | 310.3 Residential Group R-2 | 3 | 13 | 13 |  |
| 3-7 [I-4] | 308.5 Institutional Group I-4 | 3 | 13 | 12 |  |
| 4-14 | 436.1 Group I-4 | 4 | 24 | 24 |  |
| 4-15 | *436.1.1 Egress* | 4 | 26 | 25 |  |
| 4-15.1 | *441.1 Health and Safety Code Section* | 4 | 26 | 25 |  |
| 4-16 | 452 *Title* | 4 | 26 | 25 |  |
| 4-17 | *452.1 Special provisions* | 4 | 27 | 26 |  |
| 4-18 | *455.2, 455.6 Compliance* | 4 | 28 | 26 |  |
| 5-6 | TABLE 504.4 *footnote p* | 4 | 33 | 30 |  |
| 5-7 | TABLE 506.2 Allowable Area Factor | 4 | 34 | 40 |  |
| 9-15 | 907.2.3 Group E | 9 | 86 | 89 |  |
| 9-17 | *~~907.2.6.4~~*, *907.2.6.5* | 9 | 87 | 89 |  |
| 10-8 | *1006.2.2.8 Group I-4 means of egress* | 11 | 103 | 97 |  |

## Special Amusement Areas Group

| **Item # SFM 04/21 CAM Sub #** | **Section #** | **CAM page #** | **ET Page #** | **ISOR Page #** | **FSOR Page #** |
| --- | --- | --- | --- | --- | --- |
| 2-6 | *INFLATABLE AMUSEMENT DEVICE* | 2 | 7 | 6 |  |
| 2-9.1 | 202 PUZZLE ROOM | 2 | 9 | 9 |  |
| 2-9.2 | 202 SPECIAL AMUSEMENT AREA | 2 | 9 | 9 |  |
| 4-11.1 | 411 Special Amusement Areas Title | 4 | 20 | 20 |  |
| 4-11.1 | 411.1 | 4 | 20 | 20 |  |
| 4-11.1 | *~~411.2~~*, 411.2 | 4 | 20 | 20 |  |
| 4-11.1 | *~~411.3~~*, 411.3 | 4 | 20 | 20 |  |
| 4-11.1 | 411.4 | 4 | 20 | 20 |  |
| 4-11.1 | 411.5 | 4 | 20 | 20 |  |
| 4-11.1 | 411.6 | 4 | 20 | 20 |  |
| 4-11.1 | 411.7 | 4 | 20 | 20 |  |
| 10-19 | TABLE 1017.2 | 11 | 107 | 102 |  |
| 35-2 | ASTM F2374 | 22 | 134 | 123 |  |

## Tall Wood and Heavy Timber Group

| **Item # SFM 04/21 CAM Sub #** | **Section #** | **CAM page #** | **ET Page #** | **ISOR Page #** | **FSOR Page #** |
| --- | --- | --- | --- | --- | --- |
| 1-11 | 110.3.12 Type IV-A, IV-B and IV-C | 1 | 5 | 3 |  |
| 2-7.1 | 202 MASS TIMBER | 2 | 8 | 8 |  |
| 2-7.2 | 202 | 2 | 8 |  |  |
| 2-11 | 202 WALL, LOAD-BEARING | 2 | 10 | 10 |  |
| 5-1 | Chapter 5, General Building Heights and Areas | 4 | 32 | 30 |  |
| 5-2 | TABLE 504.3 | 4 | 32 | 30 |  |
| 5-4 | TABLE 504.4 | 4 | 33 | 36 |  |
| 5-7 | TABLE 506.2 Allowable Area Factor | 4 | 34 | 40 |  |
| 5-12 | 508.4.4.1 Construction | 5 | 36 | 46 |  |
| 5-14 | 509.4.1.1 Type IV-B and IV-C | 5 | 37 | 47 |  |
| 6-1 | Chapter 2, Types of Construction | 5 | 38 | 48 |  |
| 6-2 | TABLE 601 footings c and g | 5 | 38 | 49 |  |
| 6-3 | TABLE 602 | 5 | 39 | 51 |  |
| 6-4 | 602.4 Type IV | 5 | 39 | 51 |  |
| 7-1 | Chapter 7, Fire-Resistance Ratings and Fire Tests | 5 | 41 | 53 |  |
| 7-2 | *~~703.8, 703.9,~~* 703.6, 703.7 | 5 | 41 | 54 |  |
| 7-3 | *~~704.6.1,~~* 704.6.1 | 5 | 43 | 55 |  |
| 7-11 | 718.2.1 Fire blocking | 6 | 48 | 60 |  |
| 7-12 | 722.7 , 722.7.1 | 6 | 48 | 60 |  |
| 7-12 | TABLES 722.7.1(1) & 722.7.1(2), | 6 | 48 | 60 |  |
| 7-12 | 722.7.2, 722.7.2.1 | 6 | 48 | 60 |  |
| 7-12 | 722.7.2.2 | 6 | 48 | 60 |  |
| 9-34 | 913.6 Fire pumps in high-rise buildings | 11 | 96 | 95 |  |
| 9-35 | 914.3.1.2 | 11 | 96 | 95 |  |
| 17-1 | Chapter 17, Special Inspections and Tests | 14 | 113 | 108 |  |
| 17-2 | 1705.5.3 and TABLE 1705.5.3 | 14 | 114 | 108 |  |
| 17-2 | 1705.11.1 | 13 | 114 | 108 |  |
| 17-2 | 1705.11.2 | 13 | 114 | 108 |  |
| 17-2 | 1705.12.2 | 13 | 114 | 108 |  |
| 17-2 | 1705.13.2 | 13 | 114 | 108 |  |
| 17-2 | 1705.13.3 | 13 | 114 | 108 |  |
| 17-2 | 1705.15 | 13 | 114 | 108 |  |
| 17-2 | 1705.16 | 13 | 114 | 108 |  |
| 17-2 | 1705.20 | 13 | 114 | 108 |  |
| 23-1 | Chapter 23, Wood | 17 | 124 | 114 |  |
| 23-2 | 2304.10.1, ~~2304.10.2~~ | 17 | 124 | 114 |  |
| 23-2 | 2304.10.1 | 17 | 124 | 114 |  |
| 23-2 | 2304.11.3 | 17 | 124 | 114 |  |
| 23-2 | 2304.11.4 | 16 | 124 | 114 |  |
| 31-2 | 3102.3, 3102.6.1.1 | 19 | 130 | 119 |  |
| 35-2.1 | ASTM D3498-03 (2011) | 22 | 135 | 123 |  |

## Photovoltaic

| **Item # SFM 04/21 CAM Sub #** | **Section #** | **CAM page #** | **ET Page #** | **ISOR Page #** | **FSOR Page #** |
| --- | --- | --- | --- | --- | --- |
| 9-8 | *903.3.1.1.3 Solar photovoltaic power systems* | 9 | 81 | 84 |  |
| 9-11 | 903.3.1.1.3 *3 Solar photovoltaic power systems* | 9 | 83 | 87 |  |