# COMMISSION ACTION MATRIX HEALTH FACILITIES (HF) CODE ADVISORY COMMITTEE – January 31, 2023

## 2022 CALIFORNIA BUILDING CODE, TITLE 24, PART 2, volume 1 AGENCY: OFFICE OF STATEWIDE HEALTH PLANNING AND DEVELOPMENT, OSHPD 02/22

### LEGEND:

**CAC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Agency Responses:** Accept, Disagree, Withdraw

**CBSC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Matrix Paper Color** (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

* Model Code language appears upright
* Existing California amendments appear in *italic*
* Amended model code or new California amendments appear *underlined & italic*
* Repealed model code language appears ~~upright and in strikeout~~
* Repealed California amendments appear in *~~italic and strikeout~~*
* Ellipses ( ...) indicate existing text remains unchanged

### Chapter 1 SCOPE AND ADMINISTRATION, DIVISION I CALIFORNIA ADMINISTRATION, SECTION 1.10 OFFICE OF STATEWIDE HEALTH PLANNING AND DEVELOPMENT

Amend section 1.10.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 1** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| OSHPD 02/22-1-1 | ***1.10.2 OSHPD 2, ~~2A and 2B~~*** |  |  |  | OSHPD proposes to remove reference to OSHPD 2A and 2B. |  |
| OSHPD 02/22-1-2 | ***1.10.6 OSHPD 6*** |  |  |  | OSHPD proposed to add OSHPD 6 to identify new requirements for Chemical Dependency Recovery Hospitals. |  |
| OSHPD 02/22-1-3 | ***1.10.6.1 Applicable administration standards*** |  |  |  | OSHPD proposed to add applicable administrative standards for OSHPD 6. |  |
| OSHPD 02/22-1-4 | ***1.10.6.2 Applicable building standards*** |  |  |  | OSHPD proposed to add applicable building standards for OSHPD 6. |  |
| OSHPD 02/22-1-5 | ***1.10.6.3 Identification of amendments*** |  |  |  | OSHPD proposed to add identification of amendments for OSHPD 6. |  |

### Chapter 2 DEFINITION, Section 202 Definitions

Amend definition of Equipment.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 2** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| OSHPD 02/22-2-1 | ***(4) INTERIM EQUIPMENT*** |  |  |  | OSHPD proposes to remove incorrect reference and clarify the definition. |  |
| OSHPD 02/22-2-2 | ***(6) MOVABLE EQUIPMENT*** |  |  |  | OSHPD proposes to clarify the definition adding the word “fixed.” |  |

### Chapter 12 INTERIOR ENVIRONMENT, SECTION 1224 [OSHPD 1] HOSPITALS, 1224.1 Scope. [OSHPD 1] 1224.3 Definitions. 1224.4 GENERAL CONSTRUCTION.

Amend sections 1224.1, 1224.3 and 1224.4.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 3** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| OSHPD 02/22-3-1 | ***1224.1 Scope. [OSHPD 1]*** |  |  |  | OSHPD proposes to add a reference to section 1229 to address Chemical Dependency Recovery Hospitals. |  |
| OSHPD 02/22-3-2 | ***HANDWASHING STATION*** |  |  |  | OSHPD proposes to remove redundant words. |  |
| OSHPD 02/22-3-3 | ***PATIENT ROOM*** |  |  |  | OSHPD proposes to add language to include other services that require overnight stays of 24 hours in a health facility. |  |
| OSHPD 02/22-3-4 | ***TREATMENT ROOM*** |  |  |  | OSHPD proposes to add a new Treatment Room definition. |  |
| OSHPD 02/22-3-5 | ***1224.4.1.1 Services/systems and utilities.*** |  |  |  | OSHPD proposes to correct referenced code section. |  |
| OSHPD 02/22-3-6 | ***1224.4.4.4.1 Medication preparation room.***  ***1224.4.4.4.2 Self-contained medication dispensing unit.*** |  |  |  | OSHPD proposes to revise all references from “medicine” to “medication.” |  |
| OSHPD 02/22-3-7 | ***1224.4.4.8.1 Staff toilets.*** |  |  |  | OSHPD proposes to revise a pointer from Table 4-3 to Table 4-2 in the California Plumbing Code. |  |
| OSHPD 02/22-3-8 | ***TABLE 1224.4.6.1*** ***Station outlets for oxygen, vacuum (suction) and medical air systems*** |  |  |  | OSHPD proposes to revise line 15 and 39 in the Station outlets for oxygen, vacuum, and medical air system Table. |  |
| OSHPD 02/22-3-9 | ***1224.4.7.1 Width.*** |  |  |  | OSHPD proposes to remove reference to psychiatric care and include stretchers. |  |
| OSHPD 02/22-3-10 | ***1224.4.7.3 Outpatient services.*** |  |  |  | OSHPD proposes to remove reference to outpatient departments and adding outpatient department corridor widths. |  |
| OSHPD 02/22-3-11 | ***1224.4.9.2 Operation and sills.*** |  |  |  | OSHPD proposes to revise language for windowsill heights in special nursing care areas. |  |
| OSHPD 02/22-3-12 | ***TABLE 1224.4.11*** ***Acceptable ceiling and carpet locations*** |  |  |  | OSHPD proposes to add sterile core areas to surgical units. |  |
| OSHPD 02/22-3-13 | ***TABLE 1224.4.11.4a Examination/treatment, imaging, procedure, and operating room classification*** |  |  |  | OSHPD proposes to revise language for the use of a Class 1 imaging room, which was a request of the California Department of Public Health. |  |

### Chapter 12 INTERIOR ENVIRONMENT, SECTION 1224 [OSHPD 1] HOSPITALS, 1224.14 NURSING SERVICE SPACE.

Amend section 1224.14.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 4** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| OSHPD 02/22-4-1 | ***1224.14.2.16 Patient toilet room(s).*** |  |  |  | OSHPD proposes to revise “shall” to “should” |  |

### Chapter 12 INTERIOR ENVIRONMENT, SECTION 1224 [OSHPD 1] HOSPITALS, 1224.15 SURGICAL SERVICE SPACE.

Amend section 1224.15.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 5** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| OSHPD 02/22-5-1 | ***1224.15.3.1 Control station.*** |  |  |  | OSHPD proposes to clarify that staff changing rooms do not need to enter the surgical area via the control desk. |  |

### Chapter 12 INTERIOR ENVIRONMENT, SECTION 1224 [OSHPD 1] HOSPITALS, 1224.18 RADIOLOGICAL/DIAGNOSTIC IMAGING SERVICE SPACE.

Amend section 1224.18.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 6** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| OSHPD 02/22-6-1 | ***1224.18.3.1 Spaces required.*** |  |  |  | OSHPD proposes to provide a clarification on the accessible clearances for a CT scanner. |  |

### Chapter 12 INTERIOR ENVIRONMENT, SECTION 1224 [OSHPD 1] HOSPITALS, 1224.19 PHARMACEUTICAL SERVICE SPACE.

Amend section 1224.19.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 7** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| OSHPD 02/22-7-1 | ***~~1224.19.2.1.1.1 Size.~~*** |  |  |  | OSHPD proposes to remove the minimum size for a receiving room or area. |  |
| OSHPD 02/22-7-2 | ***1224.19.2.1.3.1 Size.*** |  |  |  | OSHPD proposes to remove the minimum area for work stations in non-sterile compounding areas. |  |
| OSHPD 02/22-7-3 | ***~~1224.19.3.2.2.1 Size.~~*** |  |  |  | OSHPD proposes to remove the minimum size for a nonhazardous buffer room. |  |
| OSHPD 02/22-7-4 | ***1224.19.3.2.2.~~2~~1 Air quality.*** |  |  |  | OSHPD proposes to change the section number. |  |
| OSHPD 02/22-7-5 | ***1224.19.3.2.2.~~3~~2 Finishes.*** |  |  |  | OSHPD proposes to add “work surfaces” and ceiling requirements and change section number. |  |
| OSHPD 02/22-7-6 | ***1224.19.3.2.2.~~4~~3***  ***1224.19.3.2.2.~~5~~4***  ***1224.19.3.2.2.~~6~~5*** |  |  |  | OSHPD proposes to change the section number. |  |
| OSHPD 02/22-7-7 | ***1224.19.3.2.3.6 Finishes.*** |  |  |  | OSHPD proposes to add “work surfaces” and ceiling requirements for anteroom in Nonhazardous sterile preparation area. |  |
| OSHPD 02/22-7-8 | ***1224.19.3.2.4.3 Finishes.*** |  |  |  | OSHPD proposes to add “work surfaces” and ceiling requirements for segregated compounding area in nonhazardous sterile preparation area. |  |
| OSHPD 02/22-7-9 | ***1224.19.3.3.2.1 ~~Size~~ Reserved.*** |  |  |  | OSHPD proposes to remove the minimum size requirements for a buffer room in hazardous sterile preparation room. |  |
| OSHPD 02/22-7-10 | ***1224.19.3.3.2.3 Finishes.*** |  |  |  | OSHPD proposes to add “work surfaces” and ceiling requirements for the buffer room in hazardous sterile preparation room. |  |
| OSHPD 02/22-7-11 | ***1224.19.3.3.3.1 Size.*** |  |  |  | OSHPD proposes to remove minimum size for the anteroom in hazardous sterile preparation room. |  |
| OSHPD 02/22-7-12 | ***1224.19.3.3.3.6 Finishes.*** |  |  |  | OSHPD proposes to add “work surfaces” and ceiling requirements for anteroom in hazardous sterile preparation room. |  |
| OSHPD 02/22-7-13 | ***1224.19.3.3.4.3 Finishes.*** |  |  |  | OSHPD proposes to add “work surfaces” and ceiling requirements for segregated compounding area in hazardous sterile preparation room. |  |

### Chapter 12 INTERIOR ENVIRONMENT, SECTION 1224 [OSHPD 1] HOSPITALS, 1224.22 CENTRAL STERILE SUPPLY.

Amend section 1224.22.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 8** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| OSHPD 02/22-8-1 | ***1224.22.1Minimum requirements.*** |  |  |  | OSHPD proposes to replace “and” to “or.” |  |

### Chapter 12 INTERIOR ENVIRONMENT, SECTION 1224 [OSHPD 1] HOSPITALS, 1224.24 MORGUE AND AUTOPSY FACILITIES.

Amend section 1224.24.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 9** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| OSHPD 02/22-9-1 | ***1224.24.1*** |  |  |  | OSHPD proposes to amend requirements on providing a morgue with autopsy facilities. |  |
| OSHPD 02/22-9-2 | ***1224.24.2*** |  |  |  | OSHPD proposes to add a section amending requirements on providing a morgue with autopsy facilities. |  |
| OSHPD 02/22-9-3 | ***1224.24.~~2~~3 Minimum requirements*.** |  |  |  | OSHPD proposes to change section number and add an option for a scrub sink. |  |

### Chapter 12 INTERIOR ENVIRONMENT, SECTION 1224 [OSHPD 1] HOSPITALS, 1224.29 INTENSIVE CARE UNITS.

Amend section 1224.29.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 10** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| OSHPD 02/22-10-1 | ***1224.29.2.5 Control station***. |  |  |  | OSHPD proposes to add gowning area that was mistakenly removed in previous code revision. |  |

### Chapter 12 INTERIOR ENVIRONMENT, SECTION 1224 [OSHPD 1] HOSPITALS, 1224.32 OBSTETRICAL FACILITIES (PERINATAL UNIT SPACE).

Amend section 1224.32.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 11** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| OSHPD 02/22-11-1 | ***1224.32.4.2 Space requirements***. |  |  |  | OSHPD proposes to amend requirements for an infant resuscitation room and resuscitation area. |  |

### Chapter 12 INTERIOR ENVIRONMENT, SECTION 1224 [OSHPD 1] HOSPITALS, 1224.33 EMERGENCY SERVICE.

Amend section 1224.33.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 12** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| OSHPD 02/22-12-1 | ***1224.33.2.7.1 Behavioral health observation area*.** |  |  |  | OSHPD proposes to add a section to provide behavioral health observation area requirements. |  |
| OSHPD 02/22-12-2 | ***1224.33.3.15 Staff lounge*.** |  |  |  | OSHPD proposes to remove the requirement of staff clothing change areas in staff lounge. |  |
| OSHPD 02/22-12-3 | ***1224.33.3.16 Staff clothing change areas*.** |  |  |  | OSHPD proposes to add the requirement of separate staff clothing change areas. |  |
| OSHPD 02/22-12-4 | ***1224.33.1.~~6~~.7***  ***1224.33.1.~~7~~.8***  ***1224.33.1.~~7~~.9*** |  |  |  | OSHPD proposes to change the section number. |  |
| OSHPD 02/22-12-5 | ***1224.33.4.2 Fast-track area*.** |  |  |  | OSHPD proposes to add minimum clear floor area requirements for multi-patient rooms and clarify requirements for handwashing stations. |  |

### Chapter 12 INTERIOR ENVIRONMENT, SECTION 1224 [OSHPD 1] HOSPITALS, 1224.34 NUCLEAR MEDICINE.

Amend section 1224.34.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 13** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| OSHPD 02/22-13-1 | ***1224.34.1.2.2 Positron Emission Tomography (PET)*.** |  |  |  | OSHPD proposes to add flexibility on having a control room. |  |
| OSHPD 02/22-13-2 | ***1224.34.1.2.3 Single-Photon Emission Computed Tomography (SPECT) Facilities.*** |  |  |  | OSHPD proposes to add minimum clearance between each scanner and any mobile screen used between bays and add flexibility on having a control room. |  |

### Chapter 12 INTERIOR ENVIRONMENT, SECTION 1224 [OSHPD 1] HOSPITALS, 1224.35 REHABILITATION THERAPY DEPARTMENT.

Amend section 1224.35.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 14** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| OSHPD 02/22-14-1 | ***1224.35.2 Physical therapy service space***. |  |  |  | OSHPD proposes to add language that clarified that the space required for the patient care station is not subtractive. |  |

### Chapter 12 INTERIOR ENVIRONMENT, SECTION 1225 [OSHPD 2] SKILLED NURSING AND INTERMEDIATE-CARE FACILITIES

Amend sections 1225.4 and 1225.5.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 15** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| OSHPD 02/22-15-1 | ***1225.4.1.6.3 Bathroom facilities***. |  |  |  | OSHPD proposes to remove the requirement for one bathtub per floor in a Skilled Nursing Facility. |  |
| OSHPD 02/22-15-2 | ***1225.5.1.2.5 Operation and sills*.** |  |  |  | OSHPD proposes to add language that aligns with CBC Section 1224.4.9.2 Operation and sills. |  |
| OSHPD 02/22-15-3 | ***1225.5.1.2.~~5~~6***  ***1225.5.1.2.~~6~~7*** |  |  |  | OSHPD proposes to change the section number. |  |

### Chapter 12 INTERIOR ENVIRONMENT, SECTION 1226 [OSHPD 3] CLINICS

Amend sections 1226.6 and 1226.8.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 16** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| OSHPD 02/22-16-1 | ***1226.6.1.3.4 Imaging*.** |  |  |  | OSHPD proposes to remove the confusion for dental clinics that do not have panographic x-ray systems by removing the word “also”. |  |
| OSHPD 02/22-16-2 | ***1226.8.2.12 Housekeeping room*.** |  |  |  | OSHPD proposes to correct incorrect reference section. |  |

### Chapter 12 INTERIOR ENVIRONMENT, SECTION 1228 [OSHPD 5] ACUTE PSYCHIATRIC HOSPITALS.

Amend sections 1228.2, 1228.3, 1228.4, 1228.13, 1228.14 and 1228.24.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 17** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| OSHPD 02/22-17-1 | ***1228.2 Application*.** |  |  |  | OSHPD proposes to include provision for medical, non-medical and the Patient Safety Risk Assessment. |  |
| OSHPD 02/22-17-2 | ***TAMPER RESISTANT*** |  |  |  | OSHPD proposes to add Tamper Resistant definition. |  |
| OSHPD 02/22-17-3 | ***1228.4.4.1.4 Seclusion room.*** |  |  |  | OSHPD proposes to correct referenced section number. |  |
| OSHPD 02/22-17-4 | ***1228.4.9 Windows and screens.*** |  |  |  | OSHPD proposes to add an option to use translucent film on glasing and add language to clarify requirements for glazed area in the indoor activity space and dining space. |  |
| OSHPD 02/22-17-5 | ***1228.13.2 Physical therapy service space.***  ***1228.13.3 Occupational therapy service space.***  ***1228.13.4 Speech pathology and/or audiology service space.*** |  |  |  | OSHPD proposes to add “Where provided” that was mistakenly deleted during 2021 code adoption cycle. |  |
| OSHPD 02/22-17-6 | ***1228.14.1.2 Space requirements.*** |  |  |  | OSHPD proposes to add language to clarify that the 110 square feet required for a psychiatric room is inclusive of the bed footprint. |  |
| OSHPD 02/22-17-7 | ***1228.14.2.5 Examination and treatment room.*** |  |  |  | OSHPD proposes to add a reference to treatment room section. |  |
| OSHPD 02/22-17-8 | ***1228.24.1,***  ***1228.24.2,***  ***1228.24.~~2~~3*** |  |  |  | OSHPD proposes to amend section 1228.24 to align with the requirements stated in Title 22 for when a morgue is required. |  |

### Chapter 12 INTERIOR ENVIRONMENT, SECTION 1229 [OSHPD 6] CHEMICAL DEPENDENCY RECOVERY HOSPITALS

Add section 1229.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 18** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| OSHPD 02/22-18-1 | ***1229.1 SCOPE.*** |  |  |  | OSHPD proposes to add a section with a scope of work for chemical dependency recovery hospitals. |  |
| OSHPD 02/22-18-2 | ***1229.1.1 Distinct Part.*** |  |  |  | OSHPD proposes to add a section explaning ”distinct part”, which means an identifiable unit of a hospital or a freestanding facility. |  |
| OSHPD 02/22-18-3 | ***1229.2 Application.*** |  |  |  | OSHPD proposes to add a section about application. |  |
| OSHPD 02/22-18-4 | ***1229.2.1 Functional program.*** |  |  |  | OSHPD proposes to add a section about functional program. |  |
| OSHPD 02/22-18-5 | ***1229.3 Definitions BASIC SERVICES.*** |  |  |  | OSHPD proposes to add basic service definition. |  |
| OSHPD 02/22-18-6 | ***CHEMICAL DEPENDENCY RECOVERY HOSPITAL.*** |  |  |  | OSHPD proposes to add chemical dependancy recovery hospital definition. |  |
| OSHPD 02/22-18-7 | ***HOSPITAL.*** |  |  |  | OSHPD proposes to add hospital definition. |  |
| OSHPD 02/22-18-8 | ***1229.4 GENERAL CONSTRUCTION.***  ***1229.4.1 Reserved.***  ***1229.4.2 Reserved.***  ***1229.4.3 Reserved.*** |  |  |  | OSHPD proposes to add a section with requirements for general construction. |  |
| OSHPD 02/22-18-9 | ***1229.4.4 Support areas for patients.***  ***1229.4.4.1 Examination and treatment rooms.***  ***1229.4.4.1.1 Examination room.***  ***1229.4.4.1.1.1 Location.***  ***1229.4.4.1.1.2 Space requirements.***  ***1229.4.4.1.2 Treatment room.*** |  |  |  | OSHPD proposes to add a section with requirements for support areas for patients. |  |
| OSHPD 02/22-18-10 | ***1229.4.5 Outpatient waiting rooms.*** |  |  |  | OSHPD proposes to add a section with requirements foroutpatient waiting rooms. |  |
| OSHPD 02/22-18-11 | ***1229.4.6 Reserved.*** |  |  |  | OSHPD proposes to add a reserved section. |  |
| OSHPD 02/22-18-12 | ***1229.4.7 Corridors.*** |  |  |  | OSHPD proposes to add a section with requirements for corridors. |  |
| OSHPD 02/22-18-13 | ***1229.4.8 Doors and door openings.*** |  |  |  | OSHPD proposes to add a section with requirements for doors and door openings. |  |
| OSHPD 02/22-18-14 | ***1229.4.9 Windows and screens.*** |  |  |  | OSHPD proposes to add a section with requirements for minimum net glaze area for windows and screens. |  |
| OSHPD 02/22-18-15 | ***1229.4.10 Ceiling heights.*** |  |  |  | OSHPD proposes to add a section with requirements for ceiling height. |  |
| OSHPD 02/22-18-16 | ***1229.4.11 Interior finishes.*** |  |  |  | OSHPD proposes to add a section with requirements for interior finishes. |  |
| OSHPD 02/22-18-17 | ***1229.4.12 Noise control.*** |  |  |  | OSHPD proposes to add a section with requirements for noise control. |  |
| OSHPD 02/22-18-18 | ***1229.5 Communication system.*** |  |  |  | OSHPD proposes to add a section with requirements for communication system. |  |
| OSHPD 02/22-18-19 | ***BASIC SERVICES***  ***1229.6 Reserved.***  ***1229.7 Reserved.*** |  |  |  | OSHPD proposes to add reserved sections. |  |
| OSHPD 02/22-18-20 | ***1229.8 PATIENT COUNSELING.***  ***1229.8.1.*** |  |  |  | OSHPD proposes to add sections with requirements for patient counseling. |  |
| OSHPD 02/22-18-21 | ***1229.9 GROUP THERAPY.***  ***1229.9.1.*** |  |  |  | OSHPD proposes to add sections with requirements for service area(s) for group therapy. |  |
| OSHPD 02/22-18-22 | ***1229.10 PHYSICAL CONDITIONING.***  ***1229.10.1*** |  |  |  | OSHPD proposes to add sections with requirements for service area(s) for physical conditioning. |  |
| OSHPD 02/22-18-23 | ***1229.11 FAMILY THERAPY.***  ***1229.11.1*** |  |  |  | OSHPD proposes to add sections with requirements for family therapy space(s). |  |
| OSHPD 02/22-18-24 | ***1229.12 OUTPATIENT SERVICES.***  ***1229.12.1*** |  |  |  | OSHPD proposes to add sections with requirements for outpatient services. |  |
| OSHPD 02/22-18-25 | ***1229.13 CHEMICAL DEPENDENCY RECOVERY ACTIVITY AREAS.***  ***1229.13.1 Patient care areas.***  ***1229.13.1.1 Indoor activity rooms.***  ***1229.13.1.2 Outdoor activity area.*** |  |  |  | OSHPD proposes to add sections with requirements for chemical dependency recovery activity areas. |  |
| OSHPD 02/22-18-26 | ***1229.14 CHEMICAL DEPENDENCY RECOVERY RESIDENTIAL AREAS.*** |  |  |  | OSHPD proposes to add a section with requirements for chemical dependency recovery residential areas. |  |
| OSHPD 02/22-18-27 | ***1229.14.1 Patient rooms.***  ***1229.14.1.1*** |  |  |  | OSHPD proposes to add sections with requirements for patient rooms and maximum room capacity. |  |
| OSHPD 02/22-18-28 | ***1229.14.1.2 Space requirement.*** |  |  |  | OSHPD proposes to add a section with requirements for space requirement for patient bedrooms. |  |
| OSHPD 02/22-18-29 | ***1229.14.1.3 Windows.***  ***1229.14.1.4 Reserved.*** |  |  |  | OSHPD proposes to add a section with requirements for windows in a patient bedroom and add a reserved section. |  |
| OSHPD 02/22-18-30 | ***1229.14.1.5 Outside exposure.***  ***1229.14.1.6 Reserved.*** |  |  |  | OSHPD proposes to add a section with requirements for outside exposure and add a reserved section. |  |
| OSHPD 02/22-18-31 | ***1229.14.1.7 Patient toilet room.*** |  |  |  | OSHPD proposes to add a section with requirements for patient toilet room. |  |
| OSHPD 02/22-18-32 | ***1229.14.1.8 Bathroom facilities.*** |  |  |  | OSHPD proposes to add a section with requirements for bathroom facilities. |  |
| OSHPD 02/22-18-33 | ***1229.14.1.9 Patient storage.*** |  |  |  | OSHPD proposes to add a section with requirements for patient storage. |  |
| OSHPD 02/22-18-34 | ***1229.14.2 Service areas.***  ***1229.14.2.1 Administrative center(s) or nurse station(s).***  ***1229.14.2.2 Office(s) for staff.*** |  |  |  | OSHPD proposes to add sections with requirements for service areas. |  |
| OSHPD 02/22-18-35 | ***PATIENT CARE SUPPORT AREAS***  ***1229.14.3 Visitor/consultation room(s).*** |  |  |  | OSHPD proposes to add a section with requirements for visitor/consultation room(s). |  |
| OSHPD 02/22-18-36 | ***1229.14.4 Conference room.*** |  |  |  | OSHPD proposes to add a section with requirements for a conference and treatment planning room. |  |
| OSHPD 02/22-18-37 | ***1229.14.5 Space for group therapy.*** |  |  |  | OSHPD proposes to add a section with requirements for a group therapy space. |  |
| OSHPD 02/22-18-38 | ***1229.15 Reserved.***  ***1229.16 Reserved.***  ***1229.17 Reserved.***  ***1229.18 Reserved.*** |  |  |  | OSHPD proposes to add reserved sections. |  |
| OSHPD 02/22-18-39 | ***1229.19 PHARMACEUTICAL SERVICE SPACE.***  ***1229.19.1 Shared Services.*** |  |  |  | OSHPD proposes to add sections with requirements for pharmaceutical service space. |  |
| OSHPD 02/22-18-40 | ***1229.20 DIETETIC SERVICE SPACE.***  ***1229.20.1 Dining area.***  ***1229.20.2 Multi-use dining room.***  ***1229.20.3 Shared Services.*** |  |  |  | OSHPD proposes to add sections with requirements for dietetic service space. |  |
| OSHPD 02/22-18-41 | ***SUPPORT SERVICES***  ***1229.21 ADMINISTRATIVE SPACE.***  ***1229.22 Reserved.*** |  |  |  | OSHPD proposes to add a section with requirements for administrative space and add a reserved section. |  |
| OSHPD 02/22-18-42 | ***1229.23 STORAGE.***  ***1229.23.1 General storage.*** |  |  |  | OSHPD proposes to add a section with requirements for general storage space. |  |
| OSHPD 02/22-18-43 | ***1229.23.2 Specialized storage.***  ***1229.23.2.1 Linen.***  ***1229.23.2.2 Supply.***  ***1229.23.2.3 Reserved.***  ***1229.23.2.4 Reserved.***  ***1229.23.2.5*** |  |  |  | OSHPD proposes to add sections with requirements for specialized storage spaces. |  |
| OSHPD 02/22-18-44 | ***1229.23.3 Patient storage facilities.*** |  |  |  | OSHPD proposes to add a section with requirements for patient storage facilities. |  |
| OSHPD 02/22-18-45 | ***1229.25 EMPLOYEE LOCKERS.*** |  |  |  | OSHPD proposes to add a section with requirements for employee lockers. |  |
| OSHPD 02/22-18-46 | ***1229.26 HOUSEKEEPING ROOMS.*** |  |  |  | OSHPD proposes to add a section with requirements for housekeeping rooms. |  |
| OSHPD 02/22-18-47 | ***1229.27 LAUNDRY.*** |  |  |  | OSHPD proposes to add a section with requirements for laundry. |  |
| OSHPD 02/22-18-48 | ***OPTIONAL SERVICES***  ***1229.28 Reserved.***  ***1229.29 Reserved.*** |  |  |  | OSHPD proposes to add reserved sections. |  |
| OSHPD 02/22-18-49 | ***1229.30 ADOLESCENT CHEMICAL DEPENDENCY SERVICE SPACE.*** |  |  |  | OSHPD proposes to add a section with requirements for adolescent chemical dependency service space. |  |
| OSHPD 02/22-18-50 | ***1229.30.1 Patient bedroom.***  ***1229.30.1.1 Capacity.***  ***1229.30.1.2 Space requirement.*** |  |  |  | OSHPD proposes to add sections with requirements for a patient bedroom. |  |
| OSHPD 02/22-18-51 | ***1229.30.2 Patient toilet room.*** |  |  |  | OSHPD proposes to add a section with requirements for patient toilet room. |  |
| OSHPD 02/22-18-52 | ***1229.30.3 Bathroom facilities.*** |  |  |  | OSHPD proposes to add a section with requirements for bathroom facilities. |  |
| OSHPD 02/22-18-53 | ***1229.30.4 Activity areas.***  ***1229.30.4.1 Space requirement.*** |  |  |  | OSHPD proposes to add a section with requirements for activity areas. |  |
| OSHPD 02/22-18-54 | ***1229.30.4.2 Outdoor areas.*** |  |  |  | OSHPD proposes to add a section with requirements for outdoor activity areas. |  |
| OSHPD 02/22-18-55 | ***1229.30.5 Support areas for the adolescent unit.*** |  |  |  | OSHPD proposes to add a section with requirements for support areas for the adolescent unit. |  |
| OSHPD 02/22-18-56 | ***1229.30.6 Education.*** |  |  |  | OSHPD proposes to add a section with requirements for physical facilities for an educational program. |  |
| OSHPD 02/22-18-57 | ***1229.31 OTHER CHEMICAL DEPENDENCY SERVICE SPACE.*** |  |  |  | OSHPD proposes to add a section with requirements for other chemical dependency service space. |  |