# COMMISSION ACTION MATRIX 
BUILDING FIRE AND OTHER – STRUCTURAL DESIGN/LATERAL FORCES AD-HOC (BFO/SDLF) CODE ADVISORY COMMITTEE – MARCH 1 AND 2, 2023

## 2022 California Residential code, TITLE 24, PART 2.5 
AGENCY: Office of the state fire Marshal, sfm 03/22

### LEGEND:

CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Agency Responses: Accept, Disagree, Withdraw

CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

- Model Code language appears upright

- Existing California amendments appear in italic

- Amended model code or new California amendments appear underlined & italic

- Repealed model code language appears upright and in strikeout

- Repealed California amendments appear in italic and strikeout

- Ellipses ( ...) indicate existing text remains unchanged

### Chapter 1 SCOPE AND ADMINISTRATION, Division I, California Administration, Section 1.11.1 SFM-Office of the State Fire Marshal

Amend section 1.11.1.

| Item Number 1 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
|  | Specified state-occupied buildings. |  |  |  | Amend the definition of Specified State-Occupied buildings to remove exception and the reference to the University of California (UC). |  |

### Chapter 3, BUILDING PLANNING, Sections R337.1 SCOPE, PURPOSE AND APPLICATION and R337.2 DEFINITIONS

Amend sections listed below.

| Item Number 2 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
|  | R337.1.1 Scope. |  |  |  | Correct the term Wildland-Urban Interface (WUI) used in the text to correlate with the definition of WUI. |  |
|  | R337.1.2 Purpose. |  |  |  | Correct the term Wildland-Urban Interface and add Local Responsibility Areas (LRA). |  |
|  | R337.1.3 Application. R337.1.3.1 Application date and where required. R337.2 Definitions: FIRE PROTECTION PLAN. |  |  |  | Correct the term Wildland-Urban Interface (WUI) used in the text to correlate with the definition of WUI. |  |

### Chapter 3, Section R337.5 ROOFING

Amend sections listed below.

| Item Number 3 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
|  | R337.5.1 General. |  |  |  | Amend this section and add additional language related to roofing requirements for Fire Hazard Severity Zones. |  |
|  | R337.5.2 Roof coverings voids. R337.5.2.1 Airspace under roof covering. R337.5.2.2 Roof underlayment. |  |  |  | Rearrange this section adding two subsections and additional language related to roofing requirements for Fire Hazard Severity Zones. |  |

### Chapter 3, Sections R337.7 EXTERIOR COVERING and R337.10 ACCESSORY BUILDINGS AND MISCELLANEOUS STRUCTURES

Amend sections listed below.

| Item Number 4 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
|  | R337.7.5 Open roof eaves. R337.7.6 Enclosed roof eaves and roof eave soffits. R337.7.7 Exterior porch ceilings. R337.7.8 Floor projections. R337.10.2 Applicability. |  |  |  | SFM proposes to delete the exception in sections listed. |  |

### Chapter 3, Section R337.11 MODEL ORDINANCE FOR FIRE SEVERITY ZONE ADOPTION

Add new section R337.11.

| Item Number 5 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
|  | Section R337.11 Model Ordinance for Fire Severity Zone Adoption |  |  |  | Add model ordinance as a template for the establishment of documenting fire hazard severity zones as per direction of Government Code Section 51179. |  |

### Chapter 9 ROOF ASSEMBLIES, Section R902 FIRE CLASSIFICATION

Amend or remove sections listed below.

| Item Number 6 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
|  | R902.1 Roof covering materials. |  |  |  | Amend exceptions to the section. |  |
|  | R902.1.1 Roof coverings within fire hazard severity zones. |  |  |  | Remove this section as an amendment addressing it is added to section R337.5.1. |  |
|  | R902.1.3 R902.1.1 Roofing requirements within Fire Hazard … R902.1.2 Roof coverings in all other areas other than Fire Hazard Severity … |  |  |  | Amend these sections to correct the term Wildland-Urban Interface (WUI), renumber, rename and add some new language. |  |
|  | R902.2 Fire-retardant-treated wood shingles and shakes. |  |  |  | Amend this section to add reference to ASTM E108 and UL 790. |  |

### Chapter 44 REFERENCED STANDARDS, ASTM E108

Adopt the latest edition of ASTM E108.

| Item Number 7 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
|  | E108—2017 2020a: Test Methods for Fire Tests of Roof Coverings |  |  |  | Adopt the latest edition of ASTM E108. |  |

### Chapter 44, UL 790

Adopt the 9th edition of UL 790.

| Item Number 8 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
|  | 790 Edition 9—04 2022: Standard Test Methods for Fire Tests of Roof Coverings—with Revisions through October 2018 |  |  |  | Adopt the 9th edition of UL 790. |  |