# COMMISSION ACTION MATRIX PLUMBING, ELECTRICAL, Mechanical AND ENERGY (PEME) CODE ADVISORY COMMITTEE – march 15 and 16, 2023

## 2022 california plumbing code, TITLE 24, PART 5 AGENCY: california building standards commission, bsc 02/22

### LEGEND:

**CAC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Agency Responses:** Accept, Disagree, Withdraw

**CBSC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Matrix Paper Color** (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

* Model Code language appears upright
* Existing California amendments appear in *italic*
* Amended model code or new California amendments appear *underlined & italic*
* Repealed model code language appears ~~upright and in strikeout~~
* Repealed California amendments appear in *~~italic and strikeout~~*
* Ellipses ( ...) indicate existing text remains unchanged

### Chapter 2 definitions, Sections 209.0 and 218.0

Amend definition of *Gray Water System*, adopt *Privacy Compartment* definition

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 1** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| BSC 02/22-1-1 | ***Gray Water System*** |  |  |  | BSC proposes to amend the definition of *Gray Water System* |  |
| BSC 02-22-1-2 | ***Privacy Compartment*** |  |  |  | BSC proposes adoption of new definition *Privacy Compartment* |  |

### Chapter 4 plumbing fixtures and fixture fittings, Sections 422.1.1, 422.1.2, 422.2

Amend section 422.1, creating new subsection *422.1.1*, renumber remaining sections, add new *Exception 4* to Section 422.2

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 2** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| BSC 02/22-2-1 | ***422.1.1 Fixture Calculations*** |  |  |  | BSC proposes to amend Section 422.1, creating new subsection *422.1.1* *Fixture Calculations* |  |
| BSC 02/22-2-2 | **~~422.1.1~~ *422.1.2*** |  |  |  | BSC proposes to renumber Section 422.1.1 to *422.1.2* (and remaining sections) |  |
| BSC02/22-2-3 | **422.2 Separate Facilities, *Exception 4*** |  |  |  | BSC proposes new Exception 4 relative to all-gender multi-user restrooms |  |

### Chapter 6 water supply and distribution, Section 604.2

Add new *Note* referencing Health and Safety Code Sections 116875 and 116876, related to lead content

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 3** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| BSC 02/22-3-1 | **604.2 Lead Content.** |  |  |  | BSC proposes a pointer to HSC 116875 & 116876 |  |

### Chapter 6 water supply and distribution, Section 605.9.1

Delete year of edition of NSF 14 reference standard

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 4** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| BSC 02/22-4-1 | **605.9.1 Fittings.** |  |  |  | Delete *~~2009~~* from NSF 14 referenced standard |  |

### Chapter 15 alternate water sources for nonpotable applications, Sections 1501.9.1 and 1501.9.2

Delete references to reclaimed (recycled) water from signage requirements for graywater

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 5** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| BSC 02/22-5-1 | **1501.9.*1* Commercial, …Restroom Signs.** |  |  |  | BSC proposes to delete reference to “reclaimed (recycled) water” from graywater signage section |  |
| BSC 02/22-5-2 | **1501.9.*2* Equipment Room Signs.** |  |  |  | BSC proposes to delete references to “reclaimed (recycled) water” from graywater signage section |  |

### Chapter 17 referenced standards, Table 1701.1

Add reference to Section 605.9.1 in listing for NSF 14-2018 referenced standard

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 6** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| BSC 02/22-6-1 | **Table 1701.1 REFERENCED STANDARDS** |  |  |  | BSC proposes to add a reference to Section *605.9.1* in the listing for NSF 14-2018 |  |