# COMMISSION ACTION MATRIX plumbing, electrical, mechanical and energy (peme) CODE ADVISORY COMMITTEE – March 15 and 16, 2023

## 2022 california plumbing code, TITLE 24, PART 5 AGENCY: division of the state architect (DSA/ss-05/22)

### LEGEND:

**CAC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Agency Responses:** Accept, Disagree, Withdraw

**CBSC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Matrix Paper Color** (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

* Model Code language appears upright
* Existing California amendments appear in *italic*
* Amended model code or new California amendments appear *underlined & italic*
* Repealed model code language appears ~~upright and in strikeout~~
* Repealed California amendments appear in *~~italic and strikeout~~*
* Ellipses (...) indicate existing text remains unchanged

### Chapter 2, Section 218.0 definition of privacy compartment

DSA proposes to adopt new definition as listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 1** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| DSA/SS-05/22-1 | *Privacy Compartment* |  |  |  | DSA-SS proposes adoption of new definition *Privacy Compartment* |  |

### Chapter 4, plumbing fixtures and fixture fittings, Section 422.1.1, 422.1.2 and 422.2

DSA proposes to modify existing sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 2** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| DSA/SS-05/22-2-1 | *422.1.1* |  |  |  | DSA-SS proposes to amend Section 422.1, creating new subsection *422.1.1* *Fixture Calculations* |  |
| DSA/SS-05/22-2-2 | ~~422.1.1~~ *422.1.2* |  |  |  | DSA-SS proposes to renumber Section 422.1.1 to *422.1.2* (and remaining sections) |  |
| DSA/SS-05/22-2-3 | 422.2, *Exception 4* |  |  |  | DSA-SS proposes new *Exception 4* relative to all-gender multi-user restrooms |  |