# cOMMISSION ACTION MATRIX – YELLOWBUILDING FIRE AND OTHER – STRUCTURAL DESIGN/LATERAL FORCES AD-HOC (BFO/SDLF) CODE ADVISORY COMMITTEE

## 2022 California Building code, TITLE 24, PART 2 AGENCY: Office of the state fire Marshal, sfm 02/22

### LEGEND:

**CAC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Agency Responses:** Accept, Disagree, Withdraw

**CBSC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Matrix Paper Color** (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

* Model Code language appears upright
* Existing California amendments appear in *italic*
* Amended model code or new California amendments appear *underlined & italic*
* Repealed model code language appears ~~upright and in strikeout~~
* Repealed California amendments appear in *~~italic and strikeout~~*
* Ellipses ( ...) indicate existing text remains unchanged

**Chapter 7A MATERIALS AND CONSTRUCTION METHODS FOR EXTERIOR WILDFIRE EXPOSURE**

SFM proposes to correct the term Wildland-Urban Interface (WUI) where used in the text to correlate with the definition of WUI and update the reference in sections as listed below to refer to the State Fire Marshal as the agency responsible for designating Fire Severity Zones.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 7** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| SFM 02/22-7-2 | ***705A.1, 705A.2, 705A.2.1, 705A.2.2*** | **Further study** | **Accept** | 45-Day: A. Phillips, Asphalt Roofing Manufacturers Association (ARMA), Section 705A.1, Approve as Amended, Criteria #6. | SFM proposes to amend Section 705A Roofing regarding the roofing provisions for Fire Hazard Severity Zones.**CAC: FS under Criteria #5.** Recommended to delete the proposed amendment to Section 705A.1 regarding “Exceptions 1 through 4 …”. This should be coordinated with amendments in Item 11 Section 1505.2. Associated with SFM 03/22 Part 2.5, Items 3 and 6.**45-Day:** Commenter recommends removing the term “fire retardant” from the final sentence of Section 705A.1.**No changes to ET, see SFM response in FSOR.** |  |

**Chapter 15 ROOF ASSEMBLIES AND ROOFTOP STRUCTURES**

Amend and repeal sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 11** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| SFM 02/22-11-1 | **1505.1, *~~1505.1.1~~, ~~1505.1.3~~1505.1.1, 1505.1.2,* 1505.2, 1505.5 and 1505.6** | **Further Study** | **Accept** | 45-Day: A. Phillips, ARMA, Section 1505.5,Approve as Amended, Criteria #6. | Amend and renumber Section 1505 Fire Classification subsections regarding the roofing provisions for Fire Hazard Severity Zones.**CAC: FS under Criteria #6.** Recommended to delete the proposed amendment to Section 1505.2 regarding “Exceptions 1 through 4 …”. This should be coordinated with amendments in Item 7-2. Recommended to replace the term “roof covering assembly” with “roof assembly” in Section 1505.5 to be consistent in the use of terminology. Associated with SFM 03/22 Part 2.5, Items 3 and 6.**45-Day:**  Recommended to replace the term “roof covering assembly” with “roof assembly” in Section 1505.5.**No changes to ET, see SFM response in FSOR.** |  |