# COMMISSION ACTION MATRIX – GREEN PLUMBING, ELECTRICAL, Mechanical AND ENERGY (PEME) CODE ADVISORY COMMITTEE

## 2022 california plumbing code, TITLE 24, PART 5AGENCY: california building standards commission,

### LEGEND:

**CAC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Agency Responses:** Accept, Disagree, Withdraw

**CBSC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Matrix Paper Color** (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

* Model Code language appears upright
* Existing California amendments appear in *italic*
* Amended model code or new California amendments appear *underlined & italic*
* Repealed model code language appears ~~upright and in strikeout~~
* Repealed California amendments appear in *~~italic and strikeout~~*
* Ellipses (...) indicate existing text remains unchanged

### Chapter 2 definitions, Sections 209.0 and 218.0

Amend definition of *Gray Water System*, adopt *Privacy Compartment* definition.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 1** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| BSC 02/22-1-1 | ***Gray Water System*** | **Approve** | **Accept** |  | BSC proposes to amend the definition of *Gray Water System* |  |
| BSC 02-22-1-2 | ***Privacy Compartment*** | **Further Study** | **Accept** |  | BSC proposes adoption of new definition *Privacy Compartment***Code Advisory Committee (CAC):** 9 PtCriteria 3, 4, 6. Recommendation for BSC to coordinate with DSA to clarify in the meaning of “no gaps” for complete visual privacy. Also, CAC commented that technical requirements should not be contained within a definition. **After CAC:** BSC & DSA have revised the definition, removed the technical requirements and relocated them to Section 422.2 Exception 4.  |  |

### Chapter 4 plumbing fixtures and fixture fittings, Sections 422.1.1 and 422.1.2.

Amend section 422.1, creating new subsection *422.1.1*, renumber remaining sections.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 2** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| BSC 02/22-2-1 | ***422.1.1 Fixture Calculations*** | **Approve** | **Accept** | **45-Day Public Comment**: Salena Chow – Recommendation: Approve | BSC proposes to amend Section 422.1, creating new subsection *422.1.1* *Fixture Calculations* |  |
| BSC 02/22-2-2 | **~~422.1.1~~ *422.1.2*** | **Approve** | **Accept** |  | BSC proposes to renumber Section 422.1.1 to *422.1.2* (and remaining sections) |  |

### Chapter 6 water supply and distribution, Section 604.2

Add new *Note* referencing Health and Safety Code Sections 116875 and 116876, related to lead content.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 3** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| BSC 02/22-3-1 | **604.2 Lead Content.** | **Approve** | **Accept** |  | BSC proposes a pointer to HSC 116875 & 116876 |  |

### Chapter 6 water supply and distribution, Section 605.9.1

Delete year of edition of NSF 14 reference standard.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 4** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| BSC 02/22-4-1 | **605.9.1 Fittings.** | **Approve** | **Accept** |  | Delete *~~2009~~* from NSF 14 referenced standard |  |

### Chapter 15 alternate water sources for nonpotable applications, Sections 1501.9.1 and 1501.9.2

Delete references to reclaimed (recycled) water from signage requirements for graywater.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 5** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| BSC 02/22-5-1 | **1501.9.*1* Commercial, …Restroom Signs.** | **Approve** | **Accept** |  | BSC proposes to delete reference to “reclaimed (recycled) water” from graywater signage section |  |
| BSC 02/22-5-2 | **1501.9.*2* Equipment Room Signs.** | **Approve** | **Accept** |  | BSC proposes to delete references to “reclaimed (recycled) water” from graywater signage section |  |

### Chapter 17 referenced standards, Table 1701.1

Add reference to Section 605.9.1 in listing for NSF 14-2018 referenced standard.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 6** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| BSC 02/22-6-1 | **Table 1701.1 REFERENCED STANDARDS** | **Approve** | **Accept** |  | BSC proposes to add a reference to Section *605.9.1* in the listing for NSF 14-2018  |  |