# COMMISSION ACTION MATRIX – yellowplumbing, electrical, mechanical and energy (peme) CODE ADVISORY COMMITTEE

## 2022 california plumbing code, TITLE 24, PART 5, AGENCY: california building standards commission

### LEGEND:

**CAC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Agency Responses:** Accept, Disagree, Withdraw

**CBSC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Matrix Paper Color** (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

* Model Code language appears upright
* Existing California amendments appear in *italic*
* Amended model code or new California amendments appear *underlined & italic*
* Repealed model code language appears ~~upright and in strikeout~~
* Repealed California amendments appear in *~~italic and strikeout~~*
* Ellipses (...) indicate existing text remains unchanged

### Chapter 4 PLUMBING FIXTURES AND FIXTURE FITTINGS, Section 422.2

Add new *Exception 4* to Section 422.2

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 2** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| BSC 02/22-2-3 | **422.2 Separate Facilities, *Exception 4*** | **Approve** | **Disagree** | **45-Day Public Comment**: Michal Healy-Recommendation: Further StudySalena Chow – Recommendation: ApproveNubyaan Scott – Recommendation: Approve as Amended**15-Day Public Comment:** Kendra Muller – Recommendation: Approve as Amended | BSC proposes new Exception 4 relative to all-gender multi-user restrooms.**After CAC:** BSC & DSA relocated technical requirements from Privacy Compartment definition to Exception 4, which is further modified to also include newly approved 2024 UPC language specific to privacy addressing “no gaps around doors” ambiguity comment originally identified in definition of Privacy Compartment. **BSC, after 45-day:** amended definition in Item 1 to address full-height partitions in response to Nubyaan Scott comment.**BSC, after 15-day:** no further changes made as this comment addresses UPC language not currently proposed for change |  |