APPROVED BY THE CALIFORNIA BUILDING STANDARDS COMMISSION   
AUGUST 1, 2023

# COMMISSION ACTION MATRIX plumbing, electrical, mechanical, and energy (peme) CODE ADVISORY COMMITTEE

## 2022 california plumbing code, TITLE 24, PART 5, AGENCY: division of the state architect, dsa-ss-05-22

### LEGEND:

**CAC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Agency Responses:** Accept, Disagree, Withdraw

**CBSC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Matrix Paper Color** (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

* Model Code language appears upright
* Existing California amendments appear in *italic*
* Amended model code or new California amendments appear *underlined & italic*
* Repealed model code language appears ~~upright and in strikeout~~
* Repealed California amendments appear in *~~italic and strikeout~~*
* Ellipses ( ...) indicate existing text remains unchanged

### Chapter 2, Section 218.0 definition of privacy compartment

DSA proposes to adopt new definition as listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 1** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| DSA/SS-05-22-1 | Privacy Compartment | Further Study | Accept |  | DSA-SS proposes adoption of new definition *Privacy Compartment*  **Code Advisory Committee (CAC):** 9 PtCriteria 3, 4, 6. Recommendation for DSA to coordinate with BSC to clarify in the meaning of “no gaps” for complete visual privacy. Also, CAC commented that technical requirements should not be contained within a definition.  **After CAC:** BSC & DSA have revised the definition, removed the technical requirements and relocated them to Section 422.2 Exception 4. | **Approve** |

### Chapter 4, plumbing fixtures and fixture fittings, sections 422.1.1 and 422.1.2

DSA proposes to modify existing sections listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 2** | **Code Section** | **CAC Action** | **Agency Response** | **Public Comments** | **Annotations** | **CBSC Action** |
| DSA/SS-05-22-2-1 | *422.1.1* | Approve | Accept | **45-Day Public Comment:** Salena Chow – Recommendation: Approve | DSA-SS proposes to amend Section 422.1, creating new subsection *422.1.1* *Fixture Calculations* | **Approve** |
| DSA/SS-05-22-2-2 | ~~422.1.1~~  *422.1.2* | Approve | Accept |  | DSA-SS proposes to renumber Section 422.1.1 to *422.1.2* (and remaining sections) | **Approve** |
| DSA/SS-05-22-2-3 | 422.2 *Exception 4* | Approve | Disagree | **45-Day Public Comment**: Michal Healy-Recommendation: Further Study  Salena Chow – Recommendation: Approve  Nubyaan Scott – Recommendation: Approve as Amended  **15-Day Public Comment:** Kendra Muller – Recommendation: Approve as Amended | DSA-SS proposes new *Exception 4* relative to all-gender multi-user restrooms  **After CAC:** BSC & DSA relocated technical requirements from Privacy Compartment definition to Exception 4, which is further modified to also include newly approved 2024 UPC language specific to privacy addressing “no gaps around doors” ambiguity comment originally identified in definition of Privacy Compartment.  **DSA-SS, after 45-day:** amended definition in Item 1 to address full-height partitions in response to Nubyaan Scott comment.  **DSA-SS, after 15-day:** no further changes made as this comment addresses UPC language not currently proposed for change | **Approve** |