# COMMISSION ACTION MATRIX – SALMONPLUMBING, ELECTRICAL, MECHANICAL AND ENERGY (PEME) CODE ADVISORY COMMITTEE

## 2022 CALIFORNIA ELECTRICAL CODE, TITLE 24, PART 3, AGENCY: OFFICE OF STATEWIDE HEALTH PLANNING AND DEVELOPMENT, OSHPD 4/22

### LEGEND:

**CAC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Agency Responses:** Accept, Disagree, Withdraw

**CBSC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Matrix Paper Color** (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

* Model Code language appears upright
* Existing California amendments appear in *italic*
* Amended model code or new California amendments appear *underlined & italic*
* Repealed model code language appears ~~upright and in strikeout~~
* Repealed California amendments appear in *~~italic and strikeout~~*
* Ellipses ( ...) indicate existing text remains unchanged

### Chapter 5 SPECIAL OCCUPANCIES, ARTICLE 517 HEALTH CARE FACILITIES

OSHPD proposes to amend existing article as listed below:

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 6** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| OSHPD 04/22-6 | 517.18.(B)(2) *Exception 3* | **Disapprove** | **Withdraw** |  | Propose to modify requirements for receptacles at patient bed in skilled nursing facilities and intermediate care facilities.**CAC**: 9 Pt Criteria 3, 4, 7. Adding 2023 NEC model code language early when not life/safety sets a precedent.**Post CAC:** OSHPD withdrew item. |  |