# COMMISSION ACTION MATRIX – YELLOW Plumbing, electrical, Mechanical and energy (peme) CODE ADVISORY COMMITTEE

## 2022 California Mechanical code, TITLE 24, PART 4AGENCY: state fire marshal, SFM 05/22

### LEGEND:

**CAC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Agency Responses:** Accept, Disagree, Withdraw

**CBSC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Matrix Paper Color** (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

* Model Code language appears upright
* Existing California amendments appear in *italic*
* Amended model code or new California amendments appear *underlined & italic*
* Repealed model code language appears ~~upright and in strikeout~~
* Repealed California amendments appear in *~~italic and strikeout~~*
* Ellipses (...) indicate existing text remains unchanged

### Chapter 11, refrigeration Section 1104 & 1106

SFM proposes to add new sections as listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 5** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| SFM 05/22-5-12 | *1104.6.2.4* | **Further Study** | **Accept** | **45-Day Public Comment**: Bob Raymer – Recommendation: Approve Robert Glass – Recommendation: Approve as amended | Propose to adopt new section re: refrigerant concentration maximum value limits.**CAC**: 9 Pt Criteria: 3, 4, 5, 7. Amend with IAPMO’s current language.**SFM, after CAC**: changes required from the initial proposal were done to match exactly what is published.**SFM, after 45-day:** No changes to ET. See FSOR. |  |
| SFM 05/22-5-18 | ~~1104.7~~ *1104.8*~~1104.7.1~~*1104.8.1*~~1104.7.2~~*1104.8.2*~~1104.7.3~~*1104.8.3*~~1104.7.4~~*1104.8.4*~~1104.8~~*1104.9*1104.9.11104.9.21104.9.31104.9.41105.12.1 | **Further Study** | **Accept** | **45-Day Public Comment**: Bob Raymer – Recommendation: ApproveDominique Taudin – Recommendation: Approve as Amended Samantha Slater – Recommendation: Approve as AmendedRonald Shughart – Recommendation: Approve as Amended | Renumber sections**CAC**: 9 Pt Criteria: 3, 4, 5, 7. Amend with IAPMO’s current language**SFM, after CAC**: changes required from the initial proposal were done to match exactly what is published.**SFM, after 45-day:** No changes to ET. See FSOR. |  |
| SFM 05/22-5-31 | *1106.11.1* | **Further Study** | **Accept** | **45-Day Public Comment**: Bob Raymer – Recommendation: Approve Robert Glass – Recommendation: Approve as amended | Propose to adopt new section re: Flame-Producing Device.**CAC**: 9 Pt Criteria: 3, 4, 5, 7. Amend with IAPMO’s current language**SFM, after CAC**: changes required from the initial proposal were done to match exactly what is published.**SFM, after 45-day:** No changes to ET. See FSOR. |  |
| SFM 05/22-5-48 | *1106.11.11* | **Further Study** | **Accept** | **45-Day Public Comment:** Bob Raymer – Recommendation: ApproveRobert Glass – Recommendation: Approve as amended | Propose to adopt new section re: Mechanical Ventilation.**CAC**: 9 Pt Criteria: 3, 4, 5, 7. Amend with IAPMO’s current language**SFM, after CAC**: changes required from the initial proposal were done to match exactly what is published.**SFM, after 45-day:** fixed the Title as recommended by Robert Glass. |  |