# 45-DAY EXPRESS TERMSFOR PROPOSED BUILDING STANDARDSOF THE DIVISION OF THE STATE ARCHITECT (DSA-AC)REGARDING THE 2022 CALIFORNIA BUILDING CODE,CALIFORNIA CODE OF REGULATIONS, TITLE 24, PART 2(DSA-AC 01/22)

The state agency shall draft the regulations in plain, straightforward language, avoiding technical terms as much as possible and using a coherent and easily readable style. The agency shall draft the regulation in plain English. A notation shall follow the express terms of each regulation listing the specific statutes authorizing the adoption and listing specific statutes being implemented, interpreted, or made specific (Government Code Section 11346.2(a)(1)).

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

## LEGEND for EXPRESS TERMS (Based on model codes - Parts 2, 2.5, 3, 4, 5, 9, 10)

* Model Code language appears upright
* Existing California amendments appear in *italic*
* Amended model code or new California amendments appear *underlined & italic*
* Repealed model code language appears ~~upright and in strikeout~~
* Repealed California amendments appear in *~~italic and strikeout~~*
* Ellipses ( …) indicate existing text remains unchanged

## 45-DAY EXPRESS TERMS

### ITEM 1Chapter Chapter 2 DEFINITIONS, Section 202 *BLENDED TRANSITION*

***BLENDED TRANSITION. [DSA-AC]*** *A raised pedestrian crossing, depressed corner or similar connection that has a ~~grade of 5 percent~~ slope of 1:20 or less between a circulation path at the level of the sidewalk or walk and the level of a vehicular way.*

**Notation:**

Authority: Government Code 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4457, 4459, 12955.1, and 14679. Health and Safety Code Sections 19952 through 19959.

### ITEM 2Chapter Chapter 2 DEFINITIONS, Section 202 *ELEVATOR BUILDING*

Item withdrawn.

**Notation:**

Authority: Government Code 4450

Reference(s): N/A

### ITEM 3Chapter 4 SPECIAL DETAILED REQUIREMENTS BASED ON OCCUPANCY AND USE

### Section 406 MOTOR-VEHICLE RELATED OCCUPANCIES, Sub-Section 406.2.3 Accessible parking spaces.

SECTION 406
**MOTOR-VEHICLE-RELATED OCCUPANCIES**

**406.1 General.** All motor-vehicle-related occupancies shall comply with Section 406.2. …

**406.2 Design.** Private garages and carports, …

**406.2.3 Accessible parking spaces.** Where parking is provided, accessible parking spaces, access aisles and vehicular routes serving accessible parking shall be provided in accordance with *Chapter 11A or Chapter 11B, as applicable*.

**Notation:**

Authority: Government Code 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4457, 4459, 12955.1, and 14679. Health and Safety Code Sections 19952 through 19959.

### ITEM 4Chapter 10 MEANS OF EGRESS, Section 1009.2 Continuity and components.

**1009.1 Accessible means of egress required.** Accessible means of egress shall comply with…

**1009.2 Continuity and components.** Each required accessible means of egress shall be continuous to a public way and shall consist of one or more of the following components:

1. Accessible routes complying with …
…
2. Exterior areas for assisted rescue complying with Section 1009.7 serving exits at the level of exit discharge.
3. *Safe dispersal areas where they are allowed under Section 1028.5.*

**Notation:**

Authority: Government Code 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4457, 4459, 12955.1, and 14679. Health and Safety Code Sections 19952 through 19959.

### ITEM 5Chapter 10 MEANS OF EGRESS, Section 1009.8.2 Directions.

**1009.8.2 Directions.** Directions for the use of the two-way communication system, instructions for summoning assistance via the two-way communication system and written identification of the location shall be posted adjacent to the two-way communication system. Signage shall comply with *Chapter 11A, Section 1143A or Chapter 11B, Section 11B-703.5* requirements for visual characters.

**Notation:**

Authority: Government Code 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4457, 4459, 12955.1, and 14679. Health and Safety Code Sections 19952 through 19959.

### ITEM 6Chapter 10 MEANS OF EGRESS, Section 1010.1.4 Floor elevation.

**1010.1.4 Floor Elevation.** There shall be a floor or landing on each side of a door. Such floor or landing shall be at the same elevation on each side of the door. Landings shall be level except for exterior landings, which are permitted to have a slope not to exceed 0.25 unit vertical in 12 units horizontal (2-percent slope).

**Exceptions:**
…

1. Exterior decks, patios or balconies that are part of *adaptable or accessible* dwelling units, have impervious surfaces and that are not more than 4 inches (102 mm) below the finished floor level of the adjacent interior space of the dwelling unit. *See also Chapter 11A, Section 1132A.4 or Chapter 11B, as applicable.*

**Notation:**

Authority: Government Code 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4457, 4459, 12955.1, and 14679. Health and Safety Code Sections 19952 through 19959.

### ITEM 7Chapter 10 MEANS OF EGRESS, Section 1028.5 Access to a public way.

#### SECTION 1028EXIT DISCHARGE

**1028.1 General.** Exits shall discharge directly to the exterior of the building. The exit discharge shall…

…

**1028.5 Access to a public way.** The exit discharge shall provide a direct and unobstructed access to a public way.

**Exception:** Where access to a public way cannot be provided, a safe dispersal area shall be provided where all of the following are met:

1. The area shall be of a size to accommodate not less than 5 square feet (0.46 m2) for each person.
2. *For other than Group E buildings,* the area shall be located on the same lot not less than 50 feet (15 240 mm) away from the building requiring egress. *For Group E buildings, the area shall be located on the same lot at least 50 feet (15 240 mm) away from any building.*
3. The area shall be permanently maintained and identified as a safe dispersal area.
4. The area shall be provided with a safe and unobstructed path of travel from the building.
5. *In correctional facilities, the area shall be of a size to accommodate not less than 7 square feet (0.6503 m2) for each person. Accessible path of egress travel to the safe dispersal area and clear ground space for 5 percent of the occupants meeting Section 11B-305.3 shall be provided.*
6. *At facilities regulated by Chapter 11B, an accessible area within the space required by Exception 1 shall be provided for a minimum of 2 percent of the facility occupants served by the safe dispersal area. For each occupant, the accessible area shall provide clear ground space complying with Section 11B-305. Accessible routes complying with Chapter 11B, Division 4 shall connect the accessible area with all accessible exits served by the safe dispersal area.*

**Notation:**

Authority: Government Code 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4457, 4459, 12955.1, and 14679. Health and Safety Code Sections 19952 through 19959.

### ITEM 8Chapter 11A, Section 1150A Site Impracticality tests.

***~~SECTION 1150A
SITE IMPRACTICALITY TESTS~~***

***~~1150A.1 General.~~*** *~~Covered multifamily dwellings…~~*

***~~SINGLE BUILDING WITH ONE COMMON (LOBBY) ENTRANCE~~*** *~~The following may only be used…~~*

***~~Provisions to Test Nos. I and 2.~~*** *~~Where a building elevator…~~*

***~~TEST NO. 1—INDIVIDUAL BUILDING TEST~~*** *~~It is not required by this code…~~*

***~~TEST NO. 2—SITE ANALYSIS TEST~~*** *~~For a site having multiple buildings…~~*

***~~TEST NO. 3—UNUSUAL CHARACTERISTICS TEST~~*** *~~Unusual characteristics include…~~*

***~~1150A.2 Additional requirements for Section 1150A.~~*** *~~All other ground floor dwelling units…~~*

**Notation:**

Authority: Government Code 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4457, 4459, 12955.1, and 14679. Health and Safety Code Sections 19952 through 19959.

### ITEM 9Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-213 Toilet facilities and bathing facilities.

***11B-*213 Toilet facilities and bathing facilities**

***11B-*213.1 General.** Where toilet facilities and bathing facilities are provided…

***11B-*213.2 Toilet rooms and bathing rooms.** Where toilet rooms are provided…

***11B-*213.2.1 Unisex (*single-user* or family) toilet and unisex *(single-user or family)* bathing rooms.** Unisex *(single-user or family)* toilet rooms…

***11B-213.2.2 Unisex (Patient) toilet rooms in medical care and long-term care facilities.*** *Common-use unisex toilet rooms…*

***11B-213.2.3 Unisex (Patient) bathing rooms in medical care and long-term care facilities.*** *Common-use unisex bathing rooms…*

***11B-213.2.4 Multi-user all-gender toilet facilities.*** *Where multi-user all-gender toilet facilities are provided, they shall comply with Section 11B-213.3.1.*

***11B-213.3 Plumbing fixtures and accessories.*** *Plumbing fixtures and accessories provided in a toilet room or bathing room…*

***11B-213.3.1 Toilet compartments and urinal compartments.*** *Where only toilet compartments are provided, they shall comply with Section 11B-213.3.1.1. Where both toilet and urinal compartments are provided, they shall comply with Section 11B-213.3.1.2*

***11B-213.3.1.1 Toilet compartments.*** *Where toilet compartments are provided, at least five percent of the toilet compartments, or five percent of the combination of toilet compartments and urinals, but no fewer than one toilet compartment shall comply with Section 11B-604.8.1. In addition to the compartments required to comply with Section 11B-604.8.1, where six or more toilet compartments are provided, or where the combination of urinals and water closets totals six or more fixtures, toilet compartments complying with Section 11B-604.8.2 shall be provided in the same quantity as the toilet compartments required to comply with Section 11B-604.8.1.*

***11B-213.3.1.2 Toilet compartments and urinal compartments.*** *Where both toilet compartments and urinal compartments are provided, at least five percent of toilet compartments, but no fewer than one, shall comply with Section 11B-604.8.1 and at least ten percent of urinal compartments, but no fewer than one, shall comply with Section 11B-605.5. In addition to the toilet compartments required to comply with Section 11B-604.8.1 and urinal compartments required to comply with Section 11B-605.5, where the combination of urinals and water closets totals six or more fixtures, toilet compartments complying with Section 11B-604.8.2 shall be provided in the same quantity as the toilet compartments required to comply with Section 11B-604.8.1. At all compartments not required to comply with Section 11B-604.8 or Section 11B-605.5, compartment doors shall be in-swinging and self-closing. All individual compartments shall be identified with a sign complying with Section 11B-216.8.3.*

***11B-*213.3.2 Water closets.** Where water closets are provided…

***11B-*213.3.3 Urinals.** Where one or more urinals are provided, at least 10 percent but no fewer than one shall comply with *Section 11B-*605.

***11B-*213.3.4 Lavatories.** Where lavatories are provided, at least *10 percent but no fewer than* one shall comply with Section *11B-*606 and shall not be located in a toilet *or urinal* compartment.

**Notation:**

Authority: Government Code 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4457, 4459, 12955.1, and 14679. Health and Safety Code Sections 19952 through 19959.

### ITEM 10Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-216.5 Parking.

***11B-*216.5 Parking *and electric vehicle charging facilities*.** *Signs identifying parking spaces and signs within parking facilities shall comply with Section 11B-216.5. Signs identifying electric vehicle charging spaces and signs within electric vehicle charging facilities shall comply with Section 11B-216.5.*

***11B-216.5.1 Parking spaces.*** Parking spaces complying with *Section 11B-*502 shall be identified by signs complying with *Sections 11B-*502.6 *and 11B-502.8*.

**Exceptions:**

1. ***Reserved.***
2. In residential facilities, where parking spaces are assigned to specific residential dwelling units, identification of accessible parking spaces shall not be required.

***11B-216.5.2 Electric vehicle charging spaces.*** *Signs identifying Electric Vehicle Charging Spaces shall comply with Section 11B-812.8.*

***~~11B-216.5.2~~ 11B-216.5.3 Parking and electric vehicle charging facilities*.** *Signs within parking and charging facilities shall comply with Section ~~11B-216.5.2~~ 11B-216.5.3.*

***~~11B-216.5.2.1~~ 11B-216.5.3.1 Signs intended for use by pedestrians.*** *Signs intended for use by pedestrians within parking and charging facilities, including directional or informational signs indicating parking sections or levels, shall comply with the requirements of Section 11B-216.*

***~~11B-216.5.2.2~~ 11B-216.5.3.2 Additional signs.*** *Signs within parking facilities containing parking spaces complying with Section 11B-502 shall comply with Section 11B-502.8.*

**Notation:**

Authority: Government Code 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4457, 4459, 12955.1, and 14679. Health and Safety Code Sections 19952 through 19959.

### ITEM 11Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-233 *Public housing* facilities

***11B-233 Public housing facilities***

***11B-233.1 General.*** *Public housing facilities…*

***11B-233.2 Reserved.***

***11B-233.3 Public housing facilities.*** *Public housing…*

***11B-233.3.1 Minimum number: new construction.*** *Newly constructed…*

***11B-233.3.1.1 Residential dwelling units with mobility features.*** *In facilities with…*

***11B-233.3.1.2 Residential dwelling units with adaptable features.*** *In ~~facilities with~~ buildings with three or more residential dwelling units, adaptable residential dwelling units complying with Sections 11B-809.6 through 11B-809.12 shall be provided as required by Sections 11B-233.3.1.2.1 through 11B-233.3.1.2.6. Adaptable residential dwelling units shall be on an accessible route as required by Section 11B-206.*

***Exception:*** *The number of required adaptable residential dwelling units shall be reduced by the number of units required by Section 11B-233.3.1.1.*

***11B-233.3.1.2.1 Elevator buildings.*** *A residential building with one or more elevators shall have an elevator serve all floors with a residential dwelling unit entrance and all floors with common use spaces. Elevators shall comply with Section 11B-407. Residential dwelling units on floors served by an elevator shall be adaptable.*

***Exceptions:***

1. *A building with only an elevator that serves a parking garage or building entry level not containing residential dwelling units to the first ground floor above grade containing residential dwelling units.*
2. *A building with a multi-story residential dwelling unit with an elevator within the unit.*

***11B-233.3.1.2.2 ~~Non-elevator buildings~~. Ground floor residential dwelling units.*** *Ground floor residential dwelling units ~~in non-elevator buildings~~ shall be adaptable. A building may have one or more ground floors.*

***11B-233.3.1.2.3 Ground floors above grade.*** *Where the first floor in a building containing residential dwelling units is a floor above grade, all units on that floor shall be adaptable.*

***11B-233.3.1.2.4 Multistory residential dwelling units in buildings with one or more elevators.*** *In elevator buildings, facilities with multistory residential dwelling units shall comply with the following:*

1. *The primary entry of the multistory residential dwelling unit shall be on an accessible route on the floor served by the elevator.*
2. *At least one powder room or bathroom and kitchen shall be located on the primary entry level.*
3. *Rooms or spaces located on the primary entry level shall be served by an accessible route and comply with Sections 11B-809.6 through 11B-809.12.*

***11B-233.3.1.2.5 Multistory residential dwelling units in buildings with no elevator.*** *In non-elevator buildings, a minimum of 10 percent but not less than one of the ground floor multistory residential dwelling units shall be calculated using the total number of multistory residential dwelling units in buildings on a site and shall comply with the following:*

1. *The primary entry of the multistory residential dwelling unit shall be on an accessible route.*
2. *At least one powder room or bathroom and kitchen shall be located on the primary entry level.*
3. *Rooms or spaces located on the primary entry level shall be served by an accessible route and comply with Sections 11B-809.6 through 11B-809.12.*

***11B-233.3.1.2.6 Public housing facility site impracticality.*** *...*

**11B-233.3.1.3 Residential dwelling units with communication features.** In *public housing* facilities with residential dwelling units, at least 2 percent, but no fewer than one unit, of the total number of residential dwelling units shall provide communication features complying with *Section 11B-809.5.*

**Notation:**

Authority: Government Code 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4457, 4459, 12955.1, and 14679. Health and Safety Code Sections 19952 through 19959.

### ITEM 12Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section *11B-249 Adult changing facilities.*

***11B-249 Adult changing facilities***

***11B-249.1 General.*** *Adult changing facilities …*

***11B-249.1.1*** *Where adult changing facilities …*

***11B-249.1.2*** *Newly constructed …*

***11B-249.1.3*** *On or after January 1, 2025, alterations to existing commercial places of public amusement which require a permit or for which the estimated cost is ten thousand dollars ($10,000) or more shall provide no fewer than one adult changing facility in compliance with Section 11B-813.*

***Exception:*** *Existing commercial places of public amusement with an existing adult changing facility in compliance with Section 11B-813 shall not be required to provide additional adult changing facilities.*

**Notation:**

Authority: Government Code 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4457, 4459, 12955.1, and 14679. Health and Safety Code Sections 19952 through 19959.

### ITEM 13Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 406.3.2, Figure 11B-406.3.2

****

**FIGURE 11B-406.3.2**

**PARALLEL CURB RAMPS**

**Notation:**

Authority: Government Code 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4457, 4459, 12955.1, and 14679. Health and Safety Code Sections 19952 through 19959.

### ITEM 14Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-604.8 Toilet compartments.

***11B-*604 Water closets and toilet compartments**

…

***11B-*604.8 Toilet compartments.** Wheelchair accessible toilet compartments shall …

***11B-*604.8.1 Wheelchair accessible compartments.** Wheelchair accessible compartments shall …

***11B-*604.8.1.2 Doors.** Toilet compartment doors, including door hardware, shall …

*The door shall be self-closing and have a privacy latch.* A door pull complying with *Section 11B-*404.2.7 shall be placed on both sides of the door near the latch. *Doors shall not swing into the clear floor space or clearance required for any fixture. Doors may swing into that portion of maneuvering space which does not overlap the clearance required at a water closet.*

***Exception:*** *When located at the side of a toilet compartment, the toilet compartment door opening shall provide a clear width of 34 inches (864 mm) minimum.*

…

***11B-*604.8.2 Ambulatory accessible compartments.** Ambulatory accessible compartments shall …

***11B-*604.8.2.1 Size.** Ambulatory accessible compartments shall have a depth of 60 inches (1524 mm) minimum and a width of 35 inches (889 mm) minimum and 37 inches (940 mm) maximum.

***11B-*604.8.2.2 Doors.** Toilet compartment doors, including door hardware, shall comply with *Section 11B*-404, except that if the approach is to the latch side of the compartment door, clearance between the door side of the compartment and any obstruction shall be *44 inches (1118 mm)* minimum. The door shall be self-closing *and have a privacy latch*. A door pull complying with *Section 11B-*404.2.7 shall be placed on both sides of the door near the latch. Toilet compartment doors shall not swing into the minimum required compartment area.

**Notation:**

Authority: Government Code 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4457, 4459, 12955.1, and 14679. Health and Safety Code Sections 19952 through 19959.

### ITEM 15Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING Section 11B-605 Urinals

***11B-*605 Urinals**

***11B-*605.1 General.** Urinals *not provided in urinal compartments* shall comply with *~~Section 11B-~~*~~605~~ *Sections 11B-*605*.1 through 11B-605.4.* *Urinals provided in urinal compartments shall comply with Sections 11B-605.1 through 11B-605.5.*

***11B-*605.2 Height and depth.** Urinals shall be…

***11B-*605.3 Clear floor space.** A clear floor or ground space complying with *Section 11B-*305 positioned for forward approach shall be provided.

***11B-*605.4 Flush controls.** Flush controls shall be hand operated or automatic. Hand operated flush controls shall comply with *Section 11B*-309 *except that the flush control shall be mounted at a maximum height of 44 inches (1118 mm) above the finish floor.* *Urinals provided in urinal compartments shall have hand operated flush controls located on the open side of the urinal.*

***11B-605.5 Urinal compartments.*** *Wheelchair accessible urinal compartments shall comply with 11B-605.5. Compartments containing more than one plumbing fixture shall comply with Section 11B-603.*

***11B-605.5.1******Urinal location.*** *Urinals in compartments shall have the centerline of the urinal located 17 inches (432 mm) minimum to 18 inches (457 mm) maximum from the side wall or partition. Urinals shall be arranged for a left-hand or right-hand approach.*

***11B-605.5.2 Maneuvering clearance.*** *A minimum 66 inches (1676 mm) wide and 66 inches (1676 mm) deep maneuvering space shall be provided in front of the urinal. A turning space complying with Section 11B-304 shall be provided within the compartment.*

***Exception:*** *Where toe clearance complying with 11B-605.5.4 is provided, the required maneuvering space in front of the urinal fixture shall be permitted to be reduced to 60 inches (1524 mm) minimum wide and 60 inches (1524 mm) minimum deep.*

***11B-605.5.3 Doors.*** *Urinal compartment doors, including door hardware, shall comply with 11B-404 except that if the approach is from the push side of the compartment door, clearance between the door side of the compartment and any obstruction shall be 48 inches (1219 mm) minimum measured perpendicular to the compartment door in its closed position. Doors shall be located in the front partition or in the side wall or partition farthest from the urinal. Where located in the front partition, the door opening shall be 4 inches (102 mm) maximum from the side wall or partition farthest from the urinal. Where located in the side wall or partition, the door opening shall be 4” maximum (102 mm) from the front partition. The urinal compartment door shall be out-swinging, self-closing and have a privacy latch. Door pulls complying with Section 11B-404.2.7 shall be placed on both sides of the* *door near the latch. Doors shall not swing into the clear floor space at the urinal. Doors may swing into that portion of maneuvering space and turning space which does not overlap the clear floor space required at a urinal.*

***Exception:*** *When located at the side wall or partition of a urinal compartment, the compartment door opening shall provide a clear width of 34 inches (864 mm) minimum.*

***11B-605.5.4 Toe Clearance.*** *The front partition and at least one side partition shall provide a toe clearance of 9 inches (229 mm) minimum above the finish floor and 6 inches (152 mm) deep minimum beyond the compartment-side face of the partition, exclusive of partition support members. Partition components at toe clearances shall be smooth without sharp edges or abrasive surfaces. Compartments for children’s use shall provide a toe clearance of 12 inches (305 mm) minimum above the finish floor.*

***Exception:*** *Toe clearance at the front partition is not required in a compartment where the maneuvering clearance in front of the urinal is 66 inches (1676 mm) deep minimum. Toe clearance at the side partition is not required in a compartment greater than 66 inches (1676 mm) wide.*



***Figure 11B-605.5***

***Urinal Compartment***

**Notation:**

Authority: Government Code 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4457, 4459, 12955.1, and 14679. Health and Safety Code Sections 19952 through 19959.

### ITEM 16Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-809.10.6 Showers.

***11B-809.10.6 Showers.*** *Showers required by Section 11B-809.10 shall comply with this section.*

***11B-809.10.6.1 Size.*** *When one or more shower stalls are provided within the same dwelling unit, as least one shower stall shall comply with one of the following:*

1. *A transfer type shower compartment 36 inches (914 mm) wide by 36 inches (914 mm) deep with an entrance opening 36 inches (914 mm) ~~complying with Section 11B-608.1~~; or* …

**Notation:**

Authority: Government Code 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4457, 4459, 12955.1, and 14679. Health and Safety Code Sections 19952 through 19959.

### ITEM 17Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-216.8 Toilet Room Signs.

***11B-*216.8 Toilet rooms and bathing rooms.** …

 ***11B-216.8.1 Geometric symbols.*** *…*

***11B-216.8.2 Identification for all-gender multi-user toilet facilities.*** *Geometric symbols complying with Section 11B-703.7.2.6.3 shall be provided at the entrance to all-gender multi-user toilet facilities. In addition, a sign complying with Sections 11B-703.1 through 11B-703.5 shall be provided stating “ALL-GENDER MULTI-USER”.*

***11B-216.8.3 Signs at toilet and urinal compartments.*** *Where both toilet compartments and urinal compartments are provided, each individual compartment shall be identified with a sign complying with Sections 11B-703.1 through 11B-703.5. Signs shall identify the type of fixture within the compartment, either “URINAL” or “TOILET”. A pictogram identifying the fixture type within the compartment is not permitted.*

***Exception:*** *A sign with tactile characters shall be permitted on an in-swinging and self-closing door at compartments not required to comply with Section 11B-604 or Section 11B-605.5.*

***11B-*216.9 TTYs. …**

**Notation:**

Authority: Government Code 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4457, 4459, 12955.1, and 14679. Health and Safety Code Sections 19952 through 19959.

### ITEM 18Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-226.4 Baby Diaper Changing Station.

***11B-226.4 Baby diaper changing station.*** *Baby diaper changing stations shall …*

*Baby diaper changing stations shall not be located in toilet compartments complying with Section 11B-604.8 or urinal compartments complying with 11B-605.5 within a multiple accommodation toilet facility.*

**Notation:**

Authority: Government Code 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4457, 4459, 12955.1, and 14679. Health and Safety Code Sections 19952 through 19959.