# COMMISSION ACTION MATRIX
accessibility (access) CODE ADVISORY COMMITTEE

## 2022 california building code, TITLE 24, PART 2
AGENCY: housing and community development (HCD 1-AC 01/22)

### LEGEND:

CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Agency Responses: Accept, Disagree, Withdraw

CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

- Model Code language appears upright

- Existing California amendments appear in italic

- Amended model code or new California amendments appear underlined & italic

- Repealed model code language appears upright and in strikeout

- Repealed California amendments appear in italic and strikeout

- Ellipses (...) indicate existing text remains unchanged

### Chapter 10 means of egress, Section 1009.2 continuity and components

HCD-1AC proposes to amend section listed below.

| Item Number 1 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - HCD-1AC 01/22-1-1 | 1009.2 | Approve | Accept |  | Propose editorial modification to replace the referenced section with new section number. |  |

### Chapter 10, Section 1010.1.1 size of doors

HCD-1AC proposes to amend section listed below.

| Item Number 2 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - HCD-1AC 01/22-2-1 | 1010.1.1 Exception 10 | Approve | Accept |  | Propose modification to repeal a 2019 amendment no longer required. |  |

### Chapter 11A Housing accessibility, Section 1118A.1 general

HCD-1AC proposes to amend section listed below.

| Item Number 3 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - HCD-1AC 01/22-3-1 | 1118A.1 | Approve | Accept |  | Propose modification to repeal reference to specific section. |  |

### Chapter 11A, Section 1136A.1 receptacle heights

HCD-1AC proposes to amend section listed below.

| Item Number 4 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - HCD-1AC 01/22-4-1 | 1136A.1 | Further Study | Accept |  | HCD proposes modification to align language with FHA. CAC: Further Study Criteria 4, & 5 After CAC: Per CAC recommendation HCD chose to add additional information to allow for the use of industry standard and commercially produced cabinets and countertops. |  |

### Chapter 11A, Section 1136A.2 switch and control heights

HCD-1AC proposes to amend section listed below.

| Item Number 5 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - HCD-1AC 01/22-5-1 | 1136A.2 | Further Study | Accept |  | HCD proposes modification to align language with FHA. CAC: Further Study 9 Point Criteria 4 After CAC: Per CAC recommendation HCD chose to add additional information to allow for the use of industry standard and commercially produced cabinets and countertops. |  |

### Chapter 11A, Section 1138A.3.1 forward reach

HCD-1AC proposes to amend section listed below.

| Item Number 6 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - HCD-1AC 01/22-6-1 | 1138A.3.1 | Disapprove | Withdraw |  | HCD proposes modification to align language with FHA. CAC: Disapprove 9 Point Criteria 3 |  |

### Chapter 11A, Section 1138A.3.2 Side reach

HCD-1AC proposes to amend section listed below.

| Item Number 7 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - HCD-1AC 01/22-7-1 | 1138A.3.2 | Disapprove | Withdraw |  | HCD proposes modification to align language with FHA. CAC: Disapprove 9 Point Criteria 3 |  |