# COMMISSION ACTION MATRIXBUILDING FIRE AND OTHER – STRUCTURAL DESIGN/LATERAL FORCES AD-HOC (bfo/sdlf) CODE ADVISORY COMMITTEE

## 2022 CALIFORNIA EXISTING BUILDING CODE, TITLE 24, PART 10AGENCY: CALIFORNIA BUILDING STANDARDS COMMISSION, BSC 03/22

### LEGEND:

**CAC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Agency Responses:** Accept, Disagree, Withdraw

**CBSC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Matrix Paper Color** (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

* Model Code language appears upright
* Existing California amendments appear in *italic*
* Amended model code or new California amendments appear *underlined & italic*
* Repealed model code language appears ~~upright and in strikeout~~
* Repealed California amendments appear in *~~italic and strikeout~~*
* Ellipses ( ...) indicate existing text remains unchanged

### Chapter 1 SCOPE AND ADMINISTRATION, Section 1.1.11

Amend section 1.1.11.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 1** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| BSC 03/22-1-1 | ***1.1.11 Format.*** | **Approve** | **Accept** |  | BSC proposes to repeal the second paragraph under Section 1.1.11. |  |

### Chapter 3 PROVISIONS FOR ALL COMPLIANCE METHODS, Section 317.2

Amend section 317.2.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 2** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
|  | ***317.2 Scope.*** | **Approve** | **Accept** |  | BSC proposes to correct an unintended mistake in the 2021 Triennial Code Adoption Cycle. Words “structurally connected” were mistakenly removed and are proposed to be brought back.**Code Advisory Committee (CAC):** Suggested to consider removing or changing the words “and/or”. |  |

### Chapter 6, Sections 601.1, 601.1.1, 607.1 and 607.2

Amend sections listed below and remove section 607.2.
Replace references to building standards not adopted in the state of California with the building standards adopted in the state of California throughout Chapter 6.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 3** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
|  | **601.1 Scope.** | **Approve** | **Disagree** |  | BSC proposes to remove references to historic structures and Chapter 12 of 2021 IEBC. BSC proposes to add new exception clarifying the use of Chapters 6 through 11 is not permitted in occupancies, buildings and applications regulated by BSC and listed in Section 1.2.**Post CAC:** Even though CAC recommended the proposal for approval, the committee members had concerns about absence of references to California Historical Building Code in Section 601.1, so BSC added pointer to Part 8 in this section. |  |
|  | **601.1.1 Compliance with other alternatives.** | **Approve** | **Accept** |  | BSC proposes to remove reference to Chapter 12 of 2021 IEBC. |  |
|  | **607.1 Scope.** | **Approve** | **Accept** |  | BSC proposes to remove references to historic building provisions in IEBC and provide reference to the California Historical Building Code (Part 8). |  |
|  | **~~607.2~~****~~Application.~~** | **Approve** | **Accept** |  | BSC proposes to remove model code Section 607.2. |  |

### Chapter 7 ALTERATIONS—LEVEL 1, Sections 701.1 and 708

Amend Section 701.1 and remove Section 708.
Replace references to building standards not adopted in the state of California with the building standards adopted in the state of California throughout Chapter 7.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 4** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
|  | **701.1 Scope.** | **Approve** | **Disagree** |  | BSC proposes to remove reference to Chapter 12 of 2021 IEBC and provide reference to Section 607 of CEBC.**Post CAC:** Even though CAC recommended the proposal for approval, the committee members had concerns about misinterpreting Section 701.1 as amended, so BSC revised proposed amendment in Section 701.1 to clarify that alterations to historic buildings and structures shall comply with CHBC. |  |
|  | **~~708 ENERGY CONSERVATION~~** | **Approve** | **Accept** |  | BSC proposes to remove entire Section 708 to eliminate conflict with existing energy conservation regulations. |  |

### Chapter 8 ALTERATIONS—LEVEL 2, Section 809

Remove Section 809.
Replace references to building standards not adopted in the state of California with the building standards adopted in the state of California throughout Chapter 8.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 5** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| BSC 03/22-5-1 | **~~809 ENERGY CONSERVATION~~** | **Approve** | **Accept** |  | BSC proposes to remove entire Section 809 to eliminate conflict with existing energy conservation regulations. |  |

### Chapter 9 ALTERATIONS—LEVEL 3, Section 907

Remove Section 907.
Replace references to building standards not adopted in the state of California with the building standards adopted in the state of California throughout Chapter 9.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 6** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| BSC 03/22-6-1 | **~~907~~****~~ENERGY CONSERVATION~~** | **Approve** | **Accept** |  | BSC proposes to remove entire Section 907 to eliminate conflict with existing energy conservation regulations. |  |

### Chapter 10 CHANGE OF OCCUPANCY, Sections 1001.2.1 and 1006.3

Amend sections listed below.
Replace references to building standards not adopted in the state of California with the building standards adopted in the state of California throughout Chapter 10.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 7** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
|  | **1001.2.1 Change of use.** | **Approve** | **Accept** |  | BSC proposes to delete Exception to Section 1001.2.1 to eliminate conflict with existing CHBC regulations for historic buildings. |  |
|  | **1006.3 Seismic loads.** | **Approve** | **Accept** |  | BSC proposes to delete model code Exception 3 of Section 1006.3. |  |

### Chapter 11 ADDITIONS, Section 1104

Remove Section 1104.
Replace references to building standards not adopted in the state of California with the building standards adopted in the state of California throughout Chapter 11.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 8** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| BSC 03/22-8-1 | **~~1104 ENERGY CONSERVATION~~** | **Approve** | **Accept** |  | BSC proposes to remove entire Section 1104 to eliminate conflict with existing energy conservation regulations. |  |

### Chapter 13 PERFORMANCE COMPLIANCE METHODS

Amend a note under the chapter title. Chapter 13 of the 2021 IEBC is proposed to be printed, not adopted by California, in the 2022 CEBC.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 9** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| BSC 03/22-9-1 | **Chapter title note** | **Approve** | **Accept** |  | Amend a note under the chapter title to provide reference to Section 104.11. |  |