# COMMISSION ACTION MATRIX plumbing, electrical, mechanical and energy (peme) CODE ADVISORY COMMITTEE

## 2022 california plumbing code, TITLE 24, PART 5AGENCY: state fire marshal, SFM 06/22

### LEGEND:

**CAC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Agency Responses:** Accept, Disagree, Withdraw

**CBSC Actions:** Approve, Disapprove, Approve as Amended, Further Study Required

**Matrix Paper Color** (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

* Model Code language appears upright
* Existing California amendments appear in *italic*
* Amended model code or new California amendments appear *underlined & italic*
* Repealed model code language appears ~~upright and in strikeout~~
* Repealed California amendments appear in *~~italic and strikeout~~*
* Ellipses (...) indicate existing text remains unchanged

### Chapter 1, Section scope and administration division 1, california administration section 1.11.1

SFM proposes to amend definition of Specified State-Occupied as listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 1** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| SFM-06/22-1 | *1.11.1* | **Approve** | **Accept** |  | Propose to clarify and define Specified State Occupied Occupancies as per Senate Bill 85. |  |

### CHAPTER 12, FUEL GAS PIPING, SECTION 1201.0

SFM proposes to amend section as listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 2** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| SFM-06/22-2 | 1201.1 | **Approve as Amended** | **Disagree** |  | Propose to amend section to identify that the installation of fuel oil piping systems connected to combustion engines and gas turbines also.**Code Advisory Committee (CAC)**: 9 Pt Criteria 6. Consider updating NFPA to 2021 Standard.**SFM**: NFPA 37-2021 will cause conflict with other parts of Title 24 to adopt latest edition |  |

### CHAPTER 17, REFERENCE STANDARDS, SECTION 1701.1

SFM proposes to adopt new and amend existing section as listed below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item Number 3** | **Code Section** | **CACAction** | **Agency Response** | **Public Comments** | **Annotations** | **CBSCAction** |
| SFM 06/22-3-1 | *NFPA 37-2018* | **Approve as Amended** | **Disagree** |  | Propose to adopt 2018 edition of NFPA 37.**CAC**: 9 Pt Criteria 6. Consider updating NFPA to 2021 Standard.**SFM**: NFPA 37-2021 will cause conflict with other parts of Title 24 to adopt latest edition |  |
| SFM 06/22-3-2 | NFPA 409-*2022* | **Approve as Amended** | **Disagree** |  | Proposes to amend and adopt the 2022 edition of NFPA 409.**CAC**: No recommended amendments**SFM**: The SFM is proposing to adopt the latest edition of NFPA 409 which is the 2022 edition. There was no other amendment suggested, |  |