# INITIAL EXPRESS TERMS
FOR PROPOSED BUILDING STANDARDS
OF THE CALIFORNIA DEPARTMENT OF HOUSING AND COMMUNITY DEVELOPMENT
REGARDING THE 2025 CALIFORNIA MECHANICAL CODE,
CALIFORNIA CODE OF REGULATIONS, TITLE 24, PART 4
(HCD 02/24)

The State agency shall draft the regulations in plain, straightforward language, avoiding technical terms as much as possible and using a coherent and easily readable style. The agency shall draft the regulation in plain English. A notation shall follow the express terms of each regulation listing the specific statutes authorizing the adoption and listing specific statutes being implemented, interpreted, or made specific (Government Code Section 11346.2(a)(1)).

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

## LEGEND for EXPRESS TERMS

- Model Code language appears upright

- existing California amendment. amendments appear in italic

- Amended model code or new California amendments appear underlined & italic

- Repealed model code language appears upright and in strikeout

- Repealed California amendments appear in italic and strikeout

- Ellipsis (…) indicate existing text remains unchanged

### ITEM 1
Chapter 1 Division I California Administration

HCD proposes to bring forward existing California amendments in Chapter 1, Division 1, from the 2022 California Mechanical Code (CMC) for adoption into the 2025 CMC with modifications as follows:

Note: Chapter 1, Division 1, is comprised entirely of California amendments. Therefore, only detailed text of proposed changes, repeals and new amendments are shown.

ADMINISTRATION

DIVISION I

CALIFORNIA ADMINISTRATION

1.1.1 Title. These regulations shall be known as the California Mechanical Code, may be cited as such and will be referred to herein as “this code.” The California Mechanical Code is Part 4 of thirteen parts of the official compilation and publication of the adoption, amendment, and repeal of mechanical regulations to the California Code of Regulations, Title 24, also referred to as the California Building Standards Code. This part incorporates by adoption the 2021 2024 Uniform Mechanical Code of the International Association of Plumbing and Mechanical Officials with necessary California amendments.

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17921.5, 17921.6, 17921.10, 17922, 17922.6, 17922.14, 17926, 17927, 17928, 17958.12, 18552, 18554, 18620, 18630, 18640, 18670, 18690, 18691, 18865, 18871.3, 18871.4, 18873, 18873.1 through 18873.5, 18938.3, 18944.11 and 19990; and Government Code Sections 12955.1 and 12955.1.1.

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.6, 18941, 18941.5, 19890, 19891, 19892 and 19960 through 19997; Civil Code Section 5551; Government Code Sections 12955.1, 129551.1 and 65852.2; and California Code of Regulations, Title 20 Sections 1605.1, 1605.3 and 1607.

### ITEM 2
Chapter 1 Division II Administration

HCD proposes to adopt Chapter 1, Division II, section 104.2 only, from the 2024 Uniform Mechanical Code (UMC) into the 2025 CMC without amendment.

DIVISION II
ADMINISTRATION

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 3
Chapter 2 Definitions

HCD proposes to adopt Chapter 2 from the 2024 UMC and bring forward California amendments from the 2022 CMC into the 2025 CMC without modification.

CHAPTER 2
DEFINITIONS

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 4
Chapter 3 General Regulations

HCD proposes to adopt Chapter 3 from the 2024 UMC and bring forward California amendments from the 2022 CMC into the 2025 CMC without modification.

CHAPTER 3
GENERAL REGULATIONS

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 5
Chapter 4 Ventilation Air

HCD proposes to adopt Chapter 4 from the 2024 UMC and bring forward California amendments from the 2022 CMC into the 2025 CMC without modification.

CHAPTER 4
VENTILATION AIR

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 6
Chapter 5 Exhaust Systems

HCD proposes to adopt Chapter 5 from the 2024 UMC into the 2025 CMC without amendment.

CHAPTER 5
EXHAUST SYSTEMS

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 7
Chapter 6 Duct Systems

HCD proposes to adopt Chapter 6 (except Section 603.9.2) from the 2024 UMC and bring forward California amendments from the 2022 CMC into the 2025 CMC without modification.

CHAPTER 6
DUCT SYSTEMS

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 8
Chapter 7 Combustion Air

HCD proposes to adopt Chapter 7 from the 2024 UMC into the 2025 CMC without amendment.

CHAPTER 7
COMBUSTION AIR

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 9
Chapter 8 Chimneys and Vents

HCD proposes to adopt Chapter 8 from the 2024 UMC into the 2025 CMC without amendment.

CHAPTER 8
CHIMNEYS AND VENTS

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1.

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 10
Chapter 9 Installation of Specific Appliances

HCD proposes to adopt Chapter 9 from the 2024 UMC (except Sections 929.0 and 929.1) and bring forward California amendments from the 2022 CMC into the 2025 CMC without modification.

CHAPTER 9
INSTALLATION OF SPECIFIC APPLIANCES

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 11
Chapter 10 Boilers and Pressure Vessels

HCD proposes to adopt Chapter 10 from the 2024 UMC and bring forward California amendments from the 2022 CMC into the 2025 CMC without modification.

CHAPTER 10
BOILERS AND PRESSURE VESSELS

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 12
Chapter 11 Refrigeration

HCD proposes to adopt Chapter 11 from the 2024 UMC into the 2025 CMC without amendment.

CHAPTER 11
REFRIGERATION

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 13
Chapter 12 Hydronics

HCD proposes to adopt Chapter 12 from the 2024 UMC and bring forward California amendments from the 2022 CMC into the 2025 CMC without modification.

CHAPTER 12
HYDRONICS

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 14
Chapter 13 Fuel Gas Piping

HCD proposes to adopt Chapter 13 from the 2024 UMC into the 2025 CMC without amendment.

CHAPTER 13
FUEL GAS PIPING

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 15
Chapter 14 Process Piping

HCD proposes to not adopt Chapter 14 from the 2024 UMC.

CHAPTER 14
PROCESS PIPING

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 16
Chapter 15 Solar Energy Systems

HCD proposes to adopt Chapter 15 from the 2024 UMC and bring forward California amendments from the 2022 CMC into the 2025 CMC without modification.

CHAPTER 15
SOLAR ENERGY SYSTEMS

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 17
Chapter 16 Stationary Power Plants

HCD proposes to adopt Chapter 16 from the 2024 UMC into the 2025 CMC without amendment.

CHAPTER 16
STATIONARY POWER PLANTS

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 18
Chapter 17 Geothermal Energy Systems and Ambient Temperature Loops

HCD proposes to adopt Chapter 17 from the 2024 UMC into the 2025 CMC without amendment.

CHAPTER 17
GEOTHERMAL ENERGY SYSTEMS AND AMBIENT TEMPERATURE LOOPS

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 19
Chapter 18 Referenced Standards

HCD proposes to adopt Chapter 18 from the 2024 UMC into the 2025 CMC without amendment.

CHAPTER 18
REFERENCED STANDARDS

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 20
Appendix A Residential Plans Examiner Review Form for HVAC System Design

HCD proposes to not adopt Appendix A from the 2024 UMC.

APPENDIX A
RESIDENTIAL PLANS EXAMINER REVIEW FORM FOR HVAC SYSTEM DESIGN

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 21
Appendix B Procedures to be Followed to Place Gas Equipment In Operation

HCD proposes to not adopt Appendix B from the 2024 UMC.

APPENDIX B
PROCEDURES TO BE FOLLOWED TO PLACE GAS EQUIPMENT IN OPERATION

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 22
Appendix C Installation and Testing of Oil (Liquid) Fuel-Fired Equipment

HCD proposes to not adopt Appendix C from the 2024 UMC.

APPENDIX C
INSTALLATION AND TESTING OF OIL (LIQUID) FUEL-FIRED EQUIPMENT

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 23
Appendix D Fuel Supply: Manufactured/Mobilehome Parks and Recreational Vehicle Parks

HCD proposes to not adopt Appendix D from the 2024 UMC.

APPENDIX D
FUEL SUPPLY: MANUFACTURED/MOBILE HOME PARKS AND RECREATIONAL VEHICLE PARKS

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 24
Appendix E Sustainable Practices

HCD proposes to not adopt Appendix E from the 2024 UMC.

APPENDIX E
SUSTAINABLE PRACTICES

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 25
Appendix F Sizing of Venting Systems and Outdoor Combustion and Ventilation Opening Design

HCD proposes to not adopt Appendix F from the 2024 UMC.

APPENDIX F
SIZING OF VENTING SYSTEMS AND OUTDOOR COMBUSTION AND VENTILATION OPENING DESIGN

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 26
Appendix G Example Calculation of Outdoor Air Rate

HCD proposes to not adopt Appendix G from the 2024 UMC.

APPENDIX G
EXAMPLE CALCULATION OF OUTDOOR AIR RATE.

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 27
Appendix H Professional Qualifications

HCD proposes to not adopt Appendix H from the 2024 UMC.

APPENDIX H
PROFESSIONAL QUALIFICATIONS

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 28
Appendix I Indoor Horticultural Facilities

HCD proposes not to adopt Appendix I from the 2024 UMC.

APPENDIX I
INDOOR HORTICULTURAL FACILITIES

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2

### ITEM 29
Appendix J Clean Air Delivery

HCD proposes not to adopt Appendix J from the 2024 UMC.

APPENDIX J
CLEAN AIR DELIVERY

Notation:

Authority: Health and Safety Code Sections 17040, 17920.9, 17921, 17922, 17958.12, 18552, 18620, 18690, 18865, 18871.3, 18873, 18873.4, 18938.3, and 19990; and Government Code Sections 12955.1 and 12955.1.1

Reference(s): Health and Safety Code Sections 17000 through 17062.5, 17910 through 17995.5, 18200 through 18700, 18860 through 18874, 18938.3 and 19960 through 19997; and Government Code Section 65852.2