# INITIAL EXPRESS TERMS FOR PROPOSED BUILDING STANDARDS OF THE STATE FIRE MARSHAL REGARDING THE 2025 CALIFORNIA REFERENCED STANDARDS CODE, CALIFORNIA CODE OF REGULATIONS, TITLE 24, PART 12 (SFM 07/24)

The state agency shall draft the regulations in plain, straightforward language, avoiding technical terms as much as possible and using a coherent and easily readable style. The agency shall draft the regulation in plain English. A notation shall follow the express terms of each regulation listing the specific statutes authorizing the adoption and listing specific statutes being implemented, interpreted, or made specific (Government Code Section 11346.2(a)(1)).

If using assistive technology, please adjust your settings to recognize underline, strikeout and ellipsis.

## LEGEND for EXPRESS TERMS (California only codes - Parts 1, 6, 8, 11, 12)

* Existing California amendments appear upright
* Amended or new California amendments appear underlined
* Repealed California language appears ~~upright and in strikeout~~
* Ellipses ( ...) indicate existing text remains unchanged

## INITIAL EXPRESS TERMS

### ITEM 1 Chapter 12 Cross Reference Table, Chapter 12-3 Releasing Systems For Security Bars In Dwellings, Chapter 12-4-1 Stage And Platforms, Chapter 12-7-1 Fire Resistive Standards, Chapter 12-7-3 Fire Resistive Standards Fire Testing Furnaces, Chapter 12-7-4 Fire Resistive Standards Fire Door Assembly Tests, Chapter 12-7-5 Fire Resistive Standards Interior Finish of Decorative Material, Chapter 12-7A Materials and Construction Methods for Exterior Wildfire Exposure, Chapter 12-8-1 Fire-Resistive Standards For Fire Protection, Appendix 12-8-1A Calculation of the Total Rate of Heat and Carbon Monoxide or Carbon Dioxide Production, Appendix 12-8-1B Guide to Mounting Techniques for Wall and Ceiling Interior Finish Material, Chapter 12-10-1 Exits. Power-Operated Exit Doors, Chapter 12-10-2 Exits. Single Point Latching or Locking Devices, Chapter 12-10-3 Exits. Emergency Exit and Panic Hardware, Chapter 12-13 Standards for Insulating Material, Chapter 12-71 Air Filters, Chapter 12-72-1 Protective Signaling Systems, standard test procedures, Chapter 12-72-2 Protective Signaling Systems. Single and multiple-station fire alarm devices mechanically operated type, Chapter 12-72-3 Protective signaling systems. Smoke detectors, combustion products type.

[The SFM proposes to adopt the 2025 California Referenced Standards Code, carrying forward existing provisions from the 2022 California Referenced Standards Code, without any further amendment.]

#### Notation:

Authority: Health and Safety Code Sections 1250, 1502, 1568.02, 1569.72 - 1569.78, 1597.44 - 1597.65, 13108, 13108.5, 13114, 13143, 13143.2, 13143.6, 13145, 13146, 13211, 16022.5, 17921, 18928, 18949.2, 25500 through 25545; Government Code Sections 51176, 51177, 51178, 51179 and 51189; Public Education Code 17074.50; Public Resources Code Sections 4201 through 4204.

Reference(s): Health and Safety Code Sections 13108, 13108.5, 13113, 13113.5, 13114, 13132, 13132.7, 13133, 13135, 13143, 13143.1, 13143.2, 13143.6, 13143.9, 13145, 13146, 13210, 13211, 16022.5, 17921.