# COMMISSION ACTION MATRIX – YELLOW
PLUMBING, ELECTRICAL, MECHANICAL & ENERGY (PEME) CODE ADVISORY COMMITTEE

## 2025 CALIFORNIA ELECTRICAL CODE, TITLE 24, PART 3, 2023 NATIONAL ELECTRICAL CODE
AGENCY: CALIFORNIA BUILDING STANDARDS COMMISSION, BSC 01/23

### LEGEND:

CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Agency Responses: Accept, Disagree, Withdraw

CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

- Model Code language appears upright

- Existing California amendments appear in italic

- Amended model code or new California amendments appear underlined & italic

- Repealed model code language appears upright and in strikeout

- Repealed California amendments appear in italic and strikeout

- Ellipses (…) indicate existing text remains unchanged

### ITEM 7
Chapters 7, 8, and 9

Adopt Chapters 7, 8, and 9 of the 2023 NEC without amendment into the 2025 CEC.

| BSC 01/23 ITEM 7 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 7-1 | Chapter 7 – Special Conditions | Approve | Accept | 45-Day Public Comment Period: William Koffel, CA Solar and Storage Association – Recommends: Approve as Amended, Section 702.4(B)(2) | BSC proposes to adopt Chapter 7 except Articles 708 and 728 without amendments. After 45-day: BSC has not made any further amendments to ET in response to the comment. See FSOR. |  |