APPROVED BY THE CALIFORNIA BUILDING STANDARDS COMMISSION

# DECEMBER 17, 2024

# COMMISSION ACTION MATRIX 
PLUMBING, ELECTRICAL, MECHANICAL & ENERGY (PEME) CODE ADVISORY COMMITTEE

## 2025 CALIFORNIA ELECTRICAL CODE, TITLE 24, PART 3, 2023 NATIONAL ELECTRICAL CODE
AGENCY: dEPARTMENT OF HOUSING AND COMMUNITY DEVELOPMENT, HCD 01/23

### LEGEND:

CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Agency Responses: Accept, Disagree, Withdraw

CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

- Model Code language appears upright

- Existing California amendments appear in italic

- Amended model code or new California amendments appear underlined & italic

- Repealed model code language appears upright and in strikeout

- Repealed California amendments appear in italic and strikeout

- Ellipses (…) indicate existing text remains unchanged

### ITEM 1, ARTICLE 89 – General Code Provisions

Carry forward existing amendments in Article 89 with modifications listed below.

| HCD 01/23 Item Number 1 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 1-1 | 89.101.1 Title | Approve | Accept | No public comments received. | Carry forward existing amendment with modification to repeal 2020 NEC and adopt 2023 NEC. | Approve |

### ITEM 2, article 90 - Introduction

Adopt Article 90 of the 2023 NEC and carry forward existing amendments without modification into the 2025 CEC.

| HCD 01/23 Item Number 2 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 2-1 | Article 90 – Introduction | Approve | Accept | No public comments received. | HCD proposes to adopt Article 90 and carry forward existing amendments without modification. | Approve |

### ITEM 3, Chapter 1 - General

Adopt Chapter 1 of the 2023 NEC and carry forward existing amendments with modifications listed below.

| HCD 01/23 Item Number 3 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 3-1 | Article 100 – Definitions Building | Approve | Accept | No public comments received. | HCD proposes additional amendments to the term “Building” for consistency with other parts of Title 24. | Approve |

### ITEM 4, Chapter 2 – Wiring and protection

Adopt Chapter 2 of the 2023 NEC, carry forward existing amendments and add new amendment as listed below.

| HCD 01/23 Item Number 4 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 4-1 | 210.8 Ground-Fault Circuit-Interrupter Protection for Personnel. | Approve | Withdraw | 45-Day Public Comment Period: Bryce Nesbitt – Recommend: Amend. Mike Stone-NEMA – Recommend: Disapprove. Randall Cooper – Recommend: Amend. | HCD proposes to amend Section 210.8 to delete the expiration date of Exception No. 2. HCD has decided not to make any additional amendments as suggested by the commenters. HCD and SFM both withdrew the amendment to Section 210.8(F) at the December 17, 2024, Commission meeting. | N/A |

### ITEM 5, Chapter 3 – Wiring methods and materials

Adopt Chapter 3 of the 2023 NEC and carry forward existing amendments with modification listed below.

| HCD 01/23 Item Number 5 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 5-1 | 394.12 Uses Not Permitted. | Approve | Accept | No public comments received. | HCD proposes to carry forward existing “Exception” with amendment to include the “HCD 2” banner. | Approve |

### ITEM 6, Chapter 4 – Equipment for general use

Adopt Chapter 4 of the 2023 NEC, carry forward existing amendments and add new amendment as listed below.

| HCD 01/23 Item Number 6 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 6-1 | 406.12 Tamper-Resistant Receptacles. | Approve | Accept | No public comments received. | HCD proposes to strikeout “mobile homes and manufactured homes” from item # 1. | Approve |

### ITEM 7, Chapter 5 – Special Occupancies

Adopt Articles 518, 545, and 590 in Chapter 5 of the 2023 NEC without amendment.

| HCD 01/23 Item Number 7 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 7-1 | Chapter 5 – Special Occupancies | Approve | Accept | No public comments received. | HCD proposes to adopt Chapter 5 Articles 518, 545, and 590 only from the 2023 NEC without amendment. | Approve |

### ITEM 8, Chapter 6 – Special equipment

Adopt Articles 600, 620, 625, 626, 646, 680, 682, 690, 691, 692, and 694 in Chapter 6 of the 2023 NEC and carry forward existing amendments without modification.

| HCD 01/23 Item Number 8 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 8-1 | Chapter 6 – Special Equipment (Proposal in Section 625.1.1 has been withdrawn) | Approve | Disagree | No public comments received. | HCD proposes an editorial modification in Section 625.1.1 only. POST CAC: HCD has withdrawn its proposal to repeal the comma from Section 625.1.1. The proposal continues to reflect adoption of Chapter 6 (certain Articles only) and existing amendments being carried forward without modification. | Approve |

### ITEM 9, Chapter 7 – Special Conditions

Adopt Chapter 7 except for Articles 701 and 760 of the 2023 NEC without amendment.

| HCD 01/23 Item Number 9 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 9-1 | Chapter 7 – Special Conditions | Approve | Accept | No public comments received. | HCD proposes to adopt Chapter 7, except articles 701 and 760. | Approve |

### ITEM 10, Chapter 8 – Communications systems

Adopt Chapter 8 of the 2023 NEC without amendment.

| HCD 01/23 Item Number 10 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 10-1 | Chapter 8 – Communications Systems | Approve | Accept | No public comments received. | HCD proposes to adopt Chapter 8 without amendment. | Approve |

### ITEM 11, Chapter 9 - Tables

Adopt Chapter 9 of the 2023 NEC without amendment.

| HCD 01/23 Item Number 11 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 11-1 | Chapter 9 – Tables | Approve | Accept | No public comments received. | HCD proposes to adopt Chapter 9 without amendment. | Approve |

### ITEM 12, Informative annexes

Not adopt the Informative Annexes of the 2023 NEC.

| HCD 01/23 Item Number 12 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 12-1 | Informative Annexes | Approve | Accept | No public comments received. | HCD proposes to not adopt Annexes from 2023 NEC. | Approve |