# COMMISSION ACTION MATRIX
GREEN Building – PLUMBING, ELECTRICAL, MECHANICAL & ENERGY AD-HOC (GREEN/PEME) CODE ADVISORY COMMITTEE
February 11-12, 2026

### 2025 California Green Building Standards Code, TITLE 24, PART 11 
AGENCY: CALIFORNIA BUILDING sTANDARDS cOMMISSION (bsc), bsc 03/25

### LEGEND:

CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Agency Responses: Accept, Disagree, Withdraw

CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout and ellipsis.

- Existing California amendments appear upright

- Amended or new California amendments appear underlined

- Repealed California language appears upright and in strikeout

- Ellipses (…) indicate existing text remains unchanged

### ITEM 1
Chapter 2, SECTION 202 - DEFINITIONS

BSC proposes to adopt a new definition and amend an existing definition as listed below.

| BSC 03/25 ITEM 1 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 1-1 | ENERGY COMMISSION. |  |  |  | Revise the Energy Commission definition to use commonly known title instead of the formal title of the state agency. |  |
| - 1-2 | SALVAGED MATERIAL OR PRODUCT |  |  |  | Add this definition to support the proposed express terms found in Section 5.409.3. |  |

### ITEM 2
Chapter 5, SECTION 5.105 - DECONSTRUCTION AND REUSE OF EXISTING STRUCTURES

BSC proposes to amend sections listed below.

| BSC 03/25 ITEM 2 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| 2-1 | 5.105.1 Scope Reserved |  |  |  | Relocate embodied carbon reduction provisions related to building reuse option to Section 5.409 where the other two embodied carbon reduction compliance options are located. Reserve this section and relocate content. |  |
| - 2-2 | 5.105.2 Reuse of existing building. 5.105.2.1 Verification of compliance. |  |  |  | Relocate content of Sections 5.105.2 and 5.105.2.1 to Section 5.409. Provide a pointer to the new location of existing building reuse regulations. |  |

### ITEM 3
Chapter 5, SECTION 5.106 - SITE DEVELOPMENT

BSC proposes to amend sections listed below.

| BSC 03/25 ITEM 3 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| 3-1 | 5.106.4.1 Bicycle parking. 5.106.4.1.2 Long-term bicycle parking. |  |  |  | Relocate sentence about rounding calculations for bicycle parking calculations from Section 5.106.4.1.2 to Section 5.106.4.1 for clarification. |  |

### ITEM 4
Chapter 5, SECTION 5.106 - SITE DEVELOPMENT

BSC proposes to amend sections listed below.

| BSC 03/25 ITEM 4 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 4-1 | 5.106.5.3 Electric vehicle (EV) charging. [N] [BSC-CG] |  |  |  | Amend to clean up the language and correct the grammar structure of the sentence. |  |
| - 4-2 | 5.106.5.3.3 Use of automatic load management systems (ALMS) |  |  |  | Amend to change the unit of measurement from the current amperes to kW. |  |
| - 4-3 | 5.106.5.4 Additions or alterations to existing buildings or parking facilities [A]. [BSC-CG] |  |  |  | Amend trigger 2 to clarify scoping requirements for new photovoltaic system projects that cover existing parking spaces. Additionally, there is an editorial change proposed in the main body of the code section. |  |

### ITEM 5
Chapter 5, SECTION 5.304 - OUTDOOR WATER USE

BSC proposes to amend sections listed below.

| BSC 03/25 ITEM 5 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 5-1 | 5.304.2 Reserved Nonfunctional Turf. [BSC-CG] |  |  |  | Add a note regarding nonfunctional turf requirements applicable to non-residential appliances. The note provides a pointer to Water Code Section 10608.14. |  |

### ITEM 6
Chapter 5, SECTION 5.402 - DEFINITIONS

BSC proposes to amend Section 5.402.1.

| BSC 03/25 ITEM 6 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 6-1 | SALVAGED MATERIAL OR PRODUCT |  |  |  | Add a new term to the list of definitions in Section 5.402.1 to align with the definition added to Chapter 2. |  |

### ITEM 7
Chapter 5, SECTION 5.407.1 - WEATHER PROTECTION

BSC proposes to amend sections listed below.

| BSC 03/25 ITEM 7 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 7-1 | 5.407.1 Reserved Weather protection. |  |  |  | Repeal this section, as it’s redundant to sections within California Building Code (Part 2 of Title 24) for weather protection. |  |

### ITEM 8
Chapter 5, SECTION 5.408—CONSTRUCTION WASTE REDUCTION, DISPOSAL AND RECYCLING

BSC proposes to amend sections listed below.

| BSC 03/25 ITEM 8 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 8-1 | 5.408.1.1 Construction waste management plan. |  |  |  | Add a note to clarify where to find information regarding carpet waste diversion facilities. |  |

### ITEM 9
Chapter 5, SECTION 5.409 - EMBODIED CARBON REDUCTION

BSC proposes to amend sections listed below.

| BSC 03/25 ITEM 9 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 9-1 | 5.409 LIFE CYCLE ASSESSMENT EMBODIED CARBON REDUCTION 5.409.1 Scope |  |  |  | Amend to consolidate all embodied carbon reduction provisions in Section 5.409 and rename it to Embodied Carbon Reduction. Relocate Exception to Section 5.409.1. Revise references to other reorganized sections. Repeal language referencing a sunset date of January 1, 2026, and update minimum building area requirements to address the sunset of language referencing 100,000 SF buildings, changing it to 50,000 SF. |  |
| - 9-2 | 5.105.2 5.409.2 Reuse of existing building option 5.105.2.1 5.409.2.1 Verification of compliance. |  |  |  | Revise the title and renumber these sections to reflect the reorganization. |  |
| - 9-3 | 5.409.3 Product GWP compliance - prescriptive path option 5.409. 3.1 |  |  |  | Revise the title to reflect the reorganization. Combine Sections 5.409.3 and 5.409.3.1 into one section to more accurately reflect the requirements for compliance. |  |
| - 9-4 | 5.409.3, Exception 1 |  |  |  | Add an exception to clarify that Salvaged Materials or Products are not required to have an EPD, and shall have a GWP of zero. |  |
| - 9-5 | 5.409.3, Exception 2 |  |  |  | Renumber to Exception 2 to coordinate with SUB-ITEM 9-4 proposal. Revise the language to clarify how concrete can be considered in the GWP calculations. |  |
| - 9-6 | Table 5.409.3 Product GWP Limits |  |  |  | Amend addressing an error in the unit of measurement for flat glass. Additionally, delete or revise superscripts used in table headings that refer to table footnotes to coordinate with proposal in SUB-ITEM 9-7. |  |
| - 9-7 | Table 5.409.3 Footnotes |  |  |  | Repeal notes 1 & 2, which describe how the values are calculated to eliminate confusion for the code users. |  |
| - 9-8 | 5.409.3.21 Verification of compliance |  |  |  | Renumber this section to reflect the reorganization. |  |
| - 9-9 | 5.409.2 5.409.4 Whole building life cycle assessment – performance option 5.409.24.1, 5.409.24.2, 5.409.24.3 |  |  |  | Revise the title and renumber these sections to reflect the reorganization. Add the word “geographic” before “location” for clarity. |  |

### ITEM 10
CHAPTER 8 COMPLIANCE FORMS, WORKSHEETS AND REFERENCE MATERIAL

BSC proposes to amend worksheets listed below.

| BSC 03/25 ITEM 10 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 10-1 | Worksheet (WS-3) 5.105.2 Section 5.409.2 REUSE OF EXISTING BUILDING OPTION REUSE |  |  |  | Rename the worksheet to reflect the reorganization. Correct a typo in the last column of the table from square footage to percentage. |  |
| - 10-2 | Worksheet (WS-4) Section 5.409.2 5.409.4 WHOLE BUILDING LIFE CYCLE ASSESSMENT – PERFORMANCE OPTION |  |  |  | Rename the worksheet to reflect the reorganization. Add the term “geographic” before “location” for clarity. Renumber referenced sections. |  |
| - 10-3 | Worksheet (WS-5) Section 5.409.3 PRODUCT GWP COMPLIANCE – PRESCRIPTIVE PATH OPTION |  |  |  | Rename the worksheet to reflect the reorganization. Correct the language of this worksheet to address the previously incorrect instruction for compliance using this option for compliance. |  |
| - 10-4 | Worksheet (WS-6) Section A5.105.2 A5.409.2 REUSE OF EXISTING BUILDING REUSE TIER 1 AND TIER 2 |  |  |  | Rename the worksheet to reflect the reorganization. Add language that was missed before to provide consistency with existing scoping regulations and exceptions. |  |
| - 10-5 | Worksheet (WS-7) Section A5.409.2 A5.409.4 WHOLE BUILDING LIFE CYCLE ASSESSMENT – PERFORMANCE OPTION |  |  |  | Rename the worksheet to reflect the reorganization. Add the term “geographic” before “location” for clarity. Renumber referenced sections. |  |
| - 10-6 | Worksheet (WS-8) Section A5.409.3 PRODUCT GWP COMPLIANCE—PRESCRIPTIVE PATH OPTION |  |  |  | Rename the worksheet to reflect the reorganization. Correct the language of this worksheet to address the previously incorrect instruction for compliance using this option for compliance. |  |
| - 10-7 | Worksheet (WS-9) Section 5.409.42 and Section A5.409.42 WHOLE BUILDING LIFE CYCLE ASSESSMENT – PERFORMANCE OPTION |  |  |  | Rename the worksheet to reflect the reorganization. |  |

### ITEM 11
APPENDIX A5, NONRESIDENTIAL VOLUNTARY MEASURES, SECTION A5.105—DECONSTRUCTION AND REUSE OF EXISTING STRUCTURES

BSC proposes to amend sections listed below.

| BSC 03/25 ITEM 11 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 11-1 | A5.105.1 Reserved Scope |  |  |  | Relocate voluntary embodied carbon reduction provisions related to building reuse option to Section A5.409 where the other two embodied carbon reduction compliance options are located. Reserve this section as the language is duplicative with Section A5.409.1. |  |
| - 11-2 | A5.105.2 Reuse of existing building A5.105.2.1 Tier 1, A5.105.2.2 Tier 2, A5.105.2.3 Verification of compliance |  |  |  | Relocate content of these sections to Section A5.409. Provide a pointer to the new location of existing building reuse regulations. |  |

### ITEM 12
APPENDIX A5, SECTION a5.106 – SITE DEVELOPMENT

BSC proposes to amend sections listed below.

| BSC 03/25 ITEM 12 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 12-1 | A5.106.5.1.4 Parking stall marking. |  |  |  | Amend to provide editorial correction for clarity. |  |
| - 12-2 | A5.106.7.2 Opaque wall areas. |  |  |  | Amend the reference pointer from CBC Chapter 7A to the California Wildland-Urban Interface Code (CWUIC). |  |

### ITEM 13
APPENDIX A5, SECTION A5.402 - DEFINITIONS

BSC proposes to amend Section A5.402.1.

| BSC 03/25 ITEM 13 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 13-1 | SALVAGED MATERIAL OR PRODUCT |  |  |  | Add a new term to the list of definitions in Section A5.402.1 to align with the definition added to Chapter 2. |  |

### ITEM 14
APPENDIX A5, SECTION A5.405 - MATERIAL SOURCES

BSC proposes to amend sections listed below.

| BSC 03/25 ITEM 14 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 14-1 | A5.405.4 Recycled content. |  |  |  | Delete Note 1 and renumber. |  |

### ITEM 15
APPENDIX A5, SECTION A5.409 - LIFE CYCLE ASSESSMENT

BSC proposes to amend sections listed below.

| BSC 03/25 ITEM 15 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 15-1 | A5.409 LIFE CYCLE ASSESSMENT EMBODIED CARBON REDUCTION A5.409.1 Scope |  |  |  | Amend to coordinate with proposal for mandatory regulations and consolidate all voluntary embodied carbon reduction provisions in Section A5.409 and rename it to Embodied Carbon Reduction. Revise references to other reorganized sections accordingly. |  |
| - 15-2 | A5.105.2 A5.409.2 Reuse of existing building option. A5.105.2.1 A5.409.2.1 A5.105.2.2 A5.409.2.2 A5.105.2.3 A5.409.2.3 |  |  |  | Revise the title and renumber these sections to reflect the reorganization. |  |
| - 15-3 | A5.409.3 Product GWP compliance - prescriptive path option. A5.409.3.1 |  |  |  | Revise the title to reflect the reorganization. Combine Sections A5.409.3 and A5.409.3.1 into one section to more accurately reflect the requirements for compliance. |  |
| - 15-4 | A5.409.3, Exception 1 |  |  |  | Add exception for salvaged materials. |  |
| - 15-5 | A5.409.3, Exception 2 |  |  |  | Renumber exception to accommodate addition of exception 1. Revise the language to clarify how concrete can be considered in the GWP calculations. Correct typo in the exception equation referring to correct table. |  |
| - 15-6 | TABLE A5.409.3—PRODUCT GWP LIMITS, TIER 1 AND TIER 2 |  |  |  | Amend addressing an error in the unit of measurement for flat glass. Additionally, delete or revise superscripts used in table headings that refer to table footnotes to coordinate with proposal in SUB-ITEM 15-7. |  |
| - 15-7 | TABLE A5.409.3 Footnotes |  |  |  | Repeal footnotes 1 & 2 to eliminate confusion. |  |
| - 15-8 | A5.409.3.21 Verification of compliance. |  |  |  | Renumber section. |  |
| - 15-9 | A5.409.2 A5.409.4 Whole building life cycle assessment – performance option. A5.409.2.1 A5.409.4.1 A5.409.2.2 A5.409.4.2 |  |  |  | Revise the title and renumber these sections to reflect the reorganization. Add the word “geographic” before “location” for clarity. |  |
| - 15-10 | A5.409.4.2 Exception |  |  |  | Amend Exception for Tier 2 compliance to align with exception for Tier 1 compliance. |  |
| - 15-11 | A5.409.2.3 A5.409.4.3 Verification of compliance. |  |  |  | Renumber section. |  |
| - 15-12 | A5.409.4 A5.409.5 Whole building life cycle assessment of additional impacts A5.409.4.1 A5.409.5.1 |  |  |  | Renumber these sections to reflect the reorganization. Add the word “geographic” before “location” for clarity. |  |