# INITIAL EXPRESS TERMS
FOR PROPOSED BUILDING STANDARDS
OF THE CALIFORNIA BUILDING STANDARDS COMMISSION
REGARDING THE 2025 CALIFORNIA EXISTING BUILDING CODE,
CALIFORNIA CODE OF REGULATIONS, TITLE 24, PART 10
(BSC 02/25)

The state agency shall draft the regulations in plain, straightforward language, avoiding technical terms as much as possible and using a coherent and easily readable style. The agency shall draft the regulation in plain English. A notation shall follow the express terms of each regulation listing the specific statutes authorizing the adoption and listing specific statutes being implemented, interpreted, or made specific (Government Code Section 11346.2(a)(1)).

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

## LEGEND for EXPRESS TERMS (Based on model codes - Parts 2, 2.5, 3, 4, 5, 7, 9, 10)

- Model Code language appears upright

- Existing California amendments appear in italic

- Amended model code or new California amendments appear underlined & italic

- Repealed model code language appears upright and in strikeout

- Repealed California amendments appear in italic and strikeout

- Ellipses ( …) indicate existing text remains unchanged

## INITIAL EXPRESS TERMS

### ITEM 1
Chapter 3 Provisions for All Compliance Methods, Section 319.2

319.2 Existing conditions. … Adjacent structures or site features that may affect the retrofit design shall be identified.

The entire load path of the seismic-force-resisting system shall be determined, documented and evaluated. The load path includes encompasses all the horizontal and vertical elements that participate participating in the structural response: such as, including diaphragms, diaphragm chords, diaphragm collectors, foundations, vertical elements such as walls, frames, and braces; foundations and, as well as the connections between the these components and elements of the load path. Repaired or retrofitted elements and the standards under which the work was constructed shall be identified.

…

#### Notation:

Authority: Health and Safety Code Section 18934.5

Reference(s): Health and Safety Code Section 18934.5