# COMMISSION ACTION MATRIX
BUILDING, FIRE & OTHER  – STRUCTURAL DESIGN/LATERAL FORCES AD-HOC (BFO/SDLF) CODE ADVISORY COMMITTEE – FEBRUARY 17-18, 2026

## 2025 CALIFORNIA WILDLAND-URBAN INTERFACE CODE, TITLE 24, PART 7 
AGENCY: Office of the state fire Marshal, SFM 04/25

### LEGEND:

CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Agency Responses: Accept, Disagree, Withdraw

CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

- Model Code language appears upright

- Existing California amendments appear in italic

- Amended model code or new California amendments appear underlined & italic

- Repealed model code language appears upright and in strikeout

- Repealed California amendments appear in italic and strikeout

- Ellipses (…) indicate existing text remains unchanged

### ITEM 1
Chapter 1, ADMINISTRATION

Amend sections listed below.

| SFM 04/25 ITEM 1 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 1-1 | 1.1.2 Purpose |  |  |  | Amend to distinguish between different hazard levels in fire severity zones. Makes adjustments to other existing language for clarification. Some of the proposed changes are part of certifying rulemaking for approved emergency regulations. |  |
| - 1-2 | 101.2 Scope |  |  |  | Amend the scoping section that has caused code user confusion. |  |
| - 1-3 | 101.3.1 Application 101.3.1.1 Application date and where required |  |  |  | Combine sections 101.3.1 & 101.3.1.1 for clarity. Delete “trigger date” exceptions which have passed. Remove most exceptions to Application. Some of the proposed changes are part of certifying rulemaking for approved emergency regulations. |  |
| - 1-4 | 101.5 Additions or alterations |  |  |  | Adopt section 101.5 which was not adopted before. |  |
| - 1-5 | 101.6 Maintenance |  |  |  | Amend to address landscape materials, vegetation and defensible space. |  |
| - 1-6 | 104.2.2 Alternative materials, design and methods |  |  |  | Amend to include International Wildland-Urban Interface Code (IWUIC) errata. |  |

### ITEM 2
Chapter 2, DEFINITIONS

Adopt and amend sections listed below.

| SFM 04/25 ITEM 2 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 2-1 | Glazed Door |  |  |  | Add a definition that aligns with California Energy Code definition. |  |
| - 2-2 | Home Hardening |  |  |  | Add a definition to effectuate the pertinent Health & Safety codes. Part of certifying rulemaking for approved emergency regulations. |  |
| - 2-3 | Local Responsibility Area (LRA) |  |  |  | Amend this definition to align with Title 19. |  |
| - 2-4 | State Responsibility Areas (SRA) |  |  |  | Amend this definition to align with Public Resources Code Section 4102. |  |
| - 2-5 | Vegetation |  |  |  | Add new definition for clarity. |  |
| - 2-6 | Wildland-Urban Interface Area (WUI) |  |  |  | Amend definition for clarity. |  |

### ITEM 3
Chapter 3, Wildland Urban Interface Areas

Amend sections listed below.

| SFM 04/25 ITEM 3 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 3-1 | 301.1. Scope 302.1.1 Fire Hazard Severity Zone (FHSZ) Viewer |  |  |  | Amend and add new section to provide code users with the location where to find the Fire Hazard Severity Zone maps. |  |
| - 3-2 | 302.2 Review of wildland-urban interface areas Fire Hazard Severity Zones |  |  |  | Delete the model code language that is not needed and redundant. Adress incorrect capitalization of words. |  |
| - 3-3 | 302.3 Local Designation |  |  |  | Add new section to increase awareness and reinforce responsibility of local jurisdictions. |  |

### ITEM 4
Chapter 5, Special Building Construction Regulations

Amended sections listed below.

| SFM 04/25 ITEM 4 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 4-1 | 503 IGNITION-RESISTANT CONSTRUCTION AND MATERIAL 503.1 General |  |  |  | Early adopt provisions from 2027 IWUIC. Delete exception 2 as part of certifying rulemaking for approved emergency regulations. |  |
| - 4-2 | 503.2, 503.2.1, 501.4 503.2.1.1, 501.4.1 503.2.1.1.1, 503.2.1.1.2, 503.2.2, 503.2.4 503.2.3, 503.2.4.1 503.2.3.1, 503.2.4.2 503.2.3.2, 503.2.4.3 503.2.3.3, 503.2.4.3.1 503.2.3.3.1, 503.2.4.3.2 503.2.3.3.2, 503.2.4.3.3 503.2.3.3.3, 503.2.3.3.4, 503.2.5, 503.2.3.3.4, 503.2.3 503.3, 501.3 503.4, 503.3 503.5, 503.3.1 503.5.1, 503.3.2 503.5.2, 503.3.3 503.5.3, 503.3.4 503.5.4 |  |  |  | Early adopt provisions from 2027 IWUIC and propose additional amendments. Adoption of Section 503.2.3.3.4 addresses the durability of ignition-resistant materials exposed to atmospheric conditions. |  |
| - 4-3 | 504.2 Roof Assembly |  |  |  | Amend to align the use of the term “roof assembly” with that used in referenced standards. Revise Section 504.2 Exceptions to align with CBC. |  |
| - 4-4 | 504.2.1 Roof covering voids, 504.2.1.1 Airspace under roof coverings Roof deck, 504.2.1.2 Roof underlayment Eaves, 504.2.1.3 Ridges and hips |  |  |  | Amend to replace existing language to clarify the requirements for roof coverings with an airspace under the roof coverings. |  |
| - 4-5 | 504.2.2 Roof valleys flashings, 504.2.3 Flashing at intersections |  |  |  | Revise the term roof valley flashings to be consistent with the proposed IWUIC revisions being considered. |  |
| - 4-6 | 504.2.4 Skylights |  |  |  | Early adopt provisions from 2027 IWUIC. This proposed revision adds a pointer under the roof assembly section 504.2 to prevent confusion. |  |
| - 4-7 | 504.3.1 Protection of open eaves |  |  |  | Correct a clerical error from original adoption of Part 7 in 2024 Triennial. Part of certifying rulemaking for approved emergency regulations. |  |
| - 4-8 | 504.5 Exterior walls, 504.5.1 Exterior wall construction, 504.5.2 Exterior wall coverings, 504.5.1 504.5.3 Flashing |  |  |  | Amend to clarify the application of these sections. |  |
| - 4-9 | 504.7.3.1 Deck Flashing |  |  |  | Amend section to provide a pointer to Section 504.7.3.1 and eliminate redundancy. |  |
| - 4-10 | 504.8 Exterior glazing 504.8.2 Operable Skylights |  |  |  | Amend to clarify option 1 of section 504.8. Other editorial revisions. |  |
| - 4-11 | 504.10 Vents |  |  |  | Amend the section for clarity. |  |
| - 4-12 | 504.10.1 Performance requirements Vent testing |  |  |  | Amend to provide standards for testing vents in various orientations. |  |
| - 4-13 | 504.10.2 Off Roof ridge and off-ridge field vents 504.10.3 Vent locations |  |  |  | Amend section to address vents that are excluded from the ASTM E2886 standard. |  |
| - 4-14 | 504.11 Accessory buildings and miscellaneous structures, 504.11.1 Applicability, 504.11.2 Accessory structures greater than 120 sq ft, 504.11.3 Accessory structures equal or less than 120 sq ft, 504.11.2, 504.11.3, 504.11.4, 504.11.5 |  |  |  | Amend the requirements for accessory structures for the purpose of eliminating redundancy, improve clarity, revise construction requirements based on location, and establishes requirements for structures in close proximity to lot lines. |  |
| - 5-15 | 504.11.6 Roof construction |  |  |  | Amend to provide consistency. |  |
| - 4-16 | 507.1 General |  |  |  | Amend to provide consistency. |  |

### ITEM 5
Chapter 6 FIRE PROTECTION Requirements

Amend sections listed below.

| SFM 04/25 ITEM 5 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 5-1 | User Note |  |  |  | Amend to correct redundancy regarding the regulatory framework for LRAs. |  |
| - 5-2 | 602.3.2 Final Fire Protection Plan |  |  |  | Amend to clarify requirements of existing vegetation as it relates to defensible space requirements. |  |
| - 5-3 | 603.3.1 Contents |  |  |  | Amend to clarify delineation of 5 feet, as related to “zone zero” requirements for an ember resistant zone. |  |
| - 5-4 | 604.1 General 604.3 Requirements |  |  |  | Amend to remove the word “hazardous” from the section, as the term has not been defined in this code to eliminate ambiguity. Also eliminate redundancy with other sections. |  |

### ITEM 6
Chapter 7 REFERENCEd STANDARDS

Adopt standard listed below.

| SFM 04/25 ITEM 6 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 6-1 | NFPA 1140-2022 |  |  |  | Adopt referenced standard NFPA 1140-2022 Standard for Wildland Fire Protection. |  |

### ITEM 7
Appendix D Model Ordinance For Fire Hazard Severity Zone Adoption

Adopt section listed below.

| SFM 04/25 ITEM 7 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 7-1 | Appendix D Model Ordinance for Fire Hazard Severity Zone Adoption |  |  |  | Adopt Appendix D Model Ordinance for Fire Hazard Severity Zone Adoption which SFM added to CWUIC during 2024 Triennial code adoption cycle. |  |