# COMMISSION ACTION MATRIX
HEALTH FACILITIES (HF) CODE ADVISORY COMMITTEE – JANUARY 28, 2026

## 2025 CALIFORNIA BUILDING CODE, TITLE 24, PART 2 VOL. 1
AGENCY: OFFICE OF STATEWIDE HOSPITAL PLANNING AND DEVELOPMENT, OSHPD 02/25

### LEGEND:

CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Agency Responses: Accept, Disagree, Withdraw

CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

- Model Code language appears upright

- Existing California amendments appear in italic

- Amended model code or new California amendments appear underlined & italic

- Repealed model code language appears upright and in strikeout

- Repealed California amendments appear in italic and strikeout

- Ellipses (…) indicate existing text remains unchanged

### ITEM 1
Chapter 12, INTERIOR ENVIRONMENT, Section 1224 HOSPITALS [OSHPD 1]

Amend sections listed below.

| OSHPD 02/25 ITEM 1 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 1-1 | Table 1224.4.6.1 Station outlets for oxygen. |  |  |  | Amendment to add a row for infant resuscitation space in LDRP room distinguishing it from the same space in a cesarean delivery room; revise the required number of OB recovery room vacuum inlets; revise the required number of cardiac catheterization lab medical air inlets; and revise footnote 3. |  |
| - 1-2 | Table 1224.4.6.5 Location of nurse call devices. Footnote 1. |  |  |  | Amendment to add Alternative Birthing Clinics (ABCs) to the exception in footnote 1. |  |
| - 1-3 | Table 1224.4.6.5 Location of nurse call devices. Footnote 2. |  |  |  | Amendment to add a new footnote 2 allowing Alternative Birthing Clinics (ABCs) to use an alternative nurse call system. |  |
| - 1-4 | Table 1224.4.6.5 Location of nurse call devices. Footnote 3. |  |  |  | Amendment to add a new footnote 3 allowing nurse call devices to be located in the MRI control room. |  |
| - 1-5 | 1224.4.11.2.2 Wet cleaning. |  |  |  | Amendment to require integral coved wall base at permanently installed casework in wet cleaning rooms and to add room types to the required areas. |  |
| - 1-6 | Table 1224.4.19 Sound transmission limitations in hospitals. Footnote 1. |  |  |  | Amendment to correct reference standard number in table footnote 1. |  |
| - 1-7 | 1224.16.2.3 Handwashing stations. |  |  |  | Amendment to add language stating that handwashing stations shall be uniformly distributed. |  |
| - 1-8 | 1224.18.3.1 Spaces required. |  |  |  | Amendment to remove “if provided”. |  |
| - 1-9 | 1224.19.1.1 Licensed pharmacy. |  |  |  | Amendment to change specific Title 16 reference to general reference in the Note. |  |
| - 1-10 | 1224.19.2.1.3 Non-sterile compounding areas. |  |  |  | Amendment changing terms to match terms used in Title 16. |  |
| - 1-11 | 1224.19.3.1 General. through 1224.19.3.2.2.1 Air quality. |  |  |  | Amendments renumbering references to align with renumbering in Title 16. |  |
| - 1-12 | 1224.19.3.2.2.5 Pass-throughs cabinets. |  |  |  | Amendment to revise section title. |  |
| - 1-13 | 1224.19.3.2.3.2 Air quality through 1224.19.3.3.4 Hazardous segregated compounding area |  |  |  | Amendments renumbering references to align with renumbering in Title 16. |  |
| - 1-14 | 1224.20.2.8 Dining area. |  |  |  | Amendment to correct spelling. |  |
| - 1-15 | 1224.22.1 Minimum requirements. |  |  |  | Amendment to add requirements for the type and locations of sinks in a Central Sterile Supply space in alignment with the requirements of the California Plumbing Code. |  |
| - 1-16 | 1224.29.1.15 Support. |  |  |  | Amendment to add a note to item 6 clarifying the purpose of gurney and wheelchair storage in NICU. |  |
| - 1-17 | 1224.32.3.8.2.11 Housekeeping room. |  |  |  | Amendment to add a pointer to the location of housekeeping room requirements. |  |
| - 1-18 | 1224.33.2.1 Exterior entrance. |  |  |  | Amendment to revise the language describing the requirements for Emergency Medical Service area entrances. |  |
| - 1-19 | 1224.35.1 Rehabilitation center space. |  |  |  | Amendment to add requirements for rehabilitation center space including exit doors with panic hardware, door width for wheelchair patients, grab bars in toilet rooms, and patient training bathtubs. |  |
| - 1-20 | 1224.35.2 Physical therapy service space. |  |  |  | Amendment to add a requirement for grab bars in patient toilet rooms. |  |
| - 1-21 | 1224.35.3 Occupational therapy service space. |  |  |  | Amendment to add requirements for minimum area dimensions, privacy screens, and grab bars. |  |
| - 1-22 | 1224.36.2.3 Individual patient treatment areas. |  |  |  | Amendment to add language clarifying the required clearances in treatment areas. |  |
| - 1-23 | 1224.36.3.2 Patient storage. |  |  |  | Amendment to add language clarifying that storage is required when outpatient dialysis is provided. |  |
| - 1-24 | 1224.36.3.3 Waiting room. |  |  |  | Amendment to add an exception where a waiting room is not required. |  |
| - 1-25 | 1224.39.4.2.3 Individual patient treatment areas. |  |  |  | Amendment to add language clarifying the required clearances in treatment areas. |  |

### ITEM 2
Chapter 12, INTERIOR ENVIRONMENT, Section 1225 SKILLED NURSING AND INTERMEDIATE CARE FACILITIES [OSHPD 2]

Amend sections listed below.

| OSHPD 02/25 ITEM 2 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 2-1 | 1225.4.1.7 Patient/nurse call system. |  |  |  | Amendment to change pointer from indicating requirements in California Electrical Code to California Building Code. |  |
| - 2-2 | 1225.1.1 General construction. through 1225.1.1.1.2 Technology distribution room. |  |  |  | Amendment to change requirements for communication systems in skilled nursing and intermediate-care facilities, adding Sections 1225.5.1.1.1 Communications systems. through 1225.5.1.1.1.2 technology distribution room. |  |
| - 2-3 | 1225.5.1.4.1 Skilled nursing facilities. |  |  |  | Amendment to add a requirement for outdoor space at skilled nursing facilities. |  |
| - 2-4 | 1225.6.6 SPECIAL TREATMENT PROGRAM SERVICE. |  |  |  | Amendment to change language to align with language in Title 22. |  |

### ITEM 3
Chapter 12, INTERIOR ENVIRONMENT, Section 1226 CLINICS [OSHPD 3]

Amend sections listed below.

| OSHPD 02/25 ITEM 3 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 3-1 | 1226.1 Scope. |  |  |  | Amendment to remove specific clinic types from scoping language. |  |
| - 3-2 | 1226.2 Application. |  |  |  | Amendment to clarify the pointer to other Parts of Title 24 are specific to the OSHPD 3 provisions of those regulations, and remove reference to the specific clinic types in Section 1226.1. |  |
| - 3-3 | 1226.2.1 Outpatient clinical services. |  |  |  | Amendment to remove existing language and move information to Sections 1226.4 and 1226.6. |  |
| - 3-4 | 1226.2.2 Special services. |  |  |  | Amendment to move this section to be under section for outpatient clinical services of a hospital. |  |
| - 3-5 | 1226.52.1 OUTPATIENT CLINICAL SERVICES OF A HOSPITAL. |  |  |  | Amendment to renumber existing scoping language Section 1226.5 to this Section and add language clarifying that these clinics are licensed by the California Department of Public Health (CDPH). |  |
| - 3-6 | 1226.2.1.1 Cardiac catheterization laboratory services. |  |  |  | Amendment to rename and renumber from 1226.2.2. |  |
| - 3-7 | 1226.4 General Construction. |  |  |  | Amendment to state that general construction requirements apply to all the clinic types listed in 1226 except as modified in each specific clinic type. |  |
| - 3-8 | 1226.4.1 Examination and treatment areas, when required. and 1226.4.2 Miscellaneous requirements, when required. |  |  |  | Amendment to add “when required” to these section titles. |  |
| - 3-9 | 1226.4.3 Corridors. |  |  |  | Amendment to clarify that one or more of the corridor options may be required. |  |
| - 3-10 | 1226.4.3.5 Contiguous functions. |  |  |  | Amendment to repeal the first sentence, add new language to reflect the intent and support the exceptions, and clarify a term used in Exception 1. |  |
| - 3-11 | 1226.4.4.1 Patient Ttoilet room doors. |  |  |  | Amendment to add “patient” to the title and add language to the section to clarify that the requirement is only for patient toilet room doors, not all toilet room doors. |  |
| - 3-12 | 1226.4.8.2 Dimensions. |  |  |  | Amendment to revise the language to reflect that requirements apply to at least one elevator in a clinic where the services that would have patients transported in wheeled stretchers. |  |
| - 3-13 | 1226.4.9 Garbage, solid waste, medical waste and trash storage. |  |  |  | Amendment to correct grammar. |  |
| - 3-14 | 1226.4.10, 1226.4.12, and 1226.4.13 |  |  |  | Amendment to add “when provided” to these section titles. |  |
| - 3-15 | 1226.4.13.2 Medication station. |  |  |  | Amendment to correct grammar and add “or area”. |  |
| - 3-16 | 1226.4.13.2.1 Medication preparation room or area. |  |  |  | Amendment to repeal Item 2, “sink”. |  |
| - 3-17 | 1226.4.13.4 Soiled workroom or soiled holding room. |  |  |  | Amendment to revise Item 1 and the body of the text to use the term “clinical sink”. |  |
| - 3-18 | 1226.4.13.5, 1226.4.13.6, and 1226.4.13.7 |  |  |  | Amendment to add “when provided” or “when required” to these section titles and remove it from the language of the sections. |  |
| - 3-19 | 1226.4.14.1 Patient toilet room(s). |  |  |  | Amendment to repeal “primary Care” from the exception and allow the exception to apply to all clinics. |  |
| - 3-20 | 1226.4.14.2 Specimen and/or blood collection facilities, when required. |  |  |  | Amendment to add “when required” to the section title and remove “when provided” from the language of the section. |  |
| - 3-21 | 1226.4.17.3 Staff lounge, when required. |  |  |  | Amendment to add “when required” to the section title and remove “when provided” from the language of the section. |  |
| - 3-22 | OUTPATIENT CLINICAL SERVICES OF A HOSPITAL |  |  |  | Amendment to repeal section title because it is repetitive of the section title in 1226.5. |  |
| - 3-23 | 1226.5 SERVICE SPACES, WHEN PROVIDED, FOR OUTPATIENT CLINICAL SERVICES OF A HOSPITAL. |  |  |  | The existing scoping language is moved to Section 1226.2.1. Amendment to add new title, add clarifying language, and a sentence to point the code reader to the general construction requirements. |  |
| - 3-24 | GENERAL SUPPORT AREAS FOR OUTPATIENT CLINICAL SERVICES - |  |  |  | Amendment to repeal section title because it is repetitive of the section title in 1226.5. |  |
| - 3-25 | 1226.5.1.2 Specimen and/or blood collection facilities. |  |  |  | Amendment to correct reference section number. |  |
| - 3-26 | 1226.5.11, 1226.5.12, 1226.5.13, and 1226.5.14 |  |  |  | Amendment to remove “when provided” from the language of these sections. |  |
| - 3-27 | 1226.6 PRIMARY CARE CLINICS. |  |  |  | Amendment to add that primary care clinics are licensed by CDPH pursuant to HSC Section 1204 (a) to the charging language in this section. |  |
| - 3-28 | 1226.6.1.2 Treatment room(s), when provided. |  |  |  | Amendment to add “when provided” to the title of the section and remove it from the middle of the first sentence. |  |
| - 3-29 | 1226.6.1.3 Dental examination and treatment areas. through 1226.6.1.3.4 Imaging.; 1226.6.1.4 Oral surgery.; and 1226.6.2.5 Consultation room. |  |  |  | Amendment to renumber these sections to 1226.6.7 and appropriate subsection numbers. |  |
| - 3-30 | 1226.6.2.6 Sterilization facilities, when provided. |  |  |  | Amendment to add “when provided” to the section title. |  |
| - 3-31 | 1226.6.2.7 Laboratory. |  |  |  | Amendment to renumber this section to an appropriate subsection in Section 1226.6.7. |  |
| - 3-32 | 1226.6.3.2 Specimen collection and/or blood collection facilities. |  |  |  | Amendment to correct reference section number. |  |
| - 3-33 | 1226.6.5.1.2 Outpatient waiting room. |  |  |  | Amendment to add more specificity while still referencing Section 1224.4.5. |  |
| - 3-34 | 1226.6.5.1.3 Public toilet(s). |  |  |  | Amendment to add a pointer to the California Plumbing Code. |  |
| - 3-35 | 1226.6.5.1.4 Public telephone access. |  |  |  | Amendment to clarify the telephone requirement stating that a telecommunication device shall be readily accessible. |  |
| - 3-36 | 1226.6.5.1.5 Drinking fountain(s). |  |  |  | Amendment to clarify the drinking water requirement by revising the section title and language. |  |
| - 3-37 | 1226.6.7 Dental examination and treatment areas. through 1226.6.7.8 Sterilization facilities. |  |  |  | Amendment to renumbered sections related to dental examination and treatment areas consolidating them under Section 1226.6.7. Add new section about sterilization facilities. |  |
| - 3-38 | SPECIALTY CLINICS. |  |  |  | Amendment to add a new header and new charging language to clarify that specialty clinics are licensed by CDPH pursuant to HSC Section 1204 (b). |  |
| - 3-39 | SURGICAL CLINICS |  |  |  | Amendment to add a new header so the code user can way-find that Surgical Clinics are listed. |  |
| - 3-40 | 1226.8.5.1.2 Outpatient waiting room. |  |  |  | Amendment to add more specificity while still referencing Section 1224.4.5. |  |
| - 3-41 | 1226.8.5.1.3 Public toilet(s). |  |  |  | Amendment to add a pointer to the California Plumbing Code. |  |
| - 3-42 | 1226.8.5.1.4 Public telephone access. |  |  |  | Amendment to clarify the telephone requirement stating that a telecommunication device shall be readily accessible. |  |
| - 3-43 | 1226.8.5.1.5 Drinking fountain(s). |  |  |  | Amendment to clarify the drinking water requirement by revising the section title and language. |  |
| - 3-44 | 1226.9.1.3 Individual patient treatment areas. |  |  |  | Amendment to add language clarifying the required clearances in treatment areas. |  |
| - 3-45 | 1226.9.4.3 Specimen collection facilities. |  |  |  | Amendment to correct reference section number. |  |
| - 3-46 | 1226.10.1.1 Patient toilet room(s). |  |  |  | Amendment to add language detailing requirements for patient toilet rooms including requiring grab bars and to remove the pointer to Section 1226.4.14.1. |  |
| - 3-47 | 1226.10.3.1.2 Outpatient waiting room. |  |  |  | Amendment to add more specificity while still referencing Section 1224.4.5. |  |
| - 3-48 | 1226.10.3.1.3 Toilets. |  |  |  | Amendment to add a pointer to the California Plumbing Code. |  |
| - 3-49 | 1226.10.3.1.4 Drinking fountain(s). |  |  |  | Amendment to clarify the drinking water requirement by revising the section title and language. |  |
| - 3-50 | 1226.10.3.1.5 Telephone. |  |  |  | Amendment to clarify the telephone requirement stating that a telecommunication device shall be readily accessible. |  |
| - 3-51 | 1226.12 PSYCHOLOGY CLINICS. |  |  |  | Amendment to add a sentence to clarify that these types of clinics are licensed by CDPH pursuant to HSC 1204.1. |  |
| - 3-52 | 1226.12.1.1.2 Outpatient waiting room. |  |  |  | Amendment to add more specificity while still referencing Section 1224.4.5. |  |
| - 3-53 | 1226.12.1.1.3 Public toilet(s). |  |  |  | Amendment to add a pointer to the California Plumbing Code. |  |
| - 3-54 | 1226.12.1.1.4 Drinking fountain(s). |  |  |  | Amendment to clarify the drinking water requirement by revising the section title and language. |  |
| - 3-55 | 1226.12.1.1.5 Public telephone. |  |  |  | Amendment to clarify the telephone requirement stating that a telecommunication device shall be readily accessible. |  |

### ITEM 4
Chapter 12, INTERIOR ENVIRONMENT, Section 1226.11 ALTERNATIVE BIRTHING CLINICS [OSHPD 3]

Amend sections listed below.

| OSHPD 02/25 ITEM 4 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 4-1 | 1226.11 ALTERNATIVE BIRTHING CLINICS. |  |  |  | Amendment to add the facility type “primary care clinics” to the scope of this section and language to provide additional clarification about the types of facilities licensed by the California Department of Public Health to which this section would apply. |  |
| - 4-2 | 1226.11.1.1 Birthing room. |  |  |  | Amendment to revise (reduce) the required dimensions for birthing room size. |  |
| - 4-3 | 1226.11.1.3 Nurse call system. Exception |  |  |  | Amendment to add an exception that allows alternative birthing clinics with three or fewer birthing rooms to use an alternative nurse call system as approved by CDPH. |  |
| - 4-4 | 1226.11.1.6 Window. |  |  |  | Amendment to change the requirement for an outside window in the birthing rooms to be optional. |  |
| - 4-5 | 1226.11.1.8 Reserved Newborn care area. |  |  |  | Amendment to repeal this section. |  |
| - 4-6 | 1226.11.1.9 Examination room. |  |  |  | Amendment to revise the pointer to Section 1224.4.4.1.1. and add a sentence to clarify that a birthing room may be used as an examination room. |  |
| - 4-7 | 1226.11.2.5 Crash Emergency cart space. |  |  |  | Amendment to change the terminology from crash cart to emergency cart. |  |
| - 4-8 | 1226.11.2.6 Reserved Clean-up room. |  |  |  | Amendment to repeal this section. |  |
| - 4-9 | 1226.11.3 Reserved. Support areas for mother and newborn |  |  |  | Amendment to repeal this section heading. |  |
| - 4-10 | 1226.11.2.103.1 Patient toilet room(s). |  |  |  | Amendment to renumber this section from 1226.11.3.1 to 1226.11.2.10 and to remove the nurse call requirement in patient toilet rooms. |  |
| - 4-11 | 1226.11.5.1.2 Outpatient waiting room. |  |  |  | Amendment to add more specificity while still referencing Section 1224.4.5. |  |
| - 4-12 | 1226.11.5.1.3 Public toilet(s). |  |  |  | Amendment to add a pointer to the California Plumbing Code. |  |
| - 4-13 | 1226.11.5.1.4 Public telephone. |  |  |  | Amendment to clarify the telephone requirement stating that a telecommunication device shall be readily accessible. |  |
| - 4-14 | 1226.11.5.1.5 Drinking fountain(s). |  |  |  | Amendment to clarify the drinking water requirement by revising the section title and language. |  |
| - 4-15 | 1226.11.6.3 Staff lounge. |  |  |  | Amendment to state the requirements for a staff lounge and remove the pointer to requirements in Section 1226.4.17.3. |  |

### ITEM 5
Chapter 12, INTERIOR ENVIRONMENT, Section 1228 ACUTE PSYCHIATRIC HOSPITALS [OSHPD 5]

Amend sections listed below.

| OSHPD 02/25 ITEM 5 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 5-1 | 1228.13.1.1 Indoor activity rooms. and 1228.20.1 Dining area. |  |  |  | Amendment to change all uses of the term “room” to “area” in these sections to clarify the space requirements that meet the intended function of the space. |  |