DSA Code Amendment development

## TRACKING 1A

Date Received:

DSA Tracking Number:	1A

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Part 2, Chapter 2, Section 202 Definitions

Topic:  	Educational Entity in Receipt of Public Funds

## CURRENT CODE LANGUAGE

N/A

## SUGGESTED TEXT OF PROPOSED AMENDMENT

EDUCATIONAL ENTITY IN RECEIPT OF PUBLIC FUNDS.  Any college, university, or other postsecondary institution, or a public system of higher education, or a K-12 educational entity; system of career and technical education, or other school system; or any corporation, partnership, or other private organization including a sole proprietorship which is principally engaged in the business of providing education, any part of which is extended or receives state or federal financial assistance including, but not limited to federal Pell Grants, work-study programs, or any other publicly funded financial aid to students.

## CODE TEXT IF ADOPTED

EDUCATIONAL ENTITY IN RECEIPT OF PUBLIC FUNDS. Any college, university, or other postsecondary institution, or a public system of higher education, or a K-12 educational entity; system of career and technical education, or other school system; or any corporation, partnership, or other private organization including a sole proprietorship which is principally engaged in the business of providing education, any part of which is extended or receives state or federal financial assistance including, but not limited to federal Pell Grants, work-study programs, or any other publicly funded financial aid to students.

## STATEMENT OF REASONS

DSA proposes to add this definition to distinguish between educational entities that meet this definition and those that do not to further clarify scoping requirements in the CBC.  Entities meeting this proposed definition are required to meet the minimum standards in the Uniform Federal Accessibility Standards (UFAS) which does not permit the use of some portions of the 2010 Americans with Disabilities Act Standards (ADAS).

The United States Department Of Justice (DOJ) analysis of 28 CFR Part 36, Section 36.406(e) in the Guidance on the Standards for housing at a place of education (beginning at page 58) indicates the Departments of Justice and Education share responsibility for regulation and enforcement of the ADA in educational settings. The analysis additionally notes that residential housing, including housing in an educational setting, is also covered by the Fair Housing Act (FHAct), which requires newly constructed covered multifamily housing to include certain features of accessible and adaptable design.

Because the DOJ states that all facilities provided by the educational institution are public accommodations which requires compliance with the most restrictive requirements of the ADA, and FHAct, DSA authority for public accommodations in GOV 4450, and by reference in HSC 19955, is more specific to housing at a place of education than HCD authority for residential occupancies, which is less restrictive and applies only to covered multifamily dwellings provided by private entities. Existing CBC Chapter 11B regulations already address compliance with the ADA and FHAct.

Additionally, Section 504 of the Rehabilitation Act of 1973 prohibits discrimination on the basis of disability in any program or activity in receipt of federal financial assistance, including funding received directly or indirectly through states, political subdivisions, or instrumentalities of the same, and includes any successor, assignee, or transferee of a recipient.  Federal financial assistance is defined broadly and includes grants, loans, contracts, or any other arrangements in the form of funds, services, or property interest.  Court rulings have upheld that educational entities in receipt of federal funds are recipients of federal financial assistance and must comply with Section 504 regulations. See Bennett-Nelson v. Louisiana Board of Regents, 431 F.3d. 448 (5th Cir. 2005) and Grove City College v. Bell, 465 U.S. 555, 104 S.Ct. 1211 (1984); a private college receiving federal Basic Educational Opportunity Grants was considered a recipient of federal financial assistance. Compliance is a condition of receiving federal funds.

The Department of Housing and Urban Development (HUD) adopts UFAS as the standard for public housing projects and programs receiving federal funds.  HUD’s authority to adopt regulations for housing extends to all housing funded with federal funds, not just housing funded through HUD itself. (Civil Rights Act of 1968, P.L. 90-284, Section 808 (a) and (d)).  HUD has allowed the use of the Americans with Disabilities Act Standards (ADAS) as long as certain provisions in UFAS that provide greater accessibility are maintained.  These specific provisions were noticed in the Federal Register; Vol. 79, No. 100; Friday, May 23, 2014; Rules and Regulations; 29671; Department of Housing and Urban Development; 24 CFR Part 8; Docket No. FR-5784-N-01.

This proposal is necessary to conform with minimum existing federal accessibility laws, standards, and regulations.

## DSA COMMENTS

This item is related to Item 3D.

DSA Code Amendment development

## TRACKING 1B

Date Received:

DSA Tracking Number:	1B

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Part 2, Chapter 2, Section 202 Definitions

Topic:  	Housing at a Place of Education

## CURRENT CODE LANGUAGE

housing at a place of education. Housing operated by or on behalf of an elementary, secondary, undergraduate or postgraduate school, or other place of education, including dormitories, suites, apartments or other places of residence.

## SUGGESTED TEXT OF PROPOSED AMENDMENT

housing at a place of education. Housing operated by or on behalf of an elementary, secondary, undergraduate or postgraduate school, or other place of education, including dormitories, suites, apartments or other places of residence. See also PUBLIC HOUSING and Place of public accommodation.

## CODE TEXT IF ADOPTED

housing at a place of education. Housing operated by or on behalf of an elementary, secondary, undergraduate or postgraduate school, or other place of education, including dormitories, suites, apartments or other places of residence. See also PUBLIC HOUSING and Place of public accommodation.

## STATEMENT OF REASONS

DSA is proposing this amendment to clarify that Housing at a Place of Education may be further categorized as either Public Housing or a Place of Public Accommodation.  DSA is proposing additional language in this rulemaking cycle that clarifies the requirements for each.  This proposal is necessary to clarify existing regulations and does not materially alter the substance or intent of the existing regulations.

## DSA COMMENTS

This item is related to Items 1A, 2, 3D and 14.

DSA Code Amendment development

## TRACKING 2

Date Received:

DSA Tracking Number:	2

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Part 2, Chapter 2, Section 202 Definitions

Topic:  	Place of Public Accommodation

## CURRENT CODE LANGUAGE

PLACE OF PUBLIC ACCOMMODATION.  A facility operated by a private entity whose operations affect commerce and fall within at least one of the following categories:

- Place of lodging, …

- A restaurant, bar or …

- A motion picture house …

- An auditorium, convention center …

- A bakery, grocery store, …

- A laundromat, dry-cleaner, bank, barber shop, …

- A terminal, depot or …

- A museum, library, gallery or …

- A park, zoo, amusement park or …

- A nursery, elementary, secondary, undergraduate or post graduate private school, or other place of education;

- A day-care center, senior citizen center, …

- A gymnasium, health spa …

- A religious facility;

- An office building; and

- A public curb or sidewalk.

## SUGGESTED TEXT OF PROPOSED AMENDMENT

PLACE OF PUBLIC ACCOMMODATION.  A facility operated by a private entity whose operations affect commerce and fall within at least one of the following categories:

- Place of lodging, …

- A restaurant, bar or …

- A motion picture house …

- An auditorium, convention center …

- A bakery, grocery store, …

- A laundromat, dry-cleaner, bank, barber shop, …

- A terminal, depot or …

- A museum, library, gallery or …

- A park, zoo, amusement park or …

- A nursery, elementary, secondary, undergraduate or post graduate private school, or other place of education;, including housing facilities provided for students or employees;

- A day-care center, senior citizen center, …

- A gymnasium, health spa …

- A religious facility;

- An office building; and

- A public curb or sidewalk.

## CODE TEXT IF ADOPTED

PLACE OF PUBLIC ACCOMMODATION.  A facility operated by a private entity whose operations affect commerce and fall within at least one of the following categories:

- Place of lodging, …

- A restaurant, bar or …

- A motion picture house …

- An auditorium, convention center …

- A bakery, grocery store, …

- A laundromat, dry-cleaner, bank, barber shop, …

- A terminal, depot or …

- A museum, library, gallery or …

- A park, zoo, amusement park or …

- A nursery, elementary, secondary, undergraduate or post graduate private school, or other place of education, including housing facilities provided for students or employees;

- A day-care center, senior citizen center, …

- A gymnasium, health spa …

- A religious facility;

- An office building; and

- A public curb or sidewalk.

## STATEMENT OF REASONS

DSA is proposing to amend the definition of PLACE OF PUBLIC ACCOMMODATION to include housing facilities that are provided by private educational entities.  Housing offered by private educational entities is a public accommodation under the Americans with Disabilities Act (ADA) and is subject to the requirements for residential facilities found in the ADA Standards (ADAS).  Amending the language in the CBC to specifically include housing facilities provided by educational entities is needed to clarify the scoping requirements for such facilities in CBC Chapter 11B.

The United States Department Of Justice (DOJ) analysis of 28 CFR Part 36, Section 36.406(e) in the Guidance on the Standards for housing at a place of education (beginning at page 58) indicates the Departments of Justice and Education share responsibility for regulation and enforcement of the ADA in educational settings. The analysis additionally notes that residential housing, including housing in an educational setting, is also covered by the Fair Housing Act (FHAct), which requires newly constructed covered multifamily housing to include certain features of accessible and adaptable design.

Because the DOJ states that all facilities provided by the educational institution are public accommodations which requires compliance with the most restrictive requirements of the ADA, and FHAct, DSA authority for public accommodations in GOV 4450, and by reference in HSC 19955, is more specific to housing at a place of education than HCD authority for residential occupancies, which is less restrictive and applies only to covered multifamily dwellings provided by private entities. Existing CBC Chapter 11B regulations already address compliance with the ADA and FHAct.

This proposal is necessary to conform with 28 CFR part 36, subpart D, Section 36.406(e) and provide clarity of existing regulations and does not materially alter the substance or intent of the existing regulations.

## DSA COMMENTS

This item is related to Items 1B and 14.

DSA Code Amendment development

## TRACKING 3A

Date Received:

DSA Tracking Number:	3A

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Chapter 2, Section 202 Definitions

Topic:  	Public Housing

## CURRENT CODE LANGUAGE

PUBLIC HOUSING. [DSA-AC & HCD 1-AC] Housing facilities constructed or altered by, for, or on behalf of a public entity, or constructed or altered as part of a public entity’s program to provide housing pursuant to United States Code of Federal Regulations, 28 CFR Part 35, Section 35.102(a), including but not limited to the following:

1. …

2. …

3. Homeless shelters, group homes, halfway houses and similar social service establishments;

4. …

5. ….

Note: …

## SUGGESTED TEXT OF PROPOSED AMENDMENT

PUBLIC HOUSING. [DSA-AC & HCD 1-AC] Housing facilities constructed or altered by, for, or on behalf of a public entity, or constructed or altered as part of a public entity’s program to provide housing pursuant to United States Code of Federal Regulations, 28 CFR Part 35, Section 35.102(a), including but not limited to the following:

1. …

2. …

3. Homeless shelters, group homes, halfway houses and similar social service center establishments;

4. …

5. …

Note: ...

## CODE TEXT IF ADOPTED

PUBLIC HOUSING. [DSA-AC & HCD 1-AC] Housing facilities constructed or altered by, for, or on behalf of a public entity, or constructed or altered as part of a public entity’s program to provide housing pursuant to United States Code of Federal Regulations, 28 CFR Part 35, Section 35.102(a), including but not limited to the following:

1. …

2. …

3. Homeless shelters, group homes, halfway houses and similar social service center establishments;

4. …

5. …

Note: ...

## STATEMENT OF REASONS

DSA is proposing to amend item number 3A in the listed examples to use the same terminology as proposed for the definition of SOCIAL SERVICE CENTER ESTABLISHMENT for consistency. This is consistent with federal regulations at 28 CFR Part 35, Section 35.151(e) and Part 36, Section 36.406(d).

This proposal is necessary for clarity of existing regulations and does not materially alter the substance or intent of the existing regulations.

## DSA COMMENTS

This item is related to Items 4 and 15.

DSA Code Amendment development

## TRACKING 3B

Date Received:

DSA Tracking Number:	3B

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Chapter 2, Section 202 Definitions

Topic:  	Public Housing

## CURRENT CODE LANGUAGE

PUBLIC HOUSING. [DSA-AC & HCD 1-AC] Housing facilities constructed or altered by, for, or on behalf of a public entity, or constructed or altered as part of a public entity’s program to provide housing pursuant to United States Code of Federal Regulations, 28 CFR Part 35, Section 35.102(a), including but not limited to the following:

1. …

2. …

3. …

4. Transient lodging, such as hotels, motels, hostels and other facilities providing accommodations of a short-term nature of not more than 30 days duration;

5. ...

Note: …

## SUGGESTED TEXT OF PROPOSED AMENDMENT

PUBLIC HOUSING. [DSA-AC & HCD 1-AC] Housing facilities constructed or altered by, for, or on behalf of a public entity, or constructed or altered as part of a public entity’s program to provide housing pursuant to United States Code of Federal Regulations, 28 CFR Part 35, Section 35.102(a), including but not limited to the following:

1. …

2. …

3. …

4. Transient lodging, such as hotels, motels, hostels and other facilities providing accommodations of a short-term nature of not more than 30 days duration;

4. Reserved.

5. …

Note: ...

## CODE TEXT IF ADOPTED

PUBLIC HOUSING. [DSA-AC & HCD 1-AC] Housing facilities constructed or altered by, for, or on behalf of a public entity, or constructed or altered as part of a public entity’s program to provide housing pursuant to United States Code of Federal Regulations, 28 CFR Part 35, Section 35.102(a), including but not limited to the following:

1. …

2. …

3. …

4. Reserved.

5. …

Note: ...

## STATEMENT OF REASONS

DSA proposes to remove the language regarding transient lodging facilities from the definition of public housing. While public entities may operate facilities that are transient lodging, those facilities must meet the building standards for transient lodging and not for public housing. As definitions in the CBC are provided to facilitate code compliance with applicable regulations, and due to the clarifications adopted in the 2025 Triennial Code Cycle clarifying the requirements for transient lodging and public housing, removing transient lodging from the definition of public housing will lead to less confusion and greater compliance.

This proposal is necessary for clarity of existing regulations and does not materially alter the substance or intent of the existing regulations.

## DSA COMMENTS

This item is related to Items 3A and 3C.

DSA Code Amendment development

## TRACKING 3C

Date Received:

DSA Tracking Number:	3C

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Chapter 2, Section 202 Definitions

Topic:  	Public Housing

## CURRENT CODE LANGUAGE

PUBLIC HOUSING. [DSA-AC & HCD 1-AC] Housing facilities constructed or altered by, for, or on behalf of a public entity, or constructed or altered as part of a public entity’s program to provide housing pursuant to United States Code of Federal Regulations, 28 CFR Part 35, Section 35.102(a), including but not limited to the following:

1. …

2. …

3. …

4. …

5. …

Note: …

## SUGGESTED TEXT OF PROPOSED AMENDMENT

PUBLIC HOUSING. [DSA-AC & HCD 1-AC] Housing facilities constructed or altered by, for, or on behalf of a public entity, or constructed or altered as part of a public entity’s program to provide housing pursuant to United States Code of Federal Regulations, 28 CFR Part 35, Section 35.102(a), including but not limited to the following:

1. …

2. …

3. …

4. …

5. …

6. Employer-provided housing for an employee or an employee and their family members, either temporary or permanent, including but not limited to fire station dormitories and staff housing for a public institution.

Note: ...

## CODE TEXT IF ADOPTED

PUBLIC HOUSING. [DSA-AC & HCD 1-AC] Housing facilities constructed or altered by, for, or on behalf of a public entity, or constructed or altered as part of a public entity’s program to provide housing pursuant to United States Code of Federal Regulations, 28 CFR Part 35, Section 35.102(a), including but not limited to the following:

1. …

2. …

3. …

4. …

5. …

6. Employer-provided housing for an employee or an employee and their family members, either temporary or permanent, including but not limited to fire station dormitories and staff housing for a public institution.

Note: ...

## STATEMENT OF REASONS

DSA is proposing to amend this definition to clarify that housing facilities that are provided by public entities for the use of employees, or for the use of the employee and their family, is public housing.  DSA is asked about facilities such as fire station dormitories, which are not expressly scoped but meet the definition of public housing, and providing this addition will lead to greater code compliance.

This proposal is necessary for clarity of existing regulations and does not materially alter the substance or intent of the existing regulations.

## DSA COMMENTS

This item is related to Items 3A and 3B.

DSA Code Amendment development

## TRACKING 3D

Date Received:

DSA Tracking Number:	3D

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Chapter 2, Section 202 Definitions

Topic:  	Public Housing

## CURRENT CODE LANGUAGE

PUBLIC HOUSING. [DSA-AC & HCD 1-AC] Housing facilities constructed or altered by, for, or on behalf of a public entity, or constructed or altered as part of a public entity’s program to provide housing pursuant to United States Code of Federal Regulations, 28 CFR Part 35, Section 35.102(a), including but not limited to the following:

1. …

2. …

3. …

4. …

5. Housing at a place of education, such as housing on or serving a public school, public college or public university.

Note: …

## SUGGESTED TEXT OF PROPOSED AMENDMENT

PUBLIC HOUSING. [DSA-AC & HCD 1-AC] Housing facilities constructed or altered by, for, or on behalf of a public entity, or constructed or altered as part of a public entity’s program to provide housing pursuant to United States Code of Federal Regulations, 28 CFR Part 35, Section 35.102(a), including but not limited to the following:

1. …

2. …

3. …

4. …

5. Housing at a place of education, such as housing on or serving a public school, public college, or public university., or private educational entity in receipt of public funds. See educational entity in receipt of public funds.

Note: ...

## CODE TEXT IF ADOPTED

PUBLIC HOUSING. [DSA-AC & HCD 1-AC] Housing facilities constructed or altered by, for, or on behalf of a public entity, or constructed or altered as part of a public entity’s program to provide housing pursuant to United States Code of Federal Regulations, 28 CFR Part 35, Section 35.102(a), including but not limited to the following:

1. …

2. …

3. …

4. …

5. Housing at a place of education, such as housing on or serving a public school, public college, public university, or private educational entity in receipt of public funds. See educational entity in receipt of public funds.

Note: ...

## STATEMENT OF REASONS

DSA is proposing to amend this definition to clarify that housing facilities that are provided by educational entities in receipt of public funds are also public housing.

The Department of Housing and Urban Development (HUD) adopts UFAS as the standard for public housing projects and programs receiving federal funds.  HUD’s authority to adopt regulations for housing extends to all housing funded with federal funds, not just housing funded through HUD itself. (Civil Rights Act of 1968, P.L. 90-284, Section 808 (a) and (d)).  HUD has allowed the use of the Americans with Disabilities Act Standards (ADAS) as long as certain provisions in UFAS that provide greater accessibility are maintained.  These specific provisions were noticed in the Federal Register; Vol. 79, No. 100; Friday, May 23, 2014; Rules and Regulations; 29671; Department of Housing and Urban Development; 24 CFR Part 8; Docket No. FR-5784-N-01.

Section 504 of the Rehabilitation Act of 1973 prohibits discrimination on the basis of disability in any program or activity in receipt of federal financial assistance, including funding received directly or indirectly through states, political subdivisions, or instrumentalities of the same, and includes any successor, assignee, or transferee of a recipient.  Federal financial assistance is defined broadly and includes grants, loans, contracts, or any other arrangements in the form of funds, services, or property interest.  Court rulings have upheld that educational entities in receipt of federal funds are recipients of federal financial assistance and must comply with Section 504 regulations. See Bennett-Nelson v. Louisiana Board of Regents, 431 F.3d. 448 (5th Cir. 2005) and Grove City College v. Bell, 465 U.S. 555, 104 S.Ct. 1211 (1984); a private college receiving federal Basic Educational Opportunity Grants was considered a recipient of federal financial assistance.

This proposal is necessary for clarity of existing regulations and does not materially alter the substance or intent of the existing regulations.

## DSA COMMENTS

This item is related to Items 1A, 3A, 3B, and 3C.

DSA Code Amendment development

## TRACKING 4

Date Received:

DSA Tracking Number:	4

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Part 2, Chapter 2, Section 202 Definitions

Topic:  	Social Service Center Establishments

## CURRENT CODE LANGUAGE

N/A

## SUGGESTED TEXT OF PROPOSED AMENDMENT

SOCIAL SERVICE CENTER ESTABLISHMENT.  A facility that provides short and/or long-term sleeping accommodations or housing and one or more social services such as counseling, welfare, referrals, refugee, disaster, temporary relief, non-medical care, meals, or transportation. Social service center establishments include, but are not limited to, halfway houses, shelters, and licensed group homes.

## CODE TEXT IF ADOPTED

SOCIAL SERVICE CENTER ESTABLISHMENT. A facility that provides short and/or long-term sleeping accommodations or housing and one or more social services such as counseling, welfare, referrals, refugee, disaster, temporary relief, non-medical care, meals, or transportation. Social service center establishments include, but are not limited to, halfway houses, shelters, and licensed group homes.

## STATEMENT OF REASONS

DSA has received requests from multiple code users and stakeholders asking for clarity between transient lodging, public housing, certain long-term licensed care facilities, and social service center establishments.  While a brief definition of social service center establishments is presently provided in CBC Section 11B-224.8, removing text from that section, moving it to a new definition in Chapter 2, and providing more descriptive text in the definition supported in federal ADA and HUD regulations, will further clarify application of the requirements of Chapter 11B to these types of facilities.

The proposed definition clarifies that social service center establishments provide additional resources beyond housing, which may include either short-term or long-term stays or a combination of both. Social service center establishments may be provided by municipal entities, by charitable organizations, or by commercial entities.  Any such social service center establishment is required to comply with the Americans with Disabilities Act (ADA) as either public housing or as a place of public accommodation, as applicable.

This proposal aligns with the requirements of the Americans with Disabilities Act (ADA) 28 CFR Part 35.151(e) and 28 CFR Part 36 Subpart D, Section 36.406(d), and the requirements found in HUD’s federal regulations at Title 24, Section 982.4.

This proposal is necessary for clarity of existing regulations and does not materially alter the substance or intent of the existing regulations.

## DSA COMMENTS

This item is related to Items 3A and 15.

DSA Code Amendment development

## TRACKING 5

Date Received:

DSA Tracking Number:	5

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Part 2, Chapter 11B, Section 11B-202.4

Topic:  	Path of Travel Requirements in Housing

## CURRENT CODE LANGUAGE

11B-202.4 Path of travel requirements in alterations, additions and structural repairs. …

Exceptions:

- Residential dwelling units shall comply with Section 11B-233.3.4.2.

- …

## SUGGESTED TEXT OF PROPOSED AMENDMENT

11B-202.4 Path of travel requirements in alterations, additions and structural repairs. …

Exceptions:

- Residential dwelling units shall comply with Section 11B-233.3.4.2. Additions to public housing facilities shall comply with Section 11B-233.3.3 and alterations to public housing facilities shall comply with Section 11B-233.3.4.

- …

## CODE TEXT IF ADOPTED

11B-202.4 Path of travel requirements in alterations, additions and structural repairs. …

Exceptions:

- Additions to public housing facilities shall comply with Section 11B-233.3.3 and alterations to public housing facilities shall comply with Section 11B-233.3.4.

- …

## STATEMENT OF REASONS

Presently, CBC 11B-202.4 is materially different than what is provided in the 2010 ADAS 202.4 because California has more restrictive requirements for path of travel improvements. Under the 2010 ADAS, alterations and additions to residential facilities have specific requirements in Section 233.3.3. and Section 233.3.4. In a previous rulemaking, to bring the requirements of the Fair Housing Act (FHAct) into CBC Chapter 11B regulations, DSA only made reference in the exception to Section 11B-233.3.4.2 covering requirements for residential dwelling units with adaptable features. With this rulemaking, DSA is providing reference to Section 11B-233.3.3 and Section 11B-233.3.4 which are existing requirements for additions and alterations to public housing facilities. Furthermore, DSA is proposing additional amendments in Sections 11B-233.3.3 and 11B-233.3.4 to comply with HUD Section 504 in Item 16.

Even if Item 16 is not adopted, this proposal is necessary for clarity of existing regulations because it is correcting to an appropriate reference in the CBC and does not materially alter the substance or intent of the existing regulations.

## DSA COMMENTS

This item is related to Items 16A and 16B.

DSA Code Amendment development

## TRACKING 6

Date Received:

DSA Tracking Number:	6 (23-052)

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Part 2, Chapter 11B, Section 11B-203.8

Topic:  	General Exceptions, Residential Facilities.

## CURRENT CODE LANGUAGE

11B-203.8 Residential facilities. In residential facilities, common use areas that do not serve residential dwelling units required to provide mobility features complying with Sections 11B-809.2 through 11B-809.4 or adaptable features complying with Sections 11B-809.6 through 11B-809.12 shall not be required to comply with these requirements or to be on an accessible route.

## SUGGESTED TEXT OF PROPOSED AMENDMENT

11B-203.8 Residential facilities. In residential facilities required to comply with Section 11B-233, common use areas that do not serve residential dwelling units required to provide mobility features complying with Sections 11B-809.2 through 11B-809.4 or adaptable features complying with Sections 11B-809.6 through 11B-809.12 shall not be required to comply with these requirements or to be on an accessible route. on levels that are not on an accessible route shall not be required to comply with these requirements when equivalent common use areas are provided on an accessible route.

## CODE TEXT IF ADOPTED

11B-203.8 Residential facilities. In residential facilities required to comply with Section 11B-233, common use areas on levels that are not on an accessible route shall not be required to comply with these requirements when equivalent common use areas are provided on an accessible route.

## STATEMENT OF REASONS

Per California Government Code Section 12955.1(c), DSA’s CBC regulations in Section 11B-233 for public housing facilities that are also covered multifamily dwellings must comply with existing federal regulations, specifically the Fair Housing Act (FHAct) and Section 504 of the Rehabilitation Act of 1973 (Section 504). The FHAct requires all common use facilities to be on an accessible route, except for non-elevator buildings, and permits common use facilities on levels that are not on an accessible route to not comply when equivalent common use areas are provided on an accessible route.

For public housing facilities which are not also covered multifamily dwellings under the FHAct, Section 504 requires all common use areas to be accessible.

Under Section 504 of the Rehabilitation Act, any entity receiving federal financial assistance is required to ensure that all its programs and activities are accessible, regardless of how those funds are allocated or through whom they are administered. Federal financial assistance has been broadly defined by the courts to encompass grants, loans, contracts, services, and property interests.  Federal funding triggers compliance obligations not only for the entity itself but also for any services or programs provided through subgrantees or contractual relationships. As confirmed in Access Living of Metropolitan Chicago, Inc. v. City of Chicago (2024), the United States District Court, N. D. Illinois, Eastern Division emphasized that “…a public entity may not discriminate on the basis of disability, directly or indirectly, such as 'through contractual, licensing, or other arrangements,…’” and that “Section 504 requires that individuals with disabilities be provided with meaningful access to the benefit that the grantee offers.” California receives federal funds for public housing, which is redistributed to local municipalities and specific projects, requiring compliance with Section 504. Compliance is a condition of receiving federal funds.

The Department of Housing and Urban Development (HUD) adopts the Uniform Federal Accessibility Standards (UFAS) as the standard for public housing projects and programs receiving federal funds.  HUD’s authority to adopt regulations for housing extends to all housing funded with federal funds, not just housing funded through HUD itself. (Civil Rights Act of 1968, P.L. 90-284, Section 808 (a) and (d)).  HUD has allowed the use of the Americans with Disabilities Act Standards (ADAS) as long as certain provisions in UFAS that provide greater accessibility are maintained.  These specific provisions were noticed in the Federal Register; Vol. 79, No. 100; Friday, May 23, 2014; Rules and Regulations; 29671; Department of Housing and Urban Development; 24 CFR Part 8; Docket No. FR-5784-N-01: The 2010 Americans with Disabilities Act Standards (ADAS) Section 203.8 is not deemed as equivalent to the Uniform Federal Accessibility Standards (Deeming Notice):

“Common Use Areas in Residential Facilities—Section 203.8 of the 2010 Standards

Section 203.8 of the 2010 Standards provides that, in residential facilities, common use areas that do not serve residential dwelling units required to provide mobility features are not required to be accessible or on an accessible route. By contrast, common use areas in residential facilities subject to the new construction requirements of the FHAct must comply with FHAct accessibility requirements, including the requirement to be on an accessible route, regardless of whether or not the common use areas serve units required to have mobility features pursuant to the ADA or Section 504. The only exception would be common use areas provided on upper stories of a non-elevator building provided the same common use areas are provided on the ground floor. In addition, this general exception for common use areas may result in less accessibility than is currently required under HUD’s Section 504 regulation and UFAS. Accordingly, HUD is not permitting use of Section 203.8 under this document.”

DSA proposes to align CBC Chapter 11B regulations with these specific federal laws, to provide conformity with federal UFAS and FHAct requirements. This proposal is necessary to conform with minimum existing federal accessibility laws, standards, and regulations.

## DSA COMMENTS

This item is related to Item 9.

DSA Code Amendment development

## TRACKING 7

Date Received:

DSA Tracking Number:	7 (24-007)

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Part 2, Chapter 11B, Section 11B-205.1, Exception 9

Topic: 	Corner Receptacles

## CURRENT CODE LANGUAGE

11B-205.1 General. Operable parts on accessible elements, accessible routes, and in accessible rooms and spaces shall comply with Section 11B-309.

Exceptions:

- …

- In residential dwelling units with mobility features where receptacles are provided in a kitchen at a corner work surface, one receptacle shall be located 36 inches (915 mm) from either wall at the inside corner.

FIGURE 11B-205.1 Ex. 9

ELECTRICAL RECEPTACLES AT CORNER WORKSURFACES

## SUGGESTED TEXT OF PROPOSED AMENDMENT

11B-205.1 General. Operable parts on accessible elements, accessible routes, and in accessible rooms and spaces shall comply with Section 11B-309.

Exceptions:

- …

- In residential dwelling units with mobility features where receptacles are provided in a kitchen at a corner work surface, one receptacle shall be located 36 inches (915 mm) from either wall at the inside corner.

FIGURE 11B-205.1 Ex. 9

ELECTRICAL RECEPTACLES AT CORNER WORKSURFACES

## CODE TEXT IF ADOPTED

11B-205.1 General. Operable parts on accessible elements, accessible routes, and in accessible rooms and spaces shall comply with Section 11B-309.

Exceptions:

- …

## STATEMENT OF REASONS

DSA is proposing to relocate the technical requirements for electrical receptacles at corner work surfaces in residential dwelling units with mobility features from scoping Section 11B-205.1, Exception 9 to the more appropriate technical Section 11B-308, adjacent to the reach range requirements for electrical switches and electrical receptacle outlets.

Locating the requirements in the appropriate code section will prevent potential confusion and misinterpretation by design professionals and code users.

This proposed relocation is intended to avoid duplicative building standards per Health and Safety Code 18930(a)(1). This proposal is necessary for clarity of existing regulations and does not materially alter the substance or intent of the existing regulations.

## DSA COMMENTS

This item is related to Items 19 and 22.

DSA Code Amendment development

## TRACKING 8

Date Received:

DSA Tracking Number:	8 (23-052)

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Part 2, Chapter 11B, Sections 11B-206.2.1 and 11B-206.2.2

Topic:  	Accessible Routes in Residential Facilities

## CURRENT CODE LANGUAGE

11B-206.2 Where required. Accessible routes shall be provided where required by Section 11B-206.2.

11B-206.2.1 Site arrival points. At least one accessible route shall be provided within the site from accessible parking spaces and accessible passenger drop-off and loading zones; public streets and sidewalks; and public transportation stops to the accessible building or facility entrance they serve. Where more than one route is provided, all routes must be accessible.

Exceptions:

- ...

- An accessible route shall not be required between site arrival points and the building or facility entrance if the only means of access between them is a vehicular way not providing pedestrian access.

- ...

11B-206.2.2 Within a site. At least one accessible route shall connect accessible buildings, accessible facilities, accessible elements and accessible spaces that are on the same site.

Exception: An accessible route shall not be required between accessible buildings, accessible facilities, accessible elements and accessible spaces if the only means of access between them is a vehicular way not providing pedestrian access.

## SUGGESTED TEXT OF PROPOSED AMENDMENT

11B-206.2 Where required. Accessible routes shall be provided where required by Section 11B-206.2.

11B-206.2.1 Site arrival points. At least one accessible route shall be provided within the site from accessible parking spaces and accessible passenger drop-off and loading zones; public streets and sidewalks; and public transportation stops to the accessible building or facility entrance they serve. Where more than one route is provided, all routes must be accessible.

Exceptions:

- ...

- In non-residential facilities, an An accessible route shall not be required between site arrival points and the building or facility entrance if the only means of access between them is a vehicular way not providing pedestrian access.

- …

11B-206.2.2 Within a site. At least one accessible route shall connect accessible buildings, accessible facilities, accessible elements and accessible spaces that are on the same site.

Exception: In non-residential facilities, an An accessible route shall not be required between accessible buildings, accessible facilities, accessible elements and accessible spaces if the only means of access between them is a vehicular way not providing pedestrian access.

## CODE TEXT IF ADOPTED

11B-206.2 Where required. Accessible routes shall be provided where required by Section 11B-206.2.

11B-206.2.1 Site arrival points. At least one accessible route shall be provided within the site from accessible parking spaces and accessible passenger drop-off and loading zones; public streets and sidewalks; and public transportation stops to the accessible building or facility entrance they serve. Where more than one route is provided, all routes must be accessible

Exceptions:

- ...

- In non-residential facilities, an accessible route shall not be required between site arrival points and the building or facility entrance if the only means of access between them is a vehicular way not providing pedestrian access.

- …

11B-206.2.2 Within a site. At least one accessible route shall connect accessible buildings, accessible facilities, accessible elements and accessible spaces that are on the same site.

Exception: In non-residential facilities, an accessible route shall not be required between accessible buildings, accessible facilities, accessible elements and accessible spaces if the only means of access between them is a vehicular way not providing pedestrian access.

## STATEMENT OF REASONS

The language of the exception unamended in the CBC comes directly from the ADAS and is applicable to public accommodations and commercial facilities.  CBC Chapter 11B includes regulations for public housing facilities, per DSA authority under Government Code 12955.1(c), and includes additional requirements from the Fair Housing Act (FHAct) for covered multifamily dwellings.  Additionally, public housing may include other facilities subject to Section 504 of the Rehabilitation Act of 1973 and its adopted standards, UFAS. Neither the FHAct nor UFAS permits the use of the vehicular entrance exception for residential facilities.

Housing at a place of education that is privately funded is a public accommodation, and if the facilities include covered multifamily dwellings, must comply with the FHAct. The exception is not permitted under the FHAct for residential facilities.  Public housing facilities that are covered multifamily dwellings must also comply with the FHAct, and therefore may not use the exceptions.  The FHAct Guidelines require each covered building on a site to provide at least one accessible entrance on an accessible route (Fair Housing Act Design Manual, p. 1.3 and 24 CFR Subtitle B, Chapter 1, Sections 100.201 and 100.205(c)).

For public housing facilities which are not also covered multifamily dwellings, Section 504 also does not permit these exceptions for residential facilities. Under Section 504 of the Rehabilitation Act, any entity receiving federal financial assistance is required to ensure that all its programs and activities are accessible, regardless of how those funds are allocated or through whom they are administered. Federal financial assistance has been broadly defined by the courts to encompass grants, loans, contracts, services, and property interests.  Federal funding triggers compliance obligations not only for the entity itself but also for any services or programs provided through subgrantees or contractual relationships. As confirmed in Access Living of Metropolitan Chicago, Inc. v. City of Chicago (2024), the United States District Court, N. D. Illinois, Eastern Division emphasized that “…a public entity may not discriminate on the basis of disability, directly or indirectly, such as 'through contractual, licensing, or other arrangements,…’” and that “Section 504 requires that individuals with disabilities be provided with meaningful access to the benefit that the grantee offers.”  California receives federal funds for public housing, which are redistributed to local municipalities and specific projects, requiring compliance with Section 504. Compliance is a condition of receiving federal funds.

The Department of Housing and Urban Development (HUD) adopts the Uniform Federal Accessibility Standards (UFAS) as the standard for public housing projects and programs receiving federal funds.  HUD’s authority to adopt regulations for housing extends to all housing funded with federal funds, not just housing funded through HUD itself. (Civil Rights Act of 1968, P.L. 90-284, Section 808 (a) and (d)).  HUD has allowed the use of the Americans with Disabilities Act Standards (ADAS) as long as certain provisions in UFAS that provide greater accessibility are maintained.  These specific provisions were noticed in the Federal Register; Vol. 79, No. 100; Friday, May 23, 2014; Rules and Regulations; 29671; Department of Housing and Urban Development; 24 CFR Part 8; Docket No. FR-5784-N-01: The 2010 Americans with Disabilities Act Standards (ADAS) Sections 206.2.1 exc. 2 and 206.2.2 exc. are not deemed as equivalent to the Uniform Federal Accessibility Standards (Deeming Notice). The Deeming Notice states that neither exceptions to ADAS Sections 206.2.1 and 206.2.2 are found in UFAS, and direct readers to UFAS Sections 4.1.1(1), 4.1.1(2), and 4.3, which conflict with the ADAS language:

“… both conflict with HUD’s Section 504 regulation, which requires that all programs and activities receiving Federal funds be readily accessible to and usable by persons with disabilities, as well as the requirements of the FHAct and HUD’s Fair Housing Accessibility Guidelines. Accordingly, HUD is not permitting the use of Exception 2 to Section 206.2.1 Site Arrival Points, and the Exception to Section 206.2.2 Within a Site.”

This proposal is necessary to conform with minimum existing federal accessibility laws, standards, and regulations.

## DSA COMMENTS

DSA Code Amendment development

## TRACKING 9

Date Received:

DSA Tracking Number:	9 (23-052)

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Part 2 Chapter 11B, Section 11B-206.2.3 Exc. 4

Topic:  	Accessible Routes in Residential Facilities

## CURRENT CODE LANGUAGE

11B-206.2.3 Multistory buildings and facilities. At least one accessible route shall connect each story and mezzanine in multistory buildings and facilities.

Exceptions:

- ...

- …

- …

- In residential facilities, an accessible route shall not be required to connect stories where residential dwelling units with mobility features required to comply with Sections 11B-809.2 through 11B-809.4, residential dwelling units with adaptable features complying with Sections 11B-809.6 through 11B-809.12, all common use areas serving residential dwelling units with mobility features required to comply with Sections 11B-809.2 through 11B-809.4, all common use areas serving residential dwelling units with adaptable features complying with Sections 11B-809.6 through 11B-809.12, and public use areas serving residential dwelling units are on an accessible route.

## SUGGESTED TEXT OF PROPOSED AMENDMENT

11B-206.2.3 Multistory buildings and facilities. At least one accessible route shall connect each story and mezzanine in multistory buildings and facilities.

Exceptions:

      - …

      - …

      - …

      - In residential facilities required to comply with Section 11B-233, an accessible route shall not be required to connect stories where residential dwelling units with mobility features required to comply with Sections 11B-809.2 through 11B-809.4, residential dwelling units with adaptable features complying with Sections 11B-809.6 through 11B-809.12, all common use areas serving residential dwelling units with mobility features required to comply with Sections 11B-809.2 through 11B-809.4, all common use areas serving residential dwelling units with adaptable features complying with Sections 11B-809.6 through 11B-809.12, and public use areas serving residential dwelling units are on an accessible route.

## CODE TEXT IF ADOPTED

11B-206.2.3 Multistory buildings and facilities. At least one accessible route shall connect each story and mezzanine in multistory buildings and facilities.

Exceptions:

- …

- …

- …

- In residential facilities required to comply with Section 11B-233, an accessible route shall not be required to connect stories where residential dwelling units with mobility features required to comply with Sections 11B-809.2 through 11B-809.4, residential dwelling units with adaptable features complying with Sections 11B-809.6 through 11B-809.12, all common use areas serving residential dwelling units with mobility features required to comply with Sections 11B-809.2 through 11B-809.4, all common use areas serving residential dwelling units with adaptable features complying with Sections 11B-809.6 through 11B-809.12, and public use areas are on an accessible route.

## STATEMENT OF REASONS

DSA is proposing to clarify that the requirements in this amendment only apply to those housing facilities required to comply with CBC Section 11B-233, because the ADA references to residential dwelling units that are required to comply with the technical requirements at Section11B-809 bypass the scoping requirements necessary to get to the technical sections.

Housing at a place of education, both private and public, requires dwelling units in compliance with transient lodging requirements in 11B-224, and as a public accommodation under the ADA, the elevator exception does not apply (28 CFR Part 35 Section 35.151(f) and 28 CFR Part 36 Section 36.406(e)), therefore the accessible route requirements are different for these facilities.

In the Guidance on 2010 Standards, the Department of Justice (DOJ) discusses the requirements for educational housing and related facilities and states: “The ability to move between rooms - both accessible rooms and standard rooms - in order to socialize, to study, and to use all public and common use areas is an essential part of having access to these educational programs and activities.” (Guidance p. 21)

DSA is proposing minor changes to clarify the existing requirements. Public use areas, as public accommodations, must be on an accessible route according to this code.

This proposal is necessary to conform with minimum existing federal accessibility laws, standards, and regulations.

## DSA COMMENTS

This item is related to Item 6.

DSA Code Amendment development

## TRACKING 10A

Date Received:

DSA Tracking Number:	10A

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Part 2, Chapter 11B, Section 11B-206.2.8

Topic:  	Employee Work Areas

## CURRENT CODE LANGUAGE

11B-206.2.8 Employee work areas. Common use circulation paths within employee work areas shall comply with Section 11B-402.

Exceptions:

- ...

- ...

- ....

## SUGGESTED TEXT OF PROPOSED AMENDMENT

11B-206.2.8 Employee work areas. Common use areas and employee work areas shall comply with Section 11B-248. Common use circulation paths within employee work areas shall comply with Section 11B-402.

Exceptions:

- ...

- ...

- ...

## CODE TEXT IF ADOPTED

11B-206.2.8 Employee work areas. Common use areas and employee work areas shall comply with Section 11B-248. Common use circulation paths within employee work areas shall comply with Section 11B-402.

Exceptions:

- ...

- ...

- ...

## STATEMENT OF REASONS

DSA proposes to include a reference to Section 11B-248 for additional clarity as previous rulemaking added Section 11B-248 to Chapter 11B. This proposal is necessary for clarity of existing regulations and does not materially alter the substance or intent of the existing regulations.

## DSA COMMENTS

This item is related to Item 10B and Item 20.

DSA Code Amendment development

## TRACKING 10B

Date Received:

DSA Tracking Number:	10B

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Part 2, Chapter 11B, Section 11B-206.2.8, Exceptions

Topic:  	Employee Work Areas

## CURRENT CODE LANGUAGE

11B-206.2.8 Employee work areas. ...

Exceptions:

- Reserved.

- Common use circulation paths located within employee work areas that are an integral component of work area equipment shall not be required to comply with Section 11B-402.

- Common use circulation paths located within exterior employee work areas that are fully exposed to the weather shall not be required to comply with Section 11B-402.

## SUGGESTED TEXT OF PROPOSED AMENDMENT

11B-206.2.8 Employee work areas. …

Exceptions:

- Reserved.

- In facilities that are not public housing, common Common use circulation paths located within employee work areas that are an integral component of work area equipment shall not be required to comply with Section 11B-402.

- In facilities that are not public housing, common Common use circulation paths located within exterior employee work areas that are fully exposed to the weather shall not be required to comply with Section 11B-402.

## CODE TEXT IF ADOPTED

11B-206.2.8 Employee work areas. …

Exceptions:

- Reserved.

- In facilities that are not public housing, common use circulation paths located within employee work areas that are an integral component of work area equipment shall not be required to comply with Section 11B-402.

- In facilities that are not public housing, common use circulation paths located within exterior employee work areas that are fully exposed to the weather shall not be required to comply with Section 11B-402.

## STATEMENT OF REASONS

DSA proposes to clarify that exceptions 2 and 3 are allowed only in buildings or facilities that are not public housing.

Under Section 504 of the Rehabilitation Act of 1973 (Section 504), any entity receiving federal financial assistance is required to ensure that all its programs and activities are accessible, regardless of how those funds are allocated or through whom they are administered. Federal financial assistance has been broadly defined by the courts to encompass grants, loans, contracts, services, and property interests.  Federal funding triggers compliance obligations not only for the entity itself but also for any services or programs provided through subgrantees or contractual relationships. As confirmed in Access Living of Metropolitan Chicago, Inc. v. City of Chicago (2024), the United States District Court, N. D. Illinois, Eastern Division emphasized that “…a public entity may not discriminate on the basis of disability, directly or indirectly, such as 'through contractual, licensing, or other arrangements,…’” and that “Section 504 requires that individuals with disabilities be provided with meaningful access to the benefit that the grantee offers.”  California receives federal funds for public housing, which is redistributed to local municipalities and specific projects, requiring compliance with Section 504. Compliance is a condition of receiving federal funds.

Section 504 prohibits discrimination on the basis of disability by entities receiving federal financial assistance, including subgrantees and contractors.  The Department of Housing and Urban Development (HUD) adopts the Uniform Federal Accessibility Standards (UFAS) as the standard for public housing projects and programs receiving federal funds.  HUD’s authority to adopt regulations for housing extends to all housing funded with federal funds, not just housing funded through HUD itself. (Civil Rights Act of 1968, P.L. 90-284, Section 808 (a) and (d)).  HUD has allowed the use of the Americans with Disabilities Act Standards (ADAS) as long as certain provisions in UFAS that provide greater accessibility are maintained.  These specific provisions were noticed in the Federal Register; Vol. 79, No. 100; Friday, May 23, 2014; Rules and Regulations; 29671; Department of Housing and Urban Development; 24 CFR Part 8; Docket No. FR-5784-N-01: The 2010 Americans with Disabilities Act Standards (ADAS) Sections 203.9, 206.2.8, 403.5 exc., and 405.8 exc. are not deemed as equivalent to the Uniform Federal Accessibility Standards (Deeming Notice):

“The 2010 Standards require a more limited level of access within employee work areas in ADA-covered facilities than UFAS, which requires employee work areas to be fully accessible.  As stated above, the Department has no authority to allow the use of an alternative standard that may reduce accessibility for individuals with disabilities without notice and comment rulemaking.  For this reason, HUD is not permitting use of the aforementioned sections of the 2010 Standards for employee work areas.”

This proposal is necessary to conform with minimum existing federal accessibility laws, standards, and regulations.

## DSA COMMENTS

This item is related to Item 10A and Item 20.

DSA Code Amendment development

## TRACKING 11

Date Received:

DSA Tracking Number:	11 (23-052)

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Part 2, Chapter 11B, Section 11B-214

Topic:  	Washing Machines and Clothes Dryers

## CURRENT CODE LANGUAGE

11B-214 Washing machines and clothes dryers

11B-214.1 General. …

11B-214.2 Washing machines. Where three or fewer washing machines are provided, at least one shall comply with Section 11B-611. Where more than three washing machines are provided, at least two shall comply with Section 11B-611.

11B-214.3 Clothes dryers. Where three or fewer clothes dryers are provided, at least one shall comply with Section 11B-611. Where more than three clothes dryers are provided, at least two shall comply with Section 11B-611.

## SUGGESTED TEXT OF PROPOSED AMENDMENT

11B-214 Washing machines and clothes dryers

11B-214.1 General. …

11B-214.2 Washing machines. Where three or fewer washing machines are provided, at least one shall comply with Section 11B-611. Where more than three washing machines are provided, at least two shall comply with Section 11B-611.

Exception: In public housing facilities, all washing machines provided in common use areas shall be front loading and shall comply with Section 11B-611.

11B-214.3 Clothes dryers. Where three or fewer clothes dryers are provided, at least one shall comply with Section 11B-611. Where more than three clothes dryers are provided, at least two shall comply with Section 11B-611.

Exception: In public housing facilities, all clothes dryers provided in common use areas shall comply with Section 11B-611.

## CODE TEXT IF ADOPTED

11B-214 Washing machines and clothes dryers

11B-214.1 General. …

11B-214.2 Washing machines. Where three or fewer washing machines are provided, at least one shall comply with Section 11B-611. Where more than three washing machines are provided, at least two shall comply with Section 11B-611.

Exception: In public housing facilities, all washing machines provided in common use areas shall be front loading and shall comply with Section 11B-611.

11B-214.3 Clothes dryers. Where three or fewer clothes dryers are provided, at least one shall comply with Section 11B-611. Where more than three clothes dryers are provided, at least two shall comply with Section 11B-611.

Exception: In public housing facilities, all clothes dryers provided in common use areas shall comply with Section 11B-611.

## STATEMENT OF REASONS

DSA proposes to amend the scoping requirements for clothes washers and dryers in public housing facilities to align with the more stringent federal requirements found in the Uniform Federal Accessibility Standards (UFAS).

Under Section 504 of the Rehabilitation Act of 1973 (Section 504), any entity receiving federal financial assistance is required to ensure that all its programs and activities are accessible, regardless of how those funds are allocated or through whom they are administered. Federal financial assistance has been broadly defined by the courts to encompass grants, loans, contracts, services, and property interests.  Federal funding triggers compliance obligations not only for the entity itself but also for any services or programs provided through subgrantees or contractual relationships. As confirmed in Access Living of Metropolitan Chicago, Inc. v. City of Chicago (2024), the United States District Court, N. D. Illinois, Eastern Division emphasized that “…a public entity may not discriminate on the basis of disability, directly or indirectly, such as 'through contractual, licensing, or other arrangements,…’” and that “Section 504 requires that individuals with disabilities be provided with meaningful access to the benefit that the grantee offers.”  California receives federal funds for public housing, which is redistributed to local municipalities and specific projects, requiring compliance with Section 504. Compliance is a condition of receiving federal funds.

The Department of Housing and Urban Development (HUD) adopts UFAS as the standard for public housing projects and programs in receipt of federal funds.  HUD’s authority to adopt regulations for housing extends to all housing funded with federal funds, not just housing funded through HUD itself. (Civil Rights Act of 1968, P.L. 90-284, Section 808 (a) and (d)).  HUD has allowed the use of the Americans with Disabilities Act Standards (ADAS) as long as certain UFAS provisions providing greater accessibility are met.  These specific provisions were noticed in the Federal Register; Vol. 79, No. 100; Friday, May 23, 2014; Rules and Regulations; 29671; Department of Housing and Urban Development; 24 CFR Part 8; Docket No. FR-5784-N-01: The 2010 Americans with Disabilities Act Standards (ADAS) Section 203.8 is not deemed as equivalent to the Uniform Federal Accessibility Standards (Deeming Notice):

“Washing Machines; Clothes Dryers - Sections 214.2 and 214.3 of the 2010 Standards. UFAS requires front loading washing machines and clothes dryers in common use laundry rooms in facilities serving accessible residential dwelling units [UFAS, Section 4.34.7.2]. UFAS’ requirements for front-loading machines reflect the fact that not all persons with disabilities will be able to use top loading machines. The 2010 Standards, however, permit either top loading or front loading machines in such facilities (Section 214.2 Washing Machines; Section 214.3 Clothes Dryers). Consequently, HUD is not permitting application of the scoping requirements for washing and drying machines found at sections 214.2 and 214.3 of the 2010 Standards. Recipients must continue to comply with section 4.34.7 of UFAS. These requirements apply to each laundry room except that HUD’s Section 504 regulation and UFAS would not require a laundry room on an upper story of a non-elevator building to be accessible provided that there is an accessible laundry room serving that same building on the ground floor.”

This proposal is necessary to conform with existing minimum federal accessibility laws, standards, and regulations.

## DSA COMMENTS

DSA Code Amendment development

## TRACKING 12

Date Received:

DSA Tracking Number:	12 (23-052)

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Part 2, Chapter 11B, Section 11B-215.1

Topic:  	Fire Alarm Systems

## CURRENT CODE LANGUAGE

11B-215.1 General. Where fire alarm systems and carbon monoxide alarm systems provide audible alarm coverage, alarms shall comply with Section 11B-215.

Exception: In existing facilities, visible alarms for fire alarm systems shall not be required except where an existing fire alarm system is upgraded or replaced, or a new fire alarm system is installed.

## SUGGESTED TEXT OF PROPOSED AMENDMENT

11B-215.1 General. Where fire alarm systems and carbon monoxide alarm systems provide audible alarm coverage, alarms shall comply with Section 11B-215.

Exception: In existing facilities that are not public housing, visible alarms for fire alarm systems shall not be required except where an existing fire alarm system is upgraded or replaced, or a new fire alarm system is installed.

## CODE TEXT IF ADOPTED

11B-215.1 General. Where fire alarm systems and carbon monoxide alarm systems provide audible alarm coverage, alarms shall comply with Section 11B-215.

Exception: In existing facilities that are not public housing, visible alarms for fire alarm systems shall not be required except where an existing fire alarm system is upgraded or replaced, or a new fire alarm system is installed.

## STATEMENT OF REASONS

DSA proposes to amend this section to limit its application to only commercial facilities and public accommodations.

Under Section 504 of the Rehabilitation Act of 1973 (Section 504), any entity receiving federal financial assistance is required to ensure that all its programs and activities are accessible, regardless of how those funds are allocated or through whom they are administered. Federal financial assistance has been broadly defined by the courts to encompass grants, loans, contracts, services, and property interests.  Federal funding triggers compliance obligations not only for the entity itself but also for any services or programs provided through subgrantees or contractual relationships. As confirmed in Access Living of Metropolitan Chicago, Inc. v. City of Chicago (2024), the United States District Court, N. D. Illinois, Eastern Division emphasized that “…a public entity may not discriminate on the basis of disability, directly or indirectly, such as 'through contractual, licensing, or other arrangements,…’” and that “Section 504 requires that individuals with disabilities be provided with meaningful access to the benefit that the grantee offers.”  California receives federal funds for public housing, which is redistributed to local municipalities and specific projects, requiring compliance with Section 504. Compliance is a condition of receiving federal funds.

The Department of Housing and Urban Development (HUD) adopts the Uniform Federal Accessibility Standards (UFAS) as the standard for public housing projects and programs in receipt of federal funds.  HUD’s authority to adopt regulations for housing extends to all housing funded with federal funds, not just housing funded through HUD itself. (Civil Rights Act of 1968, P.L. 90-284, Section 808 (a) and (d)).  HUD has allowed the use of the Americans with Disabilities Act Standards (ADAS) as long as certain UFAS provisions providing greater accessibility are met.  These specific provisions were noticed in the Federal Register; Vol. 79, No. 100; Friday, May 23, 2014; Rules and Regulations; 29671; Department of Housing and Urban Development; 24 CFR Part 8; Docket No. FR-5784-N-01: The 2010 Americans with Disabilities Act Standards (ADAS) Section 215.1 is not deemed as equivalent to the Uniform Federal Accessibility Standards (Deeming Notice):

“Section 215.1 includes a new exception for visible alarms in the alteration of existing facilities, providing that visible alarms must be installed only when an existing fire alarm system is upgraded or replaced, or a new fire alarm system is installed. Under this exception, visible alarms would not be required as part of alterations unless the alarm system is upgraded, replaced, or newly installed. HUD is not permitting use of this exception because its application may result in less accessibility than is currently required under HUD’s Section 504 regulation.”

This proposal is necessary to conform with minimum existing federal accessibility laws, standards, and regulations.

## DSA COMMENTS

DSA Code Amendment development

## TRACKING 13

Date Received:

DSA Tracking Number:	13

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Part 2, Chapter 2, Section 11B-223.2.3

Topic:  	On-call Rooms in Medical Facilities

## CURRENT CODE LANGUAGE

11B-223.2.3 On-call rooms. Where physician or staff on-call sleeping rooms are provided, at least 10 percent, but no fewer than one, of the on-call rooms shall provide mobility features complying with Sections 11B-806.2.3, 11B-806.2.4 and 11B-806.2.6.

## SUGGESTED TEXT OF PROPOSED AMENDMENT

11B-223.2.3 On-call rooms. Where physician or staff on-call sleeping rooms are provided, at least 10 percent, but no fewer than one, of the on-call rooms shall provide mobility features complying with Sections 11B-806.2.3, 11B-806.2.4 and 11B-806.2.6. 11B-805.2.

## CODE TEXT IF ADOPTED

11B-223.2.3 On-call rooms. Where physician or staff on-call sleeping rooms are provided, at least 10 percent, but no fewer than one, of the on-call rooms shall provide mobility features complying with Section 11B-805.2.

## STATEMENT OF REASONS

DSA proposes this change to provide conformity with the federal requirements for medical care facilities at the request of the California Department of Health Care Access and Information (HCAI).

Medical care facilities, which include sleeping rooms used only by on-call staff, are specifically excluded from the definitions of transient lodging provided at Chapter 1, Section 106 of the 2010 Americans with Disabilities Act Standards (ADAS) and Chapter 2, Section 202 of the CBC. This proposal removes the reference to Sections 11B-806.2.3, 11B-806.2.4, and 11B-806.2.6 which are transient lodging requirements, and adds a reference to Section 11B-805.2, the technical requirements applicable to medical care facilities. The current reference to Sections 11B-806 were an error in previous rulemaking and implied that hospitals were to meet transient lodging requirements even though they are not transient lodging facilities by definition in Chapter 2. This proposal also removes the requirements for transient lodging facilities for a personal lift device clear floor space found at Section 11B-806.2.3.1 and for vanity counter space at Section 11B-806.2.4.1, which are applicable only to transient lodging facilities and not to medical care facilities.

This proposal is necessary for clarity of existing regulations and does not materially alter the substance or intent of the existing regulations.

## DSA COMMENTS

This item is related to Item 21.

DSA Code Amendment development

## TRACKING 14

Date Received:

DSA Tracking Number:	14

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Part 2, Chapter 11B, Section 11B-224.7

Topic:  	Housing at a Place of Education

## CURRENT CODE LANGUAGE

11B-224.7 Housing at a place of education. Housing at a place of education subject to this section shall comply with Sections 11B-224.1 through 11B-224.6 and 11B-806 for transient lodging guest rooms. For the purposes of the application of this section, the term “sleeping room” is interchangeable with “guest room” as used in the transient lodging standards.

## SUGGESTED TEXT OF PROPOSED AMENDMENT

11B-224.7 Housing at a place of education. Housing at a place of education subject to this section shall comply with Sections 11B-224.1 through 11B-224.6 11B-224.7 and 11B-806. for transient lodging guest rooms. For the purposes of the application of this these sections, the term “sleeping room” is interchangeable with “guest room”. as used in the transient lodging standards.

## CODE TEXT IF ADOPTED

11B-224.7 Housing at a place of education. Housing at a place of education shall comply with Sections 11B-224.1 through 11B-224.7 and 11B-806. For the purposes of the application of these sections, the term “sleeping room” is interchangeable with “guest room”.

## STATEMENT OF REASONS

DSA proposes to amend this section to clarify the appropriate CBC citations and remove references to transient lodging facilities. While housing at a place of education must meet transient lodging standards, it is housing and is included in the definition of PUBLIC HOUSING in Chapter 2, Section 202, where provided by a public entity.

Housing offered by private educational entities is a public accommodation under the Americans with Disabilities Act and is included in the definition of place of public accommodation.

This proposal is necessary for clarity of existing regulations and does not materially alter the substance or intent of the existing regulations.

## DSA COMMENTS

This item is related to Items 1A, 2 and 3D.

DSA Code Amendment development

## TRACKING 15

Date Received:

DSA Tracking Number:	15

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Part 2, Chapter 11B, Section 11B-224.8

Topic:  	Social Service Center Establishments

## CURRENT CODE LANGUAGE

11B-224.8 Social service center establishments.  Group homes, halfway houses, shelters or similar social service center establishments that provide either temporary sleeping accommodations or residential dwelling units subject to this section shall comply with Section 11B-233.3.

11B-224.8.1 More than 25-bed sleeping rooms. …

11B-224.8.2 More than 50-bed facilities. …

## SUGGESTED TEXT OF PROPOSED AMENDMENT

11B-224.8 Social service center establishments.  Group homes, halfway houses, shelters or similar social service center establishments that provide either temporary sleeping accommodations or residential dwelling units subject to this section Social service center establishments shall comply with Section 11B-233.3.

11B-224.8.1 More than 25-bed sleeping rooms. …

11B-224.8.2 More than 50-bed facilities. …

## CODE TEXT IF ADOPTED

11B-224.8 Social service center establishments.  Social service center establishments shall comply with Section 11B-233.3.

11B-224.8.1 More than 25-bed sleeping rooms. …

11B-224.8.2 More than 50-bed facilities. …

## STATEMENT OF REASONS

While a brief definition of social service center establishments is presently provided in Section 11B-224.8, removing text from scoping and relocating it to a new definition in Chapter 2 is more appropriate. See DSA proposal Item 4.

This proposal is necessary to clarify application of existing state regulations.

## DSA COMMENTS

This item is related to Items 3A and 4.

DSA Code Amendment development

## TRACKING 16A

Date Received:

DSA Tracking Number:	16A

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Part 2, Chapter 11B, Section 11B-233.3.3

Topic:  	Public Housing Facilities, Additions

## CURRENT CODE LANGUAGE

11B-233.3.3 Additions.  Where an addition to an existing building results in an increase in the number of residential dwelling units, the requirement of Section 11B-233.3.1 shall apply only to the residential dwelling units that are added until the total number of residential dwelling units complies with the minimum number required by Section 11B-233.3.1.  Residential dwelling units required to comply with Sections 11B-233.3.1.1 and 11B-233.3.1.2 shall be on an accessible route as required by Section 11B-206.

## SUGGESTED TEXT OF PROPOSED AMENDMENT

11B-233.3.3 Additions.  Where an addition to an existing building results in an increase in the number of residential dwelling units, the requirement of Section 11B-233.3.1 shall apply only to the residential dwelling units that are added until the total number of residential dwelling units complies with the minimum number required by Section 11B-233.3.1.  Residential dwelling units required to comply with Sections 11B-233.3.1.1 and 11B-233.3.1.2 shall be on an accessible route as required by Section 11B-206.

11B-233.3.3.1 Entrances.  Where an addition to an existing building does not provide an entrance, at least one entrance in the existing building shall comply with Section 11B-206.4.

11B-233.3.3.2 Accessible route.  Where an addition to an existing building uses an existing entrance, at least one accessible route complying with Section 11B-206 shall be provided from site arrival points to the entrance, from the entrance to the addition, and shall connect all rooms, spaces and elements of the addition required to be accessible by this chapter.

11B-233.3.3.3 Toilet and bathing facilities.  Where a public or common use toilet facility is provided in the existing building but not in the addition, at least one toilet facility in the existing building shall comply with Section 11B-213 and shall provide an accessible route complying with Section 11B-206 from the toilet facility to the addition. Where a public or common use bathing facility is provided in the existing building but not in the addition, at least one bathing facility in the existing building shall comply with Section 11B-213 and shall provide an accessible route complying with Section 11B-206 from the bathing facility to the addition.

11B-233.3.3.4 Elements, spaces, and common use areas.  Where elements, spaces, or common use areas are provided in the existing building and equivalent elements, spaces or common use areas are not provided in the addition, at least one of each type of element, space, or common use area in the existing building shall be accessible in compliance with this chapter.

## CODE TEXT IF ADOPTED

11B-233.3.3 Additions.  Where an addition to an existing building results in an increase in the number of residential dwelling units, the requirement of Section 11B-233.3.1 shall apply only to the residential dwelling units that are added until the total number of residential dwelling units complies with the minimum number required by Section 11B-233.3.1.  Residential dwelling units required to comply with Sections 11B-233.3.1.1 and 11B-233.3.1.2 shall be on an accessible route as required by Section 11B-206.

11B-233.3.3.1 Entrances.  Where an addition to an existing building does not provide an entrance, at least one entrance in the existing building shall comply with Section 11B-206.4.

11B-233.3.3.2 Accessible route.  Where an addition to an existing building uses an existing entrance, at least one accessible route complying with Section 11B-206 shall be provided from site arrival points to the entrance, from the entrance to the addition, and shall connect all rooms, spaces and elements of the addition required to be accessible by this chapter.

11B-233.3.3.3 Toilet and bathing facilities.  Where a public or common use toilet facility is provided in the existing building but not in the addition, at least one toilet facility in the existing building shall comply with Section 11B-213 and shall provide an accessible route complying with Section 11B-206 from the toilet facility to the addition. Where a public or common use bathing facility is provided in the existing building but not in the addition, at least one bathing facility in the existing building shall comply with Section 11B-213 and shall provide an accessible route complying with Section 11B-206 from the bathing facility to the addition.

11B-233.3.3.4 Elements, spaces, and common use areas.  Where elements, spaces, or common use areas are provided in the existing building and equivalent elements, spaces or common use areas are not provided in the addition, at least one of each type of element, space, or common use area in the existing building shall be accessible in compliance with this chapter.

## STATEMENT OF REASONS

The requirements for additions to public accommodations and commercial facilities in CBC Section 11B-202.4 are not applicable to public housing. Section 11B-202.4, exception 1 is currently based on the ADAS language which exempts residential dwelling units from path of travel improvements.

In past rulemaking, DSA incorporated the requirements for additions to public housing facilities from the Fair Housing Act (FHAct); however, the FHAct requirements are not as specific as the requirements for additions to housing facilities subject to Section 504 of the Rehabilitation Act of 1973 (Section 504), and additional requirements specific to additions under those regulations were not provided.

Under Section 504, any entity receiving federal financial assistance is required to ensure that all its programs and activities are accessible, regardless of how those funds are allocated or through whom they are administered. Federal financial assistance has been broadly defined by the courts to encompass grants, loans, contracts, services, and property interests.  Federal funding triggers compliance obligations not only for the entity itself but also for any services or programs provided through subgrantees or contractual relationships. As confirmed in Access Living of Metropolitan Chicago, Inc. v. City of Chicago (2024), the United States District Court, N. D. Illinois, Eastern Division emphasized that “…a public entity may not discriminate on the basis of disability, directly or indirectly, such as 'through contractual, licensing, or other arrangements,…’” and that “Section 504 requires that individuals with disabilities be provided with meaningful access to the benefit that the grantee offers.”  California receives federal funds for public housing, which is redistributed to local municipalities and specific projects, requiring compliance with Section 504. Compliance is a condition of federal funding.

The Department of Housing and Urban Development (HUD) adopts the Uniform Federal Accessibility Standards (UFAS) as the standard for public housing projects and programs receiving federal funds. HUD’s authority to adopt regulations for housing extends to all housing funded with federal funds, not just housing funded through HUD itself. (Civil Rights Act of 1968, P.L. 90-284, Section 808 (a) and (d)).  HUD has allowed the use of the Americans with Disabilities Act Standards (ADAS) as long as certain provisions in UFAS that provide greater accessibility are maintained.  These specific provisions were noticed in the Federal Register; Vol. 79, No. 100; Friday, May 23, 2014; Rules and Regulations; 29671; Department of Housing and Urban Development; 24 CFR Part 8; Docket No. FR-5784-N-01: The 2010 Americans with Disabilities Act Standards (ADAS) Section 202.4 is not deemed as equivalent to the Uniform Federal Accessibility Standards (Deeming Notice):

“Additions – Section 202.2 of the 2010 Standards

Section 202.2 of the 2010 Standards contains scoping requirements which may, in certain situations, afford less accessibility for individuals with disabilities than is currently provided by HUD’s rules at 24 CFR part 8 and UFAS.  Because the Department is precluded from permitting the use of an alternative standard that might reduce accessibility for individuals with disabilities in housing settings without notice and comment rulemaking, HUD is not permitting use of the scoping requirements for additions at section 202.4 because this may conflict with HUD’s Section 504 regulation.”

DSA proposes to amend the CBC requirements to align with the HUD adopted UFAS requirements specific to residential dwelling units and common use areas in public housing facilities by expanding upon the information already provided at Section 11B-233.3.3.

This proposal is necessary to conform with minimum existing federal accessibility laws, standards, and regulations.

## DSA COMMENTS

This item is related to Items 5 and 16B.

DSA Code Amendment development

## TRACKING 16B

Date Received:

DSA Tracking Number:	16B

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Part 2, Chapter 11B, Section 11B-233.3.4

Topic:  	Public Housing Facilities, Alterations

## CURRENT CODE LANGUAGE

11B-233.3.4 Alterations.  Alterations shall comply with Section 11B-233.3.4.

Exception:  Where compliance with Section 11B-809.2, 11B-809.3 or 11B-809.4 is technically infeasible, or where it is technically infeasible to provide an accessible route to a residential dwelling unit, the entity shall be permitted to alter or construct a comparable residential dwelling unit to comply with Sections 11B-809.2 through 11B-809.4 provided that the minimum number of residential dwelling units required by Sections 11B-233.3.1.1 and 11B-233.3.1.3, as applicable, is satisfied.

11B-233.3.4.1 Alterations to vacated buildings.  Where a building is vacated for the purposes of alteration, and the altered building contains more than 15 residential dwelling units, at least 5 percent of the residential dwelling units shall comply with Sections 11B-809.2 through 11B-809.4 and shall be on an accessible route as required by Section 11B-206. …

11B-233.3.4.2 Alterations to individual residential dwelling units.  …

11B-233.3.4.3 Alterations to residential dwelling units with adaptable features.  …

## SUGGESTED TEXT OF PROPOSED AMENDMENT

11B-233.3.4 Alterations.  Alterations shall comply with Section 11B-233.3.4.

Exception:  Where compliance with Section 11B-809.2, 11B-809.3 or 11B-809.4 is technically infeasible, or where it is technically infeasible to provide an accessible route to a residential dwelling unit, the entity shall be permitted to alter or construct a comparable residential dwelling unit to comply with Sections 11B-809.2 through 11B-809.4 provided that the minimum number of residential dwelling units required by Sections 11B-233.3.1.1 and 11B-233.3.1.3, as applicable, is satisfied.

11B-233.3.4.1 Alterations to vacated buildings.  Where a building or facility is vacated for the purposes of alteration, and the altered building or facility contains more than 15 residential dwelling units, at least 5 percent of the residential dwelling units shall comply with Sections 11B-809.2 through 11B-809.4 and shall be on an accessible route as required by Section 11B-206. …

11B-233.3.4.2 Alterations to individual residential dwelling units.  …

11B-233.3.4.3 Alterations to residential dwelling units with adaptable features.  …

11B-233.3.4.4 Substantial Facility Alterations. A facility is substantially altered when the adjusted construction cost, as defined, of alterations to facilities containing 15 or more dwelling units exceeds 50% of either the facility replacement value, fair market value or assessed value, whichever value is least. When substantially altered, the minimum number of residential dwelling units complying with Section 11B-233.3.1.1 shall be provided and the facility shall comply with Sections 11B-202.3 and 11B-233.3.4.4.1 through 11B-233.3.4.4.

11B-233.3.4.4.1 Accessible Route.  At least one accessible route to each altered floor and altered area shall be provided and shall comply with Section 11B-206.

11B-233.3.4.4.2 Entrances.  At least one entrance in a building shall comply with Section 11B-404.

11B-233.3.4.4.3 Toilet facilities.  Where common use toilet facilities are provided in substantially altered buildings, a minimum of one toilet facility shall comply with Section 11B-213. Where multiple floors with common use toilet facilities are substantially altered, each floor shall provide a toilet facility complying with Section 11B-213.

11B-233.3.4.4.4 Bathing facilities.  Where common use bathing facilities are provided in substantially altered buildings, a minimum of one common use bathing facility shall comply with Section 11B-213. Where multiple floors with common use bathing facilities are substantially altered, each floor shall provide a common use bathing facility complying with Section 11B-213.

## CODE TEXT IF ADOPTED

11B-233.3.4 Alterations.  Alterations shall comply with Section 11B-233.3.4.

Exception:  Where compliance with Section 11B-809.2, 11B-809.3 or 11B-809.4 is technically infeasible, or where it is technically infeasible to provide an accessible route to a residential dwelling unit, the entity shall be permitted to alter or construct a comparable residential dwelling unit to comply with Sections 11B-809.2 through 11B-809.4 provided that the minimum number of residential dwelling units required by Sections 11B-233.3.1.1 and 11B-233.3.1.3, as applicable, is satisfied.

11B-233.3.4.1 Alterations to vacated buildings.  Where a building or facility is vacated for the purposes of alteration, and the altered building or facility contains more than 15 residential dwelling units, at least 5 percent of the residential dwelling units shall comply with Sections 11B-809.2 through 11B-809.4 and shall be on an accessible route as required by Section 11B-206. …

11B-233.3.4.2 Alterations to individual residential dwelling units.  …

11B-233.3.4.3 Alterations to residential dwelling units with adaptable features.  …

11B-233.3.4.4 Substantial Facility Alterations. A facility is substantially altered when the adjusted construction cost, as defined, of alterations to facilities containing 15 or more dwelling units exceeds 50% of either the facility replacement value, fair market value or assessed value, whichever value is least. A substantial alteration may be provided to the facility or only to a floor in the facility. When substantially altered, the minimum number of residential dwelling units complying with Section 11B-233.3.1.1 shall be provided and the facility shall comply with Sections 11B-233.3.4.4.1 through 11B-233.3.4.4.4.

11B-233.3.4.4.1 Entrances.  At least one entrance in a building shall comply with Section 11B-404.

11B-233.3.4.4.2 Accessible Route.  At least one accessible route to each altered floor and altered area shall be provided and shall comply with Section 11B-206.

11B-233.3.4.4.3 Toilet facilities.  Where common use toilet facilities are provided on an altered floor, a minimum of one toilet facility shall comply with Section 11B-213.

11B-233.3.4.4.4 Bathing facilities.  Where common use bathing facilities are provided in an altered facility, a minimum of one common use bathing facility shall comply with Section 11B-213. Where common use bathing facilities are provided on an altered floor, each altered floor shall provide a common use bathing facility complying with Section 11B-213.

## STATEMENT OF REASONS

The requirements for alterations to public accommodations and commercial facilities in the CBC in Section 11B-202.4 are not applicable to public housing. Section 11B-202.4, exception 1 is currently based on the ADAS language which exempts residential dwelling units from path of travel improvements.

In past rulemaking, DSA incorporated the requirements for alterations to public housing facilities from the Fair Housing Act (FHAct); however, the FHAct requirements are not as specific as the requirements for alterations to housing facilities subject to Section 504 of the Rehabilitation Act of 1973 (Section 504), and additional requirements specific to alterations was not provided.

Under Section 504, any entity receiving federal financial assistance is required to ensure that all its programs and activities are accessible, regardless of how those funds are allocated or through whom they are administered. Federal financial assistance has been broadly defined by the courts to encompass grants, loans, contracts, services, and property interests.  Federal funding triggers compliance obligations not only for the entity itself but also for any services or programs provided through subgrantees or contractual relationships. As confirmed in Access Living of Metropolitan Chicago, Inc. v. City of Chicago (2024), the United States District Court, N. D. Illinois, Eastern Division emphasized that “…a public entity may not discriminate on the basis of disability, directly or indirectly, such as 'through contractual, licensing, or other arrangements,…’” and that “Section 504 requires that individuals with disabilities be provided with meaningful access to the benefit that the grantee offers.”  California receives federal funds for public housing, which is redistributed to local municipalities and specific projects, requiring compliance with Section 504. Compliance is a condition of federal funding.

The Department of Housing and Urban Development (HUD) adopts the Uniform Federal Accessibility Standards (UFAS) as the standard for public housing projects and programs receiving federal funds.   HUD’s authority to adopt regulations for housing extends to all housing funded with federal funds, not just housing funded through HUD itself. (Civil Rights Act of 1968, P.L. 90-284, Section 808 (a) and (d)).  HUD has allowed the use of the Americans with Disabilities Act Standards (ADAS) as long as certain provisions in UFAS that provide greater accessibility are maintained.  These specific provisions were noticed in the Federal Register; Vol. 79, No. 100; Friday, May 23, 2014; Rules and Regulations; 29671; Department of Housing and Urban Development; 24 CFR Part 8; Docket No. FR-5784-N-01: The 2010 Americans with Disabilities Act Standards (ADAS) Section 202.4 is not deemed as equivalent to the Uniform Federal Accessibility Standards (Deeming Notice):

“Alterations – 28 CFR 35.151

The 2010 Standards at 28 CFR 35.151(b) and section 202 contain criteria detailing when alterations of facilities must be made accessible.  In certain situations, application of the 2010 Standards may result in fewer units containing accessibility features.  Because HUD cannot use this document to permit the use of a lesser requirement than that required by its Section 504 regulation, HUD is not permitting use of <Section> 35.151(b).  Therefore, multifamily housing projects must continue to utilize the terms “substantial alterations” and “other alterations” as defined in HUD’s Section 504 regulation to determine accessibility requirements.<24 CFR part 8, subpart C.> This does not preclude HUD from considering changes to its alterations criteria for residential dwelling units when it revises its regulation to adopt a new accessibility standard.”

DSA proposes to amend the CBC requirements to align with the HUD adopted UFAS requirements specific to residential dwelling units and common use areas in public housing facilities by expanding upon the information already provided at Sections 11B-233.3.3 and 11B-233.3.4.

DSA is proposing, at Section 11B-233.3.4.4 to use an alteration value of fifty percent (50%) of three defined valuations: replacement value, fair market value, or assessed value; because the implementing regulations of UFAS use fifty percent of the full and fair cash value, which is additionally defined in that document.  See UFAS Section 4.1.6 Alterations at subsection (3)(d) and definition of “full and fair cash value” at Section 3.5.

This proposal is necessary to conform with minimum existing federal accessibility laws, standards, and regulations.

## DSA COMMENTS

This item is related to Items 5 and 16A.

DSA Code Amendment development

## TRACKING 17

Date Received:

DSA Tracking Number:	17 (23-052)

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Part 2, Chapter 11B, Section 11B-233.3.1.2.6

Topic:  	Public Housing Facility Site Impracticality

## CURRENT CODE LANGUAGE

11B-233.3.1.2.6 Public housing facility site impracticality. The site impracticality tests in this section may be used to determine the number of required residential dwelling units with adaptable features in buildings without an elevator, located on sites with difficult terrain conditions or unusual characteristics.

Except as provided for in Section 11B-233.3.1.2.5, the provisions of this section do not apply to multistory dwelling units in non-elevator buildings.

11B-233.3.1.2.6.1 Single building with one common (lobby) entrance. The following may only be used for determining required access to multifamily dwelling units, in a single building with one common (lobby) entrance, located on a site with difficult terrain conditions or unusual characteristics:

All ground floor units in non-elevator buildings shall be adaptable and on an accessible route unless an accessible route to the common (lobby) entrance is not required as determined by Test No. 1, Individual Building Test, or Test No. 3, Unusual Characteristics Test, as described in this section.

Sites where either Test No. 1 or Test No. 3 is used and it is determined that an accessible route to the common (lobby) entrance is not required, a minimum of 20 percent of the ground floor dwelling units shall comply with Section 11B-809.6, and all remaining ground floor dwelling units shall comply with the features listed in Section 11B-233.3.1.2.6.5 unless exempted by Test No. 3, Unusual Characteristics Test.

Test No. 1—Individual Building Test may only be used if the site has terrain over 15 percent slope.

Test No. 3—Unusual Characteristics Test may be used if applicable.

Provisions to Test Nos. 1 and 2. Where a building elevator is provided only as means of creating an accessible route to dwelling units on a ground floor, the building is not considered to be an elevator building for purposes of this code; hence, only the ground floor dwelling units would be covered.

11B-233.3.1.2.6.2 Test number one, individual building test.

It is not required by this code to provide an accessible route when the terrain of the site is such that both of the following apply:

- The slopes of the undisturbed site measured in a straight line between the planned entrance and all vehicular or pedestrian arrival points within 50 feet (15 240 mm) of the planned entrance exceed 15 percent; and

- The slopes of the planned finished grade measured between the entrance and all vehicular or pedestrian arrival points within 50 feet (15 240 mm) of the planned entrance also exceed 15 percent.

If there are no vehicular or pedestrian arrival points within 50 feet (15 240 mm) of the planned entrance, the slope for the purposes of Test No. 1 will be measured to the closest vehicular or pedestrian arrival point.

For purposes of these requirements, vehicular or pedestrian site arrival points include public or resident parking areas, public transportation stops, passenger loading zones and public streets or sidewalks. To determine site impracticality, the slope would be measured at ground level from the point of the planned entrance on a straight line to:

- Each vehicular or pedestrian arrival point that is within 50 feet (15 240 mm) of the planned entrance, or

- If there are no vehicular or pedestrian arrival points within the specified area, the vehicular or pedestrian arrival point closest to the planned entrance.

In the case of sidewalks, the closest point to the entrance will be where a public sidewalk entering the site intersects with the walk to the entrance. In the case of resident parking areas, the closest point to the planned entrance will be measured from the entry point to the parking area that is located closest to the planned entrance.

11B-233.3.1.2.6.3 Test number two, site analysis test.

For a site having multiple buildings, or a site with a single building with multiple entrances, it is not required to provide a building entrance on an accessible route to all ground floor units under the following conditions:

- Calculate the percentage of the total buildable area of the undisturbed site with a natural grade less than 10 percent slope. The analysis of the existing slope (before grading) shall be done on a topographic survey with 2 foot (610 mm) contour intervals with slope determination made between each successive interval. The accuracy of the slope analysis shall be certified by a licensed engineer, landscape architect, architect or surveyor.

- Determine the requirement of providing an accessible route to planned multifamily dwellings based on the topography of the existing natural terrain. The minimum percentage of ground floor units required on an accessible route shall equal the percentage of the total buildable area (not restricted-use areas, flood plains or wetlands) of the undisturbed site with an existing natural grade of less than 10 percent slope.

- In addition to the percentage established in paragraph (2), all ground floor units in a building, or ground floor units served by a particular entrance on an accessible route defined by a calculation of the straight line slope not exceeding 8.33 percent, between their planned entrances and an arrival point, shall be on an accessible route and comply with the provisions of Section 11B-809.6.

- All additional ground floor units in a building, or ground floor units served by a particular entrance, not on an accessible route shall comply with the features listed in Section 11B-233.3.1.2.6.5.

- In no case shall less than 20 percent of the ground floor dwelling units be on an accessible route and comply with the provisions of Sections 11B-809.6 through 11B-809.12.

11B-233.3.1.2.6.4 Test number three, unusual characteristics test.

Unusual characteristics include sites located in a state or federally designated floodplain or coastal high-hazard areas and sites subject to other similar requirements of law or code that require the lowest floor or the lowest structural member of the lowest floor be designed to a specified level at or above the base flood elevation. An accessible route to a building entrance is impractical due to unusual characteristics of the site when:

- The original site characteristics result in a difference in finished grade elevation exceeding 30 inches (762 mm) and 10 percent measured between an entrance and all vehicular or pedestrian arrival points within 50 feet (15 240 mm) of the planned entrance; or

- If there are no vehicular or pedestrian arrival points within 50 feet (15 240 mm) of the planned entrance, the unusual characteristics result in a difference in finished grade elevation exceeding 30 inches (762 mm) and 10 percent measured between an entrance and the closest vehicular or pedestrian arrival point.

11B-233.3.1.2.6.5 Additional requirements. In buildings without elevators and where site impracticality test numbers one, two or three reduce the required number of residential dwelling units with adaptable features, the remaining units shall provide the following:

- Grab bar reinforcement complying with Section 11B-809.10.5.2, 11B-809.10.6.4 or 11B-809.10.7.3.

- Interior door opening width complying with Section 11B-404.2.3.

- Door and gate hardware complying with Section 11B-404.2.7.

- Door signal devices complying with Section 11B-809.8.4.

- Door maneuvering clearance complying with Section 11B-809.8.

- Water closet seat height complying with Section 11B-809.10.7.4.

- Electrical receptacles, switches and controls complying with Section 11B-809.12.

- Faucets complying with Section 11B-809.10.8.6.

- Water closet, bathtub and lavatory maneuvering clearances complying with Section 11B-809.10.

- Removable base cabinets complying with Section 11B-809.9.3.

## SUGGESTED TEXT OF PROPOSED AMENDMENT

11B-233.3.1.2.6 Public housing facility site impracticality. The site impracticality tests in this section may be used to determine the number of required residential dwelling units with adaptable features in buildings without an elevator, located on sites with difficult terrain conditions or unusual characteristics.

Except as provided for in Section 11B-233.3.1.2.5, the provisions of this section do not apply to multistory dwelling units in non-elevator buildings.

11B-233.3.1.2.6.1 Single building with one common (lobby) entrance. The following may only be used for determining required access to multifamily dwelling units, in a single building with one common (lobby) entrance, located on a site with difficult terrain conditions or unusual characteristics:

All ground floor units in non-elevator buildings shall be adaptable and on an accessible route unless an accessible route to the common (lobby) entrance is not required as determined by Test No. 1, Individual Building Test, or Test No. 3, Unusual Characteristics Test, as described in this section.

Sites where either Test No. 1 or Test No. 3 is used and it is determined that an accessible route to the common (lobby) entrance is not required, a minimum of 20 percent of the ground floor dwelling units shall comply with Section 11B-809.6, and all remaining ground floor dwelling units shall comply with the features listed in Section 11B-233.3.1.2.6.5 unless exempted by Test No. 3, Unusual Characteristics Test.

Test No. 1—Individual Building Test may only be used if the site has terrain over 15 percent slope.

Test No. 3—Unusual Characteristics Test may be used if applicable.

Provisions to Test Nos. 1 and 2. Where a building elevator is provided only as means of creating an accessible route to dwelling units on a ground floor, the building is not considered to be an elevator building for purposes of this code; hence, only the ground floor dwelling units would be covered.

11B-233.3.1.2.6.2 Test number one, individual building test.

It is not required by this code to provide an accessible route when the terrain of the site is such that both of the following apply:

- The slopes of the undisturbed site measured in a straight line between the planned entrance and all vehicular or pedestrian arrival points within 50 feet (15 240 mm) of the planned entrance exceed 15 percent; and

- The slopes of the planned finished grade measured between the entrance and all vehicular or pedestrian arrival points within 50 feet (15 240 mm) of the planned entrance also exceed 15 percent.

If there are no vehicular or pedestrian arrival points within 50 feet (15 240 mm) of the planned entrance, the slope for the purposes of Test No. 1 will be measured to the closest vehicular or pedestrian arrival point.

For purposes of these requirements, vehicular or pedestrian site arrival points include public or resident parking areas, public transportation stops, passenger loading zones and public streets or sidewalks. To determine site impracticality, the slope would be measured at ground level from the point of the planned entrance on a straight line to:

- Each vehicular or pedestrian arrival point that is within 50 feet (15 240 mm) of the planned entrance, or

- If there are no vehicular or pedestrian arrival points within the specified area, the vehicular or pedestrian arrival point closest to the planned entrance.

In the case of sidewalks, the closest point to the entrance will be where a public sidewalk entering the site intersects with the walk to the entrance. In the case of resident parking areas, the closest point to the planned entrance will be measured from the entry point to the parking area that is located closest to the planned entrance.

11B-233.3.1.2.6.3 Test number two, site analysis test.

For a site having multiple buildings, or a site with a single building with multiple entrances, it is not required to provide a building entrance on an accessible route to all ground floor units under the following conditions:

- Calculate the percentage of the total buildable area of the undisturbed site with a natural grade less than 10 percent slope. The analysis of the existing slope (before grading) shall be done on a topographic survey with 2 foot (610 mm) contour intervals with slope determination made between each successive interval. The accuracy of the slope analysis shall be certified by a licensed engineer, landscape architect, architect or surveyor.

- Determine the requirement of providing an accessible route to planned multifamily dwellings based on the topography of the existing natural terrain. The minimum percentage of ground floor units required on an accessible route shall equal the percentage of the total buildable area (not restricted-use areas, flood plains or wetlands) of the undisturbed site with an existing natural grade of less than 10 percent slope.

- In addition to the percentage established in paragraph (2), all ground floor units in a building, or ground floor units served by a particular entrance on an accessible route defined by a calculation of the straight line slope not exceeding 8.33 percent, between their planned entrances and an arrival point, shall be on an accessible route and comply with the provisions of Section 11B-809.6.

- All additional ground floor units in a building, or ground floor units served by a particular entrance, not on an accessible route shall comply with the features listed in Section 11B-233.3.1.2.6.5.

- In no case shall less than 20 percent of the ground floor dwelling units be on an accessible route and comply with the provisions of Sections 11B-809.6 through 11B-809.12.

11B-233.3.1.2.6.4 Test number three, unusual characteristics test.

Unusual characteristics include sites located in a state or federally designated floodplain or coastal high-hazard areas and sites subject to other similar requirements of law or code that require the lowest floor or the lowest structural member of the lowest floor be designed to a specified level at or above the base flood elevation. An accessible route to a building entrance is impractical due to unusual characteristics of the site when:

- The original site characteristics result in a difference in finished grade elevation exceeding 30 inches (762 mm) and 10 percent measured between an entrance and all vehicular or pedestrian arrival points within 50 feet (15 240 mm) of the planned entrance; or

- If there are no vehicular or pedestrian arrival points within 50 feet (15 240 mm) of the planned entrance, the unusual characteristics result in a difference in finished grade elevation exceeding 30 inches (762 mm) and 10 percent measured between an entrance and the closest vehicular or pedestrian arrival point.

11B-233.3.1.2.6.5 Additional requirements. In buildings without elevators and where site impracticality test numbers one, two or three reduce the required number of residential dwelling units with adaptable features, the remaining units shall provide the following:

- Grab bar reinforcement complying with Section 11B-809.10.5.2, 11B-809.10.6.4 or 11B-809.10.7.3.

- Interior door opening width complying with Section 11B-404.2.3.

- Door and gate hardware complying with Section 11B-404.2.7.

- Door signal devices complying with Section 11B-809.8.4.

- Door maneuvering clearance complying with Section 11B-809.8.

- Water closet seat height complying with Section 11B-809.10.7.4.

- Electrical receptacles, switches and controls complying with Section 11B-809.12.

- Faucets complying with Section 11B-809.10.8.6.

- Water closet, bathtub and lavatory maneuvering clearances complying with Section 11B-809.10.

- Removable base cabinets complying with Section 11B-809.9.3.

## CODE TEXT IF ADOPTED

None.

## STATEMENT OF REASONS

DSA is proposing to repeal Section 11B-233.3.1.2.6 in its entirety. As a place of public accommodation, housing at a place of private education is subject to the site accessibility requirements of ADAS Section 206.2, and the requirements of CBC Section 11B-206.2 as amended. As a place of public accommodation, housing at a place of private education must meet the more restrictive requirements of the 2010 ADAS rather than the requirements provided in the FHAct.

The site impracticality provisions of the FHAct do not apply to place of public accommodation under the 2010 ADAS. The site impracticality provisions are proposed for repeal because they fail to meet minimum federal requirements and conflict with other Chapter 11B requirements.

DSA proposes this change to avoid conflicting building standards per Health and Safety Code, Section 18930(a)(1).

This proposal is necessary to conform with minimum existing federal accessibility laws, standards, and regulations.

## DSA COMMENTS

DSA Code Amendment development

## TRACKING 18

Date Received:

DSA Tracking Number:	18

Date Reviewed:	January 23, 2026

Status:	Withdrawn

## APPLICABLE CODE

N/A

## CURRENT CODE LANGUAGE

N/A

## SUGGESTED TEXT OF PROPOSED AMENDMENT

N/A

## CODE TEXT IF ADOPTED

N/A

## STATEMENT OF REASONS

N/A

## DSA COMMENTS

N/A

DSA Code Amendment development

## TRACKING 19

Date Received:

DSA Tracking Number:	19

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Part 2, Chapter 11B, Section 11B-308.1.2

Topic: 	Corner Receptacle

## CURRENT CODE LANGUAGE

11B-308.1 General. Reach ranges shall comply with Section 11B-308.

11B-308.1.1 Electrical switches. Controls and switches …

11B-308.1.2 Electrical receptacle outlets. …

## SUGGESTED TEXT OF PROPOSED AMENDMENT

11B-308.1 General. Reach ranges shall comply with Section 11B-308.

11B-308.1.1 Electrical switches. Controls and switches …

11B-308.1.2 Electrical receptacle outlets. …

11B-308.1.2.1. Electrical receptacles at corner work surfaces. In residential dwelling units with mobility features and residential dwelling units with adaptable features where receptacles are provided in a kitchen at a corner work surface, one receptacle shall be located 36 inches (915 mm) from either wall at the inside corner.

FIGURE 11B-308.1.2.1 - ELECTRICAL RECEPTACLES AT CORNER WORK SURFACES

## CODE TEXT IF ADOPTED

11B-308.1 General. Reach ranges shall comply with Section 11B-308.

11B-308.1.1 Electrical switches. Controls and switches …

11B-308.1.2 Electrical receptacle outlets. …

11B-308.1.2.1. Electrical receptacles at corner work surfaces. In residential dwelling units with mobility features and residential dwelling units with adaptable features where receptacles are provided in a kitchen at a corner work surface, one receptacle shall be located 36 inches (915 mm) from either wall at the inside corner.

FIGURE 11B-308.1.2.1 - ELECTRICAL RECEPTACLES AT CORNER WORK SURFACES

## STATEMENT OF REASONS

DSA is proposing to relocate the existing technical requirements for corner receptacles at kitchen work surfaces in residential dwelling units with mobility features, and the existing technical requirements for corner receptacles at kitchen work surfaces in residential dwelling units with adaptable features from the scoping Section 11B-205.1, Exception 9, and Section 11B-809.12, respectively, to the more appropriate Section 11B-308 for consistency with existing accessibility regulations thereby collocating both requirements.

The relocation of these requirements to Section 11B-308 provides an adjacency to the reach range requirements for electrical switches and electrical receptacle outlets thereby providing clarity to design professionals and code users.

DSA proposes this change for consistency with existing accessibility regulations in the interest of the public per Health and Safety Code, Section 18930(a)(3).

This proposal is necessary for clarity of existing regulations and does not materially alter the substance or intent of the existing regulations.

## DSA COMMENTS

This item is related to Items 7 and 22.

DSA Code Amendment development

## TRACKING 20

Date Received:

DSA Tracking Number:	20

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Part 2, Chapter 11B, Section 11B-403.5

Topic:  	Walking Surface Clearance, Employee Work Areas

## CURRENT CODE LANGUAGE

11B-403.5 Clearances.  …

Exception: Within employee work areas, clearances on common use circulation paths shall be permitted to be decreased by work area equipment provided that the decrease is essential to the function of the work being performed.

## SUGGESTED TEXT OF PROPOSED AMENDMENT

11B-403.5 Clearances.  …

Exception: Within employee work areas in facilities that are not public housing, clearances on common use circulation paths shall be permitted to be decreased by work area equipment provided that the decrease is essential to the function of the work being performed.

## CODE TEXT IF ADOPTED

11B-403.5 Clearances. …

Exception: Within employee work areas in facilities that are not public housing, clearances on common use circulation paths shall be permitted to be decreased by work area equipment provided that the decrease is essential to the function of the work being performed.

## STATEMENT OF REASONS

DSA proposes to clarify that the exception to Section 11B-403.5 is allowed only in buildings or facilities that are not public housing required to comply with Section 11B-233.

Under Section 504 of the Rehabilitation Act of 1973 (Section 504), any entity receiving federal financial assistance is required to ensure that all its programs and activities are accessible, regardless of how those funds are allocated or through whom they are administered. Federal financial assistance has been broadly defined by the courts to encompass grants, loans, contracts, services, and property interests.  Federal funding triggers compliance obligations not only for the entity itself but also for any services or programs provided through subgrantees or contractual relationships. As confirmed in Access Living of Metropolitan Chicago, Inc. v. City of Chicago (2024), the United States District Court, N. D. Illinois, Eastern Division emphasized that “…a public entity may not discriminate on the basis of disability, directly or indirectly, such as 'through contractual, licensing, or other arrangements,…’” and that “Section 504 requires that individuals with disabilities be provided with meaningful access to the benefit that the grantee offers.”  California receives federal funds for public housing, which is redistributed to local municipalities and specific projects, requiring compliance with Section 504. Compliance is a condition of federal funding.

Section 504 prohibits discrimination on the basis of disability by entities receiving federal financial assistance, including subgrantees and contractors.  The Department of Housing and Urban Development (HUD) adopts the Uniform Federal Accessibility Standards (UFAS) as the standard for public housing projects and programs receiving federal funds.  HUD’s authority to adopt regulations for housing extends to all housing funded with federal funds, not just housing funded through HUD itself. (Civil Rights Act of 1968, P.L. 90-284, Section 808 (a) and (d)).  HUD has allowed the use of the Americans with Disabilities Act Standards (ADAS) as long as certain provisions in UFAS that provide greater accessibility are maintained.  These specific provisions were noticed in the Federal Register; Vol. 79, No. 100; Friday, May 23, 2014; Rules and Regulations; 29671; Department of Housing and Urban Development; 24 CFR Part 8; Docket No. FR-5784-N-01: The 2010 Americans with Disabilities Act Standards (ADAS) Sections 203.9, 206.2.8, 403.5 exc., and 405.8 exc. are not deemed as equivalent to the Uniform Federal Accessibility Standards (Deeming Notice):

“The 2010 Standards require a more limited level of access within employee work areas in ADA-covered facilities than UFAS, which requires employee work areas to be fully accessible.  As stated above, the Department has no authority to allow the use of an alternative standard that may reduce accessibility for individuals with disabilities without notice and comment rulemaking.  …..  For this reason, HUD is not permitting use of the aforementioned sections of the 2010 Standards for employee work areas.”

This proposal is necessary to conform with minimum existing federal accessibility laws, standards, and regulations.

## DSA COMMENTS

This item is related to Item 10A and Item 10B.

DSA Code Amendment development

## TRACKING 21

Date Received:

DSA Tracking Number:	21

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Part 2, Chapter 11B, Section 11B-805.2

Topic:  	Sleeping Rooms in Medical Care Facilities

## CURRENT CODE LANGUAGE

11B-805.2 Patient bedrooms and resident sleeping rooms. Patient bedrooms and resident sleeping rooms required to provide mobility features shall comply with Section 11B-805.2.

11B-805.2.1 Hand washing fixtures. …

11B-805.2.2 Beds. …

11B-805.2.3 Turning space. …

11B-805.2.4 Toilet and bathing rooms. …

## SUGGESTED TEXT OF PROPOSED AMENDMENT

11B-805.2 Patient bedrooms, and resident sleeping rooms, and staff on-call rooms. Patient bedrooms, and resident sleeping rooms, and staff on-call rooms required to provide mobility features shall comply with Section 11B-805.2.

11B-805.2.1 Hand washing fixtures. …

11B-805.2.2 Beds. …

11B-805.2.3 Turning space. …

11B-805.2.4 Toilet and bathing rooms. …

## CODE TEXT IF ADOPTED

11B-805.2 Patient bedrooms, resident sleeping rooms, and staff on-call rooms. Patient bedrooms, resident sleeping rooms, and staff on-call rooms required to provide mobility features shall comply with Section 11B-805.2.

11B-805.2.1 Hand washing fixtures. …

11B-805.2.2 Beds. …

11B-805.2.3 Turning space. …

11B-805.2.4 Toilet and bathing rooms. …

## STATEMENT OF REASONS

DSA proposes this change to provide conformity with the federal requirements for medical care facilities at the request of the California Department of Health Care Access and Information (HCAI).

Medical care facilities, which include sleeping rooms used only by on-call staff, are specifically excluded from the definitions of transient lodging provided at Chapter 1, Section 106 of the 2010 Americans with Disabilities Act Standards (ADAS) and Chapter 2, Section 202 of the CBC.

This proposal provides the appropriate reference for staff on-call rooms to Section 11B-805.2. (See Item 13), which are the technical requirements applicable to medical care facilities.

This proposal is necessary for clarity of existing regulations and does not materially alter the substance or intent of the existing regulations.

## DSA COMMENTS

This item is related to Item 13.

DSA Code Amendment development

## TRACKING 22

Date Received:

DSA Tracking Number:	22 (24-007)

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Part 2, Chapter 11B, Section 11B-809.12

Topic: 	Electrical Receptacles, Controls and Switches in Residential Dwelling Units with Adaptable Features

## CURRENT CODE LANGUAGE

11B-809.12 Electrical receptacles, controls and switches. Electrical receptacles on branch circuits of 30 amperes or less, communication system receptacles, controls and switches shall be located as follows:

1.  Where there is no obstruction, 48 inches (1219 mm) maximum measured from the top of the receptacle box and 15 inches (381 mm) minimum measured from the

bottom of the receptacle box to the finish floor.

2. 	Where the reach is over an obstruction, electrical receptacles, controls and switches shall comply with Sections 11B-308.3 and 11B-309.2.

3. 	When the reach is over a kitchen work surface and base cabinet, the work surface shall be 36 inches (914 mm) maximum above the finish floor and 25½ inches (650

mm) maximum in depth. The base cabinet shall be 24 inches (610 mm) maximum in depth.

4. 	Where receptacles are provided in a kitchen at a corner work surface, one receptacle shall be located 36 inches (915 mm) from either wall at the inside corner.

Exceptions:

- Electrical receptacles installed as part of permanently installed baseboard heaters.

- Electrical receptacles in floors adjacent to sliding panels or walls.

- Baseboard electrical receptacles in relocatable partitions, window walls or other electrical convenience floor outlets.

d. 	Appliances (e.g., stoves, dishwashers, range hoods, microwave ovens and similar appliances) which have controls located on the appliance.

e.	Electrical receptacles dedicated to specific appliances.

f. 	Circuit breakers.

FIGURE 11B-809.12 - ELECTRICAL RECEPTACLES AT CORNER WORK SURFACES

## SUGGESTED TEXT OF PROPOSED AMENDMENT

11B-809.12 Electrical receptacles, controls and switches. Electrical receptacles on branch circuits of 30 amperes or less, communication system receptacles, controls and switches shall be located as follows: comply with Sections 11B-308 and 11B-309.

1.  Where there is no obstruction, 48 inches (1219 mm) maximum measured from the top of the receptacle box and 15 inches (381 mm) minimum measured from the

bottom of the receptacle box to the finish floor.

2. 	Where the reach is over an obstruction, electrical receptacles, controls and switches shall comply with Sections 11B-308.3 and 11B-309.2.

3. When the reach is over a kitchen Where receptacles, controls and switches are located over a work surface and base cabinet, the work surface shall be permitted to be 36 inches (914 mm) maximum above the finish floor and 25½ inches (650 mm) maximum in depth. The base cabinet shall be 24 inches (610 mm) maximum in depth. (Relocated to Exception 5)

4. 	Where receptacles are provided in a kitchen at a corner work surface, one receptacle shall be located 36 inches (915 mm) from either wall at the inside corner.

Exceptions:

a1. Electrical receptacles installed as part of in permanently installed baseboard heaters.

- Electrical receptacles in floors adjacent to sliding panels or walls.

c2.  Baseboard electrical receptacles in relocatable partitions, and window walls or other electrical convenience floor outlets.

d3. Appliances (e.g., stoves, dishwashers, range hoods, microwave ovens and similar appliances) which have controls located on the appliance.

e.	Electrical receptacles dedicated to specific appliances.

f4. 	Circuit breakers.

FIGURE 11B-809.12 - ELECTRICAL RECEPTACLES AT CORNER WORK SURFACES

## CODE TEXT IF ADOPTED

11B-809.12 Electrical receptacles, controls and switches. Electrical receptacles on branch circuits of 30 amperes or less, communication system receptacles, controls and

switches shall comply with Sections 11B-308 and 11B-309.

Exceptions:

- Electrical receptacles in permanently installed baseboard heaters.

- Baseboard electrical receptacles in relocatable partitions and window walls.

- Appliances (e.g. stoves, dishwashers, range hoods, microwave ovens and similar appliances) which have controls located on the appliance.

- Circuit breakers.

- Where receptacles, controls and switches are located over a work surface and base cabinet, the work surface shall be permitted to be 36 inches (914 mm) maximum above the finish floor and 25½ inches (650 mm) maximum in depth. The base cabinet shall be 24 inches (610 mm) maximum in depth.

## STATEMENT OF REASONS

DSA is proposing to clarify the provisions of 11B-809.12 by making reference to existing provisions in Chapter 11B and removing duplicative text.

DSA is proposing to remove item 4 in the technical requirements of 11B-809.12 for electrical receptacles at corner work surfaces in residential dwelling units with adaptable features, and to remove the applicable figure, and provide reference to Section 11B-308 (See Item 7). Reference to the appropriate code section will prevent potential confusion and misinterpretation by design professionals and code users. Additionally, DSA proposes to remove exceptions b and e, which are duplicative of language in Section 11B-205.1.

These amendments are proposed to remove duplicative building standards per Health and Safety Code 18930(a)(1).

This proposal is necessary for clarity of existing regulations and does not materially alter the substance or intent of the existing regulations.

## DSA COMMENTS

This item is related to Items 7 and 19.

DSA Code Amendment development

## TRACKING 23

Date Received:

DSA Tracking Number:	23

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Part 2, Chapter 11B, Section 11B-812.4

Topic:  	Vertical Clearance at Electric Vehicle Charging Stations (EVCS)

## CURRENT CODE LANGUAGE

11B-812.4 Vertical clearance. Vehicle spaces, access aisles serving them, and vehicular routes serving them shall provide a vertical clearance of 98 inches (2489 mm) minimum. Where provided, overhead cable management systems shall not obstruct required vertical clearance.

## SUGGESTED TEXT OF PROPOSED AMENDMENT

11B-812.4 Vertical clearance. Vehicle spaces, access aisles serving them, and vehicular routes serving them shall provide a vertical clearance of 98 inches (2489 mm) minimum. Where provided, overhead cable management systems shall not obstruct required vertical clearance.

Exception: In existing multistory parking facilities, ambulatory accessible EVCS and standard accessible EVCS shall provide a vertical clearance of 80 inches (2032 mm) minimum. Existing vertical clearance in excess of 80 inches (2032 mm) and less than 98 inches (2489 mm) shall be maintained. This exception shall not apply to van accessible EVCS or vehicular routes serving them.

## CODE TEXT IF ADOPTED

11B-812.4 Vertical clearance. Vehicle spaces, access aisles serving them, and vehicular routes serving them shall provide a vertical clearance of 98 inches (2489 mm) minimum. Where provided, overhead cable management systems shall not obstruct required vertical clearance.

Exception: In existing multistory parking facilities, ambulatory accessible EVCS and standard accessible EVCS shall provide a vertical clearance of 80 inches (2032 mm) minimum. Existing vertical clearance in excess of 80 inches (2032 mm) and less than 98 inches (2489 mm) shall be maintained. This exception shall not apply to van accessible EVCS or vehicular routes serving them.

## STATEMENT OF REASONS

DSA is proposing clarification that the vertical clearance exception allowed for parking spaces in existing parking facilities per Section 11B-502.5 also applies to electrical vehicle charging stations (EVCS) when installed in existing parking facilities.

Vertical clearance requirements at EVCS in existing parking facilities are often determined to be technically infeasible, per Section 11B-202.3, Exception 2, by local jurisdictions. Since this proposed exception for EVCS vertical clearance is equivalent to the existing exception for vertical clearance currently granted to existing parking spaces within existing parking facilities, it may also be applied to EVCS since it mirrors an existing building standard. This proposed code language provides clarity of existing regulations since the vertical clearance at existing parking spaces and existing EVCS were intended to be equivalent.

DSA proposes this exception for EVCS vertical clearance in existing parking facilities for consistency with accessibility regulations currently adopted for parking spaces in existing parking facilities per Health and Safety Code 18930(a)(3).

This proposal is necessary for clarity of existing regulations and does not materially alter the substance or intent of the existing regulations.

## DSA COMMENTS

DSA Code Amendment development

## TRACKING 24

Date Received:

DSA Tracking Number:	24

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Part 2, Chapter 35, Referenced Standards

Topic:  	DSA Adopted Versions of ASME Referenced Standards

## CURRENT CODE LANGUAGE

ASME	American Society of Mechanical Engineers …

A17.1—2019/CSA B44—19: Safety Code for Elevators and Escalators

11B-407.1, 11B-407.1.1, 11B-407.4.9, 11B-408.1, 11B-409.1, 11B-411.1, 11B-810.9, 1607.11.1, 3001.4

…

A18.1—2020: Safety Standard for Platform Lifts and Stairway Chairlifts

1110.9, Table 3001.3

## SUGGESTED TEXT OF PROPOSED AMENDMENT

ASME	American Society of Mechanical Engineers …

A17.1—2019/CSA B44—19: Safety Code for Elevators and Escalators

11B-407.1, 11B-407.1.1, 11B-407.4.9, 11B-408.1, 11B-409.1, 11B-411.1, 11B-810.9, 1607.11.1, 3001.4

A17.1-13 CSA B44-2013: Safety Code for Elevators and Escalators

11B-407.1, 11B-407.1.1, 11B-407.4.9, 11B-408.1, 11B-409.1, 11B-411.1, 11B-810.9

…

A18.1—2020: Safety Standard for Platform Lifts and Stairway Chairlifts

1110.9, Table 3001.3

A18.1-2008: Safety Standard for Platform Lifts and Stairway Chairlifts

11B-410.1

## CODE TEXT IF ADOPTED

ASME	American Society of Mechanical Engineers …

A17.1—2019/CSA B44—19: Safety Code for Elevators and Escalators

1607.11.1, 3001.4

A17.1-13 CSA B44-2013: Safety Code for Elevators and Escalators

11B-407.1, 11B-407.1.1, 11B-407.4.9, 11B-408.1, 11B-409.1, 11B-411.1, 11B-810.9

…

A18.1—2020: Safety Standard for Platform Lifts and Stairway Chairlifts

Table 3001.3

A18.1-2008: Safety Standard for Platform Lifts and Stairway Chairlifts

11B-410.1

## STATEMENT OF REASONS

DSA proposes to correct the American Society of Mechanical Engineers (ASME) referenced standard edition listed in CBC Chapter 35 with the edition adopted during DSA’s 2015 triennial rulemaking cycle to provide clarity and eliminate confusion for design professionals and code users.

As part of their standard process, the International Code Council (ICC) cites the current release of every referenced standard listed in CBC Chapter 35 during each printing cycle. In accordance with the authority granted under Government Code 4450, DSA adopted ASME A17.1-13/CSA B44-2013 and A18.1-2008 during the 2012 triennial rulemaking cycle to conform with minimum accessibility standards per the 2010 Americans with Disabilities Act Standards (ADAS). Every subsequent edition of the specified referenced standard provides options that DSA has determined are not in compliance with the 2010 ADAS and the regulations in CBC Chapter 11B.

DSA adopted the amendments to Part 2 Chapter 35 in the 2015 triennial rulemaking cycle. In the 2018 triennial code adoption, BSC established a process to carry forward all California amendments in Part 2 on behalf of state agencies where amendments in the model code are enforced by the local jurisdiction. DSA did not specifically address amendments in Part 2 Chapter 35 in the 2018 triennial code adoption, because all California amendments were carried forward in this process.

Both BSC and DSA may amend specific sections in Part 2 Chapter 35 under their respective statutory authority. In its rulemaking documents from 2015 forward BSC has indicated that Part 2 Chapter 35 is adopted without amendment; however, this applies only to provisions in the currently referenced standards within BSC’s authority to adopt. DSA has not further amended the referenced standards in Part 2 Chapter 35 since the 2015 rulemaking and maintains that the amendments made in 2015 are still in effect because they have been carried over to subsequent triennial editions when BSC carried forward all California amendments previously approved by the Commission.

In its proofing of documents prior to publication, DSA did not catch this publication error which cites current editions of referenced standards instead of previously adopted DSA amended references. DSA also identified that this discrepancy that was not caught in editions of the CBC from 2015 forward, even though the amended citations remain in effect because DSA has not proposed amendments in its rulemaking specifically adopting current editions of referenced standards.

This proposal is necessary for clarity of existing regulations and does not materially alter the substance or intent of adopted regulations.

BSC has requested that we include this change in present rulemaking for transparency purposes even though this item is a change without regulatory effect.

## DSA COMMENTS

This item is related to Item 25.

DSA Code Amendment development

## TRACKING 25

Date Received:

DSA Tracking Number:	25

Date Reviewed:	January 23, 2026

Status:	CAC

## APPLICABLE CODE

Applicable Code Section(s):	CBC Part 2, Chapter 35, Referenced Standards

Topic:  	DSA Adopted Versions of BHMA Referenced Standards

## CURRENT CODE LANGUAGE

BHMA	Builders Hardware Manufacturers’ Association …

A 156.10—2017: Power Operated Pedestrian Doors

1010.3.2, 11B-404.2.9, 11B-404.3

A 156.19—2019: Standard for Power Assist and Low Energy Power Operated Doors

1010.3.2, 11B-404.2.9, 11B-404.3, 11B-408.3.2.1, 11B-409.3.1

## SUGGESTED TEXT OF PROPOSED AMENDMENT

BHMA	Builders Hardware Manufacturers’ Association …

A 156.10—2017: Power Operated Pedestrian Doors

1010.3.2, 11B-404.2.9, 11B-404.3

A 156.19—2019: Standard for Power Assist and Low Energy Power Operated Doors

1010.3.2, 11B-404.2.9, 11B-404.3, 11B-408.3.2.1, 11B-409.3.1

A 156.10—2011: Power Operated Pedestrian Doors

11B-404.2.9, 11B-404.3

A 156.19—2013: Standard for Power Assist and Low Energy Power Operated Doors

11B-404.2.9, 11B-404.3, 11B-408.3.2.1, 11B-409.3.1

## CODE TEXT IF ADOPTED

BHMA	Builders Hardware Manufacturers’ Association …

A 156.10—2017: Power Operated Pedestrian Doors

1010.3.2

A 156.19—2019: Standard for Power Assist and Low Energy Power Operated Doors

1010.3.2

A 156.10—2011: Power Operated Pedestrian Doors

11B-404.2.9, 11B-404.3

A 156.19—2013: Standard for Power Assist and Low Energy Power Operated Doors

11B-404.2.9, 11B-404.3, 11B-408.3.2.1, 11B-409.3.1

## STATEMENT OF REASONS

DSA proposes to correct the DSA proposes to correct the Builders Hardware Manufacturers’ Association (BHMA) referenced standard edition listed in CBC Chapter 35 with the edition adopted during DSA’s  2015 triennial rulemaking cycle to provide clarity and eliminate confusion for design professionals and code users.

As part of their standard process, the International Code Council (ICC) cites the current release of every referenced standard listed in CBC Chapter 35 during each printing cycle. In accordance with the authority granted under Government Code 4450, DSA adopted ASME BHMA A 156.10-2011 and A 156.19-2013 during the 2012 triennial rulemaking cycle to conform with minimum accessibility standards per the 2010 Americans with Disabilities Act Standards (ADAS). DSA has not undertaken a study to determine if subsequent editions of the specified referenced standard maintain equivalent protections for accessibility.

DSA adopted the amendments to Part 2 Chapter 35 in the 2015 triennial rulemaking cycle. In the 2018 triennial code adoption, BSC established a process to carry forward all California amendments in Part 2 on behalf of state agencies where amendments in the model code are enforced by the local jurisdiction. DSA did not specifically address amendments in Part 2 Chapter 35 in the 2018 triennial code adoption, because all California amendments were carried forward in this process.

Both BSC and DSA may amend specific sections in Part 2 Chapter 35 under their respective statutory authority. In its rulemaking documents from 2015 forward BSC has indicated that Part 2 Chapter 35 is adopted without amendment; however, this applies only to provisions in the currently referenced standards within BSC’s authority to adopt. DSA has not further amended the referenced standards in Part 2 Chapter 35 since the 2015 rulemaking and maintains that the amendments made in 2015 are still in effect because they have been carried over to subsequent triennial editions when BSC carried forward all California amendments previously approved by the Commission.

In its proofing of documents prior to publication, DSA did not catch this publication error which cites current editions of referenced standards instead of previously adopted DSA amended references. DSA also identified that this discrepancy that was not caught in editions of the CBC from 2015 forward, even though the amended citations remain in effect because DSA has not proposed amendments in its rulemaking specifically adopting current editions of referenced standards.

This proposal is necessary for clarity of existing regulations and does not materially alter the substance or intent of adopted regulations.

BSC has requested that we include this change in present rulemaking for transparency purposes even though this item is a change without regulatory effect.

## DSA COMMENTS

This item is related to Item 24.