# INITIAL EXPRESS TERMS
FOR PROPOSED BUILDING STANDARDS
OF THE DIVISION OF THE STATE ARCHITECT (DSA-AC)
REGARDING THE 2025 CALIFORNIA BUILDING CODE,
CALIFORNIA CODE OF REGULATIONS, TITLE 24, PART 2
(DSA-AC 01/25)

The state agency shall draft the regulations in plain, straightforward language, avoiding technical terms as much as possible and using a coherent and easily readable style. The agency shall draft the regulation in plain English. A notation shall follow the express terms of each regulation listing the specific statutes authorizing the adoption and listing specific statutes being implemented, interpreted, or made specific (Government Code Section 11346.2(a)(1)).

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

## LEGEND for EXPRESS TERMS (Based on model codes - Parts 2, 2.5, 3, 4, 5, 7, 9, 10)

- Model Code language appears upright

- Existing California amendments appear in italic

- Amended model code or new California amendments appear underlined & italic

- Repealed model code language appears upright and in strikeout

- Repealed California amendments appear in italic and strikeout

- Ellipses ( …) indicate existing text remains unchanged

## INITIAL EXPRESS TERMS

### ITEM 1A
Chapter 2, Section 202 - Definitions

EDUCATIONAL ENTITY IN RECEIPT OF PUBLIC FUNDS.  Any college, university, or other postsecondary institution, or a public system of higher education, or a K-12 educational entity; system of career and technical education, or other school system; or any corporation, partnership, or other private organization including a sole proprietorship which is principally engaged in the business of providing education, any part of which is extended or receives state or federal financial assistance including, but not limited to federal Pell Grants, work-study programs, or any other publicly funded financial aid to students.

#### Notation:

Authority: Government Code Section 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 1B
Chapter 2, Section 202 - Definitions

housing at a place of education. Housing operated by or on behalf of an elementary, secondary, undergraduate or postgraduate school, or other place of education, including dormitories, suites, apartments or other places of residence. See also PUBLIC HOUSING and Place of public accommodation.

#### Notation:

Authority: Government Code Section 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959

### ITEM 2
Chapter 2 DEFINITIONS, Section 202 - Definitions

PLACE OF PUBLIC ACCOMMODATION.  A facility operated by a private entity whose operations affect commerce and fall within at least one of the following categories:

- Place of lodging, …

- A restaurant, bar or …

- A motion picture house …

- An auditorium, convention center …

- A bakery, grocery store, …

- A laundromat, dry-cleaner, bank, barber shop, …

- A terminal, depot or …

- A museum, library, gallery or …

- A park, zoo, amusement park or …

- A nursery, elementary, secondary, undergraduate or post graduate private school, or other place of education;, including housing facilities provided for students or employees;

- A day-care center, senior citizen center, …

- A gymnasium, health spa …

- A religious facility;

- An office building; and

- A public curb or sidewalk.

#### Notation:

Authority: Government Code Section 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 3A
Chapter 2 DEFINITIONS, Section 202 - Definitions

PUBLIC HOUSING. [DSA-AC & HCD 1-AC] Housing facilities constructed or altered by, for, or on behalf of a public entity, or constructed or altered as part of a public entity’s program to provide housing pursuant to United States Code of Federal Regulations, 28 CFR Part 35, Section 35.102(a), including but not limited to the following:

- …

- …

- Homeless shelters, group homes, halfway houses and similar social service center establishments;

- …

- …

Note: ...

#### Notation:

Authority: Government Code Section 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 3B
Chapter 2 DEFINITIONS, Section 202 - Definitions

PUBLIC HOUSING. [DSA-AC & HCD 1-AC] Housing facilities constructed or altered by, for, or on behalf of a public entity, or constructed or altered as part of a public entity’s program to provide housing pursuant to United States Code of Federal Regulations, 28 CFR Part 35, Section 35.102(a), including but not limited to the following:

- …

- …

- …

- Transient lodging, such as hotels, motels, hostels and other facilities providing accommodations of a short-term nature of not more than 30 days duration; Reserved.

- …

Note: ...

#### Notation:

Authority: Government Code Section 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 3C
Chapter 2 DEFINITIONS, Section 202 - Definitions

PUBLIC HOUSING. [DSA-AC & HCD 1-AC] Housing facilities constructed or altered by, for, or on behalf of a public entity, or constructed or altered as part of a public entity’s program to provide housing pursuant to United States Code of Federal Regulations, 28 CFR Part 35, Section 35.102(a), including but not limited to the following:

- …

- …

- …

- …

- …

- Employer-provided housing for an employee or an employee and their family members, either temporary or permanent, including but not limited to fire station dormitories and staff housing for a public institution.

Note: ...

#### Notation:

Authority: Government Code Section 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 3D
Chapter 2 DEFINITIONS, Section 202 - Definitions

PUBLIC HOUSING. [DSA-AC & HCD 1-AC] Housing facilities constructed or altered by, for, or on behalf of a public entity, or constructed or altered as part of a public entity’s program to provide housing pursuant to United States Code of Federal Regulations, 28 CFR Part 35, Section 35.102(a), including but not limited to the following:

- …

- …

- …

- …

- Housing at a place of education, such as housing on or serving a public school, public college, or public university, or private educational entity in receipt of public funds. See educational entity in receipt of public funds.

Note: ...

#### Notation:

Authority: Government Code Section 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959

### ITEM 4
Chapter 2 DEFINITIONS, Section 202 - Definitions

SOCIAL SERVICE CENTER ESTABLISHMENT.  A facility that provides short and/or long-term sleeping accommodations or housing and one or more social services such as counseling, welfare, referrals, refugee, disaster, temporary relief, non-medical care, meals, or transportation. Social service center establishments include, but are not limited to, halfway houses, shelters, and licensed group homes.

#### Notation:

Authority: Government Code Section 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 5
Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-202.4

11B-202.4 Path of travel requirements in alterations, additions and structural repairs. …

Exceptions:

- Residential dwelling units shall comply with Section 11B-233.3.4.2. Additions to public housing facilities shall comply with Section 11B-233.3.3 and alterations to public housing facilities shall comply with Section 11B-233.3.4.

- …

#### Notation:

Authority: Government Code Section 4450 and 12955.1(c)

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 6
Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-203.8

11B-203.8 Residential facilities. In residential facilities required to comply with Section 11B-233, common use areas that do not serve residential dwelling units required to provide mobility features complying with Sections 11B-809.2 through 11B-809.4 or adaptable features complying with Sections 11B-809.6 through 11B-809.12 shall not be required to comply with these requirements or to be on an accessible route. on levels that are not on an accessible route shall not be required to comply with these requirements when equivalent common use areas are provided on an accessible route.

#### Notation:

Authority: Government Code Section 4450 and 12955.1(c)

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 7
Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-205.1, Exception 9

11B-205.1 General. Operable parts on accessible elements, accessible routes, and in accessible rooms and spaces shall comply with Section 11B-309.

Exceptions:

- …

- In residential dwelling units with mobility features where receptacles are provided in a kitchen at a corner work surface, one receptacle shall be located 36 inches (915 mm) from either wall at the inside corner.

FIGURE 11B-205.1 Ex. 9

ELECTRICAL RECEPTACLES AT CORNER WORKSURFACES

#### Notation:

Authority: Government Code Section 4450 and 12955.1(c)

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 8
Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-206.2.1 and 11B-206.2.2

11B-206.2 Where required. Accessible routes shall be provided where required by Section 11B-206.2.

11B-206.2.1 Site arrival points. At least one accessible route shall be provided within the site from accessible parking spaces and accessible passenger drop-off and loading zones; public streets and sidewalks; and public transportation stops to the accessible building or facility entrance they serve. Where more than one route is provided, all routes must be accessible.

Exceptions:

- ...

- In non-residential facilities, an An accessible route shall not be required between site arrival points and the building or facility entrance if the only means of access between them is a vehicular way not providing pedestrian access.

- …

11B-206.2.2 Within a site. At least one accessible route shall connect accessible buildings, accessible facilities, accessible elements and accessible spaces that are on the same site.

Exception: In non-residential facilities, an An accessible route shall not be required between accessible buildings, accessible facilities, accessible elements and accessible spaces if the only means of access between them is a vehicular way not providing pedestrian access.

#### Notation:

Authority: Government Code Section 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 9
Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-206.2.3, Exception 4

11B-206.2.3 Multistory buildings and facilities. At least one accessible route shall connect each story and mezzanine in multistory buildings and facilities.

Exceptions:

- …

- …

- …

- In residential facilities required to comply with Section 11B-233, an accessible route shall not be required to connect stories where residential dwelling units with mobility features required to comply with Sections 11B-809.2 through 11B-809.4, residential dwelling units with adaptable features complying with Sections 11B-809.6 through 11B-809.12, all common use areas serving residential dwelling units with mobility features required to comply with Sections 11B-809.2 through 11B-809.4, all common use areas serving residential dwelling units with adaptable features complying with Sections 11B-809.6 through 11B-809.12, and public use areas serving residential dwelling units are on an accessible route.

#### Notation:

Authority: Government Code Section 4450 and 12955.1(c)

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 10A
Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-206.2.8

11B-206.2.8 Employee work areas. Common use areas and employee work areas shall comply with Section 11B-248. Common use circulation paths within employee work areas shall comply with Section 11B-402.

Exceptions:

- ...

- ...

- ...

#### Notation:

Authority: Government Code Section 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 10B
Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-206.2.8, Exceptions

11B-206.2.8 Employee work areas. …

Exceptions:

- Reserved.

- In facilities that are not public housing, common Common use circulation paths located within employee work areas that are an integral component of work area equipment shall not be required to comply with Section 11B-402.

- In facilities that are not public housing, common Common use circulation paths located within exterior employee work areas that are fully exposed to the weather shall not be required to comply with Section 11B-402.

#### Notation:

Authority: Government Code Section 4450 and 12955.1(c)

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 11
Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-214

11B-214 Washing machines and clothes dryers

11B-214.1 General. …

11B-214.2 Washing machines. Where three or fewer washing machines are provided, at least one shall comply with Section 11B-611. Where more than three washing machines are provided, at least two shall comply with Section 11B-611.

Exception: In public housing facilities, all washing machines provided in common use areas shall be front loading and shall comply with Section 11B-611.

11B-214.3 Clothes dryers. Where three or fewer clothes dryers are provided, at least one shall comply with Section 11B-611. Where more than three clothes dryers are provided, at least two shall comply with Section 11B-611.

Exception: In public housing facilities, all clothes dryers provided in common use areas shall comply with Section 11B-611.

#### Notation:

Authority: Government Code Section 4450 and 12955.1(c)

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 12
Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-215.1

11B-215.1 General. Where fire alarm systems and carbon monoxide alarm systems provide audible alarm coverage, alarms shall comply with Section 11B-215.

Exception: In existing facilities that are not public housing, visible alarms for fire alarm systems shall not be required except where an existing fire alarm system is upgraded or replaced, or a new fire alarm system is installed.

#### Notation:

Authority: Government Code Section 4450 and 12955.1(c)

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 13
Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-223.2.3

11B-223.2.3 On-call rooms. Where physician or staff on-call sleeping rooms are provided, at least 10 percent, but no fewer than one, of the on-call rooms shall provide mobility features complying with Sections 11B-806.2.3, 11B-806.2.4 and 11B-806.2.6. 11B-805.2.

#### Notation:

Authority: Government Code Section 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 14
Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-224.7

11B-224.7 Housing at a place of education. Housing at a place of education subject to this section shall comply with Sections 11B-224.1 through 11B-224.6 11B-224.7 and 11B-806. for transient lodging guest rooms. For the purposes of the application of this these sections, the term “sleeping room” is interchangeable with “guest room”. as used in the transient lodging standards.

#### Notation:

Authority: Government Code Section 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 15
Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-224.8

11B-224.8 Social service center establishments.  Group homes, halfway houses, shelters or similar social service center establishments that provide either temporary sleeping accommodations or residential dwelling units subject to this section Social service center establishments shall comply with Section 11B-233.3.

11B-224.8.1 More than 25-bed sleeping rooms. …

11B-224.8.2 More than 50-bed facilities. …

#### Notation:

Authority: Government Code Section 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 16A
Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-233.3

11B-233.3.3 Additions.  Where an addition to an existing building results in an increase in the number of residential dwelling units, the requirement of Section 11B-233.3.1 shall apply only to the residential dwelling units that are added until the total number of residential dwelling units complies with the minimum number required by Section 11B-233.3.1.  Residential dwelling units required to comply with Sections 11B-233.3.1.1 and 11B-233.3.1.2 shall be on an accessible route as required by Section 11B-206.

11B-233.3.3.1 Entrances.  Where an addition to an existing building does not provide an entrance, at least one entrance in the existing building shall comply with Section 11B-206.4.

11B-233.3.3.2 Accessible route.  Where an addition to an existing building uses an existing entrance, at least one accessible route complying with Section 11B-206 shall be provided from site arrival points to the entrance, from the entrance to the addition, and shall connect all rooms, spaces and elements of the addition required to be accessible by this chapter.

11B-233.3.3.3 Toilet and bathing facilities.  Where a public or common use toilet facility is provided in the existing building but not in the addition, at least one toilet facility in the existing building shall comply with Section 11B-213 and shall provide an accessible route complying with Section 11B-206 from the toilet facility to the addition. Where a public or common use bathing facility is provided in the existing building but not in the addition, at least one bathing facility in the existing building shall comply with Section 11B-213 and shall provide an accessible route complying with Section 11B-206 from the bathing facility to the addition.

11B-233.3.3.4 Elements, spaces, and common use areas.  Where elements, spaces, or common use areas are provided in the existing building and equivalent elements, spaces or common use areas are not provided in the addition, at least one of each type of element, space, or common use area in the existing building shall be accessible in compliance with this chapter.

#### Notation:

Authority: Government Code Section 4450 and 12955.1(c)

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 16B
Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-233.3

11B-233.3.4 Alterations.  Alterations shall comply with Section 11B-233.3.4.

Exception:  Where compliance with Section 11B-809.2, 11B-809.3 or 11B-809.4 is technically infeasible, or where it is technically infeasible to provide an accessible route to a residential dwelling unit, the entity shall be permitted to alter or construct a comparable residential dwelling unit to comply with Sections 11B-809.2 through 11B-809.4 provided that the minimum number of residential dwelling units required by Sections 11B-233.3.1.1 and 11B-233.3.1.3, as applicable, is satisfied.

11B-233.3.4.1 Alterations to vacated buildings.  Where a building or facility is vacated for the purposes of alteration, and the altered building or facility contains more than 15 residential dwelling units, at least 5 percent of the residential dwelling units shall comply with Sections 11B-809.2 through 11B-809.4 and shall be on an accessible route as required by Section 11B-206. …

11B-233.3.4.2 Alterations to individual residential dwelling units.  …

11B-233.3.4.3 Alterations to residential dwelling units with adaptable features.  …

11B-233.3.4.4 Substantial Facility Alterations. A facility is substantially altered when the adjusted construction cost, as defined, of alterations to facilities containing 15 or more dwelling units exceeds 50% of either the facility replacement value, fair market value or assessed value, whichever value is least. When substantially altered, the minimum number of residential dwelling units complying with Section 11B-233.3.1.1 shall be provided and the facility shall comply with Sections 11B-202.3 and 11B-233.3.4.4.1 through 11B-233.3.4.4.

11B-233.3.4.4.1 Accessible Route.  At least one accessible route to each altered floor and altered area shall be provided and shall comply with Section 11B-206.

11B-233.3.4.4.2 Entrances.  At least one entrance in a building shall comply with Section 11B-404.

11B-233.3.4.4.3 Toilet facilities.  Where common use toilet facilities are provided in substantially altered buildings, a minimum of one toilet facility shall comply with Section 11B-213. Where multiple floors with common use toilet facilities are substantially altered, each floor shall provide a toilet facility complying with Section 11B-213.

11B-233.3.4.4.4 Bathing facilities.  Where common use bathing facilities are provided in substantially altered buildings, a minimum of one common use bathing facility shall comply with Section 11B-213. Where multiple floors with common use bathing facilities are substantially altered, each floor shall provide a common use bathing facility complying with Section 11B-213.

#### Notation:

Authority: Government Code Section 4450 and 12955.1(c)

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 17
Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-233.3.1.2.6

11B-233.3.1.2.6 Public housing facility site impracticality. The site impracticality tests in this section may be used to determine the number of required residential dwelling units with adaptable features in buildings without an elevator, located on sites with difficult terrain conditions or unusual characteristics.

Except as provided for in Section 11B-233.3.1.2.5, the provisions of this section do not apply to multistory dwelling units in non-elevator buildings.

11B-233.3.1.2.6.1 Single building with one common (lobby) entrance. The following may only be used for determining required access to multifamily dwelling units, in a single building with one common (lobby) entrance, located on a site with difficult terrain conditions or unusual characteristics:

All ground floor units in non-elevator buildings shall be adaptable and on an accessible route unless an accessible route to the common (lobby) entrance is not required as determined by Test No. 1, Individual Building Test, or Test No. 3, Unusual Characteristics Test, as described in this section.

Sites where either Test No. 1 or Test No. 3 is used and it is determined that an accessible route to the common (lobby) entrance is not required, a minimum of 20 percent of the ground floor dwelling units shall comply with Section 11B-809.6, and all remaining ground floor dwelling units shall comply with the features listed in Section 11B-233.3.1.2.6.5 unless exempted by Test No. 3, Unusual Characteristics Test.

Test No. 1—Individual Building Test may only be used if the site has terrain over 15 percent slope.

Test No. 3—Unusual Characteristics Test may be used if applicable.

Provisions to Test Nos. 1 and 2. Where a building elevator is provided only as means of creating an accessible route to dwelling units on a ground floor, the building is not considered to be an elevator building for purposes of this code; hence, only the ground floor dwelling units would be covered.

11B-233.3.1.2.6.2 Test number one, individual building test.

It is not required by this code to provide an accessible route when the terrain of the site is such that both of the following apply:

- The slopes of the undisturbed site measured in a straight line between the planned entrance and all vehicular or pedestrian arrival points within 50 feet (15 240 mm) of the planned entrance exceed 15 percent; and

- The slopes of the planned finished grade measured between the entrance and all vehicular or pedestrian arrival points within 50 feet (15 240 mm) of the planned entrance also exceed 15 percent.

If there are no vehicular or pedestrian arrival points within 50 feet (15 240 mm) of the planned entrance, the slope for the purposes of Test No. 1 will be measured to the closest vehicular or pedestrian arrival point.

For purposes of these requirements, vehicular or pedestrian site arrival points include public or resident parking areas, public transportation stops, passenger loading zones and public streets or sidewalks. To determine site impracticality, the slope would be measured at ground level from the point of the planned entrance on a straight line to:

- Each vehicular or pedestrian arrival point that is within 50 feet (15 240 mm) of the planned entrance, or

- If there are no vehicular or pedestrian arrival points within the specified area, the vehicular or pedestrian arrival point closest to the planned entrance.

In the case of sidewalks, the closest point to the entrance will be where a public sidewalk entering the site intersects with the walk to the entrance. In the case of resident parking areas, the closest point to the planned entrance will be measured from the entry point to the parking area that is located closest to the planned entrance.

11B-233.3.1.2.6.3 Test number two, site analysis test.

For a site having multiple buildings, or a site with a single building with multiple entrances, it is not required to provide a building entrance on an accessible route to all ground floor units under the following conditions:

- Calculate the percentage of the total buildable area of the undisturbed site with a natural grade less than 10 percent slope. The analysis of the existing slope (before grading) shall be done on a topographic survey with 2 foot (610 mm) contour intervals with slope determination made between each successive interval. The accuracy of the slope analysis shall be certified by a licensed engineer, landscape architect, architect or surveyor.

- Determine the requirement of providing an accessible route to planned multifamily dwellings based on the topography of the existing natural terrain. The minimum percentage of ground floor units required on an accessible route shall equal the percentage of the total buildable area (not restricted-use areas, flood plains or wetlands) of the undisturbed site with an existing natural grade of less than 10 percent slope.

- In addition to the percentage established in paragraph (2), all ground floor units in a building, or ground floor units served by a particular entrance on an accessible route defined by a calculation of the straight line slope not exceeding 8.33 percent, between their planned entrances and an arrival point, shall be on an accessible route and comply with the provisions of Section 11B-809.6.

- All additional ground floor units in a building, or ground floor units served by a particular entrance, not on an accessible route shall comply with the features listed in Section 11B-233.3.1.2.6.5.

- In no case shall less than 20 percent of the ground floor dwelling units be on an accessible route and comply with the provisions of Sections 11B-809.6 through 11B-809.12.

11B-233.3.1.2.6.4 Test number three, unusual characteristics test.

Unusual characteristics include sites located in a state or federally designated floodplain or coastal high-hazard areas and sites subject to other similar requirements of law or code that require the lowest floor or the lowest structural member of the lowest floor be designed to a specified level at or above the base flood elevation. An accessible route to a building entrance is impractical due to unusual characteristics of the site when:

- The original site characteristics result in a difference in finished grade elevation exceeding 30 inches (762 mm) and 10 percent measured between an entrance and all vehicular or pedestrian arrival points within 50 feet (15 240 mm) of the planned entrance; or

- If there are no vehicular or pedestrian arrival points within 50 feet (15 240 mm) of the planned entrance, the unusual characteristics result in a difference in finished grade elevation exceeding 30 inches (762 mm) and 10 percent measured between an entrance and the closest vehicular or pedestrian arrival point.

11B-233.3.1.2.6.5 Additional requirements. In buildings without elevators and where site impracticality test numbers one, two or three reduce the required number of residential dwelling units with adaptable features, the remaining units shall provide the following:

- Grab bar reinforcement complying with Section 11B-809.10.5.2, 11B-809.10.6.4 or 11B-809.10.7.3.

- Interior door opening width complying with Section 11B-404.2.3.

- Door and gate hardware complying with Section 11B-404.2.7.

- Door signal devices complying with Section 11B-809.8.4.

- Door maneuvering clearance complying with Section 11B-809.8.

- Water closet seat height complying with Section 11B-809.10.7.4.

- Electrical receptacles, switches and controls complying with Section 11B-809.12.

- Faucets complying with Section 11B-809.10.8.6.

- Water closet, bathtub and lavatory maneuvering clearances complying with Section 11B-809.10.

- Removable base cabinets complying with Section 11B-809.9.3.

#### Notation:

Authority: Government Code Section 4450 and 12955.1(c)

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 18
Chapter N/A, Section N/A

Withdrawn.

#### Notation:

Authority: N/A

Reference(s): N/A

### ITEM 19
Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-308.1.2

11B-308.1 General. Reach ranges shall comply with Section 11B-308.

11B-308.1.1 Electrical switches. Controls and switches …

11B-308.1.2 Electrical receptacle outlets. …

11B-308.1.2.1. Electrical receptacles at corner work surfaces. In residential dwelling units with mobility features and residential dwelling units with adaptable features where receptacles are provided in a kitchen at a corner work surface, one receptacle shall be located 36 inches (915 mm) from either wall at the inside corner.

FIGURE 11B-308.1.2.1 - ELECTRICAL RECEPTACLES AT CORNER WORK SURFACES

#### Notation:

Authority: Government Code Section 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 20
Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-403.5

11B-403.5 Clearances.  …

Exception: Within employee work areas in facilities that are not public housing, clearances on common use circulation paths shall be permitted to be decreased by work area equipment provided that the decrease is essential to the function of the work being performed.

#### Notation:

Authority: Government Code Section 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 21
Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-805.2

11B-805.2 Patient bedrooms, and resident sleeping rooms, and staff on-call rooms. Patient bedrooms, and resident sleeping rooms, and staff on-call rooms required to provide mobility features shall comply with Section 11B-805.2.

11B-805.2.1 Hand washing fixtures. …

11B-805.2.2 Beds. …

11B-805.2.3 Turning space. …

11B-805.2.4 Toilet and bathing rooms. …

#### Notation:

Authority: Government Code Section 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 22
Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-809.12

11B-809.12 Electrical receptacles, controls and switches. Electrical receptacles on branch circuits of 30 amperes or less, communication system receptacles, controls and switches shall be located as follows: comply with Sections 11B-308 and 11B-309.

- Where there is no obstruction, 48 inches (1219 mm) maximum measured from the top of the receptacle box and 15 inches (381 mm) minimum measured from the bottom of the receptacle box to the finish floor.

- Where the reach is over an obstruction, electrical receptacles, controls and switches shall comply with Sections 11B-308.3 and 11B-309.2.

- When the reach is over a kitchen Where receptacles, controls and switches are located over a work surface and base cabinet, the work surface shall be permitted to be 36 inches (914 mm) maximum above the finish floor and 25½ inches (650 mm) maximum in depth. The base cabinet shall be 24 inches (610 mm) maximum in depth. (Relocated to Exception 5)

- Where receptacles are provided in a kitchen at a corner work surface, one receptacle shall be located 36 inches (915 mm) from either wall at the inside corner.

Exceptions:

- 1. Electrical receptacles installed as part of in permanently installed baseboard heaters.

- Electrical receptacles in floors adjacent to sliding panels or walls.

- 2. Baseboard electrical receptacles in relocatable partitions, and window walls or other electrical convenience floor outlets.

- 3. Appliances (e.g., stoves, dishwashers, range hoods, microwave ovens and similar appliances) which have controls located on the appliance.

- Electrical receptacles dedicated to specific appliances.

- 4. Circuit breakers.

FIGURE 11B-809.12 - ELECTRICAL RECEPTACLES AT CORNER WORK SURFACES

#### Notation:

Authority: Government Code Section 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 23
Chapter 11B ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-812.4

11B-812.4 Vertical clearance. Vehicle spaces, access aisles serving them, and vehicular routes serving them shall provide a vertical clearance of 98 inches (2489 mm) minimum. Where provided, overhead cable management systems shall not obstruct required vertical clearance.

Exception: In existing multistory parking facilities, ambulatory accessible EVCS and standard accessible EVCS shall provide a vertical clearance of 80 inches (2032 mm) minimum. Existing vertical clearance in excess of 80 inches (2032 mm) and less than 98 inches (2489 mm) shall be maintained. This exception shall not apply to van accessible EVCS or vehicular routes serving them.

#### Notation:

Authority: Government Code Section 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 24
Chapter 35 REFERENCED STANDARDS, Section ASME

ASME	American Society of Mechanical Engineers …

A17.1—2019/CSA B44—19: Safety Code for Elevators and Escalators

11B-407.1, 11B-407.1.1, 11B-407.4.9, 11B-408.1, 11B-409.1, 11B-411.1, 11B-810.9, 1607.11.1, 3001.4

A17.1-13 CSA B44-2013: Safety Code for Elevators and Escalators

11B-407.1, 11B-407.1.1, 11B-407.4.9, 11B-408.1, 11B-409.1, 11B-411.1, 11B-810.9

…

A18.1—2020: Safety Standard for Platform Lifts and Stairway Chairlifts

1110.9, Table 3001.3

A18.1-2008: Safety Standard for Platform Lifts and Stairway Chairlifts

11B-410.1

#### Notation:

Authority: Government Code Section 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.

### ITEM 25
Chapter 35 REFERENCED STANDARDS, Section BHMA

BHMA	Builders Hardware Manufacturers’ Association …

A 156.10—2017: Power Operated Pedestrian Doors

1010.3.2, 11B-404.2.9, 11B-404.3

A 156.19—2019: Standard for Power Assist and Low Energy Power Operated Doors

1010.3.2, 11B-404.2.9, 11B-404.3, 11B-408.3.2.1, 11B-409.3.1

A 156.10—2011: Power Operated Pedestrian Doors

11B-404.2.9, 11B-404.3

A 156.19—2013: Standard for Power Assist and Low Energy Power Operated Doors

11B-404.2.9, 11B-404.3, 11B-408.3.2.1, 11B-409.3.1

#### Notation:

Authority: Government Code Section 4450

Reference(s): Government Code Section 4450 through 4452, 4456, 4459 and 12955.1. Health and Safety Code Sections 19955, 19957 through 19959.