COMMISSION ACTION MATRIX – GREEN
GREEN Building – PLUMBING, ELECTRICAL, MECHANICAL & ENERGY AD-HOC (GREEN/PEME) CODE ADVISORY COMMITTEE
2025 California Green Building Standards Code, TITLE 24, PART 11 
AGENCY: CALIFORNIA BUILDING sTANDARDS cOMMISSION, bsc 03/25
LEGEND:
CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required
Agency Responses: Accept, Disagree, Withdraw
CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required
[bookmark: _Hlk51752204]Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required
If using assistive technology, please adjust your settings to recognize underline, strikeout and ellipsis.
· [bookmark: _Hlk51751220]Existing California amendments appear upright
· Amended or new California amendments appear underlined
· Repealed California language appears upright and in strikeout
· Ellipses (…) indicate existing text remains unchanged


ITEM 1
Chapter 2, SECTION 202 - DEFINITIONS
BSC proposes to adopt a new definition and amend an existing definition as listed below.
	BSC 03/25
ITEM 1
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	1-1
	ENERGY COMMISSION.
	Approve as Amended
	Accept
	B. Raymer, Industry Coalition
Comment: Approve
	[bookmark: _Hlk221025144]Revise the Energy Commission definition to include commonly known title instead of the formal title of the state agency.
CAC: Approve as Amended under criteria 6. Recommended to include both the formal title of the agency and the commonly known title.
Post CAC: BSC included both titles.
	

	1-2
	SALVAGED MATERIAL OR PRODUCT
	Further Study Required
	Withdraw
	B. Raymer, Industry Coalition
Comment: Approve
	[bookmark: _Hlk221025195]Add this definition to support the proposed express terms found in Sections 5.409 and A5.409.
CAC: Recommend further study under criteria 6 to reference the sections where the term is used, as well as a note to specify compliance with all parts of Title 24.
Post CAC: BSC has withdrawn the proposed definition. The exception in Sections 5.409.3 and A5.409.3 have been revised to include an explanation for the use of “salvaged materials”.
	


[bookmark: _Hlk221025312][bookmark: _Hlk209705558]ITEM 2
Chapter 5, SECTION 5.105 - DECONSTRUCTION AND REUSE OF EXISTING STRUCTURES
BSC proposes to amend sections listed below.
	BSC 03/25
ITEM 2
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	2-1
	5.105.1 Scope Reserved
	Approve
	Accept
	No public comment received.
	[bookmark: _Hlk209706307]Relocate embodied carbon reduction provisions related to building reuse option to Section 5.409 where the other two embodied carbon reduction compliance options are located. Reserve this section and relocate content. 
	

	2-2
	5.105.2 Reuse of existing building.
5.105.2.1 Verification of compliance.
	Approve
	Accept
	No public comment received.
	[bookmark: _Hlk209706369]Relocate contents of Sections 5.105.2 and 5.105.2.1 to Section 5.409. Provide a pointer to the new location of existing building reuse regulations.
	


ITEM 3
Chapter 5, SECTION 5.106 - SITE DEVELOPMENT 
BSC proposes to amend sections listed below.
	BSC 03/25
ITEM 3
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	3-1
	5.106.4.1 Bicycle parking.
5.106.4.1.2 Long-term bicycle parking.
	Approve
	Accept
	No public comment received.
	[bookmark: _Hlk221026177]Relocate sentence about rounding calculations for bicycle parking calculations from Section 5.106.4.1.2 to Section 5.106.4.1 for clarification.
	


ITEM 4
Chapter 5, SECTION 5.106 - SITE DEVELOPMENT 
BSC proposes to amend sections listed below.
	BSC 03/25
ITEM 4
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	4-1
	5.106.5.3 Electric vehicle (EV) charging. [N] [BSC-CG]
	Approve
	Accept
	No public comment received.
	Amend to clean up the language and correct the grammar structure of the sentence.
	

	4-2
	5.106.5.3.3 Use of automatic load management systems (ALMS)
	Approve
	Accept
	No public comment received.
	[bookmark: _Hlk221026337]Amend to change the unit of measurement from the current amperes to kW.
	

	4-3
	5.106.5.4 Additions or alterations to existing buildings or parking facilities [A]. [BSC-CG]
	Further Study Required
	Accept
	B. Raymer, Industry Coalition
Comment: Approve

	Amend trigger 2 to clarify scoping requirements for new photovoltaic system projects that cover existing parking spaces. Additionally, there is an editorial change proposed in the main body of the code section.
CAC: Recommend further study under criteria 6 to clarify that EV parking is to be located beneath the new PV canopy.
Post CAC: ET has been Amended as recommended by CAC. See ET and ISOR.
	


ITEM 5
Chapter 5, SECTION 5.304 - OUTDOOR WATER USE
BSC proposes to amend sections listed below.
	BSC 03/25
ITEM 5
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	5-1
	5.304.2 Reserved Nonfunctional Turf. [BSC-CG]
	Approve as Amended
	Accept
	B. Raymer, Industry Coalition
Comment: Approve

	Add a note regarding nonfunctional turf requirements applicable to nonresidential occupancies. The note provides a pointer to Water Code Section 10608.14, as suggested during the Green Code Advisory Committee.
CAC: Approve as Amended under criteria 6. Recommended to add reference to Water Code Section 10608.12, as this section provides the definition of nonfunctional turf. 
Post CAC: ET has been revised as recommended by CAC.
	


ITEM 6
Chapter 5, SECTION 5.402 - DEFINITIONS
BSC proposes to amend Section 5.402.1.
	BSC 03/25
ITEM 6
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	6-1
	SALVAGED MATERIAL OR PRODUCT
	Approve
	Withdraw
	B. Raymer, Industry Coalition
Comment: Approve

	Add a new term to the list of definitions in Section 5.402.1 to align with the definition added to Chapter 2.
Post CAC: See annotation for Item 1-2.
	




ITEM 7
Chapter 5, SECTION 5.407.1 - WEATHER PROTECTION
BSC proposes to amend sections listed below.
	BSC 03/25
ITEM 7
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	7-1
	5.407.1 Reserved
Weather protection.
	Approve
	Accept
	No public comment received.
	Repeal this section, as it’s redundant to sections within California Building Code (Part 2 of Title 24) for weather protection.
	


[bookmark: _Hlk201244869]ITEM 8
Chapter 5, SECTION 5.408—CONSTRUCTION WASTE REDUCTION, DISPOSAL AND RECYCLING
BSC proposes to amend sections listed below.
	BSC 03/25
ITEM 8
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	8-1
	5.408.1.1 Construction waste management plan.
	Approve
	Accept
	No public comment received.
	Add a note to clarify where to find information regarding carpet waste diversion facilities.
	


ITEM 9
Chapter 5 Nonresidential Mandatory Measures, Section 5.409 Life Cycle Assessment (renamed to Embodied Carbon Reduction)
BSC proposes to amend sections listed below.
	BSC 03/25
ITEM 9
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	9-1
	5.409 LIFE CYCLE ASSESSMENT EMBODIED CARBON REDUCTION 
5.409.1 Scope
	Approve
	Accept
	No public comment received.
	Amend to consolidate all embodied carbon reduction provisions in Section 5.409 and rename it to Embodied Carbon Reduction. Relocate Exception to Section 5.409.1. Revise references to other reorganized sections. 
Repeal language referencing a sunset date of January 1, 2026, and update minimum building area requirements to address the sunset of language referencing 100,000 SF buildings, changing it to 50,000 SF.
	

	9-2
	5.105.2 5.409.2 Reuse of existing building option
5.105.2.1 5.409.2.1 Verification of compliance.
	Approve
	Accept
	No public comment received.
	Revise the title and renumber these sections to reflect the reorganization.
	

	9-3
	5.409.3 Product GWP compliance - prescriptive path option
5.409. 3.1
	Approve
	Accept
	No public comment received.
	Revise the title to reflect the reorganization. Combine Sections 5.409.3 and 5.409.3.1 into one section to more accurately reflect the requirements for compliance.
	

	9-4
	5.409.3, Exception 1
	Approve
	Disagree
	B. Raymer, Industry Coalition
Comment: Approve

	Add an exception to clarify that Salvaged Materials or Products are not required to have an EPD and shall have a GWP of zero.
Post CAC: The exception has been revised to incorporate the language from the formerly proposed definition of “salvaged materials and products” eliminating the need for a new defined term in ITEM 1-2.
	

	9-5
	5.409.3, Exception 2
	Approve
	Accept
	No public comment received.
	Renumber to Exception 2 to coordinate with SUB-ITEM 9-4 proposal. Revise the language to clarify how concrete can be considered in the GWP calculations.
	

	9-6
	Table 5.409.3 Product GWP Limits
	Approve
	Accept
	No public comment received.
	Amend addressing an error in the unit of measurement for flat glass. Additionally, delete or revise superscripts used in table headings that refer to table footnotes to coordinate with proposal in SUB-ITEM 9-7. 
	

	9-7
	Table 5.409.3 Footnotes
	Approve
	Accept
	No public comment received.
	Repeal notes 1 & 2, which describe how the values are calculated to eliminate confusion for the code users.
	

	9-8
	5.409.3.21 Verification of compliance
	Approve
	Accept
	No public comment received.
	Renumber this section to reflect the reorganization.
	

	9-9
	5.409.2 5.409.4 Whole building life cycle assessment – performance option
5.409.24.1, 5.409.24.2, 5.409.24.3
	Approve
	Accept
	No public comment received.
	Revise the title and renumber these sections to reflect the reorganization. Add the word “geographic” before “location” for clarity.
	


ITEM 10
CHAPTER 8 COMPLIANCE FORMS, WORKSHEETS AND REFERENCE MATERIAL
BSC proposes to amend worksheets listed below.
	BSC 03/25
ITEM 10
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	10-1
	Worksheet (WS-3) 5.105.2 Section 5.409.2 REUSE OF EXISTING BUILDING OPTION REUSE
	Approve
	Accept
	No public comment received.
	Rename the worksheet to reflect the reorganization. Correct a typo in the last column of the table from square footage to percentage.
	

	10-2
	Worksheet (WS-4) Section 5.409.2 5.409.4 WHOLE BUILDING LIFE CYCLE ASSESSMENT – PERFORMANCE OPTION
	Approve
	Accept
	No public comment received.
	Rename the worksheet to reflect the reorganization. Add the term “geographic” before “location” for clarity. Renumber referenced sections.
	

	10-3
	[bookmark: _Hlk131756574]Worksheet (WS-5) Section 5.409.3 PRODUCT GWP COMPLIANCE – PRESCRIPTIVE PATH OPTION
	Approve
	Accept
	No public comment received.
	Rename the worksheet to reflect the reorganization. Correct the language of this worksheet to address the previously incorrect instruction for compliance using this option for compliance.
	

	10-4
	Worksheet (WS-6) Section A5.105.2 A5.409.2 REUSE OF EXISTING BUILDING REUSE TIER 1 AND TIER 2
	Approve
	Accept
	No public comment received.
	Rename the worksheet to reflect the reorganization. Add language that was missed before to provide consistency with existing scoping regulations and exceptions.
	

	10-5
	Worksheet (WS-7) Section A5.409.2 A5.409.4 WHOLE BUILDING LIFE CYCLE ASSESSMENT – PERFORMANCE OPTION
	Approve
	Accept
	No public comment received.
	Rename the worksheet to reflect the reorganization. Add the term “geographic” before “location” for clarity. Renumber referenced sections.
	

	10-6
	Worksheet (WS-8) Section A5.409.3 PRODUCT GWP COMPLIANCE—PRESCRIPTIVE PATH OPTION
	Approve
	Accept
	No public comment received.
	Rename the worksheet to reflect the reorganization. Correct the language of this worksheet to address the previously incorrect instruction for compliance using this option for compliance.
	

	10-7
	Worksheet (WS-9) Section 5.409.42 and Section A5.409.42 WHOLE BUILDING LIFE CYCLE ASSESSMENT – PERFORMANCE OPTION
	Approve
	Accept
	No public comment received.
	Rename the worksheet to reflect the reorganization.
	


[bookmark: _Hlk209708402]ITEM 11
APPENDIX A5, NONRESIDENTIAL VOLUNTARY MEASURES, SECTION A5.105—DECONSTRUCTION AND REUSE OF EXISTING STRUCTURES
BSC proposes to amend sections listed below.
	BSC 03/25
ITEM 11
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	11-1
	A5.105.1 Reserved Scope
	Approve
	Accept
	No public comment received.
	[bookmark: _Hlk209712873]Relocate voluntary embodied carbon reduction provisions related to building reuse option to Section A5.409 where the other two embodied carbon reduction compliance options are located. Reserve this section as the language is duplicative with Section A5.409.1. 
	

	11-2
	A5.105.2 Reuse of existing building
A5.105.2.1 Tier 1, 
A5.105.2.2 Tier 2, 
A5.105.2.3 Verification of compliance
	Approve
	Accept
	No public comment received.
	Relocate content of these sections to Section A5.409. Provide a pointer to the new location of existing building reuse regulations.
	


ITEM 12
APPENDIX A5, SECTION a5.106 – SITE DEVELOPMENT 
BSC proposes to amend sections listed below.
	BSC 03/25
ITEM 12
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	12-1
	A5.106.5.1.4 Parking stall marking.
	Approve
	Accept
	No public comment received.
	Amend to provide editorial correction for clarity.
	

	12-2
	A5.106.7.2 Opaque wall areas.
	Approve
	Accept
	No public comment received.
	Amend the reference pointer from CBC Chapter 7A to the California Wildland-Urban Interface Code (CWUIC).
	


ITEM 13
APPENDIX A5, SECTION A5.402 - DEFINITIONS
BSC proposes to amend Section A5.402.1.
	BSC 03/25
ITEM 13
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	13-1
	SALVAGED MATERIAL OR PRODUCT
	Approve
	Withdraw
	B. Raymer, Industry Coalition
Comment: Approve

	Add a new term to the list of definitions in Section A5.402.1 to align with the definition added to Chapter 2.
Post CAC: See annotation for Item 1-2.
	


ITEM 14
APPENDIX A5, SECTION A5.405 - MATERIAL SOURCES
BSC proposes to amend sections listed below.
	BSC 03/25
ITEM 14
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	14-1
	A5.405.4 Recycled content.
	Approve
	Accept
	No public comment received.
	Delete Note 1 and renumber.
	




ITEM 15
APPENDIX A5, SECTION A5.409 - LIFE CYCLE ASSESSMENT
BSC proposes to amend sections listed below.
	BSC 03/25
ITEM 15
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	15-1
	A5.409 LIFE CYCLE ASSESSMENT EMBODIED CARBON REDUCTION
A5.409.1 Scope
	Approve
	Accept
	No public comment received.
	Amend to coordinate with proposal for mandatory regulations and consolidate all voluntary embodied carbon reduction provisions in Section A5.409 and rename it to Embodied Carbon Reduction. Revise references to other reorganized sections accordingly.
	

	15-2
	A5.105.2 A5.409.2 Reuse of existing building option.
A5.105.2.1 A5.409.2.1
A5.105.2.2 A5.409.2.2
A5.105.2.3 A5.409.2.3
	Approve
	Accept
	No public comment received.
	Revise the title and renumber these sections to reflect the reorganization.
	

	15-3
	A5.409.3 Product GWP compliance - prescriptive path option.
A5.409.3.1
	Approve
	Accept
	No public comment received.
	Revise the title to reflect the reorganization. Combine Sections A5.409.3 and A5.409.3.1 into one section to more accurately reflect the requirements for compliance.
	

	15-4
	A5.409.3, Exception 1
	Approve
	Disagree
	B. Raymer, Industry Coalition
Comment: Approve

	Add exception for salvaged materials.
Post CAC: The exception has been revised to incorporate the language from the formerly proposed definition of “salvaged materials and products” eliminating the need for a new defined term in ITEM 1-2.
	

	15-5
	A5.409.3, Exception 2
	Approve
	Accept
	No public comment received.
	Renumber exception to accommodate addition of exception 1. Revise the language to clarify how concrete can be considered in the GWP calculations. Correct typo in the exception equation referring to correct table.
	

	15-6
	TABLE A5.409.3—PRODUCT GWP LIMITS, TIER 1 AND TIER 2
	Approve
	Accept
	No public comment received.
	Amend addressing an error in the unit of measurement for flat glass. Additionally, delete or revise superscripts used in table headings that refer to table footnotes to coordinate with proposal in SUB-ITEM 15-7.
	

	15-7
	TABLE A5.409.3 Footnotes
	Approve
	Accept
	No public comment received.
	Repeal footnotes 1 & 2 to eliminate confusion.
	

	15-8
	A5.409.3.21 Verification of compliance.
	Approve
	Accept
	No public comment received.
	Renumber section.
	

	15-9
	[bookmark: _Hlk115779278]A5.409.2 A5.409.4 Whole building life cycle assessment – performance option.
[bookmark: _Hlk210910595]A5.409.2.1 A5.409.4.1
A5.409.2.2 A5.409.4.2
	Approve
	Accept
	No public comment received.
	Revise the title and renumber these sections to reflect the reorganization. Add the word “geographic” before “location” for clarity.
	

	15-10
	A5.409.4.2 Exception
	Approve
	Accept
	No public comment received.
	Amend Exception for Tier 2 compliance to align with exception for Tier 1 compliance.
	

	15-11
	A5.409.2.3 A5.409.4.3 Verification of compliance.
	Approve
	Accept
	No public comment received.
	Renumber section.
	

	15-12
	A5.409.4 A5.409.5 Whole building life cycle assessment of additional impacts
A5.409.4.1 A5.409.5.1
	Approve
	Accept
	No public comment received.
	Renumber these sections to reflect the reorganization. Add the word “geographic” before “location” for clarity.
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