# COMMISSION ACTION MATRIX – GREEN
Building, Fire AND Other – Structural Design / Lateral Forces AD-HOC (BFO/SDLF) CODE ADVISORY COMMITTEE

## 2025 California administrative Code, TITLE 24, PART 1 
AGENCY: Division of the State Architect ─ STRUCTURAL SAFETY, DSA-SS 01/25

### LEGEND:

CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Agency Responses: Accept, Disagree, Withdraw

CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout and ellipsis.

- Existing California amendments appear upright

- Amended or new California amendments appear underlined

- Repealed California language appears upright and in strikeout

- Ellipses (…) indicate existing text remains unchanged

### ITEM 1
Chapter 4 Administrative Regulations for the Division of the State Architect—Structural Safety (DSA-SS), Article 2: State Buildings

Amend section listed below.

| DSA-SS 01/25 ITEM 1 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 1-1 | 4-231. Fees. | Approve | Accept | No public comments received. | Amend to organize the fee specifications into a list for easier reading (new subsections a-c), to remove a reference to the Architecture Public Fund which no longer exists, and to make explicit that the fee schedule in effect at the time of filing applies throughout the duration of the application (new subsection d) and that DGS may adjust fees to maintain a reasonable balance in the fund (new subsection e). |  |

### ITEM 2
Chapter 4, Group 1 Safety of Construction of Public Schools,  Article 3—Approval of Drawings and Specifications

Amend section listed below.

| DSA-SS 01/25 ITEM 2 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 2-1 | 4-317(b). Plans. | Approve | Accept | No public comments received. | Amend adding text to subsection b to create the requirement upon submitting plans for the architect or engineer to include a campus site plan identifying each building with a unique building number assigned by DSA. |  |

### ITEM 3
Chapter 4, Group 1, Article 4—Fees

Amend section listed below.

| DSA-SS 01/25 ITEM 3 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 3-1 | 4-320. Application fees. | Approve | Accept | No public comments received. | Amend to remove language from 4-320 that is being added to 4-321 below for consistency with other fee schedules. |  |
| - 3-2 | 4-321. Fee Schedule 11. | Approve | Accept | No public comments received. | Amend to organize the fee specifications into a list for easier reading (subsections a and b), make explicit that the fee schedule in effect at the time of filing applies throughout the duration of the application (new subsection c), and state that DGS may adjust fees to maintain a reasonable balance in the fund (new subsection d). |  |

### ITEM 6
Chapter 4, Group 2 Safety of Construction of Public Schools: Fire and Life Safety, Article 1—General Provisions

Amend section listed below.

| DSA-SS 01/25 ITEM 6 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 6-1 | 4-401. Purpose. | Approve | Accept | No public comments received. | Amend to clarify DSA’s construction oversight of fire and life safety-related elements, components, and systems. |  |

### ITEM 7
Chapter 4, Group 2, Article 4—Fees

Amend section listed below.

| DSA-SS 01/25 ITEM 7 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 7-1 | 4-420. Fees. | Approve | Accept | No public comments received. | Amend to delete examples of filing fee calculations (subsection a), to remove existing language about when and how fees can be adjusted (existing subsection e), and to add a statement that DGS can adjust fees to maintain a reasonable balance in the fund (new subsection e). |  |

### ITEM 8
Chapter 5 Access to Public Buildings by Persons with Disabilities, Article 1—Compliance Procedures

Amend section listed below.

| DSA-SS 01/25 ITEM 8 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 8-1 | 5-104. Fees. | Approve | Accept | No public comments received. | Amend to organize the fee specifications into a list for easier reading, to add additional fee breakdowns for larger projects, to remove examples of filing fee calculations (all from existing subsection a), to remove existing language about when and how fees can be adjusted (existing subsection e,) and to add a statement that DGS may adjust fees to maintain a reasonable balance in the fund (new subsection e). |  |