# COMMISSION ACTION MATRIX – GREEN
Building, Fire and Other – Structural Design/Lateral Forces ad-hoc (BFO/SDLF) CODE ADVISORY COMMITTEE

## 2025 CALIFORNIA BUILDING CODE, TITLE 24, PART 2
AGENCY: Division of the State Architect – STRUCTURAL Safety, DSA-SS 02/25

### LEGEND:

CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Agency Responses: Accept, Disagree, Withdraw

CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

- Model Code language appears upright

- Existing California amendments appear in italic

- Amended model code or new California amendments appear underlined & italic

- Repealed model code language appears upright and in strikeout

- Repealed California amendments appear in italic and strikeout

- Ellipses (…) indicate existing text remains unchanged

### ITEM 1
CHAPTER 1 ADMINISTRATION

Amend sections listed below.

| DSA-SS 02/25 ITEM 1 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 1-1 | 106.1.2 Snow load posting. [DSA-SS, DSA-SS/CC] | Approve | Accept | No public comments received. | Amend to clarify the snow load posting requirements. |  |

### ITEM 2
CHAPTER 16 STRUCTURAL DESIGN

Amend sections listed below.

| DSA-SS 02/25 ITEM 2 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 2-1 | 1617.12.12 ASCE 7, Section 13.1.4. | Approve | Accept | No public comments received. | Amend exemption #2 to clarify requirements for distribution system and exemptions #2 and #3 to clarify requirements for attachment details. |  |

### ITEM 3
CHAPTER 16A STRUCTURAL DESIGN

Amend sections listed below.

| DSA-SS 02/25 ITEM 3 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 3-1 | 1603A.1.5 Earthquake design data. | Approve | Accept | No public comments received. | Amend adding requirements to the information related to seismic loads required by this section to be shown on construction documents. Coordinated with OSHPD. |  |
| - 3-2 | 1603A.1.6 Geotechnical information. | Approve | Accept | No public comments received. | Amend adding requirements to the information related to seismic loads required by this section to be shown on construction documents. Coordinated with OSHPD. |  |
| - 3-3 | 1617A.1.18 ASCE 7, Section 13.1.4. | Approve | Accept | No public comments received. | Amend exemption #2 to clarify requirements for distribution system and exemptions #2 and #3 to clarify requirements for attachment details. |  |

### ITEM 4
CHAPTER 17A SPECIAL INSPECTIONS AND TESTS

Amend sections listed below.

| DSA-SS 02/25 ITEM 4 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 4-1 | 1705A.5.5 Structural glued laminated and cross-laminated timber. | Approve | Accept | No public comments received. | Amend exception to remove language about sourcing requirements. Coordinated with OSHPD. |  |

### ITEM 5
CHAPTER 21 MASONRY

Amend sections listed below.

| DSA-SS 02/25 ITEM 5 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 5-1 | 2115.3.2.2 TMS 602, Article 3.4B Reinforcement. | Approve | Accept | No public comments received. | Repeal a portion of the language modifying TMS 602, Article 3.4B Reinforcement. |  |
| - 5-2 | 2115.3.2.5 TMS 602, Article 3.5 F.1 Grout Key. | Approve | Accept | No public comments received. | Repeal a portion of the language modifying TMS 602, Article 3.5 F.1 Grout Key. |  |
| - 5-3 | 2115.5.3 TMS 402, Sections 7.4.4.1 and 7.4.5.1. | Approve | Accept | No public comments received. | Repeal a portion of the language modifying TMS 402, Section 7.4.4.1 Minimum reinforcement requirements for masonry walls. |  |

### ITEM 6
CHAPTER 21A MASONRY

Amend sections listed below.

| DSA-SS 02/25 ITEM 6 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 6-1 | 2104A.1.3.5 [DSA-SS] TMS 602, Article 3.5 C Grout pour height. | Approve | Accept | No public comments received. | Repeal a portion of the language modifying TMS 602, Article 3.5 C Grout pour height. |  |

### ITEM 7
CHAPTER 22 STEEL

Repeal sections listed below.

| DSA-SS 02/25 ITEM 7 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 7-1 | 2215.2.2 Section D2. | Approve | Accept | No public comments received. | Repeal Section 2215.2.2 which modifies AISC 341 Section D2.6c(b)(2). |  |

### ITEM 8
CHAPTER 22A STEEL

Repeal sections listed below.

| DSA-SS 02/25 ITEM 8 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 8-1 | 2202A.5.2 Section D2. | Approve | Accept | No public comments received. | Repeal Section 2202A.5.2 which modifies AISC 341 Section D2.6c(b)(2). |  |

### ITEM 9
CHAPTER 35 REFERENCED STANDARDS

Amend referenced standards listed below.

| DSA-SS 02/25 ITEM 9 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 9-1 | ACI 318—19 (22): [DSA-SS, DSA-SS/CC] Building Code Requirements for Structural Concrete | Approve | Accept | No public comments received. | Amend to adopt reapproved version of the ACI 318-19 standard. Coordinated with OSHPD. |  |
| - 9-2 | ASCE 41—17: [DSA-SS, DSA-SS/CC] Seismic Evaluation and Retrofit of Existing Buildings | Approve | Accept | No public comments received. | Repeal the ASCE/SEI 41—17 standard. |  |