COMMISSION ACTION MATRIX – GREEN
Building, Fire and Other – Structural Design/Lateral Forces ad-hoc (BFO/SDLF) CODE ADVISORY COMMITTEE
2025 CALIFORNIA BUILDING CODE, TITLE 24, PART 2
AGENCY: Division of the State Architect – STRUCTURAL Safety, DSA-SS 02/25
LEGEND:
CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required
Agency Responses: Accept, Disagree, Withdraw
CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required
[bookmark: _Hlk51752204]Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required
[bookmark: _Hlk51751202]If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.
· Model Code language appears upright
· Existing California amendments appear in italic
· Amended model code or new California amendments appear underlined & italic
· Repealed model code language appears upright and in strikeout
· Repealed California amendments appear in italic and strikeout
· Ellipses (…) indicate existing text remains unchanged
ITEM 1
CHAPTER 1 ADMINISTRATION
Amend sections listed below.
	DSA-SS 02/25
ITEM 1
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	1-1
	106.1.2 Snow load posting. [DSA-SS, DSA-SS/CC]
	Approve
	Accept
	No public comments received.
	Amend to clarify the snow load posting requirements.
	


ITEM 2
CHAPTER 16 STRUCTURAL DESIGN
Amend sections listed below.
	DSA-SS 02/25
ITEM 2
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	2-1
	1617.12.12 ASCE 7, Section 13.1.4.
	Approve
	Accept
	No public comments received.
	Amend exemption #2 to clarify requirements for distribution system and exemptions #2 and #3 to clarify requirements for attachment details.
	




ITEM 3
CHAPTER 16A STRUCTURAL DESIGN
Amend sections listed below.
	DSA-SS 02/25
ITEM 3
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	3-1
	[bookmark: _Hlk208317683]1603A.1.5 Earthquake design data. 

	Approve
	Accept
	No public comments received.
	Amend adding requirements to the information related to seismic loads required by this section to be shown on construction documents. Coordinated with OSHPD.
	

	3-2
	1603A.1.6 Geotechnical information.
	Approve
	Accept
	No public comments received.
	Amend adding requirements to the information related to seismic loads required by this section to be shown on construction documents. Coordinated with OSHPD.
	

	3-3
	1617A.1.18 ASCE 7, Section 13.1.4.
	Approve
	Accept
	No public comments received.
	Amend exemption #2 to clarify requirements for distribution system and exemptions #2 and #3 to clarify requirements for attachment details.
	


ITEM 4
CHAPTER 17A SPECIAL INSPECTIONS AND TESTS
Amend sections listed below.
	DSA-SS 02/25
ITEM 4
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	4-1
	1705A.5.5 Structural glued laminated and cross-laminated timber.
	Approve
	Accept
	No public comments received.
	Amend exception to remove language about sourcing requirements. Coordinated with OSHPD.
	


ITEM 5
CHAPTER 21 MASONRY
Amend sections listed below.
	DSA-SS 02/25
ITEM 5
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	5-1
	2115.3.2.2 TMS 602, Article 3.4B Reinforcement.
	Approve
	Accept
	No public comments received.
	Repeal a portion of the language modifying TMS 602, Article 3.4B Reinforcement.
	

	5-2
	2115.3.2.5 TMS 602, Article 3.5 F.1 Grout Key.
	Approve
	Accept
	No public comments received.
	Repeal a portion of the language modifying TMS 602, Article 3.5 F.1 Grout Key.
	

	5-3
	2115.5.3 TMS 402, Sections 7.4.4.1 and 7.4.5.1.
	Approve
	Accept
	No public comments received.
	Repeal a portion of the language modifying TMS 402, Section 7.4.4.1 Minimum reinforcement requirements for masonry walls.
	


ITEM 6
CHAPTER 21A MASONRY
Amend sections listed below.
	DSA-SS 02/25
ITEM 6
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	6-1
	[bookmark: _Hlk216952020]2104A.1.3.5 [DSA-SS] TMS 602, Article 3.5 C Grout pour height.
	Approve
	Accept
	No public comments received.
	Repeal a portion of the language modifying TMS 602, Article 3.5 C Grout pour height.
	


ITEM 7
CHAPTER 22 STEEL
Repeal sections listed below.
	DSA-SS 02/25
ITEM 7
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	7-1
	2215.2.2 Section D2.
	Approve
	Accept
	No public comments received.
	Repeal Section 2215.2.2 which modifies AISC 341 Section D2.6c(b)(2).
	


ITEM 8
CHAPTER 22A STEEL
Repeal sections listed below.
	DSA-SS 02/25
ITEM 8
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	8-1
	2202A.5.2 Section D2.
	Approve
	Accept
	No public comments received.
	Repeal Section 2202A.5.2 which modifies AISC 341 Section D2.6c(b)(2).
	


ITEM 9
CHAPTER 35 REFERENCED STANDARDS
Amend referenced standards listed below.
	DSA-SS 02/25
ITEM 9
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	9-1
	[bookmark: _Hlk208320644]ACI 
318—19 (22): [DSA-SS, DSA-SS/CC] Building Code Requirements for Structural Concrete
	Approve
	Accept
	No public comments received.
	Amend to adopt reapproved version of the ACI 318-19 standard. Coordinated with OSHPD.
	

	9-2
	ASCE 
41—17: [DSA-SS, DSA-SS/CC] Seismic Evaluation and Retrofit of Existing Buildings 
	Approve
	Accept
	No public comments received.
	Repeal the ASCE/SEI 41—17 standard.
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