COMMISSION ACTION MATRIX-GREEN 
accessibility (access) CODE ADVISORY COMMITTEE
2025 california building code, title 24, part 2
AGENCY: division of the state architect, DSA-AC 01/25
LEGEND:
CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required
Agency Responses: Accept, Disagree, Withdraw 
CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required
[bookmark: _Hlk51752204]Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required
[bookmark: _Hlk51751202]If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.
· Model Code language appears upright
· Existing California amendments appear in italic
· Amended model code or new California amendments appear underlined & italic
· Repealed model code language appears upright and in strikeout
· Repealed California amendments appear in italic and strikeout
· Ellipses (…) indicate existing text remains unchanged
ITEM 13
Chapter 11B, Section 11B-223.2.3 On-call rooms
Amend section listed below.
	DSA-AC 01/25
ITEM 13
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	13-1
	[bookmark: _Hlk216883436]11B-223.2.3 On-call rooms.
	Approve
	Accept
	45-Day Public Comment: Dara Shur & Kendra Mueller w/DRC Recommends: Approve
15-Day Public Comment: Bill Hecker w/Hecker Design, Hunter Herrera-McFarland w/The Kelsey, Andrea McHenry, Anandi Worden, Gia Pham, Victoria Rouse, Cynthia Neweton-Nedich, Marianne Dunn, Robyn Palumbo, Arnie Lerner, Sheri Farinha, Raquel Ibarra
Recommends:  Approve
	Delete existing referenced sections and replace with a reference to 11B-805.2.
	




ITEM 24
Chapter 35 referenced standards, Section asme
Amend sections listed below.
	DSA-AC 01/25
ITEM 24
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	24-1
	A17.1—2019/CSA B44—19: Safety Code for Elevators and Escalators
	Further Study Required
	Disagree
	45-Day Public Comment: Dara Shur & Kendra Mueller w/DRC Recommends: Approve
15-Day Public Comment: Bill Hecker w/Hecker Design, Hunter Herrera-McFarland w/The Kelsey, Andrea McHenry, Anandi Worden, Gia Pham, Victoria Rouse, Cynthia Neweton-Nedich, Marianne Dunn, Robyn Palumbo, Arnie Lerner, Sheri Farinha, Raquel Ibarra
Recommends:  Approve
	Delete 11B sections listed.
CAC: 9 Point Criteria # 6 
Creates conflict with referenced standards elsewhere in Title 24, questions about AB 130 compliance, also affects DIR for elevator safety, ISOR explanation may be misleading. 
After CAC: No changes in ET. See ISOR for explanation.
	

	24-2
	A17.1-13 CSA B44-2013: Safety Code for Elevators and Escalators
	Further Study Required
	Disagree
	45-Day Public Comment: Dara Shur & Kendra Mueller w/DRC Recommends: Approve
15-Day Public Comment: Bill Hecker w/Hecker Design, Hunter Herrera-McFarland w/The Kelsey, Andrea McHenry, Anandi Worden, Gia Pham, Victoria Rouse, Cynthia Neweton-Nedich, Marianne Dunn, Robyn Palumbo, Arnie Lerner, Sheri Farinha, Raquel Ibarra
Recommends:  Approve
	Correct printing error, ASME for “Safety Code for Elevators and Escalators” with 11B referenced sections.
CAC: 9 Point Criteria # 6
Creates conflict with referenced standards elsewhere in Title 24, questions about AB 130 compliance, also affects DIR for elevator safety, ISOR explanation may be misleading.
After CAC: No changes in ET. See ISOR for explanation.
	

	24-3
	A18.1—2020: Safety Standard for Platform Lifts and Stairway Chairlifts
	Further Study Required
	Disagree
	45-Day Public Comment: Dara Shur & Kendra Mueller w/DRC Recommends: Approve
15-Day Public Comment: Bill Hecker w/Hecker Design, Hunter Herrera-McFarland w/The Kelsey, Andrea McHenry, Anandi Worden, Gia Pham, Victoria Rouse, Cynthia Neweton-Nedich, Marianne Dunn, Robyn Palumbo, Arnie Lerner, Sheri Farinha, Raquel Ibarra
Recommends:  Approve
	Delete reference to Section 1110.9.
CAC: 9 Point Criteria # 6
Creates conflict with referenced standards elsewhere in Title 24, questions about AB 130 compliance, also affects DIR for elevator safety, ISOR explanation may be misleading.
After CAC: No changes in ET. See ISOR for explanation.
	

	24-4
	A18.1-2008: Safety Standard for Platform Lifts and Stairway Chairlifts
	Further Study Required
	Disagree
	45-Day Public Comment: Dara Shur & Kendra Mueller w/DRC Recommends: Approve
15-Day Public Comment: Bill Hecker w/Hecker Design, Hunter Herrera-McFarland w/The Kelsey, Andrea McHenry, Anandi Worden, Gia Pham, Victoria Rouse, Cynthia Neweton-Nedich, Marianne Dunn, Robyn Palumbo, Arnie Lerner, Sheri Farinha, Raquel Ibarra
Recommends:  Approve
	Correct printing error, AMSE for “Safety Standards for Platform Lifts and Stairway Chairlifts” with an 11B-410.1 reference.
CAC: 9 Point Criteria # 6
Creates conflict with referenced standards elsewhere in Title 24, questions about AB 130 compliance, also affects DIR for elevator safety, ISOR explanation may be misleading.
After CAC: No changes in ET. See ISOR for explanation.
	


ITEM 25
Chapter 35, Section bhma
Amend sections listed below.
	DSA-AC 01/25
ITEM 25
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	25-1
	A 156.10—2017: Power Operated Pedestrian Doors
	Further Study Required
	Disagree
	45-Day Public Comment: Dara Shur & Kendra Mueller w/DRC Recommends: Approve
15-Day Public Comment: Bill Hecker w/Hecker Design, Hunter Herrera-McFarland w/The Kelsey, Andrea McHenry, Anandi Worden, Gia Pham, Victoria Rouse, Cynthia Neweton-Nedich, Marianne Dunn, Robyn Palumbo, Arnie Lerner, Sheri Farinha, Raquel Ibarra
Recommends:  Approve
	Delete references to 11B sections.
CAC: 9 Point Criteria # 6
Creates conflict with referenced standards elsewhere in Title 24, questions about AB 130 compliance, ISOR explanation may be misleading.
After CAC: No changes in ET. See ISOR for explanation.
	

	25-2
	A 156.19—2019: Standard for Power Assist and Low Energy Power Operated Doors
	Further Study Required
	Disagree
	45-Day Public Comment: Dara Shur & Kendra Mueller w/DRC Recommends: Approve
15-Day Public Comment: Bill Hecker w/Hecker Design, Hunter Herrera-McFarland w/The Kelsey, Andrea McHenry, Anandi Worden, Gia Pham, Victoria Rouse, Cynthia Neweton-Nedich, Marianne Dunn, Robyn Palumbo, Arnie Lerner, Sheri Farinha, Raquel Ibarra
Recommends:  Approve
	Delete references to 11B sections.
CAC: 9 Point Criteria # 6
Creates conflict with referenced standards elsewhere in Title 24, questions about AB 130 compliance, ISOR explanation may be misleading.
After CAC: No changes in ET. See ISOR for explanation.
	

	25-3
	A 156.10—2011: Power Operated Pedestrian Doors
	Further Study Required
	Disagree
	45-Day Public Comment: Dara Shur & Kendra Mueller w/DRC Recommends: Approve
15-Day Public Comment: Bill Hecker w/Hecker Design, Hunter Herrera-McFarland w/The Kelsey, Andrea McHenry, Anandi Worden, Gia Pham, Victoria Rouse, Cynthia Neweton-Nedich, Marianne Dunn, Robyn Palumbo, Arnie Lerner, Sheri Farinha, Raquel Ibarra
Recommends:  Approve
	Correct printing error, BHMA standard with references to sections 11B-404.2.9 and 11B-404.3
CAC: 9 Point Criteria # 6
Creates conflict with referenced standards elsewhere in Title 24, questions about AB 130 compliance, ISOR explanation may be misleading.
After CAC: No changes in ET. See ISOR for explanation.
	

	25-4
	A 156.19—2013: Standard for Power Assist and Low Energy Power Operated Doors
	Further Study Required
	Disagree
	45-Day Public Comment: Dara Shur & Kendra Mueller w/DRC Recommends: Approve
15-Day Public Comment: Bill Hecker w/Hecker Design, Hunter Herrera-McFarland w/The Kelsey, Andrea McHenry, Anandi Worden, Gia Pham, Victoria Rouse, Cynthia Neweton-Nedich, Marianne Dunn, Robyn Palumbo, Arnie Lerner, Sheri Farinha, Raquel Ibarra
Recommends:  Approve
	Correct printing error, BMHA standard with references to sections 11B-404.2.9, 11B-404.3, 11B-408.3.2.1, 11B-409.3.1
CAC: 9 Point Criteria # 6
Creates conflict with referenced standards elsewhere in Title 24, questions about AB 130 compliance, ISOR explanation may be misleading.
After CAC: No changes in ET. See ISOR for explanation.
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