# COMMISSION ACTION MATRIX- SALMON 
accessibility (access) CODE ADVISORY COMMITTEE

## 2025 california building code, title 24, part 2
AGENCY: division of the state architect, DSA-AC 01/25

### LEGEND:

CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Agency Responses: Accept, Disagree, Withdraw

CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

- Model Code language appears upright

- Existing California amendments appear in italic

- Amended model code or new California amendments appear underlined & italic

- Repealed model code language appears upright and in strikeout

- Repealed California amendments appear in italic and strikeout

- Ellipses (…) indicate existing text remains unchanged

### ITEM 4
Chapter 2, definitions

Add definition listed below.

| DSA-AC 01/25 ITEM 4 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 4-1 | SOCIAL SERVICE CENTER ESTABLISHMENT. | Further Study Required | Accept | 45-Day Public Comment: Dara Shur & Kendra Mueller w/DRC Recommends: Amend Bob Raymer w/Industry coalition, Janis Kent w/Stepping Thru Accessibility, Recommends: Disapprove 15-Day Public Comment: Bill Hecker w/Hecker Design, Hunter Herrera-McFarland w/The Kelsey, Andrea McHenry, Anandi Worden, Gia Pham, Victoria Rouse, Cynthia Neweton-Nedich, Marianne Dunn, Robyn Palumbo, Arnie Lerner, Sheri Farinha, Raquel Ibarra Recommends: Approve | Add new definition for Social Service Center Establishment. CAC: 9 Point Criteria # 6 Recommended to take out of 11B and move to Chapter 2 with all other definitions. After CAC: See revised ET and ISOR. 15-Day Public Comment Period: Withdrawn |  |

### ITEM 6
Chapter 11B, Section 11B-203.8 Residential facilities

Amend section listed below.

| DSA-AC 01/25 ITEM 6 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 6-1 | 11B-203.8 Residential facilities. | Further Study Required | Withdraw |  | Delete existing language and replace with new language for residential facilities. CAC: 9 Point Criteria # 1 Discussion about “equivalent” vs “same”. After CAC: DSA is proposing to relocate the requirements for common use areas in public housing facilities to Section 11B-233.2.2 (Item 16-1.4). |  |

### ITEM 8
Chapter 11B, SectionS 11B-206.2.1 and 11B-206.2.2

Amend sections listed below.

| DSA-AC 01/25 ITEM 8 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 8-1 | 11B-206.2.1 Site arrival points. | Disapprove | Withdraw |  | Amend exception # 2 to specify it is for non-residential facilities. CAC: 9 Point Criteria # 6 and AB 130 Recommended to look at 2010 ADA Standards and determine what is required for accessible route. After CAC: Similar item is now proposed in Section 11B-233.2.1. See Item 16-1.3. |  |
| - 8-2 | 11B-206.2.2 Within a site. | Approve | Withdraw |  | Amend the exception to specify it is for non-residential facilities. After CAC: Similar item is now proposed in Section 11B-233.2.1. See Item 16-1.3. |  |

### ITEM 9
Chapter 11B, Section 11B-206.2.3 Multistory buildings and facilities

Amend section listed below.

| DSA-AC 01/25 ITEM 9 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 9-1 | 11B-206.2.3 Multistory buildings and facilities. | Approve | Withdraw |  | Exception # 4 amend language to specify it applies to residential facilities that are required to comply with Section 11B-233. After CAC: Related item is now proposed in Section 11B-233.2.2. See Item 16-1.4. |  |

### ITEM 10
Chapter 11B, Section 11B-206.2.8 Employee work areas

Amend sections listed below.

| DSA-AC 01/25 ITEM 10 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 10-1 | 11B-206.2.8 Employee work areas. | Disapprove | Withdraw |  | Amend language to provide pointer existing language on common use areas and employee work areas. CAC: 9 Point Criteria # 6 Discussion questioning whether this is the right place for this amendment. |  |

### ITEM 12
Chapter 11B, Section 11B-215.1 General

Amend section listed below.

| DSA-AC 01/25 ITEM 12 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 12-1 | 11B-215.1 General. | Approve | Withdraw | B. Raymer; Industry Coalition. Recommends: Disapprove | Amend language in the exception to specify it applies to facilities that are not public housing. After CAC: Substantially similar item is now proposed in Section 11B-233.2.3. See Item 16-1.5. |  |

### ITEM 16
Chapter 11B, Section 11B-233 RESIDENTIAL FACILITIES

Amend sections listed below.

| DSA-AC 01/25 ITEM 16 | Code Section | CAC Action | Agency Response | Public Comments | Annotations |
| --- | --- | --- | --- | --- | --- |
| - 16-5 | 11B-233.3.4.1 Alterations to vacated buildings. | Disapprove | Withdraw |  | Amend language to specify this section applies to a building or facility. CAC: 9 Point Criteria # 1 and AB 130 Comments that scoping doesn’t address percentages of units from federal provisions which may lead to a lot of confusion and misapplication. After CAC: DSA is removing this specific item. |

### ITEM 18
Withdrawn prior to CAC