# COMMISSION ACTION MATRIX – GREEN
HEALTH FACILITIES (HF) CODE ADVISORY COMMITTEE

## 2025 CALIFORNIA BUILDING CODE, TITLE 24, PART 2 VOL. 1
AGENCY: OFFICE OF STATEWIDE HOSPITAL PLANNING AND DEVELOPMENT, OSHPD 02/25

### LEGEND:

CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Agency Responses: Accept, Disagree, Withdraw

CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

- Model Code language appears upright

- Existing California amendments appear in italic

- Amended model code or new California amendments appear underlined & italic

- Repealed model code language appears upright and in strikeout

- Repealed California amendments appear in italic and strikeout

- Ellipses (…) indicate existing text remains unchanged

### ITEM 1
Chapter 12, INTERIOR ENVIRONMENT, Section 1224 HOSPITALS [OSHPD 1]

Amend sections listed below.

| OSHPD 02/25 ITEM 1 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 1-1 | Table 1224.4.6.1 Station outlets for oxygen. | Approve as Amended | Disagree | No public comments received. | Amendment to add a row for infant resuscitation space in LDRP room distinguishing it from the same space in a cesarean delivery room; revise the required number of OB recovery room vacuum inlets; revise the required number of cardiac catheterization lab medical air inlets; and revise footnote 3. CAC: Approve as Amended under criteria #6, general recommendation to make grammatical changes throughout Item 1 proposals. POST CAC: No change in ET, no specific changes were recommended. |  |
| - 1-2 | Table 1224.4.6.5 Location of nurse call devices. Footnote 1. | Approve as Amended | Disagree | No public comments received. | Amendment to add Alternative Birthing Clinics (ABCs) to the exception in footnote 1. CAC: Approve as Amended under criteria #6, recommendation to capitalize “clinics” for consistency. POST CAC: The word “clinics” was removed. |  |
| - 1-3 | Table 1224.4.6.5 Location of nurse call devices. Footnote 2. | Approve as Amended | Disagree | No public comments received. | Amendment to add a new footnote 2 allowing Alternative Birthing Clinics (ABCs) to use an alternative nurse call system. CAC: Approve as Amended under criteria #6, general recommendation to make grammatical changes throughout Item 1 proposals. POST CAC: No change in ET, no specific changes were recommended. |  |
| - 1-4 | Table 1224.4.6.5 Location of nurse call devices. Footnote 3. | Approve as Amended | Disagree | No public comments received. | Amendment to add a new footnote 3 allowing nurse call devices to be located in the MRI control room. CAC: Approve as Amended under criteria #6, general recommendation to make grammatical changes throughout Item 1 proposals. POST CAC: No change in ET, no specific changes were recommended. |  |
| - 1-6 | Table 1224.4.19 Sound transmission limitations in hospitals. Footnote 1. | Approve as Amended | Disagree | No public comments received. | Amendment to correct reference standard number in table footnote 1. CAC: Approve as Amended under criteria #6, general recommendation to make grammatical changes throughout Item 1 proposals. POST CAC: No change in ET, no specific changes were recommended. |  |
| - 1-7 | 1224.16.2.3 Handwashing stations. | Approve as Amended | Disagree | No public comments received. | Amendment to add language stating that handwashing stations shall be uniformly distributed. CAC: Approve as Amended under criteria #6, general recommendation to make grammatical changes throughout Item 1 proposals. POST CAC: No change in ET, no specific changes were recommended. |  |
| - 1-8 | 1224.18.3.1 Spaces required. | Approve as Amended | Disagree | No public comments received. | Amendment to remove “if provided”. CAC: Approve as Amended under criteria #6, general recommendation to make grammatical changes throughout Item 1 proposals. POST CAC: No change in ET, no specific changes were recommended. |  |
| - 1-9 | 1224.19.1.1 Licensed pharmacy. | Approve as Amended | Accept | No public comments received. | Amendment to change specific Title 16 reference to general reference in the Note. CAC: Approve as Amended under criteria #6, recommendation to review the use of the term “California Pharmacy Law”. POST CAC: “California Pharmacy Law” changed to “Business and Professions Code Section 4110 and 4029” and the term “licensing” added before “requirements”. |  |
| - 1-10 | 1224.19.2.1.3 Non-sterile compounding areas. | Approve as Amended | Disagree | No public comments received. | Amendment changing terms to match terms used in Title 16. CAC: Approve as Amended under criteria #6, general recommendation to make grammatical changes throughout Item 1 proposals. POST CAC: No change in ET, no specific changes were recommended. |  |
| - 1-11 | 1224.19.3.1 General. through 1224.19.3.2.2.1 Air quality. | Approve as amended | Disagree | No public comments received. | Amendments renumbering references to align with renumbering in Title 16. CAC: Approve as Amended under criteria #6, general recommendation to make grammatical changes throughout Item 1 proposals. POST CAC: No change in ET, no specific changes were recommended. |  |
| - 1-12 | 1224.19.3.2.2.5 Pass-throughs cabinets. | Approve as Amended | Disagree | No public comments received. | Amendment to revise section title. CAC: Approve as Amended under criteria #6, general recommendation to make grammatical changes throughout Item 1 proposals. POST CAC: No change in ET, no specific changes were recommended. |  |
| - 1-13 | 1224.19.3.2.3.2 Air quality through 1224.19.3.3.4 Hazardous segregated compounding area | Approve as Amended | Accept | No public comments received. | Amendments renumbering references to align with renumbering in Title 16. CAC: Approve as Amended under criteria #6, general recommendation to make grammatical changes throughout Item 1 proposals. POST CAC: The word “anteroom” was changed to “anterooms”. |  |
| - 1-14 | 1224.20.2.8 Dining area. | Approve as Amended | Disagree | No public comments received. | Amendment to correct spelling. CAC: Approve as Amended under criteria #6, general recommendation to make grammatical changes throughout Item 1 proposals. POST CAC: No change in ET, no specific changes were recommended. |  |
| - 1-15 | 1224.22.1 Minimum requirements. | Approve as Amended | Disagree | No public comments received. | Amendment to add requirements for the type and locations of sinks in a Central Sterile Supply space in alignment with the requirements of the California Plumbing Code. CAC: Approve as Amended under criteria #6, general recommendation to make grammatical changes throughout Item 1 proposals. POST CAC: No change in ET, no specific changes were recommended. |  |
| - 1-16 | 1224.29.1.15 Support. | Further Study Required | Disagree | No public comments received. | Amendment to add a note to item 6 clarifying the purpose of gurney and wheelchair storage in NICU. CAC: Further Study Required under criteria #8, recommendation to move “gurney and wheelchair storage” into the language of the requirements as opposed to the section title, and to remove “note” from the language if the intent is to have regulatory effect. POST CAC: “Note” was removed. “Gurney and wheelchair storage” was not changed; it is existing code language and is not part of the proposed amendment. |  |
| - 1-17 | 1224.32.3.8.2.11 Housekeeping room. | Approve as Amended | Disagree | No public comments received. | Amendment to add a pointer to the location of housekeeping room requirements. CAC: Approve as Amended under criteria #6, general recommendation to make grammatical changes throughout Item 1 proposals. POST CAC: No change in ET, no specific changes were recommended. |  |
| - 1-18 | 1224.33.2.1 Exterior entrance. | Approve as Amended | Accept | No public comments received. | Amendment to revise the language describing the requirements for Emergency Medical Service area entrances. CAC: Approve as Amended under criteria #6, general recommendation to make grammatical changes throughout Item 1 proposals. Recommendation to add “Standby” to “Emergency Medical Service area”, and “as” before “required”. POST CAC: OSHPD made the recommended changes. |  |
| - 1-19 | 1224.35.1 Rehabilitation center space. | Further Study Required | Disagree | No public comments received. | Amendment to add requirements for rehabilitation center space including exit doors with panic hardware, door width for wheelchair patients, grab bars in toilet rooms, and patient training bathtubs. CAC: Further Study Required under criteria #6 and #8, recommendations to clarify the meaning of “group activity area”; coordinate the panic hardware requirement language with similar requirements for egress; remove “i.e.” from the language for specificity; and clarify where the 44” door width applies. POST CAC: OSHPD made some but not all of the recommended changes. See ISOR. |  |
| - 1-20 | 1224.35.2 Physical therapy service space. | Approve as Amended | Disagree | No public comments received. | Amendment to add a requirement for grab bars in patient toilet rooms. CAC: Approve as Amended under criteria #6, general recommendation to make grammatical changes throughout Item 1 proposals. POST CAC: No change in ET, no specific changes were recommended. |  |
| - 1-21 | 1224.35.3 Occupational therapy service space. | Approve as Amended | Accept | No public comments received. | Amendment to add requirements for minimum area dimensions, privacy screens, and grab bars. CAC: Approve as Amended under criteria #6. CAC recommended moving item #6 into item #5. POST CAC: OSHPD made the recommended changes. |  |
| - 1-22 | 1224.36.2.3 Individual patient treatment areas. | Approve as Amended | Accept | No public comments received. | Amendment to add language clarifying the required clearances in treatment areas. CAC: Approve as Amended under criteria #6. CAC recommended changing the “4-foot” to “4 feet” and making grammatical changes. POST CAC: OSHPD made the recommended changes. |  |
| - 1-23 | 1224.36.3.2 Patient storage. | Approve as Amended | Disagree | No public comments received. | Amendment to add language clarifying that storage is required when outpatient dialysis is provided. CAC: Approve as Amended under criteria #6, general recommendation to make grammatical changes throughout Item 1 proposals. POST CAC: No change in ET, no specific changes were recommended. |  |
| - 1-24 | 1224.36.3.3 Waiting room. | Approve as Amended | Disagree | No public comments received. | Amendment to add an exception where a waiting room is not required. CAC: Approve as Amended under criteria #6, general recommendation to make grammatical changes throughout Item 1 proposals. POST CAC: No change in ET, no specific changes were recommended. |  |
| - 1-25 | 1224.39.4.2.3 Individual patient treatment areas. | Approve as Amended | Accept | No public comments received. | Amendment to add language clarifying the required clearances in treatment areas. CAC: Approve as Amended under criteria #6. CAC recommended changing the “4-foot” to “4 feet” and making grammatical changes. POST CAC: OSHPD made the recommended changes. |  |

### ITEM 2
Chapter 12, INTERIOR ENVIRONMENT, Section 1225 SKILLED NURSING AND INTERMEDIATE CARE FACILITIES [OSHPD 2]

Amend sections listed below.

| OSHPD 02/25 ITEM 2 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 2-1 | 1225.4.1.7 Patient/nurse call system. | Approve | Accept | No public comments received. | Amendment to change pointer from indicating requirements in California Electrical Code to California Building Code. |  |
| - 2-2 | 1225.1.1 General construction. through 1225.1.1.1.2 Technology distribution room. | Approve | Accept | No public comments received. | Amendment to change requirements for communication systems in skilled nursing and intermediate-care facilities, adding Sections 1225.5.1.1.1 Communications systems. through 1225.5.1.1.1.2 technology distribution room. |  |
| - 2-3 | 1225.5.1.4.1 Skilled nursing facilities. | Further Study Required | Disagree | No public comments received. | Amendment to add a requirement for outdoor space at skilled nursing facilities. CAC: Further Study Required under criteria #6, recommendation to clarify the requirements for an “outdoor space” and make proposed language more precise. POST CAC: OSHPD added “shall be provided” but did not otherwise clarify the requirements. See ISOR. |  |
| - 2-4 | 1225.6.6 SPECIAL TREATMENT PROGRAM SERVICE. | Approve | Accept | No public comments received. | Amendment to change language to align with language in Title 22. |  |

### ITEM 3
Chapter 12, INTERIOR ENVIRONMENT, Section 1226 CLINICS [OSHPD 3]

Amend sections listed below.

| OSHPD 02/25 ITEM 3 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 3-1 | 1226.1 Scope. | Approve | Accept | No public comments received. | Amendment to remove specific clinic types from scoping language. |  |
| - 3-2 | 1226.2 Application. | Approve | Accept | No public comments received. | Amendment to clarify the pointer to other Parts of Title 24 are specific to the OSHPD 3 provisions of those regulations, and remove reference to the specific clinic types in Section 1226.1. |  |
| - 3-3 | 1226.2.1 Outpatient clinical services. | Approve | Accept | No public comments received. | Amendment to remove existing language and move information to Sections 1226.4 and 1226.6. |  |
| - 3-4 | 1226.2.2 Special services. | Approve | Accept | No public comments received. | Amendment to move this section to be under section for outpatient clinical services of a hospital. |  |
| - 3-5 | 1226.52.1 OUTPATIENT CLINICAL SERVICES OF A HOSPITAL. | Approve | Accept | No public comments received. | Amendment to renumber existing scoping language Section 1226.5 to this Section and add language clarifying that these clinics are licensed by the California Department of Public Health (CDPH). |  |
| - 3-6 | 1226.2.1.1 Cardiac catheterization laboratory services. | Approve | Accept | No public comments received. | Amendment to rename and renumber from 1226.2.2. |  |
| - 3-7 | 1226.4 General Construction. | Approve | Accept | No public comments received. | Amendment to state that general construction requirements apply to all the clinic types listed in 1226 except as modified in each specific clinic type. |  |
| - 3-8 | 1226.4.1 Examination and treatment areas, when required. and 1226.4.2 Miscellaneous requirements, when required. | Approve | Accept | No public comments received. | Amendment to add “when required” to these section titles. |  |
| - 3-9 | 1226.4.3 Corridors. | Approve as Amended | Accept | No public comments received. | Amendment to clarify that one or more of the corridor options may be required. CAC: Approve as Amended under criteria #8, recommendation to coordinate charging language better with subsections by removing “width” from charging language, as not all subsections are strictly about width. POST CAC: OSHPD made the recommended changes. |  |
| - 3-10 | 1226.4.3.5 Contiguous functions. | Approve | Accept | No public comments received. | Amendment to repeal the first sentence, add new language to reflect the intent and support the exceptions, and clarify a term used in Exception 1. |  |
| - 3-11 | 1226.4.4.1 Patient Ttoilet room doors. | Approve | Accept | No public comments received. | Amendment to add “patient” to the title and add language to the section to clarify that the requirement is only for patient toilet room doors, not all toilet room doors. |  |
| - 3-13 | 1226.4.9 Garbage, solid waste, medical waste and trash storage. | Approve | Accept | No public comments received. | Amendment to correct grammar. |  |
| - 3-14 | 1226.4.10, 1226.4.12, and 1226.4.13 | Approve | Disagree | No public comments received. | Amendment to add “when provided” to these section titles. POST CAC: OSHPD added a comma to the title of 1226.4.13. |  |
| - 3-15 | 1226.4.13.2 Medication station. | Approve | Accept | No public comments received. | Amendment to correct grammar and add “or area”. |  |
| - 3-16 | 1226.4.13.2.1 Medication preparation room or area. | Approve | Accept | No public comments received. | Amendment to repeal Item 2, “sink”. |  |
| - 3-17 | 1226.4.13.4 Soiled workroom or soiled holding room. | Approve | Accept | No public comments received. | Amendment to revise Item 1 and the body of the text to use the term “clinical sink”. |  |
| - 3-18 | 1226.4.13.5, 1226.4.13.6, and 1226.4.13.7 | Approve | Accept | No public comments received. | Amendment to add “when provided” or “when required” to these section titles and remove it from the language of the sections. |  |
| - 3-19 | 1226.4.14.1 Patient toilet room(s). | Approve | Accept | No public comments received. | Amendment to repeal “primary Care” from the exception and allow the exception to apply to all clinics. |  |
| - 3-20 | 1226.4.14.2 Specimen and/or blood collection facilities, when required. | Approve | Accept | No public comments received. | Amendment to add “when required” to the section title and remove “when provided” from the language of the section. |  |
| - 3-21 | 1226.4.17.3 Staff lounge, when required. | Approve | Accept | No public comments received. | Amendment to add “when required” to the section title and remove “when provided” from the language of the section. |  |
| - 3-22 | OUTPATIENT CLINICAL SERVICES OF A HOSPITAL | Approve | Accept | No public comments received. | Amendment to repeal section title because it is repetitive of the section title in 1226.5. |  |
| - 3-23 | 1226.5 SERVICE SPACES, WHEN PROVIDED, FOR OUTPATIENT CLINICAL SERVICES OF A HOSPITAL. | Approve | Accept | No public comments received. | The existing scoping language is moved to Section 1226.2.1. Amendment to add new title, add clarifying language, and a sentence to point the code reader to the general construction requirements. |  |
| - 3-24 | GENERAL SUPPORT AREAS FOR OUTPATIENT CLINICAL SERVICES - | Approve | Accept | No public comments received. | Amendment to repeal section title because it is repetitive of the section title in 1226.5. |  |
| - 3-25 | 1226.5.1.2 Specimen and/or blood collection facilities. | Approve | Accept | No public comments received. | Amendment to correct reference section number. |  |
| - 3-26 | 1226.5.11, 1226.5.12, 1226.5.13, and 1226.5.14 | Approve | Accept | No public comments received. | Amendment to remove “when provided” from the language of these sections. |  |
| - 3-27 | 1226.6 PRIMARY CARE CLINICS. | Approve | Accept | No public comments received. | Amendment to add that primary care clinics are licensed by CDPH pursuant to HSC Section 1204 (a) to the charging language in this section. |  |
| - 3-28 | 1226.6.1.2 Treatment room(s), when provided. | Approve | Accept | No public comments received. | Amendment to add “when provided” to the title of the section and remove it from the middle of the first sentence. |  |
| - 3-29 | 1226.6.1.3 Dental examination and treatment areas. through 1226.6.1.3.4 Imaging.; 1226.6.1.4 Oral surgery.; and 1226.6.2.5 Consultation room. | Approve | Accept | No public comments received. | Amendment to renumber these sections to 1226.6.7 and appropriate subsection numbers. |  |
| - 3-30 | 1226.6.2.6 Sterilization facilities, when provided. | Approve as Amended | Accept | No public comments received. | Amendment to add “when provided” to the section title. CAC: Approve as Amended under criteria #8, recommendation to remove the redundant “when provided” from the language of the requirements, as this is now in the section title. POST CAC: OSHPD made the recommended changes. |  |
| - 3-31 | 1226.6.2.7 Laboratory. | Approve | Accept | No public comments received. | Amendment to renumber this section to an appropriate subsection in Section 1226.6.7. |  |
| - 3-32 | 1226.6.3.2 Specimen collection and/or blood collection facilities. | Approve | Accept | No public comments received. | Amendment to correct reference section number. |  |
| - 3-33 | 1226.6.5.1.2 Outpatient waiting room. | Approve | Accept | No public comments received. | Amendment to add more specificity while still referencing Section 1224.4.5. |  |
| - 3-34 | 1226.6.5.1.3 Public toilet(s). | Approve | Accept | No public comments received. | Amendment to add a pointer to the California Plumbing Code. |  |
| - 3-36 | 1226.6.5.1.5 Drinking fountain(s). | Approve | Accept | No public comments received. | Amendment to clarify the drinking water requirement by revising the section title and language. |  |
| - 3-37 | 1226.6.7 Dental examination and treatment areas. through 1226.6.7.8 Sterilization facilities. | Approve | Accept | No public comments received. | Amendment to renumbered sections related to dental examination and treatment areas consolidating them under Section 1226.6.7. Add new section about sterilization facilities. |  |
| - 3-38 | SPECIALTY CLINICS. | Approve | Disagree | No public comments received. | Amendment to add a new header and new charging language to clarify that specialty clinics are licensed by CDPH pursuant to HSC Section 1204 (b). POST CAC: OSHPD corrected the referenced code sections. |  |
| - 3-39 | SURGICAL CLINICS | Approve | Accept | No public comments received. | Amendment to add a new header so the code user can way-find that Surgical Clinics are listed. |  |
| - 3-40 | 1226.8.5.1.2 Outpatient waiting room. | Approve | Accept | No public comments received. | Amendment to add more specificity while still referencing Section 1224.4.5. |  |
| - 3-41 | 1226.8.5.1.3 Public toilet(s). | Approve | Accept | No public comments received. | Amendment to add a pointer to the California Plumbing Code. |  |
| - 3-43 | 1226.8.5.1.5 Drinking fountain(s). | Further Study Required | Disagree | No public comments received. | Amendment to clarify the drinking water requirement by revising the section title and language. CAC: Further Study Required under criteria #3, #6, and #7, recommendation to clarify accessibility requirements associated with the language “drinking water shall be readily accessible”. POST CAC: OSHPD did not make changes. See ISOR. |  |
| - 3-44 | 1226.9.1.3 Individual patient treatment areas. | Approve as Amended | Accept | No public comments received. | Amendment to add language clarifying the required clearances in treatment areas. CAC: Approve as Amended under criteria #6, recommendation to revise unit of measurement grammar. POST CAC: OSHPD made the recommended changes. |  |
| - 3-45 | 1226.9.4.3 Specimen collection facilities. | Approve | Accept | No public comments received. | Amendment to correct reference section number. |  |
| - 3-46 | 1226.10.1.1 Patient toilet room(s). | Approve | Accept | No public comments received. | Amendment to add language detailing requirements for patient toilet rooms including requiring grab bars and to remove the pointer to Section 1226.4.14.1. |  |
| - 3-47 | 1226.10.3.1.2 Outpatient waiting room. | Approve | Accept | No public comments received. | Amendment to add more specificity while still referencing Section 1224.4.5. |  |
| - 3-48 | 1226.10.3.1.3 Toilets. | Approve | Accept | No public comments received. | Amendment to add a pointer to the California Plumbing Code. |  |
| - 3-49 | 1226.10.3.1.4 Drinking fountain(s). | Further Study Required | Disagree | No public comments received. | Amendment to clarify the drinking water requirement by revising the section title and language. CAC: Further Study Required under criteria #3, #6, and #7, recommendation to clarify accessibility requirements associated with the language “drinking water shall be readily accessible”. POST CAC: OSHPD did not make changes. See ISOR. |  |
| - 3-51 | 1226.12 PSYCHOLOGY CLINICS. | Approve | Accept | No public comments received. | Amendment to add a sentence to clarify that these types of clinics are licensed by CDPH pursuant to HSC 1204.1. |  |
| - 3-52 | 1226.12.1.1.2 Outpatient waiting room. | Approve | Accept | No public comments received. | Amendment to add more specificity while still referencing Section 1224.4.5. |  |
| - 3-53 | 1226.12.1.1.3 Public toilet(s). | Approve | Accept | No public comments received. | Amendment to add a pointer to the California Plumbing Code. |  |
| - 3-54 | 1226.12.1.1.4 Drinking fountain(s). | Further Study Required | Disagree | No public comments received. | Amendment to clarify the drinking water requirement by revising the section title and language. CAC: Further Study Required under criteria #3, #6, and #7, recommendation to clarify accessibility requirements associated with the language "drinking water shall be readily accessible”. POST CAC: OSHPD did not make changes. See ISOR. |  |

### ITEM 4
Chapter 12, INTERIOR ENVIRONMENT, Section 1226.11 ALTERNATIVE BIRTHING CLINICS [OSHPD 3]

Amend sections listed below.

| OSHPD 02/25 ITEM 4 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 4-2 | 1226.11.1.1 Birthing room. | Approve | Accept | No public comments received. | Amendment to revise (reduce) the required dimensions for birthing room size. |  |
| - 4-3 | 1226.11.1.3 Nurse call system. Exception | Approve | Accept | Sandra O. Poole Recommends: Approve | Amendment to add an exception that allows alternative birthing clinics with three or fewer birthing rooms to use an alternative nurse call system as approved by CDPH. |  |
| - 4-4 | 1226.11.1.6 Window. | Approve | Accept | No public comments received. | Amendment to change the requirement for an outside window in the birthing rooms to be optional. |  |
| - 4-5 | 1226.11.1.8 Reserved Newborn care area. | Approve | Accept | No public comments received. | Amendment to repeal this section. |  |
| - 4-6 | 1226.11.1.9 Examination room. | Approve | Accept | No public comments received. | Amendment to revise the pointer to Section 1224.4.4.1.1. and add a sentence to clarify that a birthing room may be used as an examination room. |  |
| - 4-7 | 1226.11.2.5 Crash Emergency cart space. | Approve | Accept | No public comments received. | Amendment to change the terminology from crash cart to emergency cart. |  |
| - 4-8 | 1226.11.2.6 Reserved Clean-up room. | Approve | Accept | No public comments received. | Amendment to repeal this section. |  |
| - 4-9 | 1226.11.3 Reserved. Support areas for mother and newborn | Approve | Accept | No public comments received. | Amendment to repeal this section heading. |  |
| - 4-10 | 1226.11.2.103.1 Patient toilet room(s). | Approve | Accept | No public comments received. | Amendment to renumber this section from 1226.11.3.1 to 1226.11.2.10 and to remove the nurse call requirement in patient toilet rooms. |  |
| - 4-11 | 1226.11.5.1.2 Outpatient waiting room. | Approve | Accept | No public comments received. | Amendment to add more specificity while still referencing Section 1224.4.5. |  |
| - 4-12 | 1226.11.5.1.3 Public toilet(s). | Approve | Accept | No public comments received. | Amendment to add a pointer to the California Plumbing Code. |  |
| - 4-14 | 1226.11.5.1.5 Drinking fountain(s). | Further Study Required | Disagree | No public comments received. | Amendment to clarify the drinking water requirement by revising the section title and language. CAC: Further Study Required under criteria #3, #6, and #7, recommendation to clarify accessibility requirements associated with the language "drinking water shall be readily accessible”. POST CAC: OSHPD did not make changes. See ISOR. |  |

### ITEM 5
Chapter 12, INTERIOR ENVIRONMENT, Section 1228 ACUTE PSYCHIATRIC HOSPITALS [OSHPD 5]

Amend sections listed below.

| OSHPD 02/25 ITEM 5 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 5-1 | 1228.13.1.1 Indoor activity rooms. and 1228.20.1 Dining area. | Approve | Accept | No public comments received. | Amendment to change all uses of the term “room” to “area” in these sections to clarify the space requirements that meet the intended function of the space. |  |