COMMISSION ACTION MATRIX – SALMON
HEALTH FACILITIES (HF) CODE ADVISORY COMMITTEE
2025 CALIFORNIA BUILDING CODE, TITLE 24, PART 2 VOL. 1
AGENCY: OFFICE OF STATEWIDE HOSPITAL PLANNING AND DEVELOPMENT, OSHPD 02/25
LEGEND:
CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required
Agency Responses: Accept, Disagree, Withdraw
CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required
[bookmark: _Hlk51752204]Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required
[bookmark: _Hlk51751202]If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.
· Model Code language appears upright
· Existing California amendments appear in italic
· Amended model code or new California amendments appear underlined & italic
· Repealed model code language appears upright and in strikeout
· Repealed California amendments appear in italic and strikeout
· Ellipses (…) indicate existing text remains unchanged
ITEM 1
Chapter 12, INTERIOR ENVIRONMENT, Section 1224 HOSPITALS [OSHPD 1]
Amend sections listed below.
	OSHPD 02/25
ITEM 1
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	1-5
	1224.4.11.2.2 Wet cleaning.
	Approve as Amended
	Disagree
	No public comments received.
	Amendment to require integral coved wall base at permanently installed casework in wet cleaning rooms and to add room types to the required areas.
CAC: Approve as Amended under criteria #6, general recommendation to make grammatical changes throughout Item 1 proposals.
POST CAC: No change in ET, no specific changes were recommended.
POST 45-Day Public Comment Period: Withdrawn by OSHPD after 45-Day Public Comment Period.
	




ITEM 3
Chapter 12, INTERIOR ENVIRONMENT, Section 1226 CLINICS [OSHPD 3]
Amend sections listed below.
	OSHPD 02/25
ITEM 3
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	3-12
	1226.4.8.2 Dimensions.
	Approve as Amended
	Withdraw
	N/A
	Amendment to revise the language to reflect that requirements apply to at least one elevator in a clinic where the services that would have patients transported in wheeled stretchers.
CAC: Approve as Amended under criteria #6, recommendation to clarify the scope of this requirement and make clear which clinics must comply, as whether patients will be transported in wheeled stretchers may be ambiguous.
POST CAC: Withdrawn by OSHPD.
	

	3-35
	1226.6.5.1.4 Public telephone access.
	Further Study Required 
	Withdraw
	N/A
	Amendment to clarify the telephone requirement stating that a telecommunication device shall be readily accessible.
CAC: Further Study Required under criteria #3, #6, and #7, recommendation to clarify the term “telecommunication device” for access requirements associated with it and ensure that requirements are similar to those for the term “telephone”.
POST CAC: Withdrawn by OSHPD.
	

	3-42
	1226.8.5.1.4 Public telephone access.
	Further Study Required
	Withdraw
	N/A
	Amendment to clarify the telephone requirement stating that a telecommunication device shall be readily accessible.
CAC: Further Study Required under criteria #3, #6, and #7, recommendation to clarify the term “telecommunication device” for access requirements associated with it and ensure that requirements are similar to those for the term “telephone”.
POST CAC: Withdrawn by OSHPD.
	

	3-50
	1226.10.3.1.5 Telephone.
	Further Study Required
	Withdraw
	N/A
	Amendment to clarify the telephone requirement stating that a telecommunication device shall be readily accessible.
CAC: Further Study Required under criteria #3, #6, and #7, recommendation to clarify the term “telecommunication device” for access requirements associated with it and ensure that requirements are similar to those for the term “telephone”.
POST CAC: Withdrawn by OSHPD.
	

	3-55
	1226.12.1.1.5 Public telephone.
	Further Study Required
	Withdraw
	N/A
	Amendment to clarify the telephone requirement stating that a telecommunication device shall be readily accessible.
CAC: Further Study Required under criteria #3, #6, and #7, recommendation to clarify the term “telecommunication device” for access requirements associated with it and ensure that requirements are similar to those for the term “telephone”.
POST CAC: Withdrawn by OSHPD.
	


ITEM 4
Chapter 12, INTERIOR ENVIRONMENT, Section 1226.11 ALTERNATIVE BIRTHING CLINICS [OSHPD 3]
Amend sections listed below.
	OSHPD 02/25
ITEM 4
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	4-13
	1226.11.5.1.4 Public telephone.
	Further Study Required
	Withdraw
	N/A
	Amendment to clarify the telephone requirement stating that a telecommunication device shall be readily accessible.
CAC: Further Study Required under criteria #3, #6, and #7, recommendation to clarify the term “telecommunication device” for access requirements associated with it and ensure that requirements are similar to those for the term “telephone”.
POST CAC: Withdrawn by OSHPD.
	

	4-15
	1226.11.6.3 Staff lounge.
	Further Study Required
	Withdraw
	N/A
	Amendment to state the requirements for a staff lounge and remove the pointer to requirements in Section 1226.4.17.3.
CAC: Further Study Required under criteria #3, #6, and #7, recommendation to clarify “adequate” and make the requirement less vague.
POST CAC: Withdrawn by OSHPD.
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