# COMMISSION ACTION MATRIX – SALMON
HEALTH FACILITIES (HF) CODE ADVISORY COMMITTEE

## 2025 CALIFORNIA BUILDING CODE, TITLE 24, PART 2 VOL. 1
AGENCY: OFFICE OF STATEWIDE HOSPITAL PLANNING AND DEVELOPMENT, OSHPD 02/25

### LEGEND:

CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Agency Responses: Accept, Disagree, Withdraw

CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

- Model Code language appears upright

- Existing California amendments appear in italic

- Amended model code or new California amendments appear underlined & italic

- Repealed model code language appears upright and in strikeout

- Repealed California amendments appear in italic and strikeout

- Ellipses (…) indicate existing text remains unchanged

### ITEM 1
Chapter 12, INTERIOR ENVIRONMENT, Section 1224 HOSPITALS [OSHPD 1]

Amend sections listed below.

| OSHPD 02/25 ITEM 1 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 1-5 | 1224.4.11.2.2 Wet cleaning. | Approve as Amended | Disagree | No public comments received. | Amendment to require integral coved wall base at permanently installed casework in wet cleaning rooms and to add room types to the required areas. CAC: Approve as Amended under criteria #6, general recommendation to make grammatical changes throughout Item 1 proposals. POST CAC: No change in ET, no specific changes were recommended. POST 45-Day Public Comment Period: Withdrawn by OSHPD after 45-Day Public Comment Period. |  |

### ITEM 3
Chapter 12, INTERIOR ENVIRONMENT, Section 1226 CLINICS [OSHPD 3]

Amend sections listed below.

| OSHPD 02/25 ITEM 3 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 3-12 | 1226.4.8.2 Dimensions. | Approve as Amended | Withdraw | N/A | Amendment to revise the language to reflect that requirements apply to at least one elevator in a clinic where the services that would have patients transported in wheeled stretchers. CAC: Approve as Amended under criteria #6, recommendation to clarify the scope of this requirement and make clear which clinics must comply, as whether patients will be transported in wheeled stretchers may be ambiguous. POST CAC: Withdrawn by OSHPD. |  |
| - 3-35 | 1226.6.5.1.4 Public telephone access. | Further Study Required | Withdraw | N/A | Amendment to clarify the telephone requirement stating that a telecommunication device shall be readily accessible. CAC: Further Study Required under criteria #3, #6, and #7, recommendation to clarify the term “telecommunication device” for access requirements associated with it and ensure that requirements are similar to those for the term “telephone”. POST CAC: Withdrawn by OSHPD. |  |
| - 3-42 | 1226.8.5.1.4 Public telephone access. | Further Study Required | Withdraw | N/A | Amendment to clarify the telephone requirement stating that a telecommunication device shall be readily accessible. CAC: Further Study Required under criteria #3, #6, and #7, recommendation to clarify the term “telecommunication device” for access requirements associated with it and ensure that requirements are similar to those for the term “telephone”. POST CAC: Withdrawn by OSHPD. |  |
| - 3-50 | 1226.10.3.1.5 Telephone. | Further Study Required | Withdraw | N/A | Amendment to clarify the telephone requirement stating that a telecommunication device shall be readily accessible. CAC: Further Study Required under criteria #3, #6, and #7, recommendation to clarify the term “telecommunication device” for access requirements associated with it and ensure that requirements are similar to those for the term “telephone”. POST CAC: Withdrawn by OSHPD. |  |
| - 3-55 | 1226.12.1.1.5 Public telephone. | Further Study Required | Withdraw | N/A | Amendment to clarify the telephone requirement stating that a telecommunication device shall be readily accessible. CAC: Further Study Required under criteria #3, #6, and #7, recommendation to clarify the term “telecommunication device” for access requirements associated with it and ensure that requirements are similar to those for the term “telephone”. POST CAC: Withdrawn by OSHPD. |  |

### ITEM 4
Chapter 12, INTERIOR ENVIRONMENT, Section 1226.11 ALTERNATIVE BIRTHING CLINICS [OSHPD 3]

Amend sections listed below.

| OSHPD 02/25 ITEM 4 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 4-13 | 1226.11.5.1.4 Public telephone. | Further Study Required | Withdraw | N/A | Amendment to clarify the telephone requirement stating that a telecommunication device shall be readily accessible. CAC: Further Study Required under criteria #3, #6, and #7, recommendation to clarify the term “telecommunication device” for access requirements associated with it and ensure that requirements are similar to those for the term “telephone”. POST CAC: Withdrawn by OSHPD. |  |
| - 4-15 | 1226.11.6.3 Staff lounge. | Further Study Required | Withdraw | N/A | Amendment to state the requirements for a staff lounge and remove the pointer to requirements in Section 1226.4.17.3. CAC: Further Study Required under criteria #3, #6, and #7, recommendation to clarify “adequate” and make the requirement less vague. POST CAC: Withdrawn by OSHPD. |  |