# COMMISSION ACTION MATRIX – YELLOW
HEALTH FACILITIES (HF) CODE ADVISORY COMMITTEE

## 2025 CALIFORNIA BUILDING CODE, TITLE 24, PART 2 VOL. 1
AGENCY: OFFICE OF STATEWIDE HOSPITAL PLANNING AND DEVELOPMENT, OSHPD 02/25

### LEGEND:

CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Agency Responses: Accept, Disagree, Withdraw

CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

- Model Code language appears upright

- Existing California amendments appear in italic

- Amended model code or new California amendments appear underlined & italic

- Repealed model code language appears upright and in strikeout

- Repealed California amendments appear in italic and strikeout

- Ellipses (…) indicate existing text remains unchanged

### ITEM 4
Chapter 12, INTERIOR ENVIRONMENT, Section 1226.11 ALTERNATIVE BIRTHING CLINICS [OSHPD 3]

Amend sections listed below.

| OSHPD 02/25 ITEM 4 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 4-1 | 1226.11 ALTERNATIVE BIRTHING CLINICS. | Approve as Amended | Accept | Sandra O. Poole Recommends: Approve as Amended | Amendment to add the facility type “primary care clinics” to the scope of this section and language to provide additional clarification about the types of facilities licensed by the California Department of Public Health to which this section would apply. CAC: Approve as Amended under criteria #8, recommendation to revise “centers” to “clinics” for consistency with terms throughout the code. POST CAC: OSHPD made the recommended changes. POST 45-DAY: OSHPD did not make changes in FET. See FSOR. |  |