# COMMISSION ACTION MATRIX – YELLOW
GREEN Building – PLUMBING, ELECTRICAL, MECHANICAL & ENERGY AD-HOC (GREEN/PEME) CODE ADVISORY COMMITTEE

## 2025 California mechanical code, TITLE 24, PART 4 
AGENCY: office of statewide hospital planning and development, OSHPD 05/25

### LEGEND:

CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Agency Responses: Accept, Disagree, Withdraw

CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

- Model Code language appears upright

- Existing California amendments appear in italic

- Amended model code or new California amendments appear underlined & italic

- Repealed model code language appears upright and in strikeout

- Repealed California amendments appear in italic and strikeout

- Ellipses (…) indicate existing text remains unchanged

### ITEM 3
CHAPTER 4 VENTILATION AIR, SECTIONS 401.0, 402.0, 403.0 AND 407.0

OSHPD proposes to amend and/or add new sections listed below.

| OSHPD 05/25 ITEM 3 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 3-8 | 407.3.1 | Approve | Accept | 45-Day Public Comment Period: Jeremy Zeedyk & Christopher Ruch Recommendation: Approve as amended 15-Day Public Comment Period: No public comments received. | Add 3rd party for certified balancers. POST 45-day: OSHPD revised the language in 15-Day ET per the commenter recommendations. |  |