COMMISSION ACTION MATRIX – salmon
GREEN Building – PLUMBING, ELECTRICAL, MECHANICAL & ENERGY AD-HOC (GREEN/PEME) CODE ADVISORY COMMITTEE

2025 california plumbing code, TITLE 24, PART 5
AGENCY: office of statewide hospital planning and development, OSHPD 06/25
LEGEND:
CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required
Agency Responses: Accept, Disagree, Withdraw 
CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required
[bookmark: _Hlk51752204]Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required
[bookmark: _Hlk51751202]If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.
· Model Code language appears upright
· Existing California amendments appear in italic
· Amended model code or new California amendments appear underlined & italic
· Repealed model code language appears upright and in strikeout
· Repealed California amendments appear in italic and strikeout
· Ellipses (…) indicate existing text remains unchanged
ITEM 1
Chapter 2 definitions, Section 210.0 - H
OSHPD proposes to amend definition listed below.
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	1-3
	Handwashing Fixture (2)c.
	Approve
	Accept
	No public comments
	Coordinate minimum size of lavatory with national standard.
Post 45-Day Public Comment Period: OSHPD Withdraws Item 1-3.
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