# COMMISSION ACTION MATRIX – GREEN
BUILDING, FIRE AND OTHER – STRUCTURAL DESIGN/LATERAL FORCES aD-hoc (bfo/SDlF) CODE ADVISORY COMMITTEE

## 2025 California BUILDING CODE, TITLE 24, PART 2
AGENCY: Office of the state fire Marshal, SFM 01/25

### LEGEND:

CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Agency Responses: Accept, Disagree, Withdraw

CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

- Model Code language appears upright

- Existing California amendments appear in italic

- Amended model code or new California amendments appear underlined & italic

- Repealed model code language appears upright and in strikeout

- Repealed California amendments appear in italic and strikeout

- Ellipses (…) indicate existing text remains unchanged

### ITEM 1
Chapter 2 – DEFINITIONS

SFM proposes to amend definitions listed below.

| SFM 03/25 ITEM 1 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| 1-12 | NON-PATIENT-CARE SUITE. | Approve | Accept | B. Raymer; representing Industry Coalition Recommendation: Approve. | Editorial modification to avoid misunderstanding. |  |

### ITEM 3
Chapter 7 – FIRE AND SMOKE PROTECTION FEATURES

SFM proposes to amend section listed below.

| SFM 01-25 ITEM 3 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| 3-1 | 708.1 General. | Approve | Accept | B. Raymer; representing Industry Coalition Recommendation: Approve. | Amend in collaboration with OSHPD to reserve item 6 regarding conditions for 1-hour fire barrier and walls separating ambulatory care facilities. |  |

### ITEM 4
Chapter 9 – FIRE PROTECTION AND LIFE SAFETY SYSTEMS, SECTION 907 FIRE ALARM AND DETECTION SYSTEMS

SFM proposes to amend sections listed below.

| SFM 01-25 ITEM 4 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| 4-1 | 907.2.5.1 Group H occupancies located on the 11th story and above. 907.2.6.3.4 System annunciation. 907.2.28.1 Group L occupancies located on the 11th story and above. 907.6.4 Zones. | Approve | Accept | B. Raymer; representing Industry Coalition Recommendation: Approve. | Repeal or relocate outdated or duplicative amendments as these requirements already addressed in adopted referenced standards. Amend to clarify and align with national standards. |  |

### ITEM 7
Chapter 35 – REFERENCED STANDARDS

SFM proposes to amend referenced standard listed below.

| SFM 01/25 ITEM 7 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| 7-1 | NFPA 72-25 National Fire Alarm Signaling Code, Section 12.4.2 Pathway Survivability 1. | Approve | Accept | B. Raymer; representing Industry Coalition Recommendation: Approve. | Add amendment to clarify requirements for “Pathway Survivability Level 1.” |  |
| 7-2 | NFPA 72-25 National Fire Alarm Signaling Code, Section 26.2.11.3 | Approve | Accept | B. Raymer; representing Industry Coalition Recommendation: Approve. | Add amendment to delete NFPA 72-25 Section 26.2.11.3. |  |