


COMMISSION ACTION MATRIX – GREEN
BUILDING, FIRE AND OTHER – STRUCTURAL DESIGN/LATERAL FORCES aD-hoc (bfo/SDlF) CODE ADVISORY COMMITTEE
2025 California BUILDING CODE, TITLE 24, PART 2
AGENCY: Office of the state fire Marshal, SFM 01/25
LEGEND:
CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required
Agency Responses: Accept, Disagree, Withdraw
CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required
[bookmark: _Hlk51752204]Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required
[bookmark: _Hlk51751202]If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.
· Model Code language appears upright
· Existing California amendments appear in italic
· Amended model code or new California amendments appear underlined & italic
· Repealed model code language appears upright and in strikeout
· Repealed California amendments appear in italic and strikeout
· Ellipses (…) indicate existing text remains unchanged

ITEM 1
Chapter 2 – DEFINITIONS
SFM proposes to amend definitions listed below.
	SFM 03/25
ITEM 1
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	1-12
	NON-PATIENT-CARE SUITE.
	Approve
	Accept
	B. Raymer; representing Industry Coalition
Recommendation: Approve.
	Editorial modification to avoid misunderstanding.
	



ITEM 3
Chapter 7 – FIRE AND SMOKE PROTECTION FEATURES
SFM proposes to amend section listed below.
	SFM 01-25
ITEM 3
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	3-1
	708.1 General.
	Approve
	Accept
	B. Raymer; representing Industry Coalition
Recommendation: Approve.
	Amend in collaboration with OSHPD to reserve item 6 regarding conditions for 1-hour fire barrier and walls separating ambulatory care facilities.
	


ITEM 4
Chapter 9 – FIRE PROTECTION AND LIFE SAFETY SYSTEMS, SECTION 907 FIRE ALARM AND DETECTION SYSTEMS
SFM proposes to amend sections listed below.
	SFM 01-25
ITEM 4
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	4-1
	907.2.5.1 Group H occupancies located on the 11th story and above.
[bookmark: _Hlk212619861]907.2.6.3.4 System annunciation.
907.2.28.1 Group L occupancies located on the 11th story and above.
907.6.4 Zones.
	Approve
	Accept
	B. Raymer; representing Industry Coalition
Recommendation: Approve.
	Repeal or relocate outdated or duplicative amendments as these requirements already addressed in adopted referenced standards. Amend to clarify and align with national standards.
	



ITEM 7
Chapter 35 – REFERENCED STANDARDS
SFM proposes to amend referenced standard listed below.
	SFM 01/25
ITEM 7
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	7-1
	NFPA 72-25 National Fire Alarm Signaling Code, Section 12.4.2 Pathway Survivability 1.
	Approve
	Accept
	B. Raymer; representing Industry Coalition
Recommendation: Approve.
	Add amendment to clarify requirements for “Pathway Survivability Level 1.”
	

	7-2
	NFPA 72-25 National Fire Alarm Signaling Code, Section 26.2.11.3  
	Approve
	Accept
	B. Raymer; representing Industry Coalition
Recommendation: Approve.
	Add amendment to delete NFPA 72-25 Section 26.2.11.3.
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