


COMMISSION ACTION MATRIX – SALMON
BUILDING, FIRE AND OTHER – STRUCTURAL DESIGN/LATERAL FORCES aD-hoc (bfo/SDlF) CODE ADVISORY COMMITTEE
2025 California BUILDING CODE, TITLE 24, PART 2
AGENCY: Office of the state fire Marshal, SFM 01/25
LEGEND:
CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required
Agency Responses: Accept, Disagree, Withdraw
CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required
[bookmark: _Hlk51752204]Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required
[bookmark: _Hlk51751202]If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.
· Model Code language appears upright
· Existing California amendments appear in italic
· Amended model code or new California amendments appear underlined & italic
· Repealed model code language appears upright and in strikeout
· Repealed California amendments appear in italic and strikeout
· Ellipses (…) indicate existing text remains unchanged
ITEM 1
Chapter 2 – DEFINITIONS
SFM proposes to amend definitions listed below.
	SFM 03/25
ITEM 1
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	1-1
	CARBON MONOXIDE SOURCE
Carbon Monoxide Source, Direct
Carbon Monoxide Source, Forced-indirect
	Approve
	Accept
	B. Raymer; representing Industry Coalition
Recommendation: Approve.
	Amend the model code definition to clarify and differentiate between direct and indirect CO sources.

POST 45 DAY:
SFM Response:
WITHDRAWN
	

	1-2
	CHILD CARE CENTER.
DAY CHILD-CARE HOME, FAMILY.
DAY CHILD-CARE HOME, LARGE FAMILY.
DAY CHILD-CARE HOME, SMALL FAMILY.
DAY-CARE, ADULT.
	Further Study
Required
	Accept
	M. Cottrill: Head Start California,
T. Jordan: Stanislaus County Office of Education
S Orum: Department of Social Services (DSS)
Approve as Amended.

K. Laigo: Child Care Law Center:
Recommendation: 
Approve as Amended or Further Study Required.

B. Raymer; representing Industry Coalition
Recommendation: Approve.
	Amend to align with other existing regulations and laws.
CAC: Further Study Required, 9-Point Criteria 1, 6.
Recommendation to consider whether deletion of DAY-CARE definition (making it the same as CHILD-CARE) is appropriate. SFM to consider possible conflict between definitions of CHILD-CARE and Adult DAY-CARE elsewhere in the Code. Additional ISOR rationale is requested to explain the proposal.
POST CAC: Removed the proposal to delete the definition and added “Adult” to the definition of Day-Care to keep it separate and distinct.

POST 45 DAY:
SFM Response:
WITHDRAWN
	


	1-3
	COMBUSTIBLE LIQUID. FLAMMABLE LIQUID.
	Approve
	Accept
	A. Sulkanen: Fire Prevention Services, UC Davis,
C. Anderson: City of Fremont Fire Department,
M. Hall: California Fire Prevention Officers, Northern Division.
Recommendation: Approve.

B. Raymer; representing Industry Coalition
Recommendation: Approve.
	Amend model definitions to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS).

POST 45 DAY:
SFM Response:
WITHDRAWN
	

	1-4
	COMPRESSED GAS.
COMPRESSED GAS, DISSOLVED.
COMPRESSED GAS, GASEOUS.
COMPRESSED GAS, LIQUEFIED.
	Approve
	Accept
	A. Sulkanen: Fire Prevention Services, UC Davis,
C. Anderson: City of Fremont Fire Department,
M. Hall: California Fire Prevention Officers, Northern Division.
Recommendation: Approve.

B. Raymer:
California Building Industry Association
California Apartment Association
California Business Properties Association
Building Owners & Managers Association
Recommendation: Approve.
	Amend model definitions to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS).

POST 45 DAY:
SFM Response:
WITHDRAWN
	

	1-5
	CORROSIVE.
	Approve
	Accept
	A. Sulkanen: Fire Prevention Services, UC Davis,
C. Anderson: City of Fremont Fire Department,
M. Hall: California Fire Prevention Officers, Northern Division.
Recommendation: Approve.

B. Raymer; representing Industry Coalition
Recommendation: Approve.
	Amend model definition to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS).

POST 45 DAY:
SFM Response:
WITHDRAWN
	

	1-6
	CRYOGENIC FLUID.
CRYOGENIC FLUID, FLAMMABLE.
CRYOGENIC FLUID, INERT.
CRYOGENIC FLUID, OXIDIZING.
FLAMMABLE CRYOGENIC FLUID. OXIDIZING CRYOGENIC FLUID. 
	Approve
	Accept
	A. Sulkanen: Fire Prevention Services, UC Davis,
C. Anderson: City of Fremont Fire Department,
M. Hall: California Fire Prevention Officers, Northern Division.
Recommendation: Approve.

B. Raymer; representing Industry Coalition
Recommendation: Approve.
	Amend model definitions to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS).

POST 45 DAY:
SFM Response:
WITHDRAWN
	

	1-7
	EXPLOSIVE.
	Approve
	Accept
	A. Sulkanen: Fire Prevention Services, UC Davis,
C. Anderson: City of Fremont Fire Department,
M. Hall: California Fire Prevention Officers, Northern Division.
Recommendation: Approve.

B. Raymer; representing Industry Coalition
Recommendation: Approve.
	Amend model definition to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS).

POST 45 DAY:
SFM Response:
WITHDRAWN
	

	1-8
	FLAMMABLE GAS.
	Approve
	Accept
	A. Sulkanen: Fire Prevention Services, UC Davis,
C. Anderson: City of Fremont Fire Department,
M. Hall: California Fire Prevention Officers, Northern Division.
Recommendation: Approve.

B. Raymer; representing Industry Coalition
Recommendation: Approve.
	Amend model definition to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS).

POST 45 DAY:
SFM Response:
WITHDRAWN
	

	1-9
	FLAMMABLE SOLID.
	Approve
	Accept
	A. Sulkanen: Fire Prevention Services, UC Davis,
C. Anderson: City of Fremont Fire Department,
M. Hall: California Fire Prevention Officers, Northern Division.
Recommendation: Approve.

B. Raymer; representing Industry Coalition
Recommendation: Approve.
	Amend model definition to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS).

POST 45 DAY:
SFM Response:
WITHDRAWN
	

	1-10
	HIGHLY TOXIC.
TOXIC.
	Approve
	Accept
	A. Sulkanen: Fire Prevention Services, UC Davis,
C. Anderson: City of Fremont Fire Department,
M. Hall: California Fire Prevention Officers, Northern Division.
Recommendation: Approve.

B. Raymer; representing Industry Coalition
Recommendation: Approve.
	Amend model definitions to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS).

POST 45 DAY:
SFM Response:
WITHDRAWN
	

	1-11
	INFANT.
	Approve
	Accept
	M. Cottrill: Head Start California,
T. Jordan: Stanislaus County Office of Education:
Recommendation:  Approve.

B. Raymer; representing Industry Coalition
Recommendation: Approve.
	Amend to align with Title 22.

POST 45 DAY:
SFM Response:
WITHDRAWN
	

	1-13
	ORGANIC PEROXIDE.
	Approve
	Accept
	A. Sulkanen: Fire Prevention Services, UC Davis,
C. Anderson: City of Fremont Fire Department,
M. Hall: California Fire Prevention Officers, Northern Division.
Recommendation: Approve.

B. Raymer; representing Industry Coalition
Recommendation: Approve.
	Amend model definition to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS).

POST 45 DAY:
SFM Response:
WITHDRAWN
	

	1-14
	OXIDIZER.
	Approve
	Accept
	A. Sulkanen: Fire Prevention Services, UC Davis,
C. Anderson: City of Fremont Fire Department,
M. Hall: California Fire Prevention Officers, Northern Division.
Recommendation: Approve.

B. Raymer; representing Industry Coalition
Recommendation: Approve.
	Amend model definition to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS).

POST 45 DAY:
SFM Response:
WITHDRAWN
	

	1-15
	OXIDIZING GAS
	Approve
	Accept
	A. Sulkanen: Fire Prevention Services, UC Davis,
C. Anderson: City of Fremont Fire Department,
M. Hall: California Fire Prevention Officers, Northern Division.
Recommendation: Approve.

B. Raymer; representing Industry Coalition
Recommendation: Approve.
	Amend model definition to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS).

POST 45 DAY:
SFM Response:
WITHDRAWN
	

	1-16
	PYROPHORIC.
	Approve
	Accept
	A. Sulkanen: Fire Prevention Services, UC Davis,
C. Anderson: City of Fremont Fire Department,
M. Hall: California Fire Prevention Officers, Northern Division.
Recommendation: Approve.

B. Raymer; representing Industry Coalition
Recommendation: Approve.
	Amend model definition to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS).

POST 45 DAY:
SFM Response:
WITHDRAWN
	

	1-17
	UNSTABLE (REACTIVE) MATERIAL.
	Approve
	Accept
	A. Sulkanen: Fire Prevention Services, UC Davis,
C. Anderson: City of Fremont Fire Department,
M. Hall: California Fire Prevention Officers, Northern Division.
Recommendation: Approve.

B. Raymer; representing Industry Coalition
Recommendation: Approve.
	Amend model definition to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS).

POST 45 DAY:
SFM Response:
WITHDRAWN
	

	1-18
	WATER-REACTIVE MATERIAL.
	Approve
	Accept
	A. Sulkanen: Fire Prevention Services, UC Davis,
C. Anderson: City of Fremont Fire Department,
M. Hall: California Fire Prevention Officers, Northern Division.
Recommendation: Approve.

B. Raymer; representing Industry Coalition
Recommendation: Approve.
	Amend model definition to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS).

POST 45 DAY:
SFM Response:
WITHDRAWN
	





ITEM 2
Chapter 3 – OCCUPANCY CLASSIFICATION AND USE
SFM proposes to amend sections listed below.
	SFM 01/25
ITEM 2
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	2-1
	305.2 Group E, child-care facilities.
305.2.2 Six Five or fewer children.
305.2.3 Six Five or fewer children in a dwelling unit.
	Approve
	Accept
	T. Jordan: Stanislaus County Office of Education
M. Cottrill: Head Start California
Recommendation: Approve.

K. Laigo: Child Care Law Center-Recommendation:
Approve as Amended or Further Study Required.

B. Raymer; representing Industry Coalition
Recommendation: Approve.
	Amend to align with Title 22 and to align references to “six or fewer” persons in Part 2 and Part 9.

POST 45 DAY:
SFM Response:
WITHDRAWN
	

	2-2
	308.5 Institutional Group I-4, day care and child care facilities.
308.5.2 Within places of worship. 
308.5.3 Six Five or fewer persons receiving care.
308.5.4 Six or fewer persons receiving care in a dwelling unit.
	Approve
	Accept
	T. Jordan: Stanislaus County Office of Education
M. Cottrill: Head Start California
Recommendation: Approve.

K. Laigo: Child Care Law Center
Recommendation:
Approve as Amended or Further Study Required.

B. Raymer; representing Industry Coalition
Recommendation: Approve.
	Amend to include child care facilities, align with existing statutes, align references to “six or fewer” persons in Part 2 and Part 9 and clarify the application of the code when the number of care recipients is limited, thereby reducing   hazard levels.

POST 45 DAY:
SFM Response:
WITHDRAWN
	





ITEM 5
Chapter 9 – FIRE PROTECTION AND LIFE SAFETY SYSTEMS, SECTION 915 – CARBON MONOXIDE (CO) DETECTION
SFM proposes to amend sections listed below.
	SFM 01/25
ITEM 5
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	5-1
	SECTION 915 – CARBON MONOXIDE (CO) DETECTION with all the subsections
	Further Study Required
	Accept
	B. Raymer:
California Building Industry Association
California Apartment Association
California Business Properties Association
Building Owners & Managers Association
Recommendation:
Approve
(Supplemental Comment Letter 5/4/2026).
	Amend Section 915 replacing model code language and existing the majority of SFM amendments with new language.
CAC: Further Study Required, 9-Point Criteria 1.
Further Study was requested by SFM to resolve issues with HCD co-adoption of existing amendments language proposed for modifications by SFM.
POST CAC: Excluded the sections adopted by HCD, added the clarifying requirements, renumbered and made editorial corrections.

POST 45 DAY:
SFM Response:
WITHDRAWN
	



ITEM 6
Chapter 10 – MEANS OF EGRESS
SFM proposes to amend section listed below.
	SFM 01/25
ITEM 6
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	6-1
	1010.2.12 Delayed egress.
	Approve
	Accept
	K. Baker, Self
Recommendation:
Approve as amended.

B. Raymer; representing Industry Coalition
Recommendation: Approve.
	Delete model language “or heat” in the first paragraph.

POST 45 DAY:
SFM Response:
WITHDRAWN
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