# COMMISSION ACTION MATRIX – YELLOW
BUILDING, FIRE AND OTHER – STRUCTURAL DESIGN/LATERAL FORCES aD-hoc (bfo/SDlF) CODE ADVISORY COMMITTEE

## 2025 California BUILDING CODE, TITLE 24, PART 2
AGENCY: Office of the state fire Marshal, SFM 01/25

### LEGEND:

CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Agency Responses: Accept, Disagree, Withdraw

CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

- Model Code language appears upright

- Existing California amendments appear in italic

- Amended model code or new California amendments appear underlined & italic

- Repealed model code language appears upright and in strikeout

- Repealed California amendments appear in italic and strikeout

- Ellipses (…) indicate existing text remains unchanged

### ITEM 6
Chapter 10 – MEANS OF EGRESS

SFM proposes to amend section listed below.

| SFM 01/25 ITEM 6 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| 6-2 | Table 1006.3.4(1) Stories and occupiable roofs with one exit or access to one exit for R-2 and R-3 occupancies | Approve | Accept | K. Baker, Self Recommendation: Approve as amended. B. Raymer; representing Industry Coalition Recommendation: Approve. | Amend to carry forward an existing amendment to this table footnote a which was erroneously omitted during the printing of the code. SFM Response: No changes to the Express Terms. The amendment correlates with the requirements as printed in the California Building Code. |  |