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ITEM 6
Chapter 10 – MEANS OF EGRESS
SFM proposes to amend section listed below.
	SFM 01/25
ITEM 6
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	6-2
	Table 1006.3.4(1) Stories and occupiable roofs with one exit or access to one exit for R-2 and R-3 occupancies
	Approve
	Accept
	K. Baker, Self
Recommendation:
Approve as amended.

B. Raymer; representing Industry Coalition
Recommendation: Approve.
	Amend to carry forward an existing amendment to this table footnote a which was erroneously omitted during the printing of the code.

SFM Response: No changes to the Express Terms.  The amendment correlates with the requirements as printed in the California Building Code.
	



BSC TP-123 (Rev. 8/24) Commission Action Matrix	July 21, 2026
SFM 01/25 - Part 2 – 2025 Intervening Code Cycle	CAM – YELLOW
State Fire Marshal	Page 1 of 1
