# COMMISSION ACTION MATRIX – GREEN
BUILDING, FIRE AND OTHER – STRUCTURAL SAFETY/LATERAL FORCES aD-hoc (bfo/SDlF) CODE ADVISORY COMMITTEE

## 2025 California FIRE CODE, TITLE 24, PART 9
STATE FIRE MARSHAL, SFM 03/25

### LEGEND:

CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Agency Responses: Accept, Disagree, Withdraw

CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

- Model Code language appears upright

- Existing California amendments appear in italic

- Amended model code or new California amendments appear underlined & italic

- Repealed model code language appears upright and in strikeout

- Repealed California amendments appear in italic and strikeout

- Ellipses (…) indicate existing text remains unchanged

### ITEM 1
Chapter 2 – DEFINITIONS

SFM proposes to amend definitions listed below.

| SFM 03/25 ITEM 1 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| 1-12 | NON-PATIENT-CARE SUITE. | Approve | Accept | No public Comments Received | Editorial modification to avoid misunderstanding. |  |

### ITEM 3
Chapter 9 – FIRE PROTECTION AND LIFE SAFETY SYSTEMS, SECTION 907 FIRE ALARM AND DETECTION SYSTEMS

SFM proposes to amend sections listed below.

| SFM 03/25 ITEM 3 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| 3-1 | 907.2.5.1 Group H occupancies located on the 11th story and above. 907.2.6.3.4 System annunciation. 907.2.28.1 Group L occupancies located on the 11th story and above. 907.6.4 Zones. | Approve | Accept | No public Comments Received. | Repeal or relocate outdated or duplicative amendments as these requirements already addressed in adopted referenced standards. Amend to clarify and align with national standards. |  |

### ITEM 7
Chapter 12 – ENERGY SYSTEMS, SECTION 1207 – ELECTRICAL ENERGY STORAGE SYSTEMS (ESS)

SFM proposes to amend sections listed below.

| SFM 03/25 ITEM 7 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| 7-1 | ### Multiple sections (see ET) | Approve | Accept | No public Comments Received. | Amend to delete all pointers referencing to 2023 Edition of NFPA 855 to coordinate with the editions of standards referenced in Chapter 80. |  |

### ITEM 8
Chapter 50 – HAZARDOUS MATERIALS-GENERAL PROVISIONS

SFM proposes to amend sections listed below.

| SFM 03/25 ITEM 8 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| 8-1 | 5001.1 Scope. | Approve | Accept | No public Comments Received. | Amend to add a phrase “or storage occupancies” to Exception #2 for alcoholic beverages in retail or wholesale sales occupancies. |  |
| 8-1.1 | Section 5001.5.1 Hazardous Materials Management Plan (HMMP) Section 5001.5.2 Hazardous Materials Inventory Statement (HMIS) | Not Applicable | See ISOR | No public Comments Received. | POST CAC: Item added after CAC meeting. Correct references to Title 19. |  |
| 8-2 | 5003.1.1 Maximum allowable quantity per control area. | Further Study Required | Accept | No public Comments Received. | Amend the Exception regarding medical gas cylinder sizes aligning with language used in NFPA 99 in collaboration with OSHPD. CAC: Further Study Required, 9-Point Criteria 6. Consider removing words “small-size” as vague and unnecessary. Also consider removing unnecessary comma. POST CAC: Removed the words “small size,” and defined immediate use for clarity. |  |

### ITEM 9
Chapter 80 – REFERENCED STANDARDS

SFM proposes to amend Referenced Standards listed below.

| SFM 03/25 ITEM 9 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| 9-1 | NFPA 72-25 National Fire Alarm Signaling Code, Section 12.4.2 Pathway Survivability 1. | Approve | Accept | No public Comments Received. | Add amendment to clarify requirements for “Pathway Survivability Level 1.” |  |
| 9-2 | NFPA 72-25 National Fire Alarm Signaling Code, Section 26.2.11.3 | Approve | Accept | No public Comments Received. | Add amendment to delete NFPA 72-25 Section 26.2.11.3. |  |
| 9-3 | NFPA 855 – 23 26 Standard for the Installation of Stationary Energy Storage Systems | Approve | Accept | No public Comments Received. | Adopt the most recent edition of NFPA 855. |  |
| 9-4 | ASHRAE 15 – 2022 2024; including Addendum A: Safety Standard for Refrigeration Systems | Approve | Accept | B. Raymer, representing Industry Coalition Recommendation: Approve. | Adopt the most recent edition of ASHRAE 15. |  |