

COMMISSION ACTION MATRIX – GREEN
BUILDING, FIRE AND OTHER – STRUCTURAL SAFETY/LATERAL FORCES aD-hoc (bfo/SDlF) CODE ADVISORY COMMITTEE
2025 California FIRE CODE, TITLE 24, PART 9
STATE FIRE MARSHAL, SFM 03/25
LEGEND:
CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required
Agency Responses: Accept, Disagree, Withdraw
CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required
[bookmark: _Hlk51752204]Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required
[bookmark: _Hlk51751202]If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.
· Model Code language appears upright
· Existing California amendments appear in italic
· Amended model code or new California amendments appear underlined & italic
· Repealed model code language appears upright and in strikeout
· Repealed California amendments appear in italic and strikeout
· Ellipses (…) indicate existing text remains unchanged
ITEM 1
Chapter 2 – DEFINITIONS
SFM proposes to amend definitions listed below.
	SFM 03/25
ITEM 1
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	1-12
	NON-PATIENT-CARE SUITE.
	Approve
	Accept
	No public Comments Received
	Editorial modification to avoid misunderstanding.
	



ITEM 3
Chapter 9 – FIRE PROTECTION AND LIFE SAFETY SYSTEMS, SECTION 907 FIRE ALARM AND DETECTION SYSTEMS
SFM proposes to amend sections listed below.
	SFM 03/25
ITEM 3
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	3-1
	907.2.5.1 Group H occupancies located on the 11th story and above.
[bookmark: _Hlk212619861]907.2.6.3.4 System annunciation.
907.2.28.1 Group L occupancies located on the 11th story and above.
907.6.4 Zones.
	Approve
	Accept
	No public Comments Received.
	Repeal or relocate outdated or duplicative amendments as these requirements already addressed in adopted referenced standards. Amend to clarify and align with national standards.
	


ITEM 7
Chapter 12 – ENERGY SYSTEMS, SECTION 1207 – ELECTRICAL ENERGY STORAGE SYSTEMS (ESS)
SFM proposes to amend sections listed below.
	SFM 03/25
ITEM 7
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	7-1
	Multiple sections (see ET)
	Approve
	Accept
	No public Comments Received.
	Amend to delete all pointers referencing to 2023 Edition of NFPA 855 to coordinate with the editions of standards referenced in Chapter 80.
	


ITEM 8
Chapter 50 – HAZARDOUS MATERIALS-GENERAL PROVISIONS 
SFM proposes to amend sections listed below.
	SFM 03/25
ITEM 8
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	8-1
	5001.1 Scope.
	Approve
	Accept
	No public Comments Received.
	Amend to add a phrase “or storage occupancies” to Exception #2 for alcoholic beverages in retail or wholesale sales occupancies.
	

	8-1.1

	Section 5001.5.1 Hazardous Materials Management Plan (HMMP)
Section 5001.5.2 Hazardous Materials Inventory Statement (HMIS)
	Not Applicable
	See ISOR
	No public Comments Received.
	POST CAC: Item added after CAC meeting. 
Correct references to Title 19.
	

	8-2
	5003.1.1 Maximum allowable quantity per control area.
	Further Study Required
	Accept
	No public Comments Received.
	Amend the Exception regarding medical gas cylinder sizes aligning with language used in NFPA 99 in collaboration with OSHPD.
CAC: Further Study Required, 9-Point Criteria 6.
Consider removing words “small-size” as vague and unnecessary. Also consider removing unnecessary comma.
POST CAC: Removed the words “small size,” and defined immediate use for clarity.
	






ITEM 9
Chapter 80 – REFERENCED STANDARDS
SFM proposes to amend Referenced Standards listed below.
	SFM 03/25
ITEM 9
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	9-1
	NFPA 72-25 National Fire Alarm Signaling Code, Section 12.4.2 Pathway Survivability 1.
	Approve
	Accept
	No public Comments Received.
	Add amendment to clarify requirements for “Pathway Survivability Level 1.”
	

	9-2
	NFPA 72-25 National Fire Alarm Signaling Code, Section 26.2.11.3  
	Approve
	Accept
	No public Comments Received.
	Add amendment to delete NFPA 72-25 Section 26.2.11.3.
	

	9-3
	NFPA 855 – 23 26 Standard for the Installation of Stationary Energy Storage Systems
	Approve
	Accept
	No public Comments Received.
	Adopt the most recent edition of NFPA 855.
	

	9-4
	ASHRAE 15 – 2022 2024; including Addendum A: Safety Standard for Refrigeration Systems
	Approve
	Accept
	B. Raymer, representing Industry Coalition
Recommendation: Approve.
	Adopt the most recent edition of ASHRAE 15.
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