COMMISSION ACTION MATRIX - Green
BUILDING, FIRE & OTHER  – STRUCTURAL DESIGN/LATERAL FORCES AD-HOC (BFO/SDLF) CODE ADVISORY COMMITTEE – FEBRUARY 17-18, 2026
2025 CALIFORNIA WILDLAND-URBAN INTERFACE CODE, TITLE 24, PART 7 
AGENCY: Office of the state fire Marshal, SFM 04/25
LEGEND:
CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required
Agency Responses: Accept, Disagree, Withdraw 
CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required
[bookmark: _Hlk51752204]Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required
[bookmark: _Hlk51751202]If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.
· Model Code language appears upright
· Existing California amendments appear in italic
· Amended model code or new California amendments appear underlined & italic
· Repealed model code language appears upright and in strikeout
· Repealed California amendments appear in italic and strikeout
· Ellipses (…) indicate existing text remains unchanged
ITEM 1
Chapter 1, ADMINISTRATION
Amend sections listed below.
	SFM 04/25
ITEM 1
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	1-1
	1.1.2 Purpose
	Approve
	Accept
	B. Raymer, CBIA, CAA, CBPA, BOMA
Recommendation:
Approve
	Amend to distinguish between different hazard levels in fire severity zones. Makes adjustments to other existing language for clarification. Some of the proposed changes are part of certifying rulemaking for approved emergency regulations.
	

	1-2
	101.2 Scope
	Approve
	Accept
	B. Raymer, CBIA, CAA, CBPA, BOMA
Recommendation:
Approve
	Amend the scoping section that has caused code user confusion.
	

	1-4
	101.5 Additions or alterations
	Approve
	Accept
	
	Adopt section 101.5 which was not adopted before.
	

	1-5
	101.6 Maintenance
	Approve
	Accept
	
	Amend to address landscape materials, vegetation and defensible space.
	

	1-6
	104.2.2 Alternative materials, design and methods
	Approve
	Accept
	
	Amend to include International Wildland-Urban Interface Code (IWUIC) errata.
	


ITEM 2
Chapter 2, DEFINITIONS
Adopt and amend sections listed below.
	SFM 04/25
ITEM 2
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	2-1
	Glazed Door
	Approve
	Accept
	
	Add a definition that aligns with California Energy Code definition.
	

	2-2
	Home Hardening
	Approve
	Accept
	
	Add a definition to effectuate the pertinent Health & Safety codes. Part of certifying rulemaking for approved emergency regulations.
	

	2-3
	Local Responsibility Area (LRA)
	Approve
	Accept
	
	Amend this definition to align with Title 19.
	

	2-4
	State Responsibility Areas (SRA)
	Approve
	Accept
	
	Amend this definition to align with Public Resources Code Section 4102.
	

	2-5
	Vegetation
	Approve
	Accept
	
	Add new definition for clarity.
	

	2-6
	Wildland-Urban Interface Area (WUI)
	Approve
	Accept
	
	Amend definition for clarity.
	


ITEM 3
Chapter 3, Wildland Urban Interface Areas
Amend sections listed below.
	SFM 04/25
ITEM 3
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	3-1
	[bookmark: _Hlk215492000]301.1. Scope
302.1.1 Fire Hazard Severity Zone (FHSZ) Viewer
	Further Study Required
	Accept
	B. Raymer, CBIA, CAA, CBPA, BOMA
Recommendation:
Approve 
	Amend and add new section to provide code users with the location where to find the Fire Hazard Severity Zone maps.
CAC: Further Study Required under criteria 6. 
Post CAC: SFM fixed the website page link.
	

	3-2
	302.2 Review of wildland-urban interface areas Fire Hazard Severity Zones
	Approve
	Accept
	
	Delete the model code language that is not needed and redundant. Adress incorrect capitalization of words.
	





ITEM 4
Chapter 5, Special Building Construction Regulations
Amended sections listed below.
	SFM 04/25
ITEM 4
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	4-3
	504.2 Roof Assembly
	Approve
	Accept
	
	Amend to align the use of the term “roof assembly” with that used in referenced standards. Revise Section 504.2 Exceptions to align with CBC.
	

	4-4
	504.2.1 Roof covering voids, 504.2.1.1 Airspace under roof coverings Roof deck, 504.2.1.2 Roof underlayment Eaves, 504.2.1.3 Ridges and hips
	Approve
	Accept
	
	Amend to replace existing language to clarify the requirements for roof coverings with an airspace under the roof coverings.
	

	4-5
	504.2.2 Roof valleys flashings, 504.2.3 Flashing at intersections
	Approve
	Accept
	
	Revise the term roof valley flashings to be consistent with the proposed IWUIC revisions being considered.
	

	4-6
	504.2.4 Skylights
	Approve
	Accept
	
	Early adopt provisions from 2027 IWUIC. This proposed revision adds a pointer under the roof assembly section 504.2 to prevent confusion.
	

	4-7
	504.3.1 Protection of open eaves
	Approve
	Accept
	
	Correct a clerical error from original adoption of Part 7 in 2024 Triennial. Part of certifying rulemaking for approved emergency regulations.
	

	4-9
	504.7.3.1 Deck Flashing
	Approve
	Accept
	
	Amend section to provide a pointer to Section 504.7.3.1 and eliminate redundancy.
	

	4-10
	504.8 Exterior glazing
504.8.2 Operable Skylights
	Further Study Required
	Accept
	B. Raymer, CBIA, CAA, CBPA, BOMA
Recommendation:
Approve

	Amend to clarify option 1 of section 504.8. Other editorial revisions.
CAC: Further Study Required under criteria 6.
Post CAC: Agrees with the public comment and incorporated the suggested edits.
	

	4-11
	504.10 Vents
	Approve
	Accept
	
	Amend the section for clarity.
	

	4-13
	504.10.2 Off Roof ridge and off-ridge field vents
504.10.3 Vent locations
	Approve
	Accept
	
	Amend section to address vents that are excluded from the ASTM E2886 standard.

	

	4-14
	504.11 Accessory buildings and miscellaneous structures, 504.11.1 Applicability, 504.11.2 Accessory structures greater than 120 sq ft, 504.11.3 Accessory structures equal or less than 120 sq ft, 504.11.2, 504.11.3,  504.11.4, 504.11.5
	Further Study Required
	Accept
	
	Amend the requirements for accessory structures for the purpose of eliminating redundancy, improve clarity, revise construction requirements based on location, and establishes requirements for structures in close proximity to lot lines.
CAC: Further Study Required under criteria 6.
Post CAC: The SFM reworded the section for clarity. The titles of the sections are clear, the duplicated “equal or less” is removed, moves the conditions in a logical order, and clarifies the separation requirements. The modification also closes the gap of 0 feet to 3 feet away from the home. The intent is to harden the home from accessory or miscellaneous structures that could pose a threat to the survivability of a home.
	

	4-15
	504.11.6 Roof construction
	Approve
	Accept
	
	Amend to provide consistency.
	

	4-16
	507.1 General
	Approve
	Accept
	
	Amend to provide consistency.
	


ITEM 5
Chapter 6 FIRE PROTECTION Requirements
Amend sections listed below.
	SFM 04/25
ITEM 5
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	5-1
	User Note
	Approve
	Accept
	
	Amend to correct redundancy regarding the regulatory framework for LRAs.
	

	5-2
	602.3.2 Final Fire Protection Plan
	Approve
	Accept
	
	Amend to clarify requirements of existing vegetation as it relates to defensible space requirements.
	

	5-3
	603.3.1 Contents
	Approve
	Accept
	
	Amend to clarify delineation of 5 feet, as related to “zone zero” requirements for an ember resistant zone.
	

	5-4
	604.1 General
604.3 Requirements
	Approve
	Accept
	
	Amend to remove the word “hazardous” from the section, as the term has not been defined in this code to eliminate ambiguity. Also eliminate redundancy with other sections.
	


ITEM 6
Chapter 7 Referenced STANDARDS
Adopt standard listed below.
	SFM 04/25
ITEM 6
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	6-1
	NFPA 1140-2022
	Approve
	Accept
	
	Adopt referenced standard NFPA 1140-2022 Standard for Wildland Fire Protection.
	


ITEM 7
Appendix D Model Ordinance For Fire Hazard Severity Zone Adoption
Adopt section listed below.
	SFM 04/25
ITEM 7
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	7-1
	[bookmark: _Hlk215758215]Appendix D Model Ordinance for Fire Hazard Severity Zone Adoption
	Approve
	Accept
	
	Adopt Appendix D Model Ordinance for Fire Hazard Severity Zone Adoption which SFM added to CWUIC during 2024 Triennial code adoption cycle.
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