# COMMISSION ACTION MATRIX - Yellow
BUILDING, FIRE & OTHER  – STRUCTURAL DESIGN/LATERAL FORCES AD-HOC (BFO/SDLF) CODE ADVISORY COMMITTEE – FEBRUARY 17-18, 2026

## 2025 CALIFORNIA WILDLAND-URBAN INTERFACE CODE, TITLE 24, PART 7 
AGENCY: Office of the state fire Marshal, SFM 04/25

### LEGEND:

CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Agency Responses: Accept, Disagree, Withdraw

CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

- Model Code language appears upright

- Existing California amendments appear in italic

- Amended model code or new California amendments appear underlined & italic

- Repealed model code language appears upright and in strikeout

- Repealed California amendments appear in italic and strikeout

- Ellipses (…) indicate existing text remains unchanged

### ITEM 1
Chapter 1, ADMINISTRATION

Amend sections listed below.

| SFM 04/25 ITEM 1 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 1-3 | 101.3.1 Application 101.3.1.1 Application date and where required | Approve | Accept | B. Raymer, CBIA, CAA, CBPA, BOMA Recommendation: Approve California Code Professionals Recommendation: Approve as amended | Combine sections 101.3.1 & 101.3.1.1 for clarity. Delete “trigger date” exceptions which have passed. Remove most exceptions to Application. Some of the proposed changes are part of certifying rulemaking for approved emergency regulations. 45-Day SFM: No changes to this section based on 45-Day comment. |  |
| - 3-3 | 302.3 Local Designation | Further Study Required | Accept | 45-Day: California Code Professionals Recommendation: Approve as amended | Add new section to increase awareness and reinforce responsibility of local jurisdictions. CAC: Further Study Required under criteria 6. Post CAC: Capitalized Fire Hazard Severity Zones and made clear that the recommendations are identified by the SFM. The Government Code section 51179 covers the requirements for locals to submit the adopted maps and post the adopted maps. 45-Day SFM: No changes to this section based on 45-Day comment. |  |

### ITEM 4
Chapter 5, Special Building Construction Regulations

Amended sections listed below.

| SFM 04/25 ITEM 4 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 4-1 | 503 IGNITION-RESISTANT CONSTRUCTION AND MATERIAL 503.1 General | Approve | Accept | California Code Professionals Recommendation: Approve as amended | Early adopt provisions from 2027 IWUIC. Delete exception 2 as part of certifying rulemaking for approved emergency regulations. 45-Day SFM: No changes to this section based on 45-Day comment. |  |
| - 4-2 | 503.2, 503.2.1, 501.4 503.2.1.1, 501.4.1 503.2.1.1.1, 503.2.1.1.2, 503.2.2, 503.2.4 503.2.3, 503.2.4.1 503.2.3.1, 503.2.4.2 503.2.3.2, 503.2.4.3 503.2.3.3, 503.2.4.3.1 503.2.3.3.1, 503.2.4.3.2 503.2.3.3.2, 503.2.4.3.3 503.2.3.3.3, 503.2.3.3.4, 503.2.5, 503.2.3.3.4, 503.2.3 503.3, 501.3 503.4, 503.3 503.5, 503.3.1 503.5.1, 503.3.2 503.5.2, 503.3.3 503.5.3, 503.3.4 503.5.4 | Further Study Required | Disagree | T. Wood, Sekisui House Recommendation: Further Study Required M. Hirschler, GBH International Recommendation: Approve L. Ross, Arclin Recommendation: Approve as amended | Early adopt provisions from 2027 IWUIC and propose additional amendments. Adoption of Section 503.2.3.3.4 addresses the durability of ignition-resistant materials exposed to atmospheric conditions. CAC: Further Study Required under criteria 6. Post CAC: The language was relocated from Section 503.2.5, which was in the IWUI model code upon which this code is based. The State Fire Marshal is currently unaware of any products that meet a weathering test and maintain performance. 45-Day SFM: No changes to this section based on 45-Day comment. |  |
| - 4-8 | 504.5 Exterior walls, 504.5.1 Exterior wall construction, 504.5.2 Exterior wall coverings, 504.5.1 504.5.3 Flashing | Further Study Required | Accept | B. Raymer, CBIA, CAA, CBPA, BOMA Recommendation: Approve as amended R. Smith, Unity Forest Products K. Pratt, Swanson Group E. Gu, APA R. Lappin, Modern Mill, Inc. C. Turner, Swiss Krono P. Armstrong, American Wood Council J. Keller, Western Wood Products J. Wilson, Bodyguard Wood Products G. Emmerson, Sierra Pacific Ind. C. Andrews, LP Bldg Solutions B. Higgins, Roseburg Forest Products California Code Professionals Recommendation: Approve as amended L. Ross, Arclin Recommendation: Further Study Required G. Anderson, IBHS Recommendation: Further Study Required S. Rashid-Sumar, NRMCA Recommendation: Approve as amended K. Martinez Recommendation: Further Study 15-Day: M. Hirschler, GBH Intl. Recommendation: Approve | Amend to clarify the application of these sections. CAC: Further Study Required under criterion 4 and 5. Post CAC: Modified the sections based on comments received. 45-Day SFM: SFM agrees with G. Anderson, S. Rashid-Sumar and K. Martinez comments. SFM conducted a follow up 15-Day comment period to address the issues with an amendment and solicit further comments. |  |
| - 4-12 | 504.10.1 Performance requirements Vent testing | Further Study Required | Disagree | S. Bryer, New Cal Metals, Inc. Recommendation: Approve as Amended K. Scott, KH Scott & Associates, LLC Recommendation: Approve as Amended. 15-Day: No public comments received. | Amend to provide standards for testing vents in various orientations. CAC: Further Study Required under criterion 4 and 6. Post CAC: No changes were made, and the SFM BML program will evaluate on the intent that all ignition resistant building materials meet the criteria of 503.2 45-Day SFM: SFM agrees with K. Scott comment. SFM conducted a follow up 15-Day comment period to address the issue with an amendment and solicit further comments. |  |