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ITEM 1
Chapter 1, ADMINISTRATION
Amend sections listed below.
	SFM 04/25
ITEM 1
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	1-3
	101.3.1 Application 
101.3.1.1 Application date and where required
	Approve
	Accept
	B. Raymer, CBIA, CAA, CBPA, BOMA
Recommendation:
Approve
California Code Professionals Recommendation:
Approve as amended
	Combine sections 101.3.1 & 101.3.1.1 for clarity. Delete “trigger date” exceptions which have passed. Remove most exceptions to Application. Some of the proposed changes are part of certifying rulemaking for approved emergency regulations.
45-Day SFM:
No changes to this section based on 45-Day comment.
	

	3-3
	302.3 Local Designation
	Further Study Required
	Accept
	45-Day:
California Code Professionals
Recommendation:
Approve as amended
	Add new section to increase awareness and reinforce responsibility of local jurisdictions.
CAC: Further Study Required under criteria 6.
Post CAC: Capitalized Fire Hazard Severity Zones and made clear that the recommendations are identified by the SFM. The Government Code section 51179 covers the requirements for locals to submit the adopted maps and post the adopted maps.
45-Day SFM:
No changes to this section based on 45-Day comment.
	


ITEM 4
Chapter 5, Special Building Construction Regulations
Amended sections listed below.
	SFM 04/25
ITEM 4
	Code Section
	CAC
Action
	Agency Response
	Public Comments
	Annotations
	CBSC
Action

	4-1
	503 IGNITION-RESISTANT CONSTRUCTION AND MATERIAL
503.1 General
	Approve
	Accept
	California Code Professionals
Recommendation:
Approve as amended
	Early adopt provisions from 2027 IWUIC. Delete exception 2 as part of certifying rulemaking for approved emergency regulations.
45-Day SFM:
No changes to this section based on 45-Day comment.
	

	4-2
	503.2, 503.2.1, 501.4 503.2.1.1, 501.4.1 503.2.1.1.1, 503.2.1.1.2, 503.2.2, 503.2.4 503.2.3, 503.2.4.1 503.2.3.1, 503.2.4.2 503.2.3.2, 503.2.4.3 503.2.3.3, 503.2.4.3.1 503.2.3.3.1, 503.2.4.3.2 503.2.3.3.2, 503.2.4.3.3 503.2.3.3.3, 503.2.3.3.4, 503.2.5, 503.2.3.3.4,  503.2.3 503.3, 501.3 503.4, 503.3 503.5, 503.3.1 503.5.1, 503.3.2 503.5.2, 503.3.3 503.5.3, 503.3.4 503.5.4
	Further Study Required
	Disagree
	T. Wood, Sekisui House
Recommendation:
Further Study Required
M. Hirschler, GBH International
Recommendation:
Approve
L. Ross, Arclin
Recommendation: 
Approve as amended
	Early adopt provisions from 2027 IWUIC and propose additional amendments. Adoption of Section 503.2.3.3.4 addresses the durability of ignition-resistant materials exposed to atmospheric conditions.
CAC: Further Study Required under criteria 6.
Post CAC: The language was relocated from Section 503.2.5, which was in the IWUI model code upon which this code is based. The State Fire Marshal is currently unaware of any products that meet a weathering test and maintain performance.
45-Day SFM:
No changes to this section based on 45-Day comment.
	

	4-8
	504.5 Exterior walls, 504.5.1 Exterior wall construction, 504.5.2 Exterior wall coverings, 504.5.1 504.5.3 Flashing
	Further Study Required
	Accept
	B. Raymer, CBIA, CAA, CBPA, BOMA
Recommendation:
Approve as amended
R. Smith, Unity Forest Products
K. Pratt, Swanson Group
E. Gu, APA
R. Lappin, Modern Mill, Inc.
C. Turner, Swiss Krono
P. Armstrong, American Wood Council
J. Keller, Western Wood Products 
J. Wilson, Bodyguard Wood Products
G. Emmerson, Sierra Pacific Ind.
C. Andrews, LP Bldg Solutions
B. Higgins, Roseburg Forest Products
California Code Professionals
Recommendation:
Approve as amended
L. Ross, Arclin
Recommendation:
Further Study Required
G. Anderson, IBHS
Recommendation:
Further Study Required
S. Rashid-Sumar, NRMCA
Recommendation:
Approve as amended
K. Martinez
Recommendation:
Further Study
15-Day:
M. Hirschler, GBH Intl.
Recommendation:
Approve 
	Amend to clarify the application of these sections.
CAC: Further Study Required under criterion 4 and 5. 
Post CAC: Modified the sections based on comments received.
45-Day SFM: SFM agrees with G. Anderson, S. Rashid-Sumar and K. Martinez comments. SFM conducted a follow up 15-Day comment period to address the issues with an amendment and solicit further comments.
	

	4-12
	504.10.1 Performance requirements Vent testing
	Further Study Required
	Disagree
	S. Bryer, New Cal Metals, Inc.
Recommendation:
Approve as Amended
K. Scott, KH Scott & Associates, LLC
Recommendation:
Approve as Amended.
15-Day:
No public comments received.
	Amend to provide standards for testing vents in various orientations.
CAC: Further Study Required under criterion 4 and 6.
Post CAC: No changes were made, and the SFM BML program will evaluate on the intent that all ignition resistant building materials meet the criteria of 503.2
45-Day SFM: SFM agrees with K. Scott comment. SFM conducted a follow up 15-Day comment period to address the issue with an amendment and solicit further comments.
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